## RA_01 NT Item
AHM_AJ 1881_Additional_Items
S.NO. | Item Description | Location | Size | UOM | Qty | Rate | Amount
1 | Planter box with corian & paint finish | Entry FOH | 800X630X300mm | Nos | 1 | 27000 | 27000
2 | Steplizer for Coffee machine & mery chef machine | DB box |  | Nos | 2 | 16900 | 33800
3 | Basin mixer | Kitchen |  | Nos | 2 | 7850 | 15700
4 | Sensor pillar cock on foh back counter with electrical points 3M | Back counter |  | Nos | 1 | 1200 | 1200
5 | Angle cock | kitchen & back counter |  | Nos | 11 | 3900 | 42900
6 | Grease trap complete fittings & connection pipe |  |  | Nos | 2 | 2150 | 4300
7 | Mery chef machine new switch socket |  |  | Nos | 1 | 650 | 650
8 | Lifting station switch socket & wire 6M |  |  | Nos | 2 | 1400 | 2800
9 | Fire Suppression & Gas leak detector switch socket |  |  | Nos | 2 | 950 | 1900
10 | Firdge Relocation New electrical switch socket |  |  | Nos | 1 | 650 | 650
11 | RO Relocation Extra CPVC Piping |  |  | Mtr | 10 | 352 | 3520
12 | Extra Corian sheet installtion on counter vertical drops |  |  | Sheet | 2 | 11500 | 23000
13 | Wooden DB Box |  | 2100X750mmX2900mm | Nos | 1 | 125000 | 125000
14 | Coffee machine complete fittings for plumbing connection |  |  | Nos | 1 | 575 | 575
15 | Ice Cube machine plumbing connection with complete plumbing fittings |  |  | Nos | 1 | 750 | 750
16 | Golden T Profile installation & removal of ss profile |  |  | Mtr | 28 | 485 | 13580
17 | Hood Installation with complete fittings & duct fabrication for hood connection |  |  | Nos | 1 | 6000 | 6000
18 | All Equipment shifting & installation |  |  | Lot | 1 | 25000 | 25000
19 | Dishwasher machine plumbing connection & Installation |  |  | Lot | 1 | 250 | 250
20 | Sink plumbing connection with material |  |  | Nos | 2 | 1250 | 2500
21 | Extra Flower Supply and installtion |  |  | Lot | 1 | 18000 | 18000
22 | Kitchen SS Shelf intalaltion 4 nos |  |  | Lot | 1 | 2000 | 2000
23 | Knee operated sink installation & piping |  |  | Nos | 1 | 850 | 850
24 | Main LT Panel - Electrical as per Site requirement and SLD |  |  | Nos | 1 | 148000 | 148000
25 | Wooden Flooring - Removing and new flooring installation |  |  | Sqm | 25 | 2000 | 50000
26 | Grease trap complete fittings & connection pipe below sink |  |  | Lot | 1 | 2150 | 2150
| TOTAL | [5 empty] | 552075