## Table 1
ItemCode : ItemName : Electrical
Sr No | Item Code | Item Name | UOM | Remarks | Quanti | Supplier Rate | Amount | Work Done | RA amount
1 | l | Supplying erecting MMS PVC flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr |  | 0 | 230 | 0 | 0.85 | 0
2 |  | LT CABLES TERMINATIONS |  |  | 0 | 0 | 0 | 0.85 | 0
3 | a.10 | 4Cx4 Sq.mm Cu. Arm. XLPE | Rmtr |  | 0 | 414 | 0 | 0.85 | 0
4 | a.9 | 4Cx2.5 Sq.mm Cu. Arm. XLPE | Rmtr |  | 0 | 414 | 0 | 0.85 | 0
5 | m | Supplying erecting M.S flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr |  | 10 | 78.2 | 782 | 0.85 | 664.7
6 | a.13 | 4C x 16 sq.mm Cu. Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
7 | n | Supplying erecting PVC flexible Conduit 50 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr |  | 8 | 598 | 4784 | 0.85 | 4066.4
8 | b.2 | 50 sq.mm. | Jt |  | 0 | 0 | 0 | 0.85 | 0
9 | a.6 | 3.5Cx50 Sq.mm AL Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
10 |  | Cable Trays |  |  | 0 | 0 | 0 | 0.85 | 0
11 | a.1 | Supply Laying of 25mmX3mm GI strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs |  | 0 | 0 | 0 | 0.85 | 0
12 | j.5 | 50 mm | Rmtr |  | 0 | 151.8 | 0 | 0.85 | 0
13 | j.3 | 32 mm | Rmtr |  | 0 | 133.4 | 0 | 0.85 | 0
14 | o | Supply, Installation, Testing Commissioning of G.I Conduit 32mm dia with necessary accessories in wall floor with chiselling appropriately as per specification. | Rmtr |  | 0 | 248.4 | 0 | 0.85 | 0
15 | k.2 | 25 mm | Rmtr |  | 30 | 234.6 | 7038 | 0.85 | 5982.3
16 | k | Supplying and fixing of following sizes of MS conduit along with accessories in surface recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. |  |  | 0 | 0 | 0 | 0.85 | 0
17 | a.3 | 25X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs |  | 0 | 0 | 0 | 0.85 | 0
18 | a.4 | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | Cable Tray -Non Perforated for Kitchen | 0 | 805 | 0 | 0.85 | 0
19 | b.3 | 100mm wide x 40mm deep | Rmtr |  | 0 | 690 | 0 | 0.85 | 0
20 | a.3 | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
21 | b.4 | 50mm wide x 40mm deep | Rmtr |  | 0 | 598 | 0 | 0.85 | 0
22 | b.3 | 300 x 300 x 100 mm deep boxes with cover plate for Electrical Panel | Each |  | 5 | 2622 | 13110 | 0.85 | 11143.5
23 |  | Electrical Related Civil work |  |  | 0 | 0 | 0 | 0.85 | 0
24 | a | Geyser |  |  | 0 | 0 | 0 | 0.85 | 0
25 | a.2 | SITC of Storage Geyser (25 ltr) AO smith or equivalent used above 3 way sink with required accessories | No |  | 1 | 32200 | 32200 | 0.85 | 27370
26 | b.2 | 100 x 100 x 40mm deep with cover plate for makeline Slap Table Biometric | Each |  | 20 | 1702 | 34040 | 0.85 | 28934
27 | a.2 | 4Cx25 Sq.mm AL Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
28 | a.5 | 3.5Cx35 Sq.mm AL Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
29 | a.8 | 3.5Cx95 Sq.mm AL Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
30 | a.7 | 3.5Cx70 Sq.mm AL Arm. XLPE | Rmtr |  | 6 | 782 | 4692 | 0.85 | 3988.2
31 | b | 2 3 3.5 4 CORES AL. CABLE WITH AL. LUGS |  |  | 0 | 0 | 0 | 0.85 | 0
32 | c | Multicore Flexible Cables 1100 Volt Annealed Bare Electrolytic High, Conductivity Copper Conductor Flexible PVC Type A Insulated PVC ST-1 Sheathed Cables in existing Conduit. Conforming to IS 694 1990 including Making Both End terminations with cop | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
33 | a.6 | 8 SWG Cu Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs |  | 0 | 0 | 0 | 0.85 | 0
34 | a.8 | Supply, Installation, testing and commissioning of earth pits comprising 600x600x 3mm thick G.I. electrode plate 25 mm dia medium class watering G.I. pipe, G.I. funnel with 20 gauge GI wire mesh, masonary chamber with concrete base, CI manhole cover with | No. s |  | 0 | 0 | 0 | 0.85 | 0
35 | a.10 | 6.0 sq.mm. Cu. Flexible cable | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
36 | a.6 | Providing erecting Hot deeped Galvanised Non- Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | Cable Tray -Non Perforated for Kitchen | 0 | 0 | 0 | 0.85 | 0
37 | a.8 | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | Cable Tray -Non Perforated for Kitchen | 0 | 0 | 0 | 0.85 | 0
38 | b.1 | 300mm wide x 40mm deep | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
39 | a.1 | SITC of Sony Music System (DAV DZ - 350) or Equivalent Make 5.1 | no |  | 0 | 0 | 0 | 0.85 | 0
40 | b.4 | Supplying and fixing 1.6 mm thick MS junction outlet 450X300X100 mm deep boxes with cover plate | Each |  | 0 | 2944 | 0 | 0.85 | 0
41 | k.5 | 50 mm | Rmtr |  | 0 | 598 | 0 | 0.85 | 0
42 | p | Supply, Installation, Testing Commissioning of G.I conduit 25 mm in dia with necessary accessories in RCC work false ceiling false flooring as per specification | Rmtr |  | 0 | 230 | 0 | 0.85 | 0
43 | a.1 | 4Cx16 Sq.mm AL Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
44 | a.4 | 3Cx4 Sqmm Cu. Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
45 | b.1 | 35 sq.mm. | Jt |  | 0 | 0 | 0 | 0.85 | 0
46 | b.3 | 70 sq.mm. | Jt |  | 0 | 0 | 0 | 0.85 | 0
47 | a.9 | 4.0 sq.mm. Cu. Flexible cable | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
48 | a.11 | 10 sq.mm. Cu. Flexible cable | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
49 | a.7 | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
50 | a.1 | SITC of Digital instant GEYSER ABOVE SINK 3 ltr (Ao Smith or equivalent)instant with required accessories) | No. |  | 0 | 0 | 0 | 0.85 | 0
51 | a.6 | I O Plate including necessary Jack and connections | Nos |  | 4 | 1426 | 5704 | 0.85 | 4848.4
52 | c.1 | 3C x 2.5mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
53 | a.2 | Supply Laying of 25mmX3mm CU strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs |  | 0 | 0 | 0 | 0.85 | 0
54 | a.4 | 35X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs |  | 0 | 0 | 0 | 0.85 | 0
55 | a.5 | 8 SWG GI Earth Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs |  | 0 | 0 | 0 | 0.85 | 0
56 | a | Music System CONDUITING WIRING FOR TELEPHONE DATA MUSIC AND COMPUTER SYSTEM |  |  | 0 | 0 | 0 | 0.85 | 0
57 | a.5 | Cat-6 Cable for Switch to Camera inlcuding conduit. | Rmtr |  | 120 | 69 | 8280 | 0.85 | 7038
58 | k.1 | 20 mm | Rmtr |  | 24 | 96.6 | 2318.4 | 0.85 | 1970.64
59 | b | . |  | Data Modular Box | 0 | 0 | 0 | 0.85 | 0
60 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
61 | a.12 | 4Cx10 Sq.mm Cu. Arm. XLPE | Rmtr |  | 4 | 262.2 | 1048.8 | 0.85 | 891.48
62 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
63 |  | 6 32A SP MCB - 24 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
64 |  | Supplying and making indoor Cable end Termination of following sizes 1.1kV grade LT XLPE insulated, HR PVC sheathed, stranded Aluminum copper conductor, Armoured Unarmoured cables as per IS 7098 part-I including cost of tinned copper Aluminium heavy du |  | CABLE TERMINATION | 0 | 0 | 0 | 0.85 | 0
65 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
66 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
67 |  | 63A FP, MCB of 10kA - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
68 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
69 | k.4 | 40 mm | Rmtr |  | 0 | 271.4 | 0 | 0.85 | 0
70 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
71 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
72 | a.3 | 3Cx2.5 Sqmm Cu. Arm. XLPE | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
73 | k.3 | 32 mm | Rmtr |  | 0 | 253 | 0 | 0.85 | 0
74 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
75 |  | 3Nos, DP, 40A, RCBO (30mA). |  |  | 0 | 0 | 0 | 0.85 | 0
76 |  | 25A DP MCB - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
77 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
78 |  | Sub Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
79 |  | 6 32A SP MCB - 12 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
80 |  | VTPN DB |  |  | 0 | 0 | 0 | 0.85 | 0
81 | a.12 | Generator bedding incl of floor raising with debris (4 to 6 )with necessary brickwork at all sides with 1 2 4 cement sand metal morter bed as PCC IPS plaster on vertical edges, complete in all respects | Sqft | D.G Foundation | 0 | 0 | 0 | 0.85 | 0
82 | a.3 | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Each | 8 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB | 0 | 20700 | 0 | 0.85 | 0
83 | a | Supply, Errecting, Termination Commissioning of following sizes of 1.1 KV grade FRLS Armoured Unarmoured Copper Aluminum conductor cables laid over MS supports cable racks trays or fixing on walls including clamping the cable to supports cable racks or |  | SUPPLY AND LAYING OF THE CABLES | 0 | 0 | 0 | 0.85 | 0
84 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
85 |  | 6 32A SP MCB - 30 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
86 | a.11 | 4C x 6 sq.mm Cu. Arm. XLPE | Rmtr |  | 0 | 506 | 0 | 0.85 | 0
87 | c.2 | 3C x 4.0mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
88 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
89 | a.7 | Supply, Installation, Testing Commissioning of long life, Maintenance Free advance chemical Earthing System with 20 year service warranty with 8 feet Vertical Pipe in pipe GI Not less than 1.5” (40mm) ID and not less than 1.5mm wall thickness, 20x | No. s |  | 0 | 0 | 0 | 0.85 | 0
90 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
91 | a.1 | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner. Including Paints | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
92 | a.5 | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
93 | a.7 | Supply , installation, testing comissioning of FP ELCB of 25 A, 100mA | Each |  | 2 | 2622 | 5244 | 0.85 | 4457.4
94 | a.9 | Supply , installation, testing comissioning of FP RCBO of 63 A, 100mA | Each |  | 0 | 2622 | 0 | 0.85 | 0
95 |  | 10A SP MCB - 03 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
96 | a.4 | Supply , installation, testing comissioning of DP MCB of 25 A | Each |  | 0 | 1150 | 0 | 0.85 | 0
97 | a.6 | Supply , installation, testing comissioning of DP MCB of 40 A | Each |  | 2 | 1435.2 | 2870.4 | 0.85 | 2439.84
98 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
99 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
100 |  | Sub Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
101 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
102 |  | 6 32 Amp TP MCB- 4 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
103 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
104 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
105 | d.5 | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.20 mm dia,including all required accessories,etc as per specification. | RMT |  | 0 | 110.4 | 0 | 0.85 | 0
106 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in PVC Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheislin |  |  | 0 | 0 | 0 | 0.85 | 0
107 | a.1 | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Each | 16 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB | 0 | 25300 | 0 | 0.85 | 0
108 |  | 16A SP MCB -05 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
109 |  | 8 Way TPN Double door type DB for Power comprising of following - |  |  | 0 | 0 | 0 | 0.85 | 0
110 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
111 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
112 | b.2 | 100A FP, 25kA Thermal magneticr based MCCB with LSIG Protection with Box(As per the instruction of the Engineer Inchrge) | Each |  | 1 | 11500 | 11500 | 0.85 | 9775
113 | a.1 | Excavation Cheselling under floor for laying cables conduits in wall or floor as per requirement, complete with finishing etc | Sq.Mtr |  | 21.08 | 322 | 6787.76 | 0.85 | 5769.6
114 |  | Point wiring shall include FRLS wire with all necessary MMS PVC CONDUIT , with all fittings , accessories , couplings,collars etc., junction pull inspection boxes, wires, supports,bushings lamp holders, ceiling rose, flexible conduit, fan hooks wher |  | Light Point Wiring Specifications | 0 | 0 | 0 | 0.85 | 0
115 |  | EARTHING (In absence of D.G.Vendor) |  |  | 0 | 0 | 0 | 0.85 | 0
116 | c | 6 16 Amp Electrical Top | Each |  | 4 | 322 | 1288 | 0.85 | 1094.8
117 | e.5 | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.20 mm dia,including all required accessories,etc as per specification. | Rmtr |  | 0 | 211.6 | 0 | 0.85 | 0
118 | g.4 | Supply and Laying of Wiring for light power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core wire in surface recessed medium class MMS PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for lo | Rmtr |  | 150 | 271.4 | 40710 | 0.85 | 34603.5
119 | a.2 | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Each | 12 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB | 1 | 23000 | 23000 | 0.85 | 19550
120 | a.11 | Supply, Installation, testing comissioning of 32 amp TPN MCB | Each |  | 0 | 2622 | 0 | 0.85 | 0
121 | a.12 | Supply, Installation, testing comissioning of 40 amp TPN MCB | Each |  | 0 | 2990 | 0 | 0.85 | 0
122 | b | Provind and laying of 2MM thick GI factory fabricated raceways in partition of the following sizes including providing removable 3 mm thick GI cover knock our holes and fixing accessories complete required including floor supports, bends, access boxes and |  | Raceway | 0 | 0 | 0 | 0.85 | 0
123 | b.2 | 150mm wide x 40mm deep | Rmtr |  | 0 | 782 | 0 | 0.85 | 0
124 | a.2 | Wiring to music speakers with 2 pairs 40 0.076 flexible wire (PVC insulator, annealed or surface mounted 20 25 mm PVC conduit as directed (from speaker outlet to music junction box). | Rmtr |  | 0 | 0 | 0 | 0.85 | 0
125 | b.1 | 150mm x 200 x 40mm (W x H) - (18 SWG - 2 mm) with cover with one partition. | Each |  | 2 | 1886 | 3772 | 0.85 | 3206.2
126 |  | 100A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
127 |  | 6 32A SP MCB - 18 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
128 |  | 6 32 Amp TP MCB- 8 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
129 | a.13 | Providing and fixing TPN DP enclosure box for indoor purpose | Each |  | 0 | 2300 | 0 | 0.85 | 0
130 |  | Sub Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
131 | a.2 | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner Including Paint | Rmtr | Cable Tray -Non Perforated for Kitchen | 32 | 713 | 22816 | 0.85 | 19393.6
132 |  | 6 32A SP MCB - 12 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
133 | a.3 | Two nos. telephone jack outlet in 2 module GI outlet -{Refer Details- Electrical (C) below} | Nos |  | 0 | 0 | 0 | 0.85 | 0
134 | a.7 | VGA cable Including spliter | Rmtr |  | 75 | 124.2 | 9315 | 0.85 | 7917.75
135 |  | TPN DB |  |  | 0 | 0 | 0 | 0.85 | 0
136 |  | DB shall have separate neutral links of rating not less than 100 A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  |  | 0 | 0 | 0 | 0.85 | 0
137 | b.2 | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 8 way (4+ 24 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - | Each | 8 Way TPN DB - Kitchen Equipment+ Lighting+Power DB | 0 | 20700 | 0 | 0.85 | 0
138 |  | 6 32 Amp TP MCB- 6 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
139 | b.3 | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 6 way (4+ 18 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - | Each | 6 way TPN DB | 0 | 17020 | 0 | 0.85 | 0
140 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
141 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
142 | c.2 | 8 Way SPN Double door type DB for Power comprising of following - | Each | 8 Way SPN DB - UPS DB | 2 | 6900 | 13800 | 0.85 | 11730
143 |  | 10A SP MCB - 02 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
144 |  | 3Nos, DP, 63A, RCBO (30mA). |  |  | 0 | 0 | 0 | 0.85 | 0
145 | d.3 | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Nos |  | 0 | 966 | 0 | 0.85 | 0
146 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in MS Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling |  |  | 0 | 0 | 0 | 0.85 | 0
147 | h.3 | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | Nos |  | 2 | 2070 | 4140 | 0.85 | 3519
148 | j | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface recess including cutting the wall floor and making good the same in case of recessed conduit as required. |  | Conduiting | 0 | 0 | 0 | 0.85 | 0
149 | e | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MS conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 sided |  | Lighting points with MS conduit | 0 | 0 | 0 | 0.85 | 0
150 | a.4 | Providing and drawing RG-58 co-axial cable for computer system in existing PVC conduit. | Rmtr |  | 250 | 69 | 17250 | 0.85 | 14662.5
151 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
151 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
152 |  | 40A FP MCB,10kA - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
153 |  | DB shall have separate neutral links of rating not less than 100 A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  |  | 0 | 0 | 0 | 0.85 | 0
154 | c.1 | 12 Way SPN Double door type DB for Power comprising of following - | Each | 12 Way SPN DB - UPS DB | 0 | 7820 | 0 | 0.85 | 0
155 |  | Incomer |  |  | 0 | 0 | 0 | 0.85 | 0
156 |  | With all necessary connections |  |  | 0 | 0 | 0 | 0.85 | 0
157 | a.17 | Providing and Fixing 25 amp three phase Industrial socket | Each |  | 0 | 3022.2 | 0 | 0.85 | 0
158 | c.3 | 6 Way SPN Double door type DB for Power comprising of following - | Each | 6 Way SPN DB - UPS DB | 0 | 5980 | 0 | 0.85 | 0
159 |  | 16A SP MCB - 1 No |  |  | 0 | 0 | 0 | 0.85 | 0
160 |  | Isolators ELCB RCBO SWITCH SOCKETS |  |  | 0 | 0 | 0 | 0.85 | 0
161 |  | 6 32A SP MCB - 12 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
162 | j.1 | 20 mm | Rmtr |  | 0 | 96.6 | 0 | 0.85 | 0
163 | a.3 | Supply , installation, testing comissioning of DP isolator of 40 A | Each |  | 0 | 1435.2 | 0 | 0.85 | 0
164 | h.1 | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | Nos |  | 3 | 1886 | 5658 | 0.85 | 4809.3
165 | a.8 | Supply , installation, testing comissioning of FP ELCB of 40 A, 100mA | Each |  | 0 | 3220 | 0 | 0.85 | 0
166 | a.15 | Providing and Fixing 16 amp single phase Industrial socket | Each |  | 0 | 1702 | 0 | 0.85 | 0
167 | d.2 | Primary (First) light point controlled by a MCB in the DB. | Nos |  | 0 | 1150 | 0 | 0.85 | 0
168 |  | 8 Way TPN Double door type DB for Power comprising of following - |  |  | 0 | 0 | 0 | 0.85 | 0
169 |  | 16A SP MCB - 04 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
170 | e.3 | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Nos. |  | 8 | 1150 | 9200 | 0.85 | 7820
171 | i | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in MS Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling a |  |  | 0 | 0 | 0 | 0.85 | 0
172 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
173 | e.2 | Primary (First) light point controlled by a MCB in the DB. | Nos. |  | 4 | 1426 | 5704 | 0.85 | 4848.4
174 | f.1 | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | Nos |  | 0 | 1702 | 0 | 0.85 | 0
175 | a.16 | Providing and Fixing 25 amp single phase Industrial socket | Each |  | 0 | 2346 | 0 | 0.85 | 0
176 |  | 3Nos, DP, 40A, RCBO (30mA). |  |  | 0 | 0 | 0 | 0.85 | 0
177 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
178 |  | 6 32A SP MCB - 18 Nos |  |  | 0 | 0 | 0 | 0.85 | 0
179 | e.1 | Primary (First) light point controlled by a 6A switch. | Nos. |  | 4 | 966 | 3864 | 0.85 | 3284.4
180 | g.3 | Additional 16 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) . Wire will be paid i | Nos |  | 0 | 2070 | 0 | 0.85 | 0
181 |  | 16A DP MCB - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
182 | j.4 | 40 mm | Rmtr |  | 0 | 124.2 | 0 | 0.85 | 0
183 | a.10 | Supply, Installation, testing comissioning of 10 amp TPN MCB | Each |  | 0 | 2070 | 0 | 0.85 | 0
184 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
185 | f.2 | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Nos |  | 0 | 1150 | 0 | 0.85 | 0
186 | a.1 | Supply , installation, testing comissioning of DP isolator of 25 A | Each |  | 0 | 874 | 0 | 0.85 | 0
187 | d.4 | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per sp | RMT |  | 0 | 96.6 | 0 | 0.85 | 0
188 | f.4 | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Nos |  | 0 | 2300 | 0 | 0.85 | 0
189 | g | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in PVC Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling |  |  | 0 | 0 | 0 | 0.85 | 0
190 | a.14 | Providing and fixing TPN DP enclosure box (Wheather Proof) for outdoor purposes | Each |  | 0 | 2990 | 0 | 0.85 | 0
191 | f.3 | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | Nos |  | 0 | 2070 | 0 | 0.85 | 0
192 | g.1 | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | Nos |  | 5 | 2300 | 11500 | 0.85 | 9775
193 | b | ISOLATOR - (BEFORE SERVO STABILIZER) |  |  | 0 | 0 | 0 | 0.85 | 0
194 | h.4 | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Nos |  | 2 | 1702 | 3404 | 0.85 | 2893.4
195 | g.2 | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16 A one way switch with indicator.upto 6 mtr wiring | Nos |  | 16 | 2070 | 33120 | 0.85 | 28152
196 | d | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MMS PVC conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 s |  | Lighting points with PVC conduit | 0 | 0 | 0 | 0.85 | 0
197 | j.2 | 25 mm | Rmtr |  | 0 | 101.2 | 0 | 0.85 | 0
198 | i.2 | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16 A one way switch with indicator.upto 6 mtr wiring | Nos |  | 3 | 2070 | 6210 | 0.85 | 5278.5
199 | f.5 | Additional 6 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) Wire will be paid in R | Nos |  | 0 | 414 | 0 | 0.85 | 0
200 | h | Power Point wiring(MS conduit) |  |  | 0 | 0 | 0 | 0.85 | 0
201 | b.1 | DB shall have separate neutral links of rating not less than 100 A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. | Each | 12 Way TPN DB - Kitchen Equipment+ Lighting+Power DB | 0 | 23000 | 0 | 0.85 | 0
202 |  | SPN DB |  |  | 0 | 0 | 0 | 0.85 | 0
203 |  | Outgoing |  |  | 0 | 0 | 0 | 0.85 | 0
204 |  | 40A FP MCB,10kA - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
205 |  | 32A DP MCB - 01 No |  |  | 0 | 0 | 0 | 0.85 | 0
206 | a.2 | Supply , installation, testing comissioning of DP isolator of 32 A | Each |  | 2 | 1150 | 2300 | 0.85 | 1955
207 | a.5 | Supply , installation, testing comissioning of DP MCB of 32 A | Each |  | 2 | 1426 | 2852 | 0.85 | 2424.2
208 | b.1 | 125A FP, 25kA Thermal Magnetic based MCCB with LSIG Protection with Box (As per the instruction of the Engineer Inchrge) | Each |  | 0 | 14306 | 0 | 0.85 | 0
209 | d.1 | Primary (First) light point controlled by a 6A switch. | Nos |  | 0 | 1702 | 0 | 0.85 | 0
210 | d.6 | Supplying erecting mains with 2x4 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire laid with conduit trunking inside pole Bus bars or any other places. | RMT |  | 0 | 133.4 | 0 | 0.85 | 0
211 | e.4 | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per specifi | Rmtr |  | 8 | 115 | 920 | 0.85 | 782
212 | f | Power Point wiring |  |  | 0 | 0 | 0 | 0.85 | 0
213 | h.2 | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Nos |  | 4 | 1702 | 6808 | 0.85 | 5786.8
214 | i.1 | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | Nos |  | 4 | 2300 | 9200 | 0.85 | 7820
Total : | [6 empty] | 3,77,230.36 |  | 3,20,645.81
|  |  | G.Total of electrical work |  |  |  | 3,77,230.36 |  | 3,20,645.81
|  |  | 60% amount already claimed |  |  |  | 226338.216 |  | 226338.216
|  |  | Remaining amount |  |  |  | 1,50,892.14 |  | 94307.59
|  |  | GST@18% |  |  |  | 27160.5859 |  | 16975.3662
|  |  | G. Total with GST |  |  |  | 1,78,052.73 |  | 1,11,282.96