## summary
Intercare Enterprise
To,
| Travel Food Services Private Limited | Date: 04/11/2024
| Kolkata | PO No: TFSKPL/PO/24-25/000137
Final Performa bill for Electrical work of Irish House project.
Sr. No. | Item Description | BOQ Amount | Actual Bill Amount
1 | P&F of Electrical work | 1136505 | 1109072
TOTAL without taxes |  | 1136505 | 1109072
18% GST |  | 204570.9 | 199632.96
| Grand Total | 1341075.9 | 1308704.96

## Bill
Performa bill for Electrical of Irish House project.
Sr. No. | Item Description | Units | BOQ Qty | Actual qty | Rate/Unit | Amount
1 | Supply & installation of 25 mm dia. GI conduit with pull box / junction box & all accessories for Lighting & Power wiring as per the requirement | Nos | 1 | 0 | 1 | 0
2 | - do - but conduit pipe shall be Rigid type. | Mtr. | 200 | 110 | 200 | 22000
3 | - do - but flexible conduit pipe | Mtr. | 100 | 70 | 60 | 4200
4 | CCTV Cabling Change work - supply and laying cat-6 wire 350 miter for camera | Mtr. | 350 | 330 | 80 | 26400
5 | Light Fitting Supply and fixing with connection of hanging light as per approved sample (as per design) | Nos | 3 | 3 | 3000 | 9000
6 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | Nos | 2 | 3 | 11000 | 33000
7 | 16 amps 4P MCB with 25A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | Nos | 3 | 3 | 9000 | 27000
8 | 16A Rey roll socket complete with 16 amps SPMCB with 3 pin metal clad socket - Legrand make - kitchen power | Nos | 2 | 16 | 2500 | 40000
9 | Supply installation of following LT XLPE FRLS cables rated for 600 / 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with | Nos | 1 | 0 | 1 | 0
10 | 4C x 16 Sq. mm A2XFY | Mtr. | 60 | 110 | 1100 | 121000
11 | Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect/Consultant | Nos | 10 | 0 | 100 | 0
12 | 16A 5pin switch socket outlet | Nos. | 20 | 62 | 800 | 49600
13 | 32A industrial BOX with MCB and Soket | Nos. | 20 | 10 | 2800 | 28000
14 | 2ft x 2ft Led downlighter recessed mounted with wiring | Nos. | 15 | 16 | 3000 | 48000
15 | Supply and fixing 2 X 2 CELING exhaust fan with wiring | Nos. | 6 | 2 | 2500 | 5000
16 | Supply and fixing hanging light with wiring for main facade area | Nos. | 4 | 4 | 15000 | 60000
17 | Supply and fixing spot light with wiring in black colour | Nos. | 70 | 70 | 2728.6 | 191002
18 | Supply and fixing 2" celling mounted spot light with wiring | Nos. | 30 | 30 | 1800 | 54000
19 | Supply and fixing wall light as per approved sample with wiring | Nos. | 16 | 10 | 2800 | 28000
20 | Led strip light | Mtr. | 100 | 20 | 65 | 1300
21 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid FRLS GI conduit concealed or surface mounted making connections where ever required to complete the installation. | Nos | 1 |  | 1 | 0
22 | 2R x 2.5Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 500 | 212 | 360 | 76320
23 | 2R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 500 | 210 | 300 | 63000
24 | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 300 | 280 | 400 | 112000
25 | 4R x 6Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 200 | 225 | 490 | 110250
Total without taxes | [5 empty] | 1109072

## MB
Measurement sheet for Electrical of Irish House project.
Sr. No | Description | Unit | Qty | Area | Total
1 | Supply & installation of 25 mm dia. GI conduit with pull box / junction box & all accessories for Lighting & Power wiring as per the requirement
2 | - do - but conduit pipe shall be Rigid type. | Mtr. | 110 | Kitchen + Dinning | 110
3 | - do - but flexible conduit pipe | Mtr. | 70 | Kitchen + Dinning | 70
4 | CCTV Cabling Change work - supply and laying cat-6 wire 350 miter for camera | Mtr. | 330 | Kitchen + Dinning | 330
5 | Light Fitting Supply and fixing with connection of hanging light as per approved sample (as per design) | Nos | 3 | Dinning | 3
6 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | Nos | 3 | Kitchen | 3
7 | 16 amps 4P MCB with 25A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | Nos | 3 | Kitchen | 3
8 | 16A Rey roll socket complete with 16 amps SPMCB with 3 pin metal clad socket - Legrand make - kitchen power | Nos | 16 | Kitchen | 16
9 | Supply installation of following LT XLPE FRLS cables rated for 600 / 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with
10 | 4C x 16 Sq. mm A2XFY | Mtr. | 110 | Kitchen | 110
11 | Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect/Consultant
12 | 16A 5pin switch socket outlet | Nos. | 62 | Kitchen | 62
13 | 32A industrial BOX with MCB and Soket | Nos. | 10 | Kitchen | 10
14 | 2ft x 2ft Led downlighter recessed mounted with wiring | Nos. | 16 | Kitchen | 16
15 | Supply and fixing 2 X 2 CELING exhaust fan with wiring | Nos. | 2 | Kitchen | 2
16 | Supply and fixing hanging light with wiring for main facade area | Nos. | 4 | Dinning | 4
17 | Supply and fixing spot light with wiring in black colour | Nos. | 70 | Dinning | 70
18 | Supply and fixing 2" celling mounted spot light with wiring | Nos. | 30 | Dinning | 30
19 | Supply and fixing wall light as per approved sample with wiring | Nos. | 10 | Dinning | 10
20 | Led strip light | Mtr. | 20 | Dinning | 20
21 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid FRLS GI conduit concealed or surface mounted making connections where ever required to complete the installation.
22 | 2R x 2.5Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 212 | Kitchen + Dinning | 212
23 | 2R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 210 | Kitchen + Dinning | 210
24 | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 280 | Kitchen + Dinning | 280
25 | 4R x 6Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 225 | Kitchen + Dinning | 225