## summary
Intercare Enterprise
To,
| Travel Food Services Private Limited | Date: 04/11/2024
| Kolkata | PO No: TFSKPL/PO/24-25/000135
Final Performa bill for Plumbing work of Irish House project.
Sr. No. | Item Description | BOQ Amount | Actual Bill Amount
1 | P&F of Electrical work | 89551 | 89000
TOTAL without taxes |  | 89551 | 89000
18% GST |  | 16119.18 | 16020
| Grand Total | 105670.18 | 105020

## Bill
Performa bill for Plumbing of Irish House project.
Sr. No. | Item Description | Units | BOQ Qty | Actual qty | Rate/Unit | Amount
1 | Supply and insta fixing of wall mixer cock of approved Brand, make | Nos | 4 | 2 | 3500 | 7000
2 | Supply and fixing angular stop cock of approved brand or make. | Nos | 20 | 15 | 1800 | 27000
3 | Providing fixing PPR-C ( 3 layer pipes-SDR-7.4) confirming to DIN 8078, 8077 - for Domestic, RO, flushing and Hot water, including cutting the pipes to correct length, Fusion welded jointing as per manufacturer, fixing with ms clamps, including necessary fitings like elbows ,tees,unions reducers,coupling, pipe nipples etc.complete, with testing, painting.The work shall also include chasing the walls with machine wherever required for concealed piping require sleeve in walls and making good of chased surface (Pipe shall be tested with 1.5 times working pressure as covered in specifications) | Nos | 1 |  | 1 | 0
4 | 20 mm Dia | R mtr | 2 |  | 650 | 0
5 | 25 mm Dia | R mtr | 5 | 20 | 850 | 17000
6 | 32mm Dia | R mtr | 2 |  | 950 | 0
7 | 40mm Dia | R mtr | 2 |  | 1050 | 0
8 | Geyser 50Ltr- Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories ( Prior to proceed check with client for instant geyser requirement if any) | Nos | 1 | 1 | 30000 | 30000
1 | Sensor tap |  |  | 1 | 8000 | 8000
Total without taxes | [5 empty] | 89000

## MB
Measurement sheet for Plumbing of Irish House project.
Sr. No | Description | Unit | Qty | Area | Total
1 | Supply and insta fixing of wall mixer cock of approved Brand, make | Nos | 2 | Kitchen | 2
2 | Supply and fixing angular stop cock of approved brand or make. | Nos | 15 | Kitchen | 15
3 | Providing fixing PPR-C ( 3 layer pipes-SDR-7.4) confirming to DIN 8078, 8077 - for Domestic, RO, flushing and Hot water, including cutting the pipes to correct length, Fusion welded jointing as per manufacturer, fixing with ms clamps, including necessary fitings like elbows ,tees,unions reducers,coupling, pipe nipples etc.complete, with testing, painting.The work shall also include chasing the walls with machine wherever required for concealed piping require sleeve in walls and making good of chased surface (Pipe shall be tested with 1.5 times working pressure as covered in specifications) | Nos
4 | 20 mm Dia | R mtr
5 | 25 mm Dia | R mtr | 20 | Kitchen | 20
6 | 32mm Dia | R mtr
7 | 40mm Dia | R mtr
8 | Geyser 50Ltr- Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories ( Prior to proceed check with client for instant geyser requirement if any) | Nos |  | Kitchen | 1
Additional
1 | Sensor tap | Nos |  | Kitchen | 1