## SUMMARY SHEET
BILL OF QUANTITIES FOR INTERIOR, CIVIL, CARPENTRY & FINISHING WORKS
WOW MOMO FOODS PVT. LTD.
SR.NO. | DESCRIPTION
A | ANNEXURE- I CIVIL & INTERIOR | 1344035
B | ANNEXURE- II ELECTRICAL & FIXTURE | 352900
C | ANNEXURE- III PLUMBING & FIXTURE | 213300
D | ANNEXURE- IV FIRE | 123750
E | ANNEXURE- V HVAC & ALLIED | 175350.4
F | ANNEXURE -VI - SS Equipments | 850000
| Sub - Total | 3059335.4
| GST @18% | 550680.372
| TOTAL | 3610015.772

## III (Plu)
LOCATION/ HEADS | S.NO. | DESCRIPTION OF WORK | UOM | RATE | AREA/QTY. | TOTAL AMOUNT | REMARKS
| 14 | PLUMBING
Water supply
WATER SUPPLY | 14.1 | Laying / chasing new Water Supply lines to kitchen area sink, R.O., & geyser ,toilet wc, health faucet & wash basin connecting to existing lines, to make fully functional, incl.all tees, bends, junctions, elbows etc as also chasing & making good with plastered surfaceas prescribed by the architect. 'Providing, laying and jointing PPR pipes ( PN-20 ) complete (PRINCE) with PPR fittings and clamps, including cutting and making good the walls and floors and excavation and back filling wherever necessary etc.complet (as per drawing)
| A | 20 mm nominal bore | RMT | 750 | 60 | 45000
| B | 25 mm nominal bore | RMT | 900 | 40 | 36000
| C | 32 mm nominal bore | RMT | 1200 | 12 | 14400
| 14.2 | Providing and fixing brass ball balve with SS 304 stem and ball, teflon seat complete. |  |  |  | 0
| A | 25 mm nominal bore | NOS | 1250 | 3 | 3750
| B | 25 mm nominal bore | NOS |  | 2 | 0
| C | 32 mm nominal bore | NOS | 2250 | 1 | 2250
WATER TANK | 14.3 | Providing and installation of RO Water tank (o.h.w.t.) as/site provisition.(For Kitchen @ cap.-200 ltr.) | NOS | 4500 | 1 | 4500
|  | Water pressure Pump ( Make: Crompton, 0.5HP ) | NOS | 12500 | 1 | 12500
TAP & ANGLE VALVE | 14.4 | Providing & fixing bottle trap | NOS | 850 | 1 | 850
| 14.5 | Waste coupling | NOS | 650 | 1 | 650
| 14.5 | Providing and fixing 15mm C.P. brass Angle Valve (Jaguar-Continental) with C.P. copper connecting pipe 375mm long & nuts, washer and C.P. brass flange complete, including cutting and making good the wall wherever required. | NOS | 1850 | 10 | 18500
| 14.6 | C.P basin mixer with regular spout and pop-up waste system with 18" long copper connection | NOS | 4500 | 2 | 9000
| 14.7 | Drainage |  |  |  | 0
DRAINAGE LINE | A | Laying / chasing new drain discharge lines for kitchen area sink,new drain discharge lines for toilet wash basin connecting to existing lines, to make fully functional, incl all tees, bends, junctions, elbows etc as also chasing & making good with plastered surface (avg.110 mm dia)6kg/mtr as prescribed by the architect or connected to be existing waste water pipe line. 110mm | RMT | 2850 | 5 | 14250
| E | 110 mm | RFT | 220 | 5 | 1100
| F | SS Floor Trap/ 100 OR 150mm Jali Providing and fixing 100mm x 100mm Floor trap including making good of floor .(Cockroach Trap) | NOS | 950 | 3 | 2850
| G | Providing and installation of Inspection chamber (size - 1'-3"x1'-3") | NOS | 6500 | 2 | 13000
| H | Providing and fixing SS grating, 6mm thick with rim including setting in floor with cement mortar. | NOS | 5500 | 2 | 11000
|  | TOTAL OF PLUMBING |  |  |  | 189600
| 15 | FIXTURES
FAUCET | 15.5 | Health Faucet (hindware/jacqar or similar) | NOS | 2400 | 3 | 7200
|  | 6 LTR (INSTANT GEYSER) | NOS | 8000 | 1 | 8000
HAND DRYER |  | Providing & Fixing Hand dryer | NOS | 8500 | 1 | 8500
|  | TOTAL OF FIXTURES |  |  |  | 23700
|  | TOTAL OF Plumbing works |  |  |  | 213300

## Civil & Int Make
Material Specifications
S.No | WORK DESCRIPTION | MAKE
1 | ADHESIVE | FEVICOL/3M/KITCOL/VAMICOL/ARALDITE
2 | ALUMINIUM COMPOSITE PANELS(ACP) | ALUCOBOND/DUROBOND/DURABUILD
3 | ALUMINIUM SECTIONS | JINDAL
4 | BOARDS (COMMERCIAL & WATER PROOF) | ISI MARK
5 | CAST IRON PIPES | NECO/BIC/BLC
6 | Civil work-CEMENT (NORMAL) | ACC /AMBUJA/BIRLA/ULTRATECH
7 | CEMENT BOARDS | BISON/EVEREST
8 | CERAMIC TILES | KAJARIA/BELL/SOMANY/NITCO/JOHNSON/ORIENT
9 | CABLES & WIRES | POLYCABLE/KEI/FINOLEX
10 | COREAN | DUPONT/LG/SAMSUNG
11 | PVC CONDUITS | Precision / BEC /AKG
12 | CCTV CABLE | LEGRAND/AMP/MOLEX/D LINK
13 | DOOR CLOSERS | DORSET/GODREJ/DORMA
14 | DRAWER CHANNELS | HETTICH/HAFFELE/EBCO/INGERSOL RAND
15 | EXTERIOR PAINT ACRYLIC BASED | WETHERSHIELD,ASIAN
16 | EXTERIOR PAINT CEMENT BASED | SNOWCEM/NITCO
17 | FILM | 3M
18 | FIRE RETARDANT PAINT | FIRE TARD/PROMAT
19 | FLEXIBLE PLY ALL SIZES AND THICKNESS | ISI MARK
20 | FLOOR SPRING AND FITTINGS | OZONE/DORMA/HAFFELE
21 | FLUSH DOORS | ISI MARK /DURO/CENTUARY/GRANET/GREENPLY
22 | GALVANIZED IRON(G.I.) PIPES | TATA/JINDAL
23 | GLASS | ASAHI/MODIGAURD/SAINT GOBAIN
24 | GLASS MOSAIC TILES | BISSAZA/GLASS ITALIA
25 | GYPSUM BOARDS | SAINT GOBAIN-INDIA GYPSUM/FIRE LINE BOARD
26 | GYSER | JAQUAR/RACOLD
27 | HAND DRYERS | KIMBERLEY CLERK
28 | HANDLES(AS APPROVED) | NEKI/D-LINE/DORMA
29 | HARD WOOD FOR FRAMEWORK | MIRANDI OR EQUIVALENT
30 | HIGH DENSITY FIBRE BOARD | NOVOPAN/DURATUFF
31 | HINGES | MAGNUM/GARD/UNION/DORMA/HAFFELE
32 | INTERIOR PAINT ACRYLIC,LUSTURE,ENAMEL | ICI/DULUX/NEROLAC/BERGER/ASIAN/OIKOS/ASIAN
33 | INDUSTRIAL SOCKETS | LEGRAND/HAGER OR EQUIVALENT
34 | LAMINATES (AS APPROVED) | GREENLAM/FORMICA/KITLAM/VIRGO/MERINO
35 | LOCKERS/SAFE | GODREJ
36 | LOCKS (AS APPROVED) | DORSET/GODREJ
37 | LIGHT FIXTURE | PHILIPS/WIPRO/HAVELLS
38 | MAGNETIC BALL CATCHERS | GODREJ/EBCO/INGERSOL RAND/HETTICH
39 | MDF | DURATUF/ACTION
40 | METAL FABRICATION | JINDAL/GEETA/SAIL/TATA
41 | METAL FALSE CEILING | ARMSTRONG/LUXALON/TRACDEK/USG
42 | MINERAL FIBRE CEILING | ARMSTRONG/AMF/NITTOBO/INSULA
43 | MS CONDUITS | BEC /NIC
44 | MCB/RCCB/MCCB | LEGRAND/L&T/ SCHNEIDER OR EQUIVALENT
45 | PARTICLE BOARD | NOVOPAN/ECO BOARD
46 | PLY(COMMERCIAL & WATER PROOF) ALL SIZES AND THICKNESS | ISI MARK
47 | PPR PIPES & FITTINGS | PRINCE
48 | PRE LAMINATED PARTICLE BOARD | NOVOPAN/GREEN LAMIBOARD
49 | PVC PIPES | PRAKASH/SUPREME/PRINCE
50 | PLUMBING FIXTURES | JAQUAR/ESSESS OR EQUVALENT
51 | SANITORY FITTINGS | JAQUAR/MARC/AMERICAN STANDARDS
52 | SANITORY FIXTURES | CERA/HINDWARE/NEYCER/PARRYWARE/AMERICAN STANDARDS
53 | SCREWS | PHILLIPS/GKW
54 | SENSORS FOR URINAL | AOS/TECHNOCRAT/D-LINE
55 | SILICON SEALANTS | DOW CORNING
56 | SINKS | NARALI/SS UTILITIES
57 | SOAP DISH HOLDERS | JAQUAR/NEKI/MARC/AMERICAN STANDARDS/D-LINE
58 | SOAP DISPENSERS | JAQUAR/NEKI/MARC/AMERICAN STANDARDS/D-LINE
59 | SOFT BOARD | JOLLY BOARD
60 | SOUND PROOF PANELS | ANUTONE/ARMSTRONG/NITTOBO
61 | STAINLESS STEEL SHEETS | JINDAL
62 | STONE GRANITE PRESERVATIVES | DUPONT
63 | TEAK WOOD | TEAK WOOD AS PER BASIC COST
64 | TEXTURE PAINT | SPECTRUM/OIKOS
65 | TOILET PAPER HOLDER | JAQUAR/NEKI/MARC/D-LINE
66 | VENEERS(AS APPROVED) | CENTURY/GREEN/GARNET
67 | VENETIAN,VERTICAL ROLLERS | VIESTA/MAC/AEROLAX/HUNTER DOUGLAS
68 | VINYL FLOORING | ARMSTRONG/WONDER FLOOR/HANWA
69 | VITRIFIED TILES | JOHNSON/BELL/MARBONITE/EURO/ASIAN/NITCO/KAJARIA
70 | WATER PROOFING COMPOUND | DR.FIXIT/ROFFE/FOSROC/CIKO/SIKA
71 | WHITE BOARD | WHITE MARK/ALKON/ALTOP/FIXOGRAPH
72 | WHITE CEMENT | BIRLA/JK
73 | WOOD PRESERVATIVES | WOODGAURD/TERMISEAL
74 | WATER TANK | SINTEX
75 | WOODEN FLOORING | PERGO/KRONOTEX/ARMSTRONG
LIST OF APPROVED MANUFACTURERS
S.No | WORK DESCRIPTION | MAKE
1 | Air Circuit Breaker (ACB) | L&T/ GE/ SIEMENS
2 | Molded Case Circuit Breaker (MCCB) | LEGRAND/ABB/L&T
3 | Meters | AE/ L&T
4 | Indicating Lamps (LED type only) | L&T/ BINAY
5 | CT’s (cast resin type only) | AE/ CAPPA
6 | Selector Switch | KAYCEE
7 | MCB/ ELCB/ RCBO/ ISOLATORS | LEGRAND/ABB/L&T
8 | Contactors | L&T/ ABB/ GE
9 | HRC Fuses | L&T/ SIEMENS/ GE
10 | Push Buttons | L&T/ SIEMENS
11 | Battery Charger | SYSTEM CONTROLS
12 | Batteries | EXIDE
13 | Relays | EE/ L&T/ AVK SEG
14 | Timers | L&T
15 | Rotary Switch | L&T/ SIEMENS
16 | Toggle Switch | KAYCEE
17 | P.F Correction Relay | DUCATI/ L&T
18 | Capacitors | KHATAU/ DUCATI/ SIEMENS/ASIAN
20 | Pumps. | KIRLOSKAR
21 | Voltage Monitor | EE
22 | Change Over Switches | HPL/ L&T
23 | Energy Meter | L&T/Havells
24 | Pipe | Jindal/Tata
25 | Insulation | Lloyd
26 | HT/ LT Rubber matting | Jyoti/ National
27 | Metal Halide Fixtures | Phillips
28 | SON Fixtures | Phillips
29 | Fluorescent Fixtures | Phillips
30 | Cables | Havells
31 | LAN Cables | D-Link CAT-6
32 | LAN Socket | Amp
33 | Telephone Cables | Havells/ Rallison/ L&T/ DELTON
34 | Switch & Sockets | Roma/ABB/Crabtree- platinum
35 | Copper Wires | Polycab/Havells
36 | PVC/MS Conduits | BEC/AKG
37 | Transformer with HT AVR | Bharat Bijlee/ Crompton/ Sai Electricals/ Icon
38 | HT Switch Board | Siemens/ Crompton/ Isotech
39 | HT Cable | Havells/ Gloster
40 | Smoke Detectors | Apollo/ System Sensor
41 | Fire Control Panel & Accessories | ASE/ AGNI
42 | Exhaust Fans | Crompton / Havells
43 | Ceiling Fans | Crompton / Havells
44 | Wall Fans | Crompton / Havells
45 | Distribution Panels & Distribution Boards | Legrand/ABB/
46 | HT Termination | Raychem
47 | Distribution Boards - Room | LEGRAND/ABB/L&T