## Summary
TFS_BEHROR
SUMMARY OF ELECTRICAL & NETWORK WORKS-INTERNAL OUTLETS
DATE: DEC.27, 2022
SR. NO. | DESCRIPTION | SUPPLY AMOUNT (RS.) | INST AMOUNT (RS.)
1 | ELECTRICAL WORKS
A | #REF! | 0 | 0
0
B | #REF! | 0 | 0
|  | 0 | 0
C | #REF! | 0 | 0
|  | 0 | 0
D | #REF! | 0 | 0
|  | 0 | 0
E | #REF! | 0 | 0
|  | 0 | 0
F | #REF! | 0 | 0
|  | 0 | 0
G | #REF! | 0 | 0
|  | 0 | 0
H | #REF! | 0 | 0
|  | 0 | 0
I | #REF! | 0 | 0
|  | 0 | 0
J | #REF! | 0 | 0
|  | 0 | 0
K | #REF! | 0 | 0
|  | 0 | 0
2 | NETWORK WORKS | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
| GRAND TOTAL | 0 | 0
| TOTAL (SUPPLY + INST) | 0
4 | ADDITIONAL | 0
| TOTAL with additonal works |  | 0
| Tax |  | 0
| TOTAL INCLUDING TAX |  | 0

## ADDITIONAL
ADDITIONAL WORK
Sl no. | Description of Items | Unit | NO | MEASURMENT | Qty | RATE | AMOUNT
ELECTRICAL
1 | PROVIDING AND FIXING 600x600 LIGHT PANELS IN THE KITCHEN AREA | NO | 50
2 | FIXING FIRE EXTUINGUISHER | NO | 11
4 | FLY CATCHER FIXING | NO | 10
5 | SITTING AREA CENTRAL FAN | NO | 1
6 | DOMINOSE 12 WAY VTN DB | NO | 1
7 | BIKANERWAL 12 WAY TPN | NOS | 1
| OFFICE PASSAGE COMMON | NOS | 1
| SERVER ROOM | NOS | 1
3
8 | 12 WAY SPN DB
| DHABA | NOS | 1
| NOODLES WOK | NOS | 1
| CAFFECCINO | NOS | 1
| GIANIS | NOS | 1
| ROLLS KING | NOS | 1
| DOMINOSE | NOS | 1
| BIKANERWALA | NOS | 1
| BIKANERWAL RETAIL | NOS | 1
| TEA CONCEPT | NOS | 1
| OFFICE PASSAGE | NOS | 1
10
9 | SUPPLY AND FIXING WEATHER PROOF BOX FOR THE OUTDOOR SWITCHGEAR IP 66 | NOS | 9
10 | SUPPLY AND INSTALLING TRUNKING RACEWAY PF SIZE 300 X 38 MM | RMTR | 27
11
A | 3 CORE X 4 SQMM COPPER ARMOURED CABLE
| LT PANEL TO MAIN SIGANGE | RM | 109
B | 4 CORE 2.5SQMM COPPER FLEXIBLE CABLE
| ON TERRACE TO STARTER TO WATER COOLER | RM | 40
| WATER COOLER FROM THE STARTER 2X15 | RM | 30
| LT PANEL TO RO PLANT | RM | 40
110
C | 3 CORE X 4 SQMMM COPPER FELXIBLE CABLE | RM
| DHABA TO FRESH AIR MOTOR | RM | 30
| LT PANEL TO .5 HP MOTOR TOILET | RM | 76
106
D | 3 CORE 2.5 SQMM COPPER ARMOURED CABLE for UPS
| SERVER ROM TO GIANIS OUTLET | RM | 109
| SERVER ROOM TO ROLLS KING | RM | 104
| SERVER ROOM TO DOMINOSE | RM | 97
| SERVER ROOM TO BIKANERWAL OUTLET | RM | 61
| SERVER ROOM TO BIKANERWAL RETAIL | RM | 43
| SERVER ROOM TO TEA CONCEPT | RM | 37
| SERVROOM TO COMMON AREA DB | RM | 32
| SERVER ROOM TO DHABA | RM | 35
| SERVER ROOM TO NOODLES WOK | RM | 60
| SERVER ROOM TO CAFFECCINO | RM | 80
658
7 | Wiring for the following light points with 3R x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in PVC conduits in F.ceiling/walls/ceiling as direc
PRIMARY POINT UPTO 20 MTRS
| BIKNERWAL INCLUDING EMERGENCY | NO | 4
| DHABA | NO | 2
| NOODLE WOK | NOS | 2
| CAFFECCINO | NOS | 2
| GIANIS | NOS | 2
| BIKANER RETAILS | NO | 2
| DOMINOSE | NOS | 5
19
LOOPING POINTS UPTO 20 MTR
| BIKNERWAL INCLUDING EMERGENCY | NO | 14
| DHABA | NO | 7
| NOODLES WOK | NOS | 1
| CAFFECCINO | NOS | 4
| GIANIS | NOS | 2
| BIKANER RETAILS | NOS | 2
| DOMINOSE | NOS | 22
52
9 | PROVIDNG AND FIXING THE 5 PIN 32 AMP
| BIKNERWALA | NO | 1
| CAFFECCINO | NO | 1
2
10 | WALL FAN | NOS | 5
11 | PROVIDING AND FIXING THE 6 AMP POINT IN THE SITTING AREA PARTITION
| 8X3 BOX =2 6AMP POINT | NOS | 8
| 4X3 BOX--1 6 AMP POINTS | NOS | 8
12 | CASING CHANNEL IN THE EXISTING WIRING | RMTR | 35
13 | IO | NO | 67
TOTAL