**Brid Electricals Services**

**Our Services**: A.C., D.C. Motor Rewinding, All Types of Pump Repair, Lift Spare Parts, and All Types of Wiring & Fabrication Jobs.

**Regd.Off**. 173/12, Gharkul co-op,Hsg. Soc., Sec. No.1,Charkop,kandivali(W) Mumbai-400067.

**Workshop & Office**: G-C54 (A), Oshiwara Industrial centre, Premises CHS, New link Road, Opp.Goregaon Bus Depo, Goregaon (W) Mumbai-400104. **Telefax**: 022-28784722, **Cell**:9819980391,**Email**:bridelectricalservices@yahoo.co.in

(Govt. Licensed Electrical Contractor)

T

 **DATE: 12-07-2024**

**TO,**

**Semolina Kitchens Pvt Ltd**

**Worli**

**Mumbai**

 **SUBJECT – QUOTATION**

**Respected Sir,**

 **Sir, hereby we are sending a lowest Quotation for Following material /work as Mentioned Below, so please check it ones and confirm the same.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr.no.** |  **Description** | **QTY** | **Rate (Each)** | **Amount** |
|  |  |  |  |  |
| **1** | **4SQMM x 4 Core Flexible Cable POLYCAB**  | **35 Mtr**  | **225** |  **7875.00** |
| **2** | **4 Pole 32 Amp MCB Make Legrand DX3** | **03 Nos**  | **1400** | **4200.00** |
| **3** | **4 Pole 63 Amp MCB Make Legrand DX3** | **03 Nos** | **1725** | **5175.00** |
| **7** | **6M Surface Box**  | **02 Nos** | **120** | **240.00** |
| **8** | **Myrius 6 M Plate**  | **02 Nos** | **235** | **470.00** |
| **9** | **Myrius 16 Amp Socket**  | **04 Nos**  | **250** | **1000.00** |
| **10** | **Myrius 16 Amp Switch**  | **04 Nos** | **180** | **360.00** |
| **11** | **MCB MS Box**  | **03 Nos**  | **550** | **1650.00** |
|  |  |  |  |  |
|  | **TOTAL AMOUNT** |  |  | **20970.00** |

1. **GST 18% Extra**

**THANKS AND REGARDS,**

**FROM**, **BRID ELECTRICALS SERVICES**

**RAJESH BRID - 919819980391**