## PI
DAYSPRING ENTERPRISES
B/14, HAPPY HOME APTS, OPP. SWEEKAR HOTEL
SAIBABA NAGAR, BORIVLI (WEST), MUMBAI - 400 092
Contact no: +91 98202 30523 Email : dayspringent@gmail.com
Proforma Invoice for Budwiser Extra Item Work
To, | Simolina Kitchen Pvt. Ltd. |  | Date |  | 2025-01-01
Lucknow Airport terminal -3 , Budwiser
Kindly Attn.:- Mr. Irfan Sayed
Sr. No. | Category | Description | Unit | QTY | Rate | Amount
1 | Extra Item | Budwiser D-42 Additional Item | nos | 1 | 360900 | 360900
[5 empty] | Basic Total | 360900
[5 empty] | Add GST @ 18% | 64962
[5 empty] | Grand Total | 425862
Work Completion Time Period
15 days from the Date of PO with advance
Payment terms :
50% Advance with Work order
No Retention
For DAYSPRING ENTERPRISES
Authorised Signatory

## Summary
DAYSPRING ENTERPRISES
SUMMARY FOR Budweiser Non tendering Items LKO LUCKNOW AIRPORT
Sr. no | Discreption | Unit | Total Qty | Rate | Amount | Remarks
1 | BOH Area metal ceiling removing and rework to achive 100 mm Level down or Hanging rod with butterfly claim or as per project incharge | Sqm | 30 | 350 | 10500 | Kitchen area ceiling
2 | Supply,Installation, Testing and Commissioning of GI multiblade volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc., as per specifications. | Sqm | 1.08 | 7500 | 8100 | VCD for exhaust
3 | Supply, Installation, Testing and Commissioning of multiblade Al volume control Collar / Grille / exhaust Air Opening damper complete with suitable links, lever and quadrants for manual control of airflow and with suitable links , lever and quadrants for manual control of airflow and neoprene rubber gaskets, nuts, bolts, screws, flanges etc., as per specifications. | Sqm | 2.4 | 9000 | 21600 | Grills vcd
4 | Angle valve/ Cock with PVC pipe connection upto WHB/sink/Geyser connection | Nos | 14 | 2350 | 32900 | for plumbng in and out line
5 | SITC of insulation for chilled water. piping. For internal pipe - Stick 25mm thick Nitrile rubber class "O" Closed cell nitrile rubber with anti-microbial coating on it. Insulation shall have Thermal conductivity of 0.033 W/(m.K) and water vapor permeance of 0.10. Joints should be sealed with 50 mm wide 3 mm thick self adhesive tape . | Rmt | 25 | 350 | 8750 | For AHU chilled line
6 | UPVC pipes fitting for AHU Drain water of following sizes with necessary supports and fittings such as elbows, tees & reducers etc. The insulation line to be insulated with nitrile rubber insulation of thickness 9mm and wrapped by weather proof protection tape. Φ 25 mm (Make: Supreme, Prince, Astral) | Rmt | 20 | 400 | 8000 | AHU drain line
7 | CPVC pipes fitting fof Gyser Line water of following sizes with necessary supports and fittings such as elbows, tees & reducers etc. Φ 25 mm (Make: Supreme, Prince, Astral) | Rmt | 14 | 400 | 5600 | For Gyser Connection at dish wash area
8 | Fixing,Testing, and Commissioning of Sink Grease trap with necessary fitting. | Nos | 1 | 12000 | 12000 | Grease trap fixing with fitting for Nugreen at dish wash area
9 | Providing and fixing SS Sink with drain pipe connection Make Nirali aur equivelent Size -350x450 | Nos | 1 | 4000 | 4000 | Bar counter area
10 | Supply, Fabrication, Testing, and Commissioning of GI Sheet Metal 120GSM Rectangular boxed ducting, Plenums, Cowls, Elbows with turning vanes, Splitters, Reducers, Flanges, Collars etc as per IS and Installaton as per SMACNA standards, The complete ducting shall be provided with MS Supports, Rods, Angles, Flanges, Bracing, Rubber Gaskets, Wooden frames, Canvas Connections, etc. as per drawings and specifications. (For Scrubber and BOH duct) 24 Gauge GI Sheet Metal Duct (0-750mm) | Sqm | 45 | 1250 | 56250 | For scrubber connection of hud and Exhaust Duct making and taping Adani Exhaust Line, additional ducting.
11 | Electrical Additional point for CCTV system 6 module board with box and face plate or as per desire whichever with all include | nos | 2 | 3500 | 7000 | For cctv and Fire alarm 6 module
12 | Electrical Additional point for Gas panel and suppression system 6 module board with box and face plate or as per desire whichever with all include | nos | 2 | 1950 | 3900 | Kitchen and Panel area
13 | Wiring for secondary Switch controlled light points ( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS concealed/surface conduit including cost of cutting and filling chases for recessed conduiting and supports in case of Surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | pt | 3 | 2050 | 6150 | Kitchen ceiling light looping
14 | DB 32A 3P+N+E- with 40A MCB | nos | 3 | 7500 | 22500 | Kitchen 3-phse box for Dish washer machine/4 burner electric oven & Merry chef
15 | 4 x 6sqmm + 2.5sqmm in existing conduit | mts | 7 | 650 | 4550 | cable for dish washer machine
16 | 4 x 10sqmm Coper Cable | mts | 26 | 950 | 24700 | For Merrychef & 4 burner range below oven
17 | Isolator 40 Amp | Nos | 1 | 1850 | 1850 | For dish washer 3 phase box Connection looping
18 | Isolator 63 Amp | Nos | 1 | 2050 | 2050 | For scrubber and scrubber Dryer connection
19 | 3core x 6 sq.mm Copper Armoured cable | mts | 10 | 750 | 7500 | UPS i/p n o/p
20 | Termination of above | nos | 2 | 350 | 700
21 | FP C40A AC MCB | nos | 1 | 3800 | 3800 | In DB
22 | DP 40A,100MA RCCB | nos | 2 | 3800 | 7600 | In DB
23 | 32A DP MCB with enclosure | nos | 1 | 2800 | 2800 | UPS output
24 | Providing and Laying FRLS 3R x 1.5 sqmm wire supply | mts | 150 | 175 | 26250 | Hood Light and counter area light connection and AHU PICV valve connection 3 nos
25 | Providing and Laying FRLS 4Rx4 sqmm wire supply with conduit | mts | 18 | 1050 | 18900 | For scrubber and scrubber Dryer connection from panel till machine
26 | Providing and fixing Scrubber DOL Stater | Nos | 1 | 7500 | 7500 | For scrubber
27 | Providing and fixing Main drain CP jali heavy duty | Nos | 2 | 350 | 700
28 | Floor tile dismentle and removing of debrais and 100mm PVC heavy duty pipe connection with all bends and making 300x300 mm GT . | nos | 1 | 4000 | 4000 | At dish wash area.
29 | providing and fixing 300x300 mm SS Jali | Nos | 1 | 1050 | 1050 | Below dish washer machine
30 | Providing and fixing Floor tile 600x600 mm or existing floor tile dismentle for plumbing work . | Sqm | 2.5 | 980 | 2450 | At dish wash area.
31 | General testing,repairing and wiring work for site completion | job | 1 | 5000 | 5000 | Entire outlet electrical power points testing and commissioning.
32 | Pumps for RO flow | nos | 1 | 8750 | 8750 | For RO water pressure
33 | Rubber mat - 2 mm for electrical panel - as per std | Sq ft | 25 | 120 | 3000 | Infront of LT panel
34 | MS support | Sqmt | 1 | 3500 | 3500 | support for 4 burner range and plumibg fittings support to avoid damages
35 | Removing and shifting Dabris out side of airport area by truck per round 200 cft | nos | 2 | 8500 | 17000 | Entire debris from outlet area
| Total Amount |  |  |  | 360900