## Summary
Sr No | Particulars | TFS Amount
1 | Extra Items | 244222.607
2 | Agreed Rates for Common Area | 102400
GRAND TOTAL |  | 346622.607

## COMMON AREA EXTRA
Sr No | Item Description | Unit | No | L | W | QTY | TFS Rates | TFS Amount
Add-1 | P/L 2CX4sqmm+1x1.5sqmm FRLS wire | Rmtr |  |  |  | 16.63 | 220 | 3658.6
| Common area | [6 empty] | 0
| (2+1.4+2.9+3.3+1.5+1.5+2.53+1.5) |  | 1 | 16.63 |  | 16.63 |  | 0
0
Add-2 | P/L 2Cx2.5sqmm+1Cx1.5sqmm- Furniture flooring power points |  |  |  |  | 140.9 | 165 | 23248.5
| (2+1.4+4.85+1+1.5+1.5+2.5+1.5+1.5+2.5+1.5) |  | 1 | 21.75 |  | 21.75 |  | 0
| (2+1.4+11.3+1.72+1.5+1.5+2.14+1.5+1.5+3.72+1.5) |  | 1 | 29.78 |  | 29.78 |  | 0
| 2+1.4+11.3+1.72+1.5+1.5+1.5+1.5+1.5+1.5+1.5+1.5+2.14+1.5 |  | 1 | 32.06 |  | 32.06 |  | 0
| (2+1.4+15.3+1+1.5+2.39+1.5+2) |  | 1 | 27.09 |  | 27.09 |  | 0
| (2+1.4+15.3+3.45+4.5+1.5+2.07) |  | 1 | 30.22 |  | 30.22 |  | 0
0
Add-3 | Installation / drawing of provided Speaker wire(Laying only) | LS | 1 |  |  |  |  | 0
0
Add-5 | P/F 25mm pvc conduit | Rmtr | 1 | 0 |  | 0 |  | 0
0
0
Add-6 | Speaker | No | 1 | 14 |  | 14 | 250 | 3500
0
Add-7 | Supply and laying, effecting proper connections, testing commissioning of the following sizes of 1.1 KV XLPE FRLS armoured unarmoured PVC insulated PVC sheathed aluminium copper conductor cables conforming to IS 1554 and IS 694 for Flexible copp of size 35mm2 x 4C | Rmtr | 1 | 0 |  | 0 |  | 0
0
Add-8 | Speaker Boxes | Nos | 8 | 1 |  | 8 | 1200 | 9600
Add-9 | P&F Flap Doors with all necessary hardware | Nos | 4 | 1 |  | 4 | 3000 | 12000
Add-10 | Column Moulding | RFT | 16 | 1 |  | 16 | 250 | 4000
Add-11 | Installation of ceiling lights | L/S | 1 | 1 |  | 1 | 14000 | 14000
0
Add-12 | Primery Point for light | No | 1 |  |  | 0 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Add-23 | P&F 6/16A Socket with 16A Switch complete with face plate(Furniture) |  |  |  |  | 5 | 500 | 2500
0
0
Add-24 | Making trapdoor in Handwash Area |  |  |  |  | 1 | 1000 | 1000
0
Add-25 | Anti termite / Pest Control of entire area |  |  |  |  | 5871.7584 | 10 | 58717.584
|  |  |  | 22 | 26.58 | 584.76 |  | 0
|  |  |  | 57.5 | 19.08 | 1097.1 |  | 0
|  |  |  | 6 | 10.33 | 61.98 |  | 0
|  |  |  | 6 | 8 | 48 |  | 0
|  |  |  | 7.83 | 19.08 | 149.3964 |  | 0
|  |  |  | 7.83 | 19.08 | 149.3964 |  | 0
|  |  |  | 17.16 | 38.58 | 662.0328 |  | 0
|  |  |  | 17.16 | 38.58 | 662.0328 |  | 0
|  |  |  | 8 | 26.58 | 212.64 |  | 0
|  |  |  | 30.33 | 74 | 2244.42 |  | 0
0
Add-25 | P&F POP on entire ceiling & wall in Common area (Equevelent to Paint qty) |  |  |  |  | 3133.2641 | 30 | 93997.923
0
Add-25 | Providing only of shock proof mat for Panel area | rmt | 1 | 10 | 1 | 10 | 1150 | 11500
0
Add-26 | P&F Pop Up Boxes with 16A Switch & Socket | nos | 2 |  |  | 2 | 3250 | 6500
0
Total Amount | [7 empty] | 244222.607

## Agreed Rate
Sr No | Item Description | Unit | QTY | TFS Rates | TFS Amount
Add-22 | Modification of Bikanerwala façade | NOS | 1 | 20000 | 20000
Add-13 | P/F Glass door compelete with all hardware | NOS | 2 | 30000 | 60000
0
Add-14 | P/F 32A weather proof box with enclosure | NOS |  |  | 0
| AC Plateform outdoor |  | 2 | 8000 | 16000
Add-24 | P&F USB Charger Socket with 6A Switch complete with face plate(Furniture) | NOS | 8 | 800 | 6400
Total Amount |  |  |  |  | 102400