## Summary
Sr No | Particulars | TFS Amount
1 | Extra Items | 86366.4443
TOTAL |  | 86366.4443

## GIANI EXTRA WORK
Sr No | Item Description | Unit | No | L | W | QTY | TFS Rates | TFS Amount
Add-1 | P/F Service counter/take away made out of 19mm marine ply for sides, 12MM THK corian top, bottom, shelves and shutters IN PLYWOOD. Back of cabinet to be made out of 6mm marine ply. All external surfaces to be finished with approved laminate of 1.0mm thickness. etc complete as per drawing and details. |  |  |  |  | 9 | 1520 | 13680
| Giani store POS- COUNTER | Sqft | 1 | 3 | 3 | 9 |  | 0
0
Add-2 | P/F 18mm HDMR board with m.s frame | Sqft |  |  |  | 13.5373 | 200.25 | 2710.8443
| Bulkhead inside |  | 0 | 8 | 3.5 | 0 |  | 0
| Near handwash |  | 1 | 5.81 | 2.33 | 13.5373 |  | 0
0
Add-3 | Providing and applying Plastic Emulsion Paint on Ceiling of approved make & shade filling the dents with approved Acrylic putty gypsum / or approved crack filler, binder, cleaning and making the surface dust free, preparing surfaces, applying a coat of sealer or primer as per the manufacturers specifications, applying two under coats and one finished coat of paint to achieve the required finish including scrapping the existing paint, scaffolding, cleaning etc. complete as per detail drawing, as specified and as directed by Engineer-in-charge. | Sqft |  |  |  | 413.54 | 40 | 16541.6
| Gypsum ceiling |  | 1 | 18 | 7.78 | 140.04 |  | 0
| Store entry LHS wall |  | 1 | 6 | 18 | 108 |  | 0
| Store entry RHS wall |  | 1 | 6 | 19 | 114 |  | 0
| Entry door wall |  | 1 | 8 | 9.5 | 76 |  | 0
| Less door |  | -1 | 3.5 | 7 | -24.5 |  | 0
0
Add-4 | P/L 3Cx2.5 sqmm FRLS wire | Rmtr |  |  |  | 71.8 | 165 | 11847
| DB to geyser (2.5+2.5+2.5+1.2+) |  | 1 |  | 10.2 | 10.2 |  | 0
| DB to geyser wall (2.5+2.5+2.5+2.35) |  | 1 |  | 11.35 | 11.35 |  | 0
| DB to geyser wall (2.5+2.5+2.5+2.35+1.5) |  | 1 |  | 12.85 | 12.85 |  | 0
| DB to Poin 1 (2.5+1) |  | 1 |  | 3.5 | 3.5 |  | 0
| DB to point 3 (2.5+1.5) |  | 1 |  | 4 | 4 |  | 0
| DB to Point 4 (2.5+1.5+2) |  | 1 |  | 6 | 6 |  | 0
| DB tom point 5 (2.5+1.5+2.5) |  | 1 |  | 6.5 | 6.5 |  | 0
| DB to POS (2.5+1.5+2.5+3.5) |  | 1 |  | 10 | 10 |  | 0
| DB to sighnage (2.5+1.5+1.5+1.9) |  | 1 |  | 7.4 | 7.4 |  | 0
0
Add-5 | P/L 3Cx4 sqmm FRLS wire | Rmtr |  |  |  | 35.5 | 300 | 10650
| Basement UPS DB to gyani DB (3+4+20.5+6.5+1.5) |  | 1 |  | 35.5 | 35.5 |  | 0
0
0
Add-6 | P/L Data wire | Rmtr |  |  |  | 45 | 45 | 2025
| (3+5+20+6.5+2+3.5+4.5+.5) |  | 1 |  |  | 45 |  | 0
0
Add-7 | Supplying, installation, testing & commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes complete as required. | No |  |  |  | 3 | 1230 | 3690
| 1500mm lonf flexible sprinkler | [6 empty] | 0
0
Add-8 | P/L PVC pipe with chasing of wall | Rmtr |  |  |  | 2 | 75 | 150
0
Add-9 | Supply, installation, testing & commissioning of Conventional Type optical Smoke Detector with inbuilt scattered light measurement, rate of rise and fixed temperature based technology and LED indication should be on the centre of the detector with mounting base complete as required. |  |  |  |  | 3 | 2000 | 6000
0
Add-10 | Supply, installation, testing & commissioning of conventional Manual Call Point (break glass type)complete with push button,enclosed in box with provision of conduit/cable coupling.The unit to be painted fire red outside ,white inside and written "in case of fire break glass" or as required. |  |  |  |  | 1 | 1200 | 1200
0
Add-11 | Supply, installation, testing & commissioning of Conventional Hooter cum Strobe complete as required.110 cd light & 85 dB adjustable at different locations complete with all fixing accessories etc under false ceiling ,roof,wall etc complete as required. |  |  |  |  | 1 | 1200 | 1200
0
Add-12 | Supplying and erecting PVC armoured cable 2 core 1.5 sq. mm FRLS copper conductor complete erected on wall / celling as per specification |  |  |  |  | 104.8 | 140 | 14672
| Smoke1 (2+2.8) |  |  |  |  | 4.8 |  | 0
| Smoke2 (2+3) |  |  |  |  | 5 |  | 0
| Smoke3 (2+4) |  |  |  |  | 6 |  | 0
| Main zone to hooter (1.5+3+5+5+5+5+7+5+4+2+2)*2 |  |  |  |  | 89 |  | 0
0
Add-13 | Making core cuts of 125mm dia for main drain tap off | nos | 2 |  |  | 2 | 1000 | 2000
0
86366.4443

## Sheet1 (hidden)
Add-2 | P/F 18mm HDMR board with m.s frame
| P/F 18mm HDMR board with 40x40x2mm m.s frame | Sqft
| Details cost for 100 sqft | Unit | Length | Weight/Feet | Weight | Rate | Amount
| M.S frame 40x40x2mm M.S frame pipe length-120Rft | Rft | 120 | 0.73 | 87.6 | 68 | 5956.8
| Wastage@5% | Sqft | 6 | 0.73 | 4.38 | 68 | 297.84
| 18mm HDMR board | Sqft | 100 |  |  | 125 | 12500
| Wastage@5% | Sqft | 5 |  |  | 126 | 630
| Welding rod | LS | 1 |  |  | 350 | 350
| Welding machine charges | No | 1 |  |  | 500 | 500
Labour
| Welder | No | 1 |  |  | 1500 | 1500
| Carpenter@1200+Helper@700 | No | 0.5 |  |  | 1900 | 950
| Material Transportation@5% | No | 1 |  |  | 932.44 | 969.232
| Cost for 100 sqft | [5 empty] | 23653.872
| Add 15% contractor OH profit | [5 empty] | 3548.0808
| Cost of 1 sqft | [5 empty] | 272.0195
| Description | Base Rate | Unit | 3% Wastage | Hardware/Fitting | Labour Charges | 2% Tools & Plants | 1% Transport Charges | Amount | 20% O/H & profit | Total Amount
Add-4 | P/L 3CX2.5 sqmm FRLS wire | 105.2 | Mtr | 3.156 | 10 | 35 | 2.104 | 1.052 | 156.512 | 31.3024 | 187.8144
| 25 mm PVC Counduit | 22 | Mtr | 0.66 | 10 | 20 | 0.44 | 0.22 | 53.32 | 10.664 | 63.984
251.7984
Add-5 | P/L 3Cx4 sqmm FRLS wire | 252.54 | Mtr | 7.5762 | 10 | 35 | 5.0508 | 2.5254 | 312.6924 | 62.5385 | 375.2309
|  | 22 | Mtr | 0.66 | 10 | 20 | 0.44 | 0.22 | 53.32 | 10.664 | 63.984
439.2149
Add-6 | P/L Data wire | 28 | Rmt | 0.84 | 5 | 20 | 0.56 | 0.28 | 54.68 | 10.936 | 65.616
|  | 22 | Mtr | 0.66 | 10 | 20 | 0.44 | 0.22 | 53.32 | 10.664 | 63.984
109.8324
Add-7 | Supplying, installation, testing & commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes complete as required. |  |  | QTY | RATE | UNIT | COST
| 1.5 mtr. Long corrogated stainless steel flexible Avg. basic rate |  |  | 1 | 630 | No. | 630
| Accessories (Fttings) |  |  | 1 | 300 | LS | 300
| Resette Plate |  |  | 1 | 40 | No. | 40
| Spenkler Pendent type 15 mm dia |  |  | 1 | 220 | No. | 220
| welding Rod |  |  | 3 | 3.95 | No. | 11.85
| The material cost = | [5 empty] | 1201.85
| Add 5% wastage(s.no 2&3)= | [5 empty] | 0
| Total material cost = | [5 empty] | 1201.85
| Scaffolding |  |  | 1 | 100 | LS | 100
| Tools & Plants @ 1.5% | [5 empty] | 18.0277
| Transportation Cost @ 5% | [5 empty] | 60.0925
| Total material cost = | [5 empty] | 1379.9702
| Labour cost = | [5 empty] | 800
| cost of 1.5 mtr. Long corrogated stainless steel ( grade AISI 304 ) flexible = | [5 empty] | 2179.9702
| 15% contractor profit = | [5 empty] | 326.9955
| The total cost of 1.5 mtr. Long corrogated stainless steel ( grade AISI 304 ) flexible = |  |  |  |  | Nos | 2506.9658
ADD - 1
| Item | unit | Basic rate
b | 12mm thick Staron | sft | 980
| Wastage@5% |  | 49
e | Labour | sft | 120
| Total |  | 1149
f | Material / Hardware | sft | 114.9
g | Total (d+e+f) |  | 1263.9
h | Over heads / transportation / loading / unloading @10% |  | 126.39
i | Total (g+h) |  | 1390.29
j | Mark up @20% |  | 278.058
1668.348
k | Counter carcus complete with hardware & laminate (as per drawing) | sft | 750
| Grand Total (j+k) |  | 2418.348