## Additional Work
Additional Work - FRANKS 044
S.No. | DESCRIPTION | UNIT | TOTAL QTY | Rate | Amount
1 | FIRE ALARM SYSTEM - CABLING
1.1 | Supply and surface laying of armoured FRLS twisted pair, shielded cable.
a | 2 core 1.5 Sqmm (Make Polycab, Finolex, RR, Cable, KEI) | Lot | 1 | 35000 | 35000
2 | Supplying, installing, testing and commissioning approved make PVC conduits on ceiling / wall / floor etc. complete with accessories like, Junction boxes, Collars, Bends etc. | Lot | 1 | 5000 | 5000
3 | Supply & Instalation Front Faccade Continuis Grill (300 x 20000) | Sqmt | 6 | 8500 | 51000
(Make : Cool Grills, Air Track as Equilent)
4 | BTU Meter With Ball Valve Assembly
4.1 | 25 mm ( Make : Siemens, Honeywell as Equilent) | No. | 1 | 55000 | 55000
5 | Starter Panel With Integration Relay
5.1 | Exuast & Fresh Air | No. | 2 | 25000 | 50000
5.2 | AHU | No. | 1 | 25000 | 25000
| SUB-TOTAL FOR EXTRA WORK |  |  |  | 221000
| GST 18% |  |  |  | 39780
| Grand Total |  |  |  | 260780
Pioneer Project Solution
(Authorised Signatory)