## Additional Work
Additional work Fire Sprinkler - Ulava Charu-FF-39 & FF-40
S.No. | DESCRIPTION | UNIT | TOTAL QTY | Rate | Amount
1 | SPRINKLERS BRAIDED FLEXIBLE PIPE
1.1 | Providing & fixing testing and commissioning of UL Rated SS Flexible pipe ( Assumed required at site)
a | 1500 MM LONG (DONOR GYROS C-F-10B) | No. | 30 | 3050 | 91500
2 | BTU Meter With Ball Valve Assembly
a | 40 mm ( Make : Siemens, Honeywell as Equilent) | No. | 1 | 75000 | 75000
b | 32 mm ( Make : Siemens, Honeywell as Equilent) | No. | 1 | 65000 | 65000
3 | FIRE ALARM SYSTEM - CABLING
a | Supply and surface laying of armoured FRLS twisted pair, shielded cable.
b | 2 core 1.5 Sqmm (Make Polycab, Finolex, RR, Cable, KEI) | Lot | 1 | 60000 | 60000
4 | FAS Module
a | Smoke Dedector | No. | 7 | 6200 | 43400
b | Heat Dedector | No. | 1 | 6400 | 6400
c | Manul Call Point | No. | 2 | 5800 | 11600
d | Sounder Strobe | No. | 2 | 6000 | 12000
e | Moniter Module | No. | 3 | 6800 | 20400
f | Response Indicator | No. | 3 | 550 | 1650
| SUB-TOTAL FOR EXTRA WORK |  |  |  | 386950
| GST 18% |  |  |  | 69651
| Grand Total |  |  |  | 456601
Pioneer Project Solution
(Authorised Signatory)