## LIGHTING
AJ1881 CAFÉ AHMEDABAD AIRPORT - LIGHT DETAILS
NO | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 |  | 6 | Locally purchased (if available) or Custom made Golden painted designer pendant lamp with Neutral White Light | Dinning Area | Dimmable | 4000 K | 18 W | 460 (DIA) x 200 (H) MM
2 |  | 11 | Glass Globe Pendant with Neutral White Light | Dinning Area | Dimmable | 4000 K | 18 W | 200 DIA. MM
3 |  | 7 | Designer Wall Lamp with Warm White light | Dinning Area | Dimmable | 3000 K | 18 W | 220 (L) X 200 (D) X 600 (H) MM
4 |  | 7 | Downlight | Counter | Dimmable | 4000 K | 12 W | 130 Dia. MM
5 |  | 1 | LED Circular Panel Light | BOH |  | 4000 K | 22 W | 300 Dia. MM
6 |  | 2 | LED Square Panel Light | BOH |  | 4000 K | 30 W | 600 X 600 MM
7 |  | 1 | Yellow LED Strip | Counter & False ceiling |  | 3000 K | 22 W/ mtr

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49