## SUMMARY
SUMMARY OF ELECTRICAL WORK, COPPER CHIMNEY, OBEROI MALL, GOREGAON, MUMBAI
DATE: 20-04-2024
S.No | Description Of Work | WORK ORDER AMOUNT | R.A 01 (60%) | RA 02 (15%) | FINAL BILL | Cumulative Bill (100%)
1 | SECTION-I-POINT WIRING | 607820 | 364692 | 91173 | 114888.6 | 570753.6
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS | 88100 | 52860 | 13215 | 36325 | 102400
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV | 38305 | 22983 | 5745.75 | 51996.25 | 80725
4 | SECTION-IV-INSTALLATION OF LIGHTING FIXTURES | 17681 | 10608.6 | 2652.15 | 2014.25 | 15275
5 | SECTION-V PANELS, DISTRIBUTION BOARDS | 465500 | 279300 | 69825 | 116375 | 465500
6 | SECTION-VI -CABLING & EARTHING | 224056 | 134433.6 | 33608.4 | -5567.5 | 162474.5
7 | SECTION-VII-SERVO STABILIZER/ UPS | 1 | 0.6 | 0.15 | -0.75 | 0
8 | SECTION-VIII-MISCELLANEOUS | 37900 | 22740 | 5685 | -5305 | 23120
9 | NON TENDER ITEMS |  |  |  | 45513 | 45513
| TOTAL | 1479363 | 887617.8 | 221904.45 | 356238.85 | 1465761.1
| IGST@18% | 266285.34 | 159771.204 | 39942.801 | 64122.993 | 263836.998
| GRAND TOTAL | 1745648.34 | 1047389.004 | 261847.251 | 420361.843 | 1729598.098

## KITCHEN AND BAR BOQ
ELECTRICAL BOQ FOR COPPER CHIMNEY
|  | AS PER ORDER |  |  |  | AS PER SITE |  | REMARKS
Sr. No | Description | Qty | Unit | Rate | Amount | QTY | Amount
|  |  |  | Rs. | Rs. | Rs. | Rs.
1 | SECTION-I-POINT WIRING
1.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm Cu.FRLS wires in fire rated MS conduits from LDB to primary points & primary points to secondary points(Switch controlled Lights) along with witch ms box providing and fixing
Only for Wire Conduits Not Included
1.1.1 | Pre primary points from DB to switchboard ( 10 Mtr ) | 2 | Nos. | 2710 | 5420 | 0 | 0 | NOT EXECUTED
1.1.2 | Primary points upto 6 meters | 6 | Nos. | 2100 | 12600 | 0 | 0 | NOT EXECUTED
1.1.3 | Secondary points upto 3 meters | 0 | Nos. |  | 0 |  | 0
1.2 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points & primary points to secondary points(MCB controlled Lights)
1.2.1 | Primary points upto 6 meters | 35 | Nos. | 2100 | 73500 | 7 | 14700
1.2.2 | Secondary points upto 3 meters | 95 | Nos. | 1200 | 114000 | 4 | 4800
1.2.3 | Points in running meter | 520 | Rmtr | 250 | 130000 | 932 | 233000
1.3 | Supply & Installation of FRLS Wires in MS conduit for power / lighting conduiting surface mounted on ceiling/ conceiled in walls
1.3.1 | Supply & Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits | 885 | Rmt | 280 | 247800 | 911.62 | 255253.6
1.3.2 | Supply & Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits | 70 | Rmt | 350 | 24500 | 180 | 63000
1.3.3 | Supply & Installation of 2 nos.6 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 25mm dia PVC conduits | 0 | Rmt |  | 0
0
1.3.4 | Supply & Installation of 4 nos.4 Sq.mm +2 no. 2.5 Sqmm copper FRLS wires in 25mm dia PVC conduits | 0 | Rmt |  | 0
0
1.3.5 | Supply & Installation of 4 nos.10 Sq.mm +2 nos. 4 Sqmm copper FRLS wires in 32mm dia PVC conduits | 0 | Rmt
0
| TOTAL OF SECTION I |  |  |  | 607820 |  | 570753.6
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD )
2.1 | Supply & Installation of the following MDS make Metra Plug & Socket DBs
2.1.1 | 20/25/32A SP Metal Clad switch socket | 0 | Nos. |  | 0
| cat no. 6078 41 |  |  |  | 0
0
2.1.1 | 5/15A SW/SO - 1 Nos. Metal clad (MODULE - standard) | 11 | Nos. | 850 | 9350 | 0 | 0 | NOT EXECUTED
2.1.2 | 20A SP 1ph 3 pin Metal clad SO with MCB | 12 | Nos. | 1500 | 18000 | 12 | 18000
2.1.3 | 25A TP Metal Clad switch socket |  | Nos. |  | 0 |  | 0
| cat no. 6078 50 |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.1.3 | 32A 4P 3ph 5 pin Metal Clad socket With MCB | 1 | Nos. | 7000 | 7000 | 2 | 14000
[5 empty] | 0 |  | 0
2.2 | Supply & Installation of the following Sockets, Switches
including the front plate & Back boxes
2.2.1 | 5A, 5 Pin Switch socket outlet (Raw Power) |  | Nos. |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2.2 | 2 nos. 6/16A 6 Pin Switch Socket Outlets (UPS) |  | Nos. |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2.3 | 3 nos. 6/16A 6 Pin Switch Socket Outlets (Raw Power) |  | Nos. |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2.1 | 1 nos. 6 /16A 6 Pin Switch (Raw Power) |  | Nos. |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2.1 | 5 /15A SW/SO 6 Pin - 2 Nos. (Raw Power) MODULE - 8 | 1 | Nos. | 1500 | 1500 | 4 | 6000
2.2.2 | 5 /15A SW/SO 6 Pin - 2 Nos. (Raw Power) MODULE - 6 | 13 | Nos. | 1250 | 16250 | 24 | 30000
2.2.3 | 5 /15A SO 6 Pin - 2 Nos. (Raw Power) MODULE - 4 | 1 | Nos. | 900 | 900 | 1 | 900
2.2.7 | 1 no. 5/15 A, 1P+N+E, SOCKET WITH REMOTE SWITCH | 0 | Nos. |  | 0 |  | 0
2.2.8 |  |  |  |  | 0 |  | 0
2.2.9 | 1 no. 16A 6 Pin Switch Socket Outlets (Raw Power) | 0 | Nos. |  | 0 |  | 0
2.2.10 |  |  |  |  | 0 |  | 0
2.2.11 | 25A, 3 Pin switch socket outlet | 0 | Nos. |  |  |  | 0
2.2.12 |  |  |  |  | 0 |  | 0
2.2.13 | 16A Flat pin switch socket outlet (white colour) | 0 | Nos. |  |  |  | 0
2.2.14 |  |  |  |  | 0 |  | 0
2.2.15 | 16A Flat pin switch socket outlet (Black colour) | 0 | Nos. |  | 0 |  | 0
2.2.16 |  |  |  |  | 0 |  | 0
2.2.17 | Bell Point | 0 | Nos. |  | 0 |  | 0
2.2.18 |  |  |  |  | 0 |  | 0
2.2.4 | 5 /15A SW/SO 6 Pin - 1 Nos. (Raw Power) MODULE - 3 | 3 | Nos. | 750 | 2250 | 7 | 5250
2.2.5 | 5 /15A SW - 2 Nos. (Raw Power) MODULE - 2 | 1 | Nos. | 550 | 550 | 1 | 550
2.2.6 | 5/15A SO WITH USB PORT 5 Pin - 1 Nos. (Raw Power) MODULE - 3 | 10 | Nos. | 2250 | 22500 | 10 | 22500
2.2.7 | 5/15A SW/SO 5 Pin - 1 Nos. (Raw Power) MODULE - 3 | 5 | Nos. | 650 | 3250 | 8 | 5200
2.2.8 | 5/15A SW/SO 5 pin 2 Nos. MODULE - 8 | 4 | Nos. | 1450 | 5800 | 0 | 0 | NOT EXECUTED
2.2.9 | 5/15A SW/SO 6 pin 1 Nos. MODULE - 4 | 1 | Nos. | 750 | 750 | 0 | 0 | NOT EXECUTED
| TOTAL OF SECTION II |  |  |  | 88100 |  | 102400
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV
3.1 | Supply & Installation of the D-link make cat6 information outlet | 11 | Nos. | 805 | 8855 | 17 | 13685
with face plate. (For Data)
3.2 | Supply & Installation of clipsal make RJ11 telephone outlet | 5 | Nos. | 650 | 3250 | 4 | 2600
with front plate
3.3 | Supply & Installation of Cat. 6 Data cable in 20mm/25mm dia MS conduits | 240 | Mts. | 70 | 16800 | 747 | 52290
3.4 | Supply & Installation of Cat. 5 telephone cable in 20mm/25mm dia MS conduits | 75 | Mts. | 50 | 3750 | 103 | 5150
3.5 | Supply & Installation of 20pair Telephone Tag block with enclosure | 1 | No. | 600 | 600 |  | 0 | NOT EXECUTED
3.6 | TV boxes with 4 way connector | 1 | No. | 1000 | 1000 |  | 0 | NOT EXECUTED
3.7 | Supplying and fixing of television socket outlet in MS boxes | 1 | No. | 550 | 550 |  | 0 | NOT EXECUTED
3.8 | Supply & Installation of RG-6 TV cable in 20mm/25mm dia PVC conduits | 10 | Mts. | 350 | 3500 | 20 | 7000
| TOTAL OF SECTION III |  |  |  | 38305 |  | 80725
4 | SECTION-IV-INSTALLATION OF LIGHTING FIXTURES
4.1 | Installation of the following light fittings
4.1.1 | SPOT LIGHT 1 - LT 1 | 10 | Nos | 75 | 750 | 10 | 750
4.1.2 | SPOT LIGHT 2 - LT 2 | 23 | Nos | 75 | 1725 | 24 | 1800
4.1.3 | 2 X 2 CEILING MOUNT LIGHT- 3000K - LT 3 with MS angle support from ceiling | 4 | Nos | 300 | 1200 | 4 | 1200
4.1.4 | 2 X 2 CEILING MOUNT LIGHT-6000K - LT 4 with MS angle support from ceiling | 12 | Nos | 300 | 3600 | 12 | 3600
4.1.5 | LED COVE LIGHT - LT 5 | 12 | Mts. | 25 | 300 | 3 | 75
4.1.6 | BULB - LT6 | 56 | Nos | 50 | 2800 | 56 | 2800
4.1.7 | HANGING LIGHT 1 - LT 7 | 4 | Nos | 150 | 600 | 4 | 600
4.1.8 | HANGING LIGHT 2 - LT 8 | 1 | Nos | 150 | 150 | 1 | 150
4.1.9 | WALL MOUNTED - LT 9 | 8 | Nos | 150 | 1200 | 8 | 1200
4.1.10 | TRACK LIGHT - TL 1 (900mm) | 25 | mtr | 150 | 3750 | 10 | 1500
4.2 | Installation of the following light fittings ( only labour ) |  |  |  | 0
0
4.2.1 |  |  | Nos |  | 0
4.2.2 |  |  | Nos |  | 0
0
4.2 | Supply & Installation of the following fittings
4.2.1 | PALM LEAF CEILING FAN - CF1 | 6 | Nos | 1 | 6 | 0 | 0 | NOT EXECUTED
4.2.2 | Supply & Installation of 4 feet LED Tube Light | 4 | Nos | 400 | 1600 | 4 | 1600
| TOTAL OF SECTION IV |  |  |  | 17681 |  | 15275
5 | SECTION-V PANELS, DISTRIBUTION BOARDS
5.1 | Supply Installation Testing & Commissioning of following Panels
5.1.1 | Supply,Installation,Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | 1 | No. | 185000 | 185000 | 1 | 185000
| Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | 0 | No. |  | 0
| Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 3 with 250Amps, 25kA main incomer and outgoing feeder as per . Panel shall be freestanding type, IP41 rated. | 0 | No. |  | 0
0
5.2 | Supply Installation Testing & Commissioning of following Distribution boards/ Starters
5.2.1 | 8 way TPN DB with 32A 4P RCBO 100mA as incomer & | 1 | No.. | 27500 | 27500 | 1 | 27500
3 nos. of 25 DP RCBO, 30mA & 24+8 Nos. (UPSDB)
CAT NO. 5076 82 ( LEGRAND-MAKE )
5.2.2 | 8 way TPN DB with 40A 4P RCBO 100mA as incomer & | 1 | No. | 28000 | 28000 | 1 | 28000
3 nos. of 32 DP RCBO, 30mA & 24+8 Nos. (BAR PLDB)
CAT NO. 5076 82 ( LEGRAND-MAKE )
5.2.3 | 16 way TPN DB with 63A 4P RCBO 100mA as incomer & | 1 | No. | 37000 | 37000 | 1 | 37000
3 nos. of 40 DP RCBO, 30mA & 48+8 Nos. (KPLDB)
CAT NO. 5076 84 ( LEGRAND-MAKE )
5.2.4 | 12 way TPN DB with 32A 4P RCBO 100mA as incomer & | 1 | No. | 30000 | 30000 | 1 | 30000
3 nos. of 25 DP RCBO, 30mA & 36+8 Nos. (DLDB)
CAT NO. 5076 83 ( LEGRAND-MAKE )
5.2.4 | 12 way TPN DB with 32A TPN MCB as incomer & | 0 | No. |  | 0
| 3 nos. of 25 DP RCCB, 100mA & 36 Nos. (LPDB) |  |  |  | 0
| CAT NO. 5076 83 ( LEGRAND-MAKE ) |  |  |  | 0
0
5.2.5 | 8 way TPN DB with 32A TPN MCB as incomer & | 0 | No. |  | 0
| 3 nos. of 20 DP RCCB, 100mA & 24 Nos(LDB) |  |  |  | 0
| CAT NO. 5076 82 ( LEGRAND-MAKE ) |  |  |  | 0
0
5.2.6 | 6 way TPN DB with 63A TPN MCB as incomer & | 0 | No. |  | 0
| 3 nos. of 63 DP RCCB, 100mA & 12 Nos. |  |  |  | 0
| 16/20A sp MCB's as outgoings (RPDB) |  |  |  | 0
0
5.2.7 | L&T make MF1 DOL stater (1PH) | 0 | Nos.
0
5.2.5 | 16 way SPN DB with 25A DP RCBO 30mA as incomer & | 1 | No. | 11000 | 11000 | 1 | 11000
16 Nos -16A SP MCB. (DPDB)
CAT NO. 5076 23 ( LEGRAND-MAKE )
5.2.6 | L&T make VFD PANEL (FOR KITCHEN EXHAUST VFD Driver - 7.5 HP - 2 Nos& FRESH AIR FAN - 5.5 HP 1 Nos) with provision of 1 Nos DOL starter | 1 | Nos. | 147000 | 147000 | 1 | 147000
5.2.9 | L&T make DOL starter in SS Housing for 3.75KW Fan with auxilliary contactor arrangement for tripping/switching On fan in case of fire | 0 | Nos.
0
5.2.10 | L&T make DOL starter in SS Housing for 3KW Fan with auxilliary contactor arrangement for tripping/switching On fan in case of fire | 0 | Nos.
0
5.3 | Supply Installation Testing & Commissioning of following MCB in Enclosures |  |  |  | 0
0
5.3.1 | 40A TPN MCB in Weather Proof Enclosure IP63 rated | 0 | Nos. |  | 0
0
5.3.2 | 32A TPN MCB in Weather Proof Enclosure IP63 rated | 0 | Nos. |  | 0
0
5.3.3 | 20A DP MCB in Weather Proof Enclosure IP63 rated | 0 | Nos. |  | 0
| TOTAL OF SECTION V |  |  |  | 465500 |  | 465500
6 | SECTION-VI -CABLING & EARTHING
6.1 | Supply of Installation of Following cables
6.1.1 | 3 C x 2.5 sq mm CU PVC Unarmoured | R.O | Mts.
6.1.2 | 3 C x 4 sq mm CU PVC Armoured | R.O | Mts.
6.1.3 | 3 C x 6 sq mm CU PVC Armoured | R.O | Mts.
6.1.4 | 3 C x 10 sq mm CU PVC Armoured | R.O | Mts.
6.1.5 | 4 C x 2.5 sq mm CU PVC Armoured | 0 | Mts. |  | 0
6.1.1 | 4 C x 4 sq mm CU PVC Armoured | 45 | Mts. | 340 | 15300 | 32 | 10880
6.1.2 | 4 C x 6 sq mm CU PVC Armoured | 160 | Mts. | 450 | 72000 | 183.75 | 82687.5
6.1.3 | 4 C x 16 sq mm CU PVC Armoured | 30 | Mts. | 970 | 29100 | 23 | 22310
6.1.4 | 4 C x 10 sq mm CU PVC Armoured | 30 | Mts. | 780 | 23400 | 30 | 23400
6.1.5 | 3.5 C x 35sq mm XLPE Armoured | 10 | Mts. | 900 | 9000 |  | 0 | NOT EXECUTED
6.1.4 | 3.5 C x120sq mm XLPE Cable |  | Mts. |  | 0
6.1.14 | 3.5 C x 250sq mm AL. XLPE Armoured |  | Mts. |  | 0
6.2 | Supply of Installation of Following cable Terminations Glands
6.2.1 | 3 C x 2.5 sq mm CU PVC Unarmoured |  | No.
6.2.2 | 3 C x 4 sq mm CU PVC Armoured |  | No.
6.2.3 | 3 C x 6 sq mm CU PVC Armoured |  | No.
6.2.4 | 3 C x 10 sq mm CU PVC Armoured |  | No.
6.2.5 | 4 C x 2.5 sq mm CU PVC Armoured |  | No. |  | 0
6.2.1 | 4C x 4 sq mm CU PVC Armoured | 6 | No. | 240 | 1440 | 22 | 5280
6.2.2 | 4C x 6 sq mm CU PVC Armoured | 12 | No. | 255 | 3060 | 8 | 2040
6.2.3 | 4C x 16 sq mm CU PVC Armoured | 8 | No. | 265 | 2120 | 2 | 530
6.2.4 | 4 C x 25 sq mm CU PVC Armoured |  | No. |  | 0 |  | 0
6.2.5 | 4 C x 90sq mm AL. XLPE Armoured |  | No. |  | 0 |  | 0
6.2.6 | 3.5 C x 25sq mm AL. XLPE Armoured |  | No. |  | 0 |  | 0
6.2.4 | 4C x 10 sq mm CU PVC Armoured | 8 | No. | 260 | 2080 | 4 | 1040
6.2.5 | 3.5C x 35sq mm AL. XLPE Armoured | 8 | No. | 325 | 2600 | 1 | 325
6.2.4 | 3.5 C x120sq mm AL. XLPE Cable |  | No. |  | 0
6.2.14 | 3.5 C x250sq mm AL. XLPE Cable | 0 | No. |  | 0
6.3 | Supply of Installation of Following cable Terminations Lugs
1 | 3 C x 2.5 sq mm CU PVC Unarmoured | 24 | No. | 10 | 240 |  | 0 | NOT EXECUTED
2 | 3 C x 4 sq mm CU PVC Armoured | 16 | No. | 12 | 192 |  | 0 | NOT EXECUTED
3 | 4C x 4 sq mm CU PVC Armoured | 12 | No. | 14 | 168 | 50 | 700
4 | 4C x 6 sq mm CU PVC Armoured | 24 | No. | 15 | 360 | 32 | 480
5 | 4C x 16 sq mm CU PVC Armoured | 8 | No. | 20 | 160 | 8 | 160
6 | 4C x 10 sq mm CU PVC Armoured | 8 | No. | 17 | 136 | 16 | 272
7 | 3.5C x 35sq mm AL. XLPE Armoured | 4 | No. | 50 | 200 | 8 | 400
6.3 | Supply of Installation of Following Cable Trays
0
6.3.1 | 150mm wide ladder type Cable tray with support | R.O. | Mts.
0
6.3.2 | 300mm wide ladder type Cable tray with support | R.O. | Mts.
0
6.3.1 | 300mm wide Perforated Cable tray with support | 30 | Mts. | 1150 | 34500 |  | 0 | NOT EXECUTED
6.3.2 | 150mm wide perforated cable tray with support. | 30 | Mts. | 700 | 21000 |  | 0 | NOT EXECUTED
6.3.4 | 50mm wide perforated cable tray with support. | 0 | Mts.
6.4 | Supply of Installation of Following Earthing Material
6.4.1 | 25 x 6 mm CU. Strip | 0 | Mts.
0
6.4.2 | 25 x 3 mm GI. Strip | 0 | Mts. |  | 0
0
6.4.1 | 8 SWG hard drawn bare aluminium wire (Included All Electrical DB 2 nos.Eathing ) | 100 | Mts. | 70 | 7000 | 171 | 11970
6.4.4 | 12 SWG hard drawn bare cu wire | 0 | Mts. |  | 0
0
6.4.5 | 1Cx25 sq.mm cu wire | 0 | Mts.
| TOTAL OF SECTION VI |  |  |  | 224056 |  | 162474.5
7 | SECTION-VII-SERVO STABILIZER/ INVERTER/UPS
7.1 | Supply & Installation of 5KVA three phase in and Single Phase out UPS with 90min battery back-up- make( In built battery) Online Systems | 1 | No. | 1 | 1 | 0 | 0 | NOT EXECUTED
7.2 | Installation of 3KVA three phase in Single Phase out UPS with 20min battery back-up- make Online Systems | 0 | No.
| TOTAL OF SECTION VII |  |  |  | 1 |  | 0
MISCELLANEOUS
I | MUSIC SYSTEM
1 | Supply & Installation connection testing and commissionG of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. Make - Havells | 250 | Mts | 60 | 15000 | 92 | 5520
8 | Supply & Fixing 5 A Top | 5 | Nos | 100 | 500 | 2 | 200
9 | Supply & Fixing 15 A Top | 20 | Nos | 150 | 3000 | 15 | 2250
10 | Supply & fixing of 150mm x 150 mm Junction Box with SS cover | 6 | Nos | 650 | 3900 | 1 | 650
11 | Connection of AHU, Exhaust, Air Blower | 4 | Nos | 1000 | 4000 | 3 | 3000
12 | Supply of Rubber mat | 1 | Nos | 1500 | 1500 | 1 | 1500
13 | Supplying the following data prior to handing over the installation to the owner. | 1 | job | 10000 | 10000 | 1 | 10000
i) Megger Test Results in quadruplicate of all mains/submains/circuits/load feeders in tabulated format
i) In quadruplicate all`As built' drawings on blue prints, separate for
a | indoor lighting
b | outdoor lighting
c | Electrical cable system with sizes and routes
d | Main Earthing grid
e | Floor trunking layout
f | conduit layout-to all the points from controlling DB's to be drawn along with indoor lighting
In general the drawings should show the sizes of cables, conduits and number of wires laid in conduit, outlets and lighiting layout,earthing conductor sizes, single line diagrams of each panel. Any other data like specifications, test certificates and maintenance manual of panels, Main LT panel etc. should also be furnished in quadriplicate
8.2 | Provision of ample amount of Temporary lights & sockets during construction stage | RO | Nos.
8.3 | Digging and chemical earthing pit | 0 | Nos.
| TOTAL OF SECTION VIII |  |  |  | 37900 |  | 23120
[5 empty] | 1479363 |  | 1420248.1

## APPD MAKES
LIST OF APPROVED BRANDS:
PVC Conduits - Precision
FRLS Wires - Finolex/ polycab/RR Cable/Havel's
Cables - Polycab / Asian
Switches - Clipsal-Opale/Crabtree/Northwest
Metal clad switch Box - L&T/legrand
Distribution Boards - L&T/legrand
MCB’s /ELCB’s - L&T/legrand
Telephone Wires - Finolex/Polycab/ITL
T.V.Wires - Comscop/Finolex
Exhaust Fans - Boss / Newtech /GMC
Light Fittings - Philips
Switch fuse units/starters - L&T/ legrand
Fire Alarm System | Apollo/System Sensor / ravel / agni
Notes:-
1. The Contractor should quote the tender rates considering First make of materials given in above list.
2. Wherever contractor proposes to use `equivalent' makes (i.e. other than specified) he shall obtain Client's prior approval. Client may consult Consultants before giving approval to the same. Any additional cost and time lost due to this will be on Contractor's account and no claims will be entertained.
3. The contractor should take approval for make & manufacturer from the consultants before using any material, which does not appear in the list of approved manufacturers.

## MB KITCHEN AND BAR
ELECTRICAL BOQ FOR COPPER CHIMNEY
Sr. No | Description | Unit | NOS | LENGTH | WIDTH | HEIGHT | TOTAL
1 | SECTION-I-POINT WIRING
1.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm Cu.FRLS wires in fire rated MS conduits from LDB to primary points & primary points to secondary points(Switch controlled Lights) along with witch ms box providing and fixing
Only for Wire Conduits Not Included
1.1.1 | Pre primary points from DB to switchboard ( 10 Mtr ) | Nos.
1.1.2 | Primary points upto 6 meters | Nos.
1.1.3 | Secondary points upto 3 meters | Nos.
1.2 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points & primary points to secondary points(MCB controlled Lights)
1.2.1 | Primary points upto 6 meters | Nos.
Restaurant Light
| Y7 Looping | Nos | 1 |  |  |  | 1
| B2 Looping | Nos | 1 |  |  |  | 1
| Bar Light | [5 empty] | 0
| R4 Looping | Nos | 1 |  |  |  | 1
| UPS Y3 | Nos | 1 |  |  |  | 1
| Kitchen Light | [5 empty] | 0
| KY1O LOOPING | NOS | 1 |  |  |  | 1
| UPS R1 | NOS | 1 |  |  |  | 1
| UPS Y1 | NOS | 1 |  |  |  | 1
| TOTAL | NOS |  |  |  |  | 7
1.2.2 | Secondary points upto 3 meters | Nos.
Restaurant Light
| R1 Looping | Nos | 1 |  |  |  | 1
| Bar Light | [5 empty] | 0
| Y3 Looping | Nos | 1 |  |  |  | 1
| UPS R3 | Nos | 1 |  |  |  | 1
| Kitchen Light | [5 empty] | 0
| UPS Y2 LOOPING | Nos | 1 |  |  |  | 1
| TOTAL | [5 empty] | 4
1.2.3 | Points in running meter | Rmtr
RESTAURANT LIGHT
| R1 | Rmtr | 1 | 10 |  |  | 10
| Looping | Rmtr | 0 | 3 |  |  | 0
| R2 | Rmtr | 1 | 10 |  |  | 10
| Looping | Rmtr | 1 | 7 |  |  | 7
| R3 | Rmtr | 1 | 10 |  |  | 10
| Looping | Rmtr | 1 | 10 |  |  | 10
| R4 | Rmtr | 1 | 14 |  |  | 14
| Looping | Rmtr | 1 | 14 |  |  | 14
| R5 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 1 | 15 |  |  | 15
| R6 | Rmtr | 1 | 16 |  |  | 16
| Looping | Rmtr | 1 | 15 |  |  | 15
| R7 | Rmtr | 1 | 25 |  |  | 25
| Looping | Rmtr | 1 | 16 |  |  | 16
| R8 | Rmtr | 1 | 30 |  |  | 30
| Looping | Rmtr | 1 | 8 |  |  | 8
| Y1 | Rmtr | 1 | 14 |  |  | 14
| Looping | Rmtr | 1 | 8 |  |  | 8
| Y2 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 1 | 14 |  |  | 14
| Y3 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 1 | 15 |  |  | 15
| Y4 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 1 | 13 |  |  | 13
| Y5 | Rmtr | 1 | 20 |  |  | 20
| Looping | Rmtr | 1 | 14 |  |  | 14
| Y6 | Rmtr | 1 | 23 |  |  | 23
| Looping | Rmtr | 1 | 15 |  |  | 15
| Y7 | Rmtr | 1 | 24 |  |  | 24
| Looping | Rmtr | 0 | 6 |  |  | 0
| Y8 | Rmtr | 1 | 14 |  |  | 14
| B1 | Rmtr | 1 | 8 |  |  | 8
| Looping | Rmtr | 1 | 8 |  |  | 8
| B2 | Rmtr | 1 | 13 |  |  | 13
| Looping | Rmtr | 0 | 6 |  |  | 0
| B3 | Rmtr | 1 | 14 |  |  | 14
| Looping | Rmtr | 1 | 14 |  |  | 14
| B4 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 1 | 14 |  |  | 14
| B5 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 1 | 15 |  |  | 15
| B6 | Rmtr | 1 | 16 |  |  | 16
| Looping | Rmtr | 1 | 15 |  |  | 15
| B7 | Rmtr | 1 | 19 |  |  | 19
| Looping | Rmtr | 1 | 16 |  |  | 16
| B8 | Rmtr | 1 | 24 |  |  | 24
BAR LIGHT
| R4 | Rmtr | 1 | 18 |  |  | 18
| Looping | Rmtr | 0 | 6 |  |  | 0
| Y3 | Rmtr | 1 | 16 |  |  | 16
| Looping | Rmtr | 0 | 3 |  |  | 0
| B2 | Rmtr | 1 | 16 |  |  | 16
| Looping | Rmtr | 1 | 9 |  |  | 9
| UPS R2 | Rmtr | 1 | 9 |  |  | 9
| Looping | Rmtr | 1 | 16 |  |  | 16
| UPS Y3 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 0 | 6 |  |  | 0
| UPS B3 | Rmtr | 1 | 10 |  |  | 10
| Looping | Rmtr | 1 | 14 |  |  | 14
| UPS R3 | Rmtr | 1 | 26 |  |  | 26
| Looping | Rmtr | 0 | 6 |  |  | 0
| KITCHEN LIGHT | [5 empty] | 0
| KR10 | Rmtr | 1 | 18 |  |  | 18
| Looping | Rmtr | 1 | 8 |  |  | 8
| KY10 | Rmtr | 1 | 16 |  |  | 16
| Looping | Rmtr | 0 | 6 |  |  | 0
| KB10 | Rmtr | 1 | 14 |  |  | 14
| UPS Y2 | Rmtr | 1 | 13 |  |  | 13
| Looping | Rmtr | 0 | 3 |  |  | 0
| UPS R1 | Rmtr | 1 | 15 |  |  | 15
| Looping | Rmtr | 0 | 6 |  |  | 0
| UPS B1 | Rmtr | 1 | 9 |  |  | 9
| Looping | Rmtr | 1 | 8 |  |  | 8
| UPS Y1 | Rmtr | 1 | 19 |  |  | 19
| Looping | Rmtr | 0 | 6 |  |  | 0
| UPS B3 | Rmtr | 1 | 16 |  |  | 16
| Looping | Rmtr | 1 | 7 |  |  | 7
| TOTAL | Rmtr |  |  |  |  | 932
1.3 | Supply & Installation of FRLS Wires in MS conduit for power / lighting conduiting surface mounted on ceiling/ conceiled in walls
1.3.1 | Supply & Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Rmt
KITCHEN POWER
| KSB 1 | Rmt | 1 | 25 |  |  | 25
| Looping | Rmt | 1 | 7 |  |  | 7
| KSB 3 | Rmt | 1 | 28 |  |  | 28
| KSB 4 | Rmt | 1 | 20.5 |  |  | 20.5
| KSB 5 | Rmt | 1 | 19.2 |  |  | 19.2
| KSB 6 | Rmt | 1 | 18.2 |  |  | 18.2
| KSB 7 | Rmt | 1 | 17.65 |  |  | 17.65
| KSB 8 | Rmt | 1 | 18 |  |  | 18
| KSB 9 | Rmt | 1 | 18 |  |  | 18
| KSB 10 | Rmt | 1 | 21.47 |  |  | 21.47
| KSB 12 | Rmt | 1 | 13 |  |  | 13
| KSB 13 | Rmt | 1 | 13 |  |  | 13
| KSB 14 | Rmt | 1 | 12 |  |  | 12
| KSB 15 | Rmt | 1 | 15 |  |  | 15
| KSB 17 | Rmt | 1 | 15.5 |  |  | 15.5
| KSB 19 | Rmt | 1 | 13.8 |  |  | 13.8
| KSB 20 | Rmt | 1 | 13 |  |  | 13
| KSB 21 | Rmt | 1 | 13.75 |  |  | 13.75
| KSB 22 | Rmt | 1 | 11 |  |  | 11
| KSB 23- MUSIC | Rmt | 1 | 3.5 |  |  | 3.5
| KSB 30 | Rmt | 1 | 22.85 |  |  | 22.85
| KSB 32 | Rmt | 1 | 19.95 |  |  | 19.95
| KSB 33 CCTV | Rmt | 1 | 3.5 |  |  | 3.5
| KSB 34 FAS | Rmt | 1 | 23.5 |  |  | 23.5
| KSB 35- BIOMETRIC | Rmt | 1 | 30.2 |  |  | 30.2
| KSB 36 KILL SWITCH | Rmt | 1 | 9.2 |  |  | 9.2
RESTAURANT POWER
| DSB 1 | RMT | 1 | 26 |  |  | 26
| DSB 2 | RMT | 1 | 19.2 |  |  | 19.2
| DSB 3 | RMT | 1 | 17.5 |  |  | 17.5
| DSB 4 | RMT | 1 | 15.65 |  |  | 15.65
| DSB 5 | RMT | 1 | 14.8 |  |  | 14.8
| DSB 6 | RMT | 1 | 17.9 |  |  | 17.9
| DSB 7 | RMT | 1 | 12.75 |  |  | 12.75
| DSB 8 | RMT | 1 | 14.5 |  |  | 14.5
| DSB 9 | RMT | 1 | 16 |  |  | 16
| DSB 10 | RMT | 1 | 18 |  |  | 18
| DSB 11 | RMT | 1 | 20 |  |  | 20
| DSB 12 | RMT | 1 | 22.4 |  |  | 22.4
| DSB 13 | RMT | 1 | 31.2 |  |  | 31.2
| DSB 14 | RMT | 1 | 23.95 |  |  | 23.95
| DSB 15 | RMT | 1 | 22 |  |  | 22
| DSB 16 | RMT | 1 | 20 |  |  | 20
| DSB 17 | RMT | 1 | 18 |  |  | 18
| DSB 18 | RMT | 1 | 15.5 |  |  | 15.5
| DSB 19 | RMT | 1 | 17.4 |  |  | 17.4
| DSB 20 | RMT | 1 | 16.5 |  |  | 16.5
| DSB 21 | RMT | 1 | 17.6 |  |  | 17.6
| BAR POWER | RMT
| BSB 1 | RMT | 1 | 19
| BSB 3 | RMT | 1 | 20 |  |  | 20
| BSB 4 | RMT | 1 | 21 |  |  | 21
| BSB 5 | RMT | 1 | 23 |  |  | 23
| BSB 6 | RMT | 1 | 25 |  |  | 25
| TOTAL | [5 empty] | 911.62
1.3.2 | Supply & Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Rmt
| KITCHEN POWER | RMT
| KSB 2 | RMT | 1 | 27 |  |  | 27
| KSB 16 | RMT | 1 | 16 |  |  | 16
| KSB 18 | RMT | 1 | 13 |  |  | 13
| KSB 24 | RMT | 1 | 18 |  |  | 18
| KSB 25 | RMT | 1 | 18 |  |  | 18
| KSB 26 | RMT | 1 | 21 |  |  | 21
| KSB 27 | RMT | 1 | 22 |  |  | 22
| KSB 28 | RMT | 1 | 22 |  |  | 22
| BSB 1 BAR | RMT | 1 | 19 |  |  | 19
| UPS INPUT | Rmt | 1 | 2 |  |  | 2
| UPS OUTPUT | Rmt | 1 | 2 |  |  | 2
| TOTAL | [5 empty] | 180
1.3.3 | Supply & Installation of 2 nos.6 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 25mm dia PVC conduits | Rmt
1.3.4 | Supply & Installation of 4 nos.4 Sq.mm +2 no. 2.5 Sqmm copper FRLS wires in 25mm dia PVC conduits | Rmt
1.3.5 | Supply & Installation of 4 nos.10 Sq.mm +2 nos. 4 Sqmm copper FRLS wires in 32mm dia PVC conduits | Rmt
TOTAL OF SECTION I
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD )
2.1 | Supply & Installation of the following MDS make Metra Plug & Socket DBs
2.1.1 | 20/25/32A SP Metal Clad switch socket | Nos.
cat no. 6078 41
2.1.1 | 5/15A SW/SO - 1 Nos. Metal clad (MODULE - standard) | Nos. | 0 |  |  |  | 0
2.1.2 | 20A SP 1ph 3 pin Metal clad SO with MCB | Nos. | 12 |  |  |  | 12
2.1.3 | 25A TP Metal Clad switch socket | Nos.
cat no. 6078 50
2.1.3 | 32A 4P 3ph 5 pin Metal Clad socket With MCB | Nos. | 2 |  |  |  | 2
2.2 | Supply & Installation of the following Sockets, Switches
including the front plate & Back boxes
2.2.1 | 5A, 5 Pin Switch socket outlet (Raw Power) | Nos.
2.2.2 | 2 nos. 6/16A 6 Pin Switch Socket Outlets (UPS) | Nos.
2.2.3 | 3 nos. 6/16A 6 Pin Switch Socket Outlets (Raw Power) | Nos.
2.2.1 | 1 nos. 6 /16A 6 Pin Switch (Raw Power) | Nos.
2.2.1 | 5 /15A SW/SO 6 Pin - 2 Nos. (Raw Power) MODULE - 8 | Nos. | 4 |  |  |  | 4
2.2.2 | 5 /15A SW/SO 6 Pin - 2 Nos. (Raw Power) MODULE - 6 | Nos. | 24 |  |  |  | 24
2.2.3 | 5 /15A SO 6 Pin - 2 Nos. (Raw Power) MODULE - 4 | Nos. | 1 |  |  |  | 1
2.2.7 | 1 no. 5/15 A, 1P+N+E, SOCKET WITH REMOTE SWITCH | Nos.
2.2.8
2.2.9 | 1 no. 16A 6 Pin Switch Socket Outlets (Raw Power) | Nos.
2.2.10
2.2.11 | 25A, 3 Pin switch socket outlet | Nos.
2.2.12
2.2.13 | 16A Flat pin switch socket outlet (white colour) | Nos.
2.2.14
2.2.15 | 16A Flat pin switch socket outlet (Black colour) | Nos.
2.2.16
2.2.17 | Bell Point | Nos.
2.2.18
2.2.4 | 5 /15A SW/SO 6 Pin - 1 Nos. (Raw Power) MODULE - 3 | Nos. | 7 |  |  |  | 7
2.2.5 | 5 /15A SW - 2 Nos. (Raw Power) MODULE - 2 | Nos. | 1 |  |  |  | 1
2.2.6 | 5/15A SO WITH USB PORT 5 Pin - 1 Nos. (Raw Power) MODULE - 3 | Nos. | 10 |  |  |  | 10
2.2.7 | 5/15A SW/SO 5 Pin - 1 Nos. (Raw Power) MODULE - 3 | Nos. | 8 |  |  |  | 8
2.2.8 | 5/15A SW/SO 5 pin 2 Nos. MODULE - 8 | Nos.
2.2.9 | 5/15A SW/SO 6 pin 1 Nos. MODULE - 4 | Nos.
TOTAL OF SECTION II
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV
3.1 | Supply & Installation of the D-link make cat 6 information outlet | Nos. | 17 |  |  |  | 17
with face plate. (For Data)
3.2 | Supply & Installation of clipsal make RJ11 telephone outlet | Nos. | 4 |  |  |  | 4
with front plate
3.3 | Supply & Installation of Cat. 6 Data cable in 20mm/25mm dia MS conduits | Mts.
| D1 | RMT | 1 | 15 |  |  | 15
| D2 | RMT | 1 | 15 |  |  | 15
| D3 | RMT | 1 | 20 |  |  | 20
| D4 | RMT | 1 | 20 |  |  | 20
| D5 | RMT | 1 | 24 |  |  | 24
| D6 | RMT | 1 | 24 |  |  | 24
| D7 | RMT | 1 | 14 |  |  | 14
| D8 | RMT | 1 | 14 |  |  | 14
| D9 | RMT | 1 | 32 |  |  | 32
| D10 | RMT | 1 | 32 |  |  | 32
| D11 | RMT | 1 | 30 |  |  | 30
| D12 | RMT | 1 | 30 |  |  | 30
| D13 | RMT | 1 | 36 |  |  | 36
| D14 | RMT | 1 | 24 |  |  | 24
| D15 | RMT | 1 | 24 |  |  | 24
| D16 | RMT | 1 | 15 |  |  | 15
| D17 | RMT | 1 | 18 |  |  | 18
| D18 | RMT | 1 | 18 |  |  | 18
| D19 | RMT | 1 | 18 |  |  | 18
| D20 | RMT | 1 | 18 |  |  | 18
| D21 | RMT | 1 | 18 |  |  | 18
| D22 | RMT | 1 | 36 |  |  | 36
| D23 | RMT | 1 | 22 |  |  | 22
| CAM 1 | RMT | 1 | 8 |  |  | 8
| CAM 2 | RMT | 1 | 22 |  |  | 22
| CAM 3 | RMT | 1 | 28 |  |  | 28
| CAM 4 | RMT | 1 | 19 |  |  | 19
| CAM 5 | RMT | 1 | 20 |  |  | 20
| CAM 6 | RMT | 1 | 22 |  |  | 22
| CAM 7 | RMT | 1 | 24 |  |  | 24
| CAM 8 | RMT | 1 | 21 |  |  | 21
| CAM 9 | RMT | 1 | 8 |  |  | 8
| CAM 10 | RMT | 1 | 15 |  |  | 15
| CAM 11 | RMT | 1 | 22 |  |  | 22
| CAM 12 | RMT | 1 | 21 |  |  | 21
| TOTAL | [5 empty] | 747
3.4 | Supply & Installation of Cat. 5 telephone cable in 20mm/25mm dia MS conduits | Mts.
|  | RMT | 1 | 15 |  |  | 15
|  | RMT | 1 | 20 |  |  | 20
|  | RMT | 1 | 32 |  |  | 32
|  | RMT | 1 | 36 |  |  | 36
| TOTAL | [5 empty] | 103
3.5 | Supply & Installation of 20 pair Telephone Tag block with enclosure | No.
3.6 | TV boxes with 4 way connector | No.
3.7 | Supplying and fixing of television socket outlet in MS boxes | No.
3.8 | Supply & Installation of RG-6 TV cable in 20mm/25mm dia PVC conduits | Mts. | 1 | 20 |  |  | 20
TOTAL OF SECTION III
4 | SECTION-IV-INSTALLATION OF LIGHTING FIXTURES
4.1 | Installation of the following light fittings
4.1.1 | SPOT LIGHT 1 - LT1 | Nos | 10 |  |  |  | 10
4.1.2 | SPOT LIGHT 2 - LT2 | Nos | 24 |  |  |  | 24
4.1.3 | 2 X 2 CEILING MOUNT LIGHT- 3000K - LT3 with MS angle support from ceiling | Nos | 4 |  |  |  | 4
4.1.4 | 2 X 2 CEILING MOUNT LIGHT-6000K - LT4 with MS angle support from ceiling | Nos | 12 |  |  |  | 12
4.1.5 | LED COVE LIGHT - LT5 | Mts. | 3 |  |  |  | 3
4.1.6 | BULB - LT6 | Nos | 56 |  |  |  | 56
4.1.7 | HANGING LIGHT 1 - LT7 | Nos | 4 |  |  |  | 4
4.1.8 | HANGING LIGHT 2 - LT8 | Nos | 1 |  |  |  | 1
4.1.9 | WALL MOUNTED - LT9 | Nos | 8 |  |  |  | 8
4.1.10 | TRACK LIGHT - TL1 (900mm) | mtr | 10 |  |  |  | 10
4.2 | Installation of the following light fittings ( only labour )
4.2.1 |  | Nos
4.2.2 |  | Nos
4.2 | Supply & Installation of the following fittings
4.2.1 | PALM LEAF CEILING FAN - CF1 | Nos | 0 |  |  |  | 0
4.2.2 | Supply & Installation of 4 feet LED Tube Light | Nos | 4 |  |  |  | 4
TOTAL OF SECTION IV
5 | SECTION-V PANELS, DISTRIBUTION BOARDS
5.1 | Supply Installation Testing & Commissioning of following Panels
5.1.1 | Supply,Installation,Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | No. | 1 |  |  |  | 1
| Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | No.
| Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 3 with 250Amps, 25kA main incomer and outgoing feeder as per . Panel shall be freestanding type, IP41 rated. | No.
5.2 | Supply Installation Testing & Commissioning of following Distribution boards/ Starters
5.2.1 | 8 way TPN DB with 32A 4P RCBO 100mA as incomer & | No.. | 1 |  |  |  | 1
3 nos. of 25 DP RCBO, 30mA & 24+8 Nos. (UPSDB)
CAT NO. 5076 82 ( LEGRAND-MAKE )
5.2.2 | 8 way TPN DB with 40A 4P RCBO 100mA as incomer & | No. | 1 |  |  |  | 1
3 nos. of 32 DP RCBO, 30mA & 24+8 Nos. (BAR PLDB)
CAT NO. 5076 82 ( LEGRAND-MAKE )
5.2.3 | 16 way TPN DB with 63A 4P RCBO 100mA as incomer & | No. | 1 |  |  |  | 1
3 nos. of 40 DP RCBO, 30mA & 48+8 Nos. (KPLDB)
CAT NO. 5076 84 ( LEGRAND-MAKE )
5.2.4 | 12 way TPN DB with 32A 4P RCBO 100mA as incomer & | No. | 1 |  |  |  | 1
3 nos. of 25 DP RCBO, 30mA & 36+8 Nos. (DLDB)
CAT NO. 5076 83 ( LEGRAND-MAKE )
5.2.4 | 12 way TPN DB with 32A TPN MCB as incomer & | No.
3 nos. of 25 DP RCCB, 100mA & 36 Nos. (LPDB)
CAT NO. 5076 83 ( LEGRAND-MAKE )
5.2.5 | 8 way TPN DB with 32A TPN MCB as incomer & | No.
3 nos. of 20 DP RCCB, 100mA & 24 Nos(LDB)
CAT NO. 5076 82 ( LEGRAND-MAKE )
5.2.6 | 6 way TPN DB with 63A TPN MCB as incomer & | No.
3 nos. of 63 DP RCCB, 100mA & 12 Nos.
16/20A sp MCB's as outgoings (RPDB)
5.2.7 | L&T make MF1 DOL stater (1PH) | Nos.
5.2.5 | 16 way SPN DB with 25A DP RCBO 30mA as incomer & | No. | 1 |  |  |  | 1
16 Nos -16A SP MCB. (DPDB)
CAT NO. 5076 23 ( LEGRAND-MAKE )
5.2.6 | L&T make VFD PANEL (FOR KITCHEN EXHAUST VFD Driver - 7.5 HP - 2 Nos& FRESH AIR FAN - 5.5 HP 1 Nos) with provision of 1 Nos DOL starter | Nos. | 1 |  |  |  | 1
5.2.9 | L&T make DOL starter in SS Housing for 3.75KW Fan with auxilliary contactor arrangement for tripping/switching On fan in case of fire | Nos.
5.2.10 | L&T make DOL starter in SS Housing for 3KW Fan with auxilliary contactor arrangement for tripping/switching On fan in case of fire | Nos.
5.3 | Supply Installation Testing & Commissioning of following MCB in Enclosures
5.3.1 | 40A TPN MCB in Weather Proof Enclosure IP63 rated | Nos.
5.3.2 | 32A TPN MCB in Weather Proof Enclosure IP63 rated | Nos.
5.3.3 | 20A DP MCB in Weather Proof Enclosure IP63 rated | Nos.
TOTAL OF SECTION V
6 | SECTION-VI -CABLING & EARTHING
6.1 | Supply of Installation of Following cables
6.1.1 | 3 C x 2.5 sq mm CU PVC Unarmoured | Mts.
6.1.2 | 3 C x 4 sq mm CU PVC Armoured | Mts.
6.1.3 | 3 C x 6 sq mm CU PVC Armoured | Mts.
6.1.4 | 3 C x 10 sq mm CU PVC Armoured | Mts.
6.1.5 | 4 C x 2.5 sq mm CU PVC Armoured | Mts.
6.1.1 | 4 C x 4 sq mm CU PVC Armoured | Mts.
| Cold Room AC | Mts. | 1 | 32 |  |  | 32
| TOTAL | Mts. |  |  |  |  | 32
6.1.2 | 4 C x 6 sq mm CU PVC Armoured | Mts.
| Restaurant power Db | Mts. | 1 | 8 |  |  | 8
| Exhaust 1 | Mts. | 1 | 31 |  |  | 31
| Output | Mts. | 1 | 3.5 |  |  | 3.5
| Exhaust 2 | Mts. | 1 | 31 |  |  | 31
| Output | Mts. | 1 | 3.5 |  |  | 3.5
| Fresh air 1 | Mts. | 1 | 35.5 |  |  | 35.5
| Output | Mts. | 1 | 3.5 |  |  | 3.5
| AC 1 | Mts. | 1 | 23 |  |  | 23
| AC 2 | Mts. | 1 | 23 |  |  | 23
| Starters 3 Nos | Mts. | 1 | 12 |  |  | 12
| Restaurant lighting DB | Mts. | 1 | 9.75 |  |  | 9.75
| TOTAL | [5 empty] | 183.75
6.1.3 | 4 C x 16 sq mm CU PVC Armoured | Mts.
| KITCHEN POWER DB | Mts. | 1 | 23 |  |  | 23
6.1.4 | 4 C x 10 sq mm CU PVC Armoured | Mts.
| VFD Panel | Mts. | 1 | 8 |  |  | 8
| BAR DB | Mts. | 1 | 22 |  |  | 22
| TOTAL | [5 empty] | 30
6.1.5 | 3.5 C x 35sq mm XLPE Armoured | Mts.
6.1.4 | 3.5 C x120sq mm XLPE Cable | Mts.
6.1.14 | 3.5 C x 250sq mm AL. XLPE Armoured | Mts.
6.2 | Supply of Installation of Following cable Terminations Glands
6.2.1 | 3 C x 2.5 sq mm CU PVC Unarmoured | No.
6.2.2 | 3 C x 4 sq mm CU PVC Armoured | No.
6.2.3 | 3 C x 6 sq mm CU PVC Armoured | No.
6.2.4 | 3 C x 10 sq mm CU PVC Armoured | No.
6.2.5 | 4 C x 2.5 sq mm CU PVC Armoured | No.
6.2.1 | 4C x 4 sq mm CU PVC Armoured | No. | 22 |  |  |  | 22
6.2.2 | 4C x 6 sq mm CU PVC Armoured | No. | 8 |  |  |  | 8
6.2.3 | 4C x 16 sq mm CU PVC Armoured | No. | 2 |  |  |  | 2
6.2.4 | 4 C x 25 sq mm CU PVC Armoured | No.
6.2.5 | 4 C x 90sq mm AL. XLPE Armoured | No.
6.2.6 | 3.5 C x 25sq mm AL. XLPE Armoured | No.
6.2.4 | 4C x 10 sq mm CU PVC Armoured | No. | 4 |  |  |  | 4
6.2.5 | 3.5C x 35sq mm AL. XLPE Armoured | No. | 1 |  |  |  | 1
6.2.4 | 3.5 C x120sq mm AL. XLPE Cable | No.
6.2.14 | 3.5 C x250sq mm AL. XLPE Cable | No.
6.3 | Supply of Installation of Following cable Terminations Lugs
1 | 3 C x 2.5 sq mm CU PVC Unarmoured | No.
2 | 3 C x 4 sq mm CU PVC Armoured | No.
3 | 4C x 4 sq mm CU PVC Armoured | No. | 50 |  |  |  | 50
4 | 4C x 6 sq mm CU PVC Armoured | No. | 32 |  |  |  | 32
5 | 4C x 16 sq mm CU PVC Armoured | No. | 8 |  |  |  | 8
6 | 4C x 10 sq mm CU PVC Armoured | No. | 16 |  |  |  | 16
7 | 3.5C x 35sq mm AL. XLPE Armoured | No. | 8 |  |  |  | 8
6.3 | Supply of Installation of Following Cable Trays
6.3.1 | 150mm wide ladder type Cable tray with support | Mts.
6.3.2 | 300mm wide ladder type Cable tray with support | Mts.
6.3.1 | 300mm wide Perforated Cable tray with support | Mts.
6.3.2 | 150mm wide perforated cable tray with support. | Mts.
6.3.4 | 50mm wide perforated cable tray with support. | Mts.
6.4 | Supply of Installation of Following Earthing Material
6.4.1 | 25 x 6 mm CU. Strip | Mts.
6.4.2 | 25 x 3 mm GI. Strip | Mts.
6.4.1 | 8 SWG hard drawn bare aluminium wire (Included All Electrical DB 2 nos.Eathing ) | Mts. | 1 | 171 |  |  | 171
6.4.4 | 12 SWG hard drawn bare cu wire | Mts.
6.4.5 | 1Cx25 sq.mm cu wire | Mts.
TOTAL OF SECTION VI
7 | SECTION-VII-SERVO STABILIZER/ INVERTER/UPS
7.1 | Supply & Installation of 5KVA three phase in and Single Phase out UPS with 90min battery back-up- make( In built battery) Online Systems | No. |  | This cost is as per quotation from the vendors.
7.2 | Installation of 3KVA three phase in Single Phase out UPS with 20min battery back-up- make Online Systems | No.
TOTAL OF SECTION VII
MISCELLANEOUS
I | MUSIC SYSTEM
1 | Supply & Installation connection testing and commissionG of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. Make - Havells | Mts
| SPEAKER 1 | Mts | 1 | 8 |  |  | 8
| SPEAKER 2 | Mts | 1 | 22 |  |  | 22
| SPEAKER 3 | Mts | 1 | 32 |  |  | 32
| SPEAKER 4 | Mts | 1 | 17 |  |  | 17
| SPEAKER 5 | Mts | 1 | 13 |  |  | 13
92
8 | Supply & Fixing 5 A Top | Nos | 2 |  |  |  | 2
9 | Supply & Fixing 15 A Top | Nos | 15 |  |  |  | 15
10 | Supply & fixing of 150mm x 150 mm Junction Box with SS cover | Nos | 1 |  |  |  | 1
11 | Connection of AHU, Exhaust, Air Blower | Nos | 3 |  |  |  | 3
12 | Supply of Rubber mat | Nos | 1 |  |  |  | 1
13 | Supplying the following data prior to handing over the installation to the owner. | job | 1 |  |  |  | 1
i) Megger Test Results in quadruplicate of all mains/submains/circuits/load feeders in tabulated format
i) In quadruplicate all`As built' drawings on blue prints, separate for
a | indoor lighting
b | outdoor lighting
c | Electrical cable system with sizes and routes
d | Main Earthing grid
e | Floor trunking layout
f | conduit layout-to all the points from controlling DB's to be drawn along with indoor lighting
In general the drawings should show the sizes of cables, conduits and number of wires laid in conduit, outlets and lighiting layout,earthing conductor sizes, single line diagrams of each panel. Any other data like specifications, test certificates and maintenance manual of panels, Main LT panel etc. should also be furnished in quadriplicate
8.2 | Provision of ample amount of Temporary lights & sockets during construction stage | Nos.
8.3 | Digging and chemical earthing pit | Nos.
TOTAL OF SECTION VIII

## NT ITEMS ELECTRICALS
NON TENDER ITEMS, (ELECTRICAL) COPPER CHIMNEY, OBEROI MALL, GOREGAON
S.NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | Supply and installation of 25 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | RMT | 164 | 48 | 7872
2 | Supply and installation of 20 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | RMT | 158 | 42 | 6636
3 | 4M WEATHER PROOF BOX | NOS | 3 | 1675 | 5025
6 | Supply, installation, connection testing and commissioning of 32A TPN MCB WITH BOX | NOS | 2 | 3450 | 6900
7 | Supply, installation, testing, commissioning of 10A Connector Strip | NOS | 10 | 28 | 280
8 | Supply and fixing CEILING ROSE | NOS | 60 | 25 | 1500
9 | Providing & fixing STARTERS 5.5KV (TEMPORARY CONNECTION FOR VFD) | NOS | 3 | 3600 | 10800
10 | MUSIC SYSTEM INSTALLATION CHARGES | NOS | 1 | 6500 | 6500
| TOTAL |  |  |  | 45513