## Fire - Extinguishe & Sinages
Bill of Quantities for Fire Extinguisher & Sinages (Project - CC - BANDRA)
Subject | FIRE BOQ
S.No. | Description | Qty | Unit | Rate | Amount
1 | Supply & Installation CEILING MOUNTED AUOMATIC FIRE EXITINGUISHER |  |  |  | 0
1.1 | CEILING MOUNTED AUTOMATIC FIRE EXTINGUISHER (CAPACITY:- 4KG) | 2 | No. |  | 0
1.2 | CEILING MOUNTED AUTOMATIC FIRE EXTINGUISHER (CAPACITY:- 2KG) | 13 | No.
2 | Supply Fire Extinguishers
2.1 | ABC type 5.0 kg of approved make (MAP 90 BASED PORTABLE STORED PRESSURE) | 3 | No. |  | 0
2.2 | CO2 type 5.0 kg of approved make (MAP 90 BASED PORTABLE STORED PRESSURE) | 3 | No. |  | 0
2.3 | K type 10.0 kg of appved make (MAP 90 BASED PORTABLE STORED PRESSURE) | 2 | No. |  | 0
3 | Supply Fire Signages
3.1 | ABC - AUTO GLOW Signage type Fire Extinguisher:size: 100mm X 100mm | 3 | No.
3.2 | CO2 - AUTO GLOW Signage type Fire Extinguisher:size: 100mm X 100mm | 3 | No.
3.3 | K type - AUTO GLOW Signage type Fire Extinguisher:size: 100mm X 100mm | 2 | No.
3.4 | (THIS PREMISES IS FIRE SAFETY COMPLIANT) with Local Language - Mentioning AUTO GLOW Signage type: 300mmX150Mmm | 2 | No.
3.5 | Metal Rectangular Emergency Exit Signage, For Indoor, Board Thickness: 5mm | 4 | No.
| Total |  |  |  | 0
| GRAND TOTAL |  |  |  | 0
Note -
Sprinkler head, hoses and other accessories shall be UL listed & FM approved manufactured by reputed brand.

## Fire Detection
Bill of Quantities for fire Detection (Project - CC - BANDRA)
Sr. | Description | Qty | Unit | Rate | Amount
No. |  |  |  | Rs. | Rs.
A | CONVENTIONAL FIRE DETECTION SYSTEM
1.1 | Supply & Installation of Smoke Detector | 12 | Nos |  | 0
0
1.2 | Supply & Installation of Heat Detector with base | 5 | Nos |  | 0
0
1.3 | Supply & Installation of Multi Detector | 2 | Nos |  | 0
0
1.4 | Supply & Installation of Manual Breakglass Unit | 3 | No |  | 0
0
1.5 | Supply & Installation of Hooter with Flasher | 3 | No |  | 0
0
1.6 | Supply & Installation of Response Indicator | 0 | No. |  | 0
0
1.7 | Supply & Installation of 4 Zone Fire Alarm Panel with Auto Dialing Facility | 1 | No. |  | 0
| TOTAL |  |  |  | 0
| GRAND TOTAL |  |  |  | 0