## MEASUREMENT SHEET
measurement sheet
Black Dog_T1 B SHA
1 | fixing 6mm ply with approved laminate finish on existing laminate
| bulkhead at back counter | 4.33 | 0.6 |  | 2.598
|  | 4.33 | 0.84 |  | 3.6372
| verticals below bulkhead | 0.84 | 2.4 | 8 | 16.128 | lower part of bulkhead
|  | 0.77 | 2.4 | 2 | 3.696
|  | 0.075 | 2.4 | 4 | 0.72
| verticals inside under front counter | 0.675 | 0.9 | 14 | 8.505
|  | 0.812 | 0.9 |  | 0.7308
|  | 0.94 | 0.9 |  | 0.846
|  | 0.58 | 0.9 |  | 0.522
|  | 2.34 | 0.9 |  | 2.106
| verticals inside under back counter | 0.842 | 0.9 | 4 | 3.0312
|  | 1.23 | 0.9 |  | 1.107
|  | 0.61 | 0.9 | 2 | 1.098
|  | 0.075 | 0.9 | 2 | 0.135
| verticals on side of the counter | 0.58 | 0.9 |  | 0.522
|  | 2.34 | 0.9 |  | 2.106
| partition facing Barista | 0.075 | 3.15 |  | 0.23625
| partition of store behind the outlet with door shutter | 1.24 | 3.15 |  | 3.906
existing black column
51.6304
2 | fixing 6mm ply with approved paint finish on existing partition
| store behind outlet | 6.1 | 3.15 | 1 | 19.215
| entry of store room |  |  |  | 3.2655 | 1.48 | 3.15 | 4.662 | total area
[5 empty] | 22.4805 | 0.665 | 2.1 | 1.3965 | door area
3.2655
3 | fixing new shutter finished with approved laminate and hardwares below the counter
| double shutter below back counter | 1.23 | 0.81 |  | 0.9963
| single shutter with louvres below front counter | 0.67 | 0.81 |  | 0.5427
|  | 0.67 | 0.81 |  | 0.5427
|  | 0.6 | 0.81 |  | 0.486
1.5714
4 | black granite to be fixed on old granite top
| back counter top | 2.47 | 0.84 |  | 2.0748
|  | 0.25 | 2.47 |  | 0.6175
|  | 0.225 | 2.47 |  | 0.55575
| front top counter | 4.36 | 0.7 |  | 3.052
6.3001
5 | fixing solid acrylic (corian) on existing lamination finish
| top front counter | 1.65 | 0.45 |  | 0.7425
|  | 2.64 | 0.45 |  | 1.188
| hanging shelves on top of lamination | 2.5 | 0.45 | 2 | 2.25
|  | 1 | 0.45 | 2 | 0.9
|  | 1 | 2.5 | 2 | 5
10.0805
6 | glass shelves
| back counter | 2.47 | 0.25 |  | 0.6175
7 | back painted glass
|  | 0.59 | 2.47 | 2 | 2.9146
8 | ply box with ss finish (back counter) | 0.6 | 2.47 |  | 1.482
9 | GREY rubber flooring mat inside the outlet |  |  |  | 10
10 | vinyl flooring inside store room |  |  |  | 5.21
| seating area |  |  |  | 20.13
25.34
11 | vinyl at ceiling ceiling | 5.9 | 0.05 |  | 0.295
|  | 2.64 | 0.05 |  | 0.132
|  | 4.7 | 2.64 |  | 12.408
| vinyl rafters in ceiling | 0.16 | 0.12 | 20 | 0.384
|  | 0.16 | 2.6 | 20 | 8.32
|  | 0.12 | 2.6 | 10 | 3.12
24.659
12 | lights
| spot lights |  |  |  | 20
| hang lights |  |  |  | 2
| T Five light |  |  |  | 2.1
2.42
[5 empty] | 4.52 | rmt
13 | painting
| upper part of column | 0.5 | 0.95 | 8 | 3.8
| ceiling of outlet |  |  |  | 20.29
| walls of store room | 0.875 | 3.15 | 2 | 5.5125
| ceiling of store room | 6.1 | 0.875 |  | 5.3375
34.94
13.1 | duco paint of existing shade- black column | 0.95 | 1.95 | 8 | 14.82
14 | polishing SS skirting at counter 100mm height | 4.5 |  |  | 4.5
|  | 2.41 |  |  | 2.41
6.91
15 | vinyl skirting below seating 150 mm height | 5.26 |  | 2 | 10.52
|  | 6.1 |  |  | 6.1
|  | 0.65 |  | 2 | 1.3
|  | 0.23 |  | 2 | 0.46
18.38
16 | HIGH CHAIRS |  |  |  | 5
| TABLES |  |  |  | 3
| CHAIRS |  |  |  | 6
17 | Removal of Existing damage partition & Fixing the new one 75 mm Thick
18 | door of store room | 0.665 | 2.1 |  | 1.3965
19 | low height entry door to the outlet | 0.825 | 0.9 |  | 0.7425
20 | removal of existing sink and fining new one |  |  |  | 1
21 | Removal of Existing damage water tap and fixnig new approved branded water tap fittings
22 | corner guard |  |  |  | 18.38
23 | increase lux of the existing signage
24 | existing old false ceiling tiles to be replaced with same match | 5.92 | 2.77 |  | 16.3984

## BOQ_BLACK DOG_T1B SHA
BOQ of Interior Items for BLACK DOG, Mumbai T1 B SHA
DATE: 29-07-23
SR.NO. | ITEM | DESCRIPTION | LOCATION | IMAGE REF | DIMENSION | UNIT | QTY. | Colosseum |  | LPC |  | REMARKS | Target
[8 empty] | Rate | Amount | Rate | Amount |  | Rate | Amount
1 | fixing 6mm fire rated ply with approved laminate finish on existing laminate | Providing and fixing 6 mm ply finished with new approved laminate over existing laminate,at all mentioned locations of the outlet completed as per approved DWG & instruction from EIC. 1. bulkhead at back counter 2. verticals below bulkhead 3. verticals inside under front counter 4. verticals inside under back counter 5. verticals on side of the counter 6. partition facing Barista | 1. bulkhead at back counter 2. verticals below bulkhead 3. verticals inside under front counter 4. verticals inside under back counter 5. verticals on side of the counter 6. partition facing Barista |  |  | SQMT | 51.6304 | 4500 | 232337.025 | 2800 | 144565.26 |  | 2700 | 139402.215
[9 empty] | 0 |  | 0 |  |  | 0
2 | fixing 6mm fire rated ply with approved paint finish on existing partition | Provind and fixing ply of 6mm thick over existing partition of store behind the outlet as per instruction from EIC. | 1. store behind the outlet |  |  | SQMT | 22.4805 | 3700 | 83177.85 | 1800 | 40464.9 |  | 3500 | 78681.75
|  | removal of existing laminate, fixing 6 mm fire rated ply finished with approved paint | 2. entry of the store room | [5 empty] | 0 | 2000 | 44961 |  |  | 0
[9 empty] | 0 |  | 0 |  |  | 0
3A | fixing new shutter finished with approved laminate and hardwares below the counter | 1. Removing of existing ply shutters, 2. Providing fixing of 12mm fire rated ply double shutters with approved laminate finish with all fiting accessories complete as per existing detail and instruction from EIC. | shutter below back counter |  |  | SQMT | 0.9963 | 5200 | 5180.76 | 4250 | 4234.275 |  | 4200 | 4184.46
3B | fixing new shutter (With louvres) finished with approved laminate and hardwares below the counter | 1. Removing of existing ply shutters, 2. Providing fixing of 12mm fire ply shutters (With louvres) with approved laminate finish with all fiting accessories complete as per existing detail & instruction from EIC. | shutter below front counter |  |  | SQMT | 1.5714 | 6000 | 9428.4 | 6000 | 9428.4 |  | 6000 | 9428.4
[9 empty] | 0 |  | 0 |  |  | 0
4 | black granite to be fixed on old grantite top | 1. Providing fixing of new granite with approved shade & finish with all fixing chemical compound on exisiting granite top complete as per instruction from EIC. - Back and front counter top | back and front counter top |  |  | SQMT | 6.3001 | 6300 | 39690.315 | 4900 | 30870.245 |  | 4800 | 30240.24
[9 empty] | 0 |  | 0 |  |  | 0
5 | fixing 6mm fire rated ply with laminate finish on existing lamination | 1. Providing fixing of 6mm fire rated ply finished with approved laminate with all work complete as per instruction from EIC | 1. on top of front counter 2. shelf hanging on top of front counter |  |  | SQMT | 10.0805 | 4500 | 45362.25 | 2800 | 28225.4 | - | 2700 | 27217.35
[9 empty] | 0 |  | 0 |  |  | 0
6 | Glass shelves to be removed if it is damaged | 1. Removal of existing old damage glass shelves 2. Providing & fixing of new 12mm clear toughen glass shelves at back counter complete as per DWG instruction from EIC. (To be considered as per onsite requirement) | back counter |  |  | SQMT | 0.6175 | 8500 | 5248.75 | 5500 | 3396.25 | - | 5500 | 3396.25
[9 empty] | 0 |  | 0 |  |  | 0
7 | back painted glass (if damaged) | 1. Removal of existing old back painted glass if it is damaged only then 2. Providing fixing of new back painted glass with same shade & finish as of existing with all fixing chemical compound / Fittings accessories, complete as per instruction from EIC. - Location - Back counter | back counter |  |  | SQMT | 2.9146 | 10500 | 30603.3 | 6000 | 17487.6 |  | 6000 | 17487.6
[9 empty] | 0 |  | 0 |  |  | 0
8 | ply box with ss finish (back counter) | Providing & Fixing SS 304 sheet on 19mm thk fire rated ply at back counter shelves. Enclosing it from top/bottom/Front. Inculdes all fixing accessories & chemical bonding agents. complete as per instruction from EIC.the sizes to be as per existing. |  |  |  | SQMT | 1.482 | 64500 | 95589 | 12500 | 18525 |  | 12500 | 18525
[9 empty] | 0 |  | 0 |  |  | 0
9 | Vinyl flooring | 1. Providing and fixing new vinyl flooring on existing surface of approved shade complete as per instruction from EIC. 2. removal of existing flooring mat in outlet. | 1. in seating area 2. inside store |  |  | SQMT | 25.34 | 3750 | 95025 | 850 | 21539 |  | 850 | 21539
[9 empty] | 0 |  | 0 |  |  | 0
10 | Grey rubber mat flooring | removal of existing rubber flooring and proving and fixing new grey rubber mat flooring of approved shade. | inside outlet (BOH) |  |  | SQMT | 10 | 5000 | 50000 | 2000 | 20000 |  | 2500 | 25000
[9 empty] | 0 |  | 0 |  |  | 0
11 | Vinyl print | Provinding and fixing vinyl over existing laminate/ veneer surface of ceiling and rafters of approved shade complete as per detail drawing or as per instruction from EIC. | 1. ceiling 2. rafters |  |  | SQMT | 24.659 | 3750 | 92471.25 | 950 | 23426.05 |  | 950 | 23426.05
[9 empty] | 0 |  | 0 |  |  | 0
12 | New lights | 1. Removal of existing old lights fixtures & handing over to EIC. 2. Providing fixing of new approved 5 Watts warm light fitting & fixtures in exisitng location , complete as per instruction from EIC. - Item - spot lights / Hanging lights / T Five lights | spot lights |  |  | NOS | 20 | 1500 | 30000 | 1200 | 24000 |  | 1200 | 24000
|  |  | hang lights |  |  | NOS | 2 | 2500 | 5000 | 5500 | 11000 |  | 2500 | 5000
|  |  | T Five light |  |  | RMT | 4.52 | 500 | 2260 | 950 | 4294 |  | 950 | 4294
[5 empty] | Total Basic Price (Excl. GST) |  |  |  | 821373.9 |  | 446417.38 |  |  | 431822.315