## MEASUREMENT SHEET
measurement sheet
Black Dog_T1 B SHA
1 | fixing 6mm ply with approved laminate finish on existing laminate
| bulkhead at back counter | 4.33 | 0.6 |  | 2.598
|  | 4.33 | 0.84 |  | 3.6372
| verticals below bulkhead | 0.84 | 2.4 | 8 | 16.128 | lower part of bulkhead
|  | 0.77 | 2.4 | 2 | 3.696
|  | 0.075 | 2.4 | 4 | 0.72
| verticals inside under front counter | 0.675 | 0.9 | 14 | 8.505
|  | 0.812 | 0.9 |  | 0.7308
|  | 0.94 | 0.9 |  | 0.846
|  | 0.58 | 0.9 |  | 0.522
|  | 2.34 | 0.9 |  | 2.106
| verticals inside under back counter | 0.842 | 0.9 | 4 | 3.0312
|  | 1.23 | 0.9 |  | 1.107
|  | 0.61 | 0.9 | 2 | 1.098
|  | 0.075 | 0.9 | 2 | 0.135
| verticals on side of the counter | 0.58 | 0.9 |  | 0.522
|  | 2.34 | 0.9 |  | 2.106
| partition facing Barista | 0.075 | 3.15 |  | 0.23625
| partition of store behind the outlet with door shutter | 1.24 | 3.15 |  | 3.906
existing black column
51.6304
2 | fixing 6mm ply with approved paint finish on existing partition
| store behind outlet | 6.1 | 3.15 | 1 | 19.215
| entry of store room |  |  |  | 3.2655 | 1.48 | 3.15 | 4.662 | total area
[5 empty] | 22.4805 | 0.665 | 2.1 | 1.3965 | door area
3.2655
3 | fixing new shutter finished with approved laminate and hardwares below the counter
| double shutter below back counter | 1.23 | 0.81 |  | 0.9963
| single shutter with louvres below front counter | 0.67 | 0.81 |  | 0.5427
|  | 0.67 | 0.81 |  | 0.5427
|  | 0.6 | 0.81 |  | 0.486
1.5714
4 | black granite to be fixed on old granite top
| back counter top | 2.47 | 0.84 |  | 2.0748
|  | 0.25 | 2.47 |  | 0.6175
|  | 0.225 | 2.47 |  | 0.55575
| front top counter | 4.36 | 0.7 |  | 3.052
6.3001
5 | fixing solid acrylic (corian) on existing lamination finish
| top front counter | 1.65 | 0.45 |  | 0.7425
|  | 2.64 | 0.45 |  | 1.188
| hanging shelves on top of lamination | 2.5 | 0.45 | 2 | 2.25
|  | 1 | 0.45 | 2 | 0.9
|  | 1 | 2.5 | 2 | 5
10.0805
6 | glass shelves
| back counter | 2.47 | 0.25 |  | 0.6175
7 | back painted glass
|  | 0.59 | 2.47 | 2 | 2.9146
8 | ply box with ss finish (back counter) | 0.6 | 2.47 |  | 1.482
9 | GREY rubber flooring mat inside the outlet |  |  |  | 10
10 | vinyl flooring inside store room |  |  |  | 5.21
| seating area |  |  |  | 20.13
25.34
11 | vinyl at ceiling ceiling | 5.9 | 0.05 |  | 0.295
|  | 2.64 | 0.05 |  | 0.132
|  | 4.7 | 2.64 |  | 12.408
| vinyl rafters in ceiling | 0.16 | 0.12 | 20 | 0.384
|  | 0.16 | 2.6 | 20 | 8.32
|  | 0.12 | 2.6 | 10 | 3.12
24.659
12 | lights
| spot lights |  |  |  | 20
| hang lights |  |  |  | 2
| T Five light |  |  |  | 2.1
2.42
[5 empty] | 4.52 | rmt
13 | painting
| upper part of column | 0.5 | 0.95 | 8 | 3.8
| ceiling of outlet |  |  |  | 20.29
| walls of store room | 0.875 | 3.15 | 2 | 5.5125
| ceiling of store room | 6.1 | 0.875 |  | 5.3375
34.94
13.1 | duco paint of existing shade- black column | 0.95 | 1.95 | 8 | 14.82
14 | polishing SS skirting at counter 100mm height | 4.5 |  |  | 4.5
|  | 2.41 |  |  | 2.41
6.91
15 | vinyl skirting below seating 150 mm height | 5.26 |  | 2 | 10.52
|  | 6.1 |  |  | 6.1
|  | 0.65 |  | 2 | 1.3
|  | 0.23 |  | 2 | 0.46
18.38
16 | HIGH CHAIRS |  |  |  | 5
| TABLES |  |  |  | 3
| CHAIRS |  |  |  | 6
17 | Removal of Existing damage partition & Fixing the new one 75 mm Thick
18 | door of store room | 0.665 | 2.1 |  | 1.3965
19 | low height entry door to the outlet | 0.825 | 0.9 |  | 0.7425
20 | removal of existing sink and fining new one |  |  |  | 1
21 | Removal of Existing damage water tap and fixnig new approved branded water tap fittings
22 | corner guard |  |  |  | 18.38
23 | increase lux of the existing signage
24 | existing old false ceiling tiles to be replaced with same match | 5.92 | 2.77 |  | 16.3984

## BOQ_BLACK DOG_T1B SHA
BOQ of Interior Items for BLACK DOG, Mumbai T1 B SHA
SR.NO. | ITEM | DESCRIPTION | LOCATION | IMAGE REF | DIMENSION | UNIT | QTY. | Target
[8 empty] | Rate | Amount
13 | painting | Provision and application of apex paint, approved shade. Upper part of the column & ceiling of seating area. | 1. upper part of the column 2.ceiling of seating area 3. ceiling and side wall of store room |  |  | SQMT | 34.94 | 300 | 10482
0
13.1 | duco paint | Provision and application of duco paint, of existing shade on Black part of column | 1. existing black part of the column |  |  | SQMT | 14.82 | 3900 | 57798
0
14 | Polishing of SS skirting | Polishing of existing SS skirting 100 mm Ht. at below front & side of the front counters as higlighted in DWGS. | Skirting below front & side of the counters |  |  | RMT | 6.91 | 500 | 3455
0
15 | Vinyl - Skirting | 1. Removing / Dismantling existing skirtings as required 2. Providing & fixing new 150 mm vinyl skirting in approved brand & material, complete as per instruction from EIC. | Raised flooring seating area |  |  | RMT | 18.38 | 300 | 5514
0
18 | Removal of Store room door & Fixing new door (45 mm Thick) | 1. Removing / Dismantling existing damage store room door. 2. Providing & fixing new flush door 45 mm thick. Finish to be in approved laminate . Include all neceassry accessories & hardware fittings complete as per instruction from EIC.. | Store room door |  |  | SQMT | 1.3965 | 22500 | 31421.25
0
19 | Removal of low height outlet door & Fixing new door (18 mm Thick) | 1. Removing / Dismantling existing low height outlet door. 2. Providing & fixing new door 18 mm thick. Finish to be in approved laminate . Include all neceassry accessories & hardware fittings complete as per instruction from EIC.. | outlet door |  |  | SQMT | 0.7425 | 4500 | 3341.25
0
20 | Removal of Existing sink (Glass washer) and fixnig new approved sink | 1. Removing / Dismantling existing sink & handingover to EIC. 2. Providing & fixing new glass wash sink of approved brand. Include all neceassry accessories & plumbing fittings complete as per instruction from EIC.. | Back counter top |  |  | Nos | 1 | 7500 | 7500
0
21 | Removal of Existing damage water tap and fixnig new approved branded water tap fittings | 1. Removing / Dismantling existing sink tap 2. Providing & fixing new tap of approved brand. Include all neceassry plumbing fittings. Complete as per instruction from EIC. Basic rate for tap - 2000 | Back counter sink water tap |  |  | Nos | 1 | 3500 | 3500
0
22 | Polishing of SS floor corner guard | Polishing of SS corner guard in raised flooring in seating area. | Raised flooring for seating, SS corner gaurd |  |  | RMT | 18.38 | 500 | 9190
0
23 | increase lux level of the existing signage or brand to provide new signage | replacing lighting of existing signage with new LED lighting |  |  |  | NO | 1 | 9500 | 9500
0
24 | existing old false ceiling tiles to be replaced with same match | providing and fixing of existing tiles |  |  |  | SQMT | 16.3984 | 1850 | 30337.04
|  |  |  | Total Basic Price (Excl. GST) |  |  |  |  | 172038.54