## Idli.Com
EQUIPMENT SCHEDULE
IDLI.COM
|  | AHMEDABAD | DATE | 2023-11-06
SR.No. | Eq.No. | DESCRIPTION | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY 3PH/1PH | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH | EXHAUST CFM
FOH-IDLI.COM
3 | ID-03 | JUICE DISPENSER | UGOLININ-DELUX 12/2 | 360 x 480 x 570Ht, | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
4 | ID-04 | FLOOR MOUNTED HOT BAIN MARIE WITH 3Nos.1/1x150Deep GN PAN WITH EXTERNAL PANEL | FABRICATED | 1125 x 650 x 850 | 1 | 1PH | 3 | 3 | 32 | Metal Clad
5 | ID-05 | AMBIENT BAIN MARIE WITH 6 Nos. OF 1/6 GN PANS 200mm DEEP | FABRICATED | 462 x 650 x850 | 1
6 | ID-06 | GAS OPERATED FLOOR MOUNTED HOT PLATE WITH 1 U/S LEG OFFSET FROM BACK SIDE & LEFT SIDE 150MM | FABRICATED | 900 x 650 x 850 | 1
7 | ID-07 | BOX TYPE EXHAUST HOOD WITH BAFFLE FILTERS & FIRE SUPPRESSION SYSTEM , FRESHER GRILL & LED LIGHTS-(1200CFM) | FABRICATED | 1100 x 1150 x 600 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket | 1200
8 | ID-08 | BOX TYPE EXHAUST HOOD WITH BAFFLE FILTERS & FIRE SUPPRESSION SYSTEM , FRESHER GRILL & LED LIGHTS-(1100CFM) | FABRICATED | 1500 x 1150 x 600 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket | 1100
9 | ID-09 | STAND FOR COMBI OVEN WITH GN PAN TRAY PROVISION & OFFSET FROM RHS & BACK SIDE | FABRICATED | 800 x 850 x 850 | 1
10 | ID-10 | GAS OPERATED COMBI OVEN- 5TRAY | UNOX-5TRAY GAS | 750 x 783 x 675Ht. | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
11 | ID-11 | IDLI STEAMER 6 TRAYS 56 Pcs. Cap. | FABRICATED | 450 x 450 x 600Ht. | 1 | 1PH | 3 |  | 32 | Metal Clad
12 | ID-12 | 3 DOOR UNDER COUNTER BACK BAR CHILLER | BLUESTAR-BC350A | 1350 x 520 x 900 | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket
14 | ID-14 | FILTER COFFEE MACHINE-2Ltrs Cap. | GEMINI-2000 | 220 x 390 x 600Ht. | 1 | 1PH | 2 | 2 | 5 / 15 Amp | Switch Socket
15 | ID-15 | MILK BOILER INSULATED - 12Ltrs.Cap. | PRADEEP - 111612 | 320DIA x 580Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
16 | ID-16 | TEA KETTLE MACHINE - 12Ltrs.Cap. | PRADEEP - 111313 | 320DIA x 580Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
17 | ID-17 | MICROWAVE OVEN | CELFROST-CMO25 | 511 x 432 x 311Ht. | 1 | 1HP | 1.9 | 1.9 | 32 | Switch Socket
19 | ID-19 | GREASE TRAP | NUGREEN-NGT-8 | 355 x 262 x 280Ht. | 1
Total Kw-A IDLI.COM FOH | [7 empty] | 14.4
BACK KITCHEN
66 | BH-01 | FOOT OPERATED HAND WASH SINK WITH HOT & COLD WATER CONNECTION & WITH TISSUE HOLDER & SOAP DISPENSER PROVISION | FABRICATED | 500 x 475 x 850+450 | 1
19 | BH-02 | 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUE STAR-UC2100GC | 1365 x 700 x 850Ht | 2 | 1PH | 0.5 | 1 | 32 | Metal Clad
53 | BH-03 | WORK TABLE W/CROSS SUPPORT BELOW SPACE FOR USED OIL & CHEMICAL STORAGE | FABRICATED | 750 x 775 x 850+100SPL | 1
11 | BH-04 | SINGLE BASKET DEEP FAT FRYER TABLE MOUNTED-8 Ltrs. Cap | MUKUNDA-ECO8L | 330 x 700 x 230+120 | 1 | 1HP | 3 | 3 | 32 | Metal Clad
12 | BH-05 | EXHAUST CHIMNEY CEILING MOUNTED (CUTOUT IN CEILING) | MAGLIO SLATE | 900 x 510 x 670 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
27 | BH-06 | SS GAS OPERATED 2 BURNER RANGE (LEGS 150mm OFFSET FROM BACK & LHS.FOR GAS) | FABRICATED | 1000 x 775 x 850+100SPL | 1
27 | BH-07 | BOX TYPE EXHAUST HOOD WITH BAFFLE FILTERS & FIRE SUPPRESSION SYSTEM , FRESHER GRILL & LED LIGHTS-(1200CFM) | FABRICATED | 1100 x 1150 x 600 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket | 1200
55 | BH-08 | WALL CABINET WITH LOCKABLE DOORS | FABRICATED | 1365 x 350 x 600 | 1
59 | BH-09 | 2 DOOR VERTICAL FREEZER | RF2D700A-BLUE STAR | 700 x 820 x 2050Ht. | 1 | 1HP | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket
POT WASH AREA
14 | PW-01 | POT RACK 2 Nos SHELF WALL MOUNTED | FABRICATED | 800 x 550 x 750Ht. | 1
16 | PW-02 | GREASE TRAP | NUGREEN-NGT 20 | 503 x 362 x 303Ht. | 1
17 | PW-03 | POT WASH SINK PERFORETED STRAINER AND BALL VALVE (600x475x250mm Deep) | FABRICATED | 775 x 650 x 850+150Ht. | 1
9 | PW-04 | SS WALLMOUNTED SHELF | FABRICATED | 775 x 300 | 1
Total Kw-B- BACK KITCHEN | [7 empty] | 6.5
SOE
3 | SO-03 | INSECT KILLERS |  |  | 2 | 1PH | 0.5 | 1 | 5 / 15 Amp
4 | SO-04 | FIRE EXTINGUISHER ABC-4KG |  |  | 2
5 | SO-05 | FIRE EXTINGUISHER CO/2-4.5KG |  |  | 2
6 | SO-06 | FIRE EXTINGUISHER KTYPE - 6KG |  |  | 2
7 | SO-07 | FIRE BLANKET - 6' X 4' |  |  | 2
Total Kw-D SOE | [7 empty] | 1
Total (Kw) A+B | [7 empty] | 21.9 |  |  | 3500