## Make (2)
LIST OF APPROVED BRANDS:
PVC and MS Conduits - Precision/Polycab
FRLS Wires - Finolex /Polycab
Cables - Polycab / Finolex
Switches - Legrand/Roma
Distribution Boards - LT/ Siemens/legrand
MCB’s /ELCB’s - LT/Siemens/legrand
Telephone Wires - Finolex/Polycab/ITL
T.V.Wires - Comscop/Finolex
Exhaust Fans - Boss / Newtech /GMC
Light Fittings - Philips
Switch fuse units/starters - L&T/ Siemens
Fire Alarm System | Honeywell/Agni
Cat 6 - D Link
Notes:-
1. The Contractor should quote the tender rates considering First make of materials given in above list.
2. Wherever contractor proposes to use `equivalent' makes (i.e. other than specified) he shall obtain Client's prior approval. Client may consult Consultants before giving approval to the same. Any additional cost and time lost due to this will be on Contractor's account and no claims will be entertained.
3. The contractor should take approval for make & manufacturer from the consultants before using any material, which does not appear in the list of approved manufacturers.