## FISHERMAN'S WHARF
TFS- BIRYANI'S OF INDIA- DELHI AIRPORT | [7 empty] | DATE: 02/11/2024
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 | 2' x 2' CONCEALED LIGHT |  |  | 7 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | BOH | Kitchen area | NON DIMMABLE | 36 W | 595*595 mm | DESCRIPTION 2' x 2' CONCEALED LIGHT DESCRIPTION Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver LOCATION BOH TRANSFORMER TYPE Kitchen area COLOUR TEMPERATURE NON DIMMABLE WATTAGE 36 W SIZE 595*595 mm
2 | PULL OUT SPOT LIGHT |  |  | 6 | Conceal fitting | FOH | NON DIMMABLE | 3000 K | 11W, 36 decree focus | 60 mm dia | DESCRIPTION PULL OUT SPOT LIGHT DESCRIPTION Conceal fitting LOCATION FOH TRANSFORMER TYPE NON DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 11W, 36 decree focus SIZE 60 mm dia
3 | CEILING HANGING LIGHTS |  |  | 2 | Cluster of 2Nos. Light Fixtures Each | Above Front Counter | NON DIMMABLE | 3000 K | 40W | 300 mm dia and 350mm height | DESCRIPTION CEILING HANGING LIGHTS DESCRIPTION Cluster of 2Nos. Light Fixtures Each LOCATION Above Front Counter TRANSFORMER TYPE NON DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 40W SIZE 300 mm dia and 350mm height
4 | LED PROFILE LIGHTS for Shelf |  |  | 6 | Led light light 1 meter each | Above Front Counter | NON DIMMABLE | 3000 K | 20W | 10-12mm wide | DESCRIPTION LED PROFILE LIGHTS for Shelf DESCRIPTION Led light light 1 meter each LOCATION Above Front Counter TRANSFORMER TYPE NON DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 20W SIZE 10-12mm wide
5 | LED PROFILE LIGHTS for counter and bulkhead |  |  | 24 meter |  | Front Counter and bulkhead | NON DIMMABLE | 3000 K | 20W | 10-12mm wide | DESCRIPTION LED PROFILE LIGHTS for counter and bulkhead DESCRIPTION LOCATION Front Counter and bulkhead TRANSFORMER TYPE NON DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 20W SIZE 10-12mm wide