## BOQ
SR.NO. | DESCRIPTION | OVERALL SIZE | QTY | Make | Model | ELECTRICAL |  |  |  | WATER |  |  | Drain |  | LPG / PNG |  |  | EXHAUST CFM | Tape Model Number | Tape Photo | REMARK
|  | All Dimensions in MM L x W x H |  |  |  | HP | Watts | ELECTRICAL LOAD IN KW | PHASE | HOT | COLD | RO | Size | Type of Burner | NO OF BURNER | Consumption Per Burner Per Hour | BTU Per Burner Per Hour
BOH
BO - 01 | Single Basket Deep Fat Fryer ( Table Model ) | 270 x 420 x 360 | 2 | SIRMAN | ELDORADO 8 |  | 3 .3 x 2 | 6.8 | I
BO - 02 | 6 Drawers Low Boy Chiller | 1800 x 800 x 700 | 1 | CUSTOM FABRICATED |  |  |  | 1 | I
BO - 03 | Gas Fired Hot Plate | 500 x 765 x 350 + 150 | 1 | CUSTOM FABRICATED
BO - 04 | Work Table With 1 U/S | 575 x 800 x 700 | 1 | CUSTOM FABRICATED
BO - 05 | Four Burner Range | 765 x 765 x 350 + 150 | 1 | CUSTOM FABRICATED
BO - 06 | Side Table | 450 x 800 x 350 + 150 | 1 | CUSTOM FABRICATED
BO - 07 | Reach In Freezer | 700 x 880 x 2043 | 1 | Blue Star | RF2D700GP |  | 0.522 | 0.522 | I
BO - 08 | Under Counter Dish Washing Machine | 610 x 600 x 820 | 1 | Electrolux | 400153 |  |  | 5.35 | I |  | 12
BO - 09 | Table With Sink | 1450 x 700 x 850 + 150 | 1 | CUSTOM FABRICATED | [5 empty] | 12 | 12 |  | 100
BO - 10 | Sunken Table - For Soiled Dish | 650 x 350 x 850 + 150 | 1 | CUSTOM FABRICATED
BO - 11 | Garbage Bin | Standard | 1 | Bought Out
BO - 12 | Salad Bar With Work Top Refer | 1800 x 780 x 850 + 150 | 1 | CUSTOM FABRICATED |  |  |  | 1 | I
BO - 13 | Spare Number
BO - 14 | Wall Shelf | 1740 x 300 | 2 | CUSTOM FABRIACTED
BO - 15 | Micro wave Oven ( 25.5 Litres Capacity ) | 511 x 432 x 311 | 1 | Celfrost | CMO 25 |  | 1000 | 1 | I
BO - 16 | Cancelled
BO - 17 | Insect Killer | BRANDED | 2 | TECHNOCRAT |  | 1/2 HP | 0.75 | 0.75 | I
BO - 18 | Hand Sink | HACCP Standard | 1 | Salva Brand | [5 empty] | 12 | 12 |  | 100
BO - 19 | SS Stoarge Rack 5 Shelves - 3 Sides Up and Front Side Down | 750 x 450 x 1950 | 1 | CUSTOM FABRICATED
BO - 20 | SS Stoarge Rack 5 Shelves - 3 Sides Up and Front Side Down | 750 x 450 x 1950 | 1 | CUSTOM FABRICATED
BO - 21 | FIRE EXTINGUISHER ABC-4.5KG |  | 1
| FIRE EXTINGUISHER CO2-4.5KG |  | 1
| FIRE EXTINGUISHER K TYPE-6KG |  | 1
| FIRE EXTINGUISHER AR-AFFF-9LTR. |  | 1
| FIRE BLANKET 6 x 4 |  | 1
BO - 22 | Spare Number
BO - 23 | Exhaust Hood (Double Skin Exhaust) | 2400 x 1000 x 500 | 1 | CUSTOM FABRICATED | [13 empty] | 3157
BO - 24 | Wall Shelf | 1350 x 300 | 2 | CUSTOM FABRICATED
FOH
FO -01A | Ambient Display Cabinet | 900 x 665 1235 | 1
FO -01B | Pastry Cabinet | 1500 x 665 x 1235 | 1 | WESTERN | PTW15 |  |  | 1 | I
FO -02 | POS |  | 2 | IT
FO -03 | 3 Door Back Bar Cooler | 1345 x 545 x 900 | 1 | Western | RBW-135 | 1/2 HP | 0.373 | 0.373 | I
FO -04 | Coffee Machine Compact 2 Group Semi Automatic | 784 x 545 x 498 | 1 | Nuvo Simonelli | APPIA LIFE - 2 |  | 3.3 | 3.3 | I |  |  | 12 | 38
FO -05 | Knock Box | Standard | 1 | Bought Out
FO -06 | Cup Rinser | Standard | 1 | [7 empty] | 12 |  | 100
FO -07 | Coffee Grinder | 210 x 480 x 470 | 1 | Otto | Regular |  | 0.35 | 0.35 | I
FO -08 | Garbage Bin | Standard | 1 | Bought Out
FO -09 | Counter Model Sink - SS | 400 x 400 x 210 | 1 | CUSTOM FABRICATED |  |  |  |  | 1 | 12 | 12 |  | 100
FO -10 | Under Counter Ice Cube Machine | 550 x 550 x 800 | 1 | Manitowoc | UG - 50 | [6 empty] | 12 |  | 100
FO -11 | Blender | 213 x 200 x 416 | 2 | JTC | TM -800 |  | 0.6 | 0.6 | I
FO -12 | High Speed Oven | 356 x 648 x 629 | 1 | MerryChef | Connex 12 Standard Power |  | 3680 | 3.6 | I
FO -13 | Three Door Under Counter Refrigerator ( Compressor on LHS) | 1805 x 700 x 850 | 1 | Blue Star | UC3100GP | 0.75 | 0.75 | 0.55 | I
FO -14 | Insect Killer | BRANDED | 1 | TECHNOCRAT |  | 1/2 HP | 0.75 | 0.75 | I
EXT - 01 | Grease Trap | 475 x 385 x 600 CAPACITY-32 LITERS FLOW-0.5LPS | 2 | ACO GREASE SEPRATOR LIPUMOBIL-S
fire supperation require?