## MISC WORK
Dominos ………………….Civil & Interiors BOQ¦ Ver 3.0
1. Partition, Panelling - Sq. Ft area – one side only
2. Storage Units - Sq. Ft area – Front elevation length x Front Finished height
3. False Ceiling - Sq. Ft area – Flat surface area in reflected ceiling plan
4. Flooring - Sq. Ft. area – Internal area contained within skirting
5. Pls Note Only Bison , Marine Ply and Wpc Board to be used instead of Commercial Ply
6. Chiseling work included in the items or else specified
7. Scaffolding will be in contractor scope upto 4mtr & Above 4mtr rate will be chargeable. If required for installation of civil & MEP.
8. All Items Rates are inclusive of material lead & lift charges.
A. CIVIL & INTERIOR BOQ-Ahemedabad Airport |  |  |  |  | Area | 600
Task No. |  | Sub Task No. | Name of Item | Description of Item | Unit | Quantity | Rate | Amount | Remark
I |  |  |  | Miscellaneous work
| I.1.0 |  |  | Extra Frequent Item
|  | a | 4" x 4" S.S Pole | SS Brush Finish pole 4" x 4" and ht as per site (and as per drawing) with Sheet thickness of 1.6 mm minimum and to be fixed on floor with S.S plate with fastner and above M.S member support to be taken from Slab till 2500 mm ht .It shall be fixed with the top slab where ever possible with minimum 6" SS 2 mm thick plate with 4 Nos 8mm Fastners and Wire should run through conduit inside pole and socket to be placed above 300 mm from finished floor level. All The material must be SS 304 and the vendor shall share the certifcate for the same. the installation shall be as per enginner incharge. | R Ft | 0 |  | 0
|  | b |  | Providing stand and fixing Micro wave Oven above staff lunch table to be source locally & as approved. | NOS | 0 |  | 0
|  | c | Rubber Matt | 3mm shock proof rubber mat with 11 kVA certification required | sq ft | 0 |  | 0
|  | d |  | P/F applying Silicon sealant of approved make and colour to junctions of wall tiling with aluminium frame 5mm size. | R ft | 0 |  | 0
|  | e |  | P/Laying epoxy grouting in floor | Sq. ft | 0 |  | 0
|  | f |  | Supply, installation, testing & commissioning of sensor with 180 deg coverage & 1 mtr range used for air curtain complete with all required accessories. Make: Any make readily available with min warranty of 1 year. | Nos | 4 |  | 0
|  | g |  | S S chequered plate cladding on cold room panel as per detail drawing | sq.ft | 0 |  | 0
|  | h |  | Providing and fixing water level sensor fully automatic with high and low indicator with alarm (Make : microtail ,OS or equivalent ) | Nos | 2 |  | 0
|  | i |  | S.S Buffing in Brush Finish | sq ft | 0 |  | 0
Sub Total of I.1.0 | [7 empty] | 0
| I.2.0 |  |  | Fitting / Fixing of following item with necessary arrangement as directed
|  | a |  | Table top fitting | Each | 0 |  | 0
|  | b |  | Safe/Furniture /Staff locker/IT Rack | Each | 2 |  | 0
|  | c |  | Money box fixing | Each | 1 |  | 0
|  | d |  | Air Curtain with all fixing arrangement | Each | 0 |  | 0
|  | e |  | Suspension & hanging of Exhaust hood from ceiling | Each | 1 |  | 0
|  | f |  | Speaker fitting | Each | 0 |  | 0
|  | g |  | Pesto flash | Each | 3 |  | 0
|  | h |  | Computer rack | Each | 3 |  | 0
|  | i |  | Strip curtain for oven hood | Job | 1 |  | 0
|  | j |  | Strip curtain for cold room | Job | 1 |  | 0
|  | k |  | Makeline SS sink with fastener | Each | 1 |  | 0
|  | l |  | Loading/Unloading of truck (Domino's material/equipment) | Nos | 2 |  | 0
|  | m |  | Loading/Unloading & disposable of debris (per truck) | Nos | 2 |  | 0
|  | n |  | Loading / Unloading of Servo | Nos | 1 |  | 0
|  | o |  | Water dispenser connection with fittings | Each | 1 |  | 0
|  | p |  | Fixing of Provided Extinguisher | Each | 0 |  | 0
|  | q |  | P/F Door Stopper for Makeline /Slap Table | Each | 6 |  | 0
|  | r |  | Fixing Wall Shelf above Slap Table /Sink | Each | 2 |  | 0
|  | s |  | Fixing of Tissue Paper Holder /Helmet Stand | Each | 4 |  | 0
|  | t |  | L.T Panel commisioning as per site requirement | Each | 1 |  | 0
|  | u |  | Servo connections as per site requirement | Each | 1 |  | 0
|  | v |  | Housekeeping | Sqft | RO |  | 0
|  | w |  | Installation of Fresh air and Exhaust Unit | Each | RO |  | 0
|  | x |  | Sanitizer Stand | Each |  |  | 0
|  | y |  | Bike Fixing with providing nutbolt and labour charge | Each | RO |  | 0
|  | z |  | 200watt Led light | Each | 0 |  | 0
|  | aa |  | Sensor Tap | Each | 0 |  | 0
|  | ab |  | Keyboard and Mouse | Each | 0 |  | 0
|  | ac |  | Fixing of Light Fixtures Provided by JFL (Hood lights are in hood vendor scope) | Each | 59 |  | 0
|  | ad |  | Fixing of T-5 4FT water proof light | no | 0 |  | 0
|  | ae |  | Supplying and erecting double pole metal clad switch with fuse and neutral link 240V, 25A on iron / GI frame switch socket with ISI mark approved make duly erected with modular box , cover plate & all wiring connections complete. (Single phase) | Each | 11 |  | 0
|  | af |  | Fixing and installation of fresh air fan | Each | 0 |  | 0
|  | ag |  | Fixing and installation of Exhaust air fan | Each | 0 |  | 0
|  | ah |  | OGT Installation with all required plumbing fittings (CPVC) pipe of 32mm dia under three sink unit | Each | 1
Sub Total of I.2.0 | [7 empty] | 0
#REF!