## FAS
Dominos ………………….Civil & Interiors BOQ¦ Ver 3.0
1. Partition, Panelling - Sq. Ft area – one side only
2. Storage Units - Sq. Ft area – Front elevation length x Front Finished height
3. False Ceiling - Sq. Ft area – Flat surface area in reflected ceiling plan
4. Flooring - Sq. Ft. area – Internal area contained within skirting
5. Pls Note Only Bison , Marine Ply and Wpc Board to be used instead of Commercial Ply
6. Chiseling work included in the items or else specified
7. Scaffolding will be in contractor scope upto 4mtr & Above 4mtr rate will be chargeable. If required for installation of civil & MEP.
8. All Items Rates are inclusive of material lead & lift charges.
A. CIVIL & INTERIOR BOQ-Ahemedabad Airport |  |  |  |  | Area | 600
Task No. |  | Sub Task No. | Name of Item | Description of Item | Unit | Quantity | Rate | Amount | Remark
G |  |  |  | Fire Detection and Alarm System
G.1.0
|  | a.1 |  | Supply, Installation, testing & commissioning of addressable type smoke Detector with floating sensitivity Complete with all accessories like base, base box, etc. to be installed under / above false ceiling, roof and concealed space, etc. complete as required. | No. | 4 |  | 0
|  | c.1 |  | Supply, Installation, testing & commissioning of addressable type manual call point (break glass type) complete with push button, enclosed in box with provision for cable or conduit coupling. The unit to be painted fire red outside, white inside and written 'In case of fire break glass'. | No. | 1 |  | 0
|  | d.1 |  | Supply, Installation, testing & commissioning of hoooters (Specification :- 110 cd light & 85 dB with adjustable DB) at different locations complete with all fixing accessories, etc under false ceiling roof, wall etc. complete as required. | No. | 1 |  | 0
|  |  |  | Supply and Installation of ABC powder type fire extinguisher of 3 Kgs. Capacity as per IS :15683, with initial filling in brand new cylinder with powder coated finish, fitted with Gun metal union, discharge hose, wall mounting bracket etc. complete. | No. | 4 |  | 0
|  |  |  | Supply and Installation of CO2 type fire extinguisher of 4.5 Kgs. Capacity as per IS :15683, with initial filling in brand new cylinder with powder coated finish, fitted with Gun metal union, discharge hose etc. complete. | No. | 1 |  | 0
|  |  |  | Supply and Installation of Fire Exit Signage | No. | 2 |  | 0
|  | e.1 |  | Supplying, erecting, testing and commissioning the addressable type Fire Alarm Control Panel (FACP) with standard accessories complete | Set | 1 |  | 0
|  | f |  | Supplying and erecting PVC armoured cable 2 core 1.5 sq. mm FRLS copper conductor complete erected on wall / celling as per specification | Mtr. | 80 |  | 0
|  | g |  | Supply installation testing and comissioning of Hood supression system(Ceasefire or equivalent). | No. | 1 |  | 0
Sub Total of G.1.0 | [7 empty] | 0

## FIRE MAKE
LIST OF APPROVED MAKES FOR FIRE FIGHTING
S.NO. | ITEMS | APPROVED LIST
A | FIRE ALARM SYSTEM
1 | SMOKE/HEAT DETECTOR WITH BASES (UL LISTED/ FM APPROVED) | APPOLO / SYSTEM SENSOR / APOLLO / RAVEL/
2 | FIRE ALARM PANEL (UL LISTED/ FM APPROVED) | AGNI / RAVEL
3 | MANUAL CALL POINT / HOOTER / RESPONSE INDICATOR (UL LISTED / FM APPROVED) | Agni or equivalent
4 | CABLE | POLYCAB / FINOLEX / RR KABEEL
5 | FIRE EXTINGUISHERS | MINIMAX / CEASE FIRE
6 | Hood supression system | Ceasefire/Swastik/Anshul