## MISC WORK
Dominos ………………….Civil & Interiors BOQ¦ Ver 3.0
1. Partition, Panelling - Sq. Ft area – one side only
2. Storage Units - Sq. Ft area – Front elevation length x Front Finished height
3. False Ceiling - Sq. Ft area – Flat surface area in reflected ceiling plan
4. Flooring - Sq. Ft. area – Internal area contained within skirting
5. Pls Note Only Bison , Marine Ply and Wpc Board to be used instead of Commercial Ply
6. Chiseling work included in the items or else specified
7. Scaffolding will be in contractor scope upto 4mtr & Above 4mtr rate will be chargeable. If required for installation of civil & MEP.
8. All Items Rates are inclusive of material lead & lift charges.
A. CIVIL & INTERIOR BOQ-Ahemedabad Airport |  |  |  |  | Area | 600
Task No. |  | Sub Task No. | Name of Item | Description of Item | Unit | Quantity | Rate | Amount | Remark
I |  |  |  | Miscellaneous work
| I.1.0 |  |  | Extra Frequent Item
|  | f |  | Supply, installation, testing & commissioning of sensor with 180 deg coverage & 1 mtr range used for air curtain complete with all required accessories. Make: Any make readily available with min warranty of 1 year. | Nos | 4 |  | 0
|  | h |  | Providing and fixing water level sensor fully automatic with high and low indicator with alarm (Make : microtail ,OS or equivalent ) | Nos | 2 |  | 0
Sub Total of I.1.0 | [7 empty] | 0
| I.2.0 |  |  | Fitting / Fixing of following item with necessary arrangement as directed
|  | b |  | Safe/Furniture /Staff locker/IT Rack | Each | 2 |  | 0
|  | c |  | Money box fixing | Each | 1 |  | 0
|  | e |  | Suspension & hanging of Exhaust hood from ceiling | Each | 1 |  | 0
|  | g |  | Pesto flash | Each | 3 |  | 0
|  | h |  | Computer rack | Each | 3 |  | 0
|  | i |  | Strip curtain for oven hood | Job | 1 |  | 0
|  | j |  | Strip curtain for cold room | Job | 1 |  | 0
|  | k |  | Makeline SS sink with fastener | Each | 1 |  | 0
|  | l |  | Loading/Unloading of truck (Domino's material/equipment) | Nos | 2 |  | 0
|  | m |  | Loading/Unloading & disposable of debris (per truck) | Nos | 2 |  | 0
|  | n |  | Loading / Unloading of Servo | Nos | 1 |  | 0
|  | o |  | Water dispenser connection with fittings | Each | 1 |  | 0
|  | q |  | P/F Door Stopper for Makeline /Slap Table | Each | 6 |  | 0
|  | r |  | Fixing Wall Shelf above Slap Table /Sink | Each | 2 |  | 0
|  | s |  | Fixing of Tissue Paper Holder /Helmet Stand | Each | 4 |  | 0
|  | t |  | L.T Panel commisioning as per site requirement | Each | 1 |  | 0
|  | u |  | Servo connections as per site requirement | Each | 1 |  | 0
|  | ac |  | Fixing of Light Fixtures Provided by JFL (Hood lights are in hood vendor scope) | Each | 59 |  | 0
|  | ae |  | Supplying and erecting double pole metal clad switch with fuse and neutral link 240V, 25A on iron / GI frame switch socket with ISI mark approved make duly erected with modular box , cover plate & all wiring connections complete. (Single phase) | Each | 11 |  | 0
|  | ah |  | OGT Installation with all required plumbing fittings (CPVC) pipe of 32mm dia under three sink unit | Each | 1
Sub Total of I.2.0 | [7 empty] | 0
#REF!