## Sheet1
CCTV BOQ FOR MEET AND GREET AT DOMESTIC ARRIVAL BELT @KOLKATA AIRPORT
Item No. | Description | Unit | Quantity | Unit Price | Total Price
1 | Supply, installation, and commissioning of 2 MP Full HD Bullet Camera, with night vision capability and IP66 rating. | Nos. | 2 | 0 | 0
2 | 4-channel DVR/NVR (Digital/Network Video Recorder) with 1 TB hard drive for video recording and storage. | Nos. | 1 | 0 | 0
3 | Power supply units and UPS backup for uninterrupted operation of the CCTV system. | Set | 1 | 0 | 0
4 | Necessary cabling, conduits, connectors, and accessories (up to 10 meters total length per camera). | LS | 1 | 0 | 0
5 | Installation, configuration, and testing of the complete CCTV system. | LS | 1 | 0 | 0
6 | Training and handover, including demonstration of system operation to the designated personnel. | LS | 1 | 0 | 0
Total |  |  |  |  | 0