## SUMMARY
BOQ SUMMARY |  | SUBWAY
| Location & Address | Subway T1 NAVI MUMBAI
| Format | AIRPORT | Date of Opening
| Total Area (Sq.Ft) | 628 | Vendor
| Landlord Investment |  | Site Incharge
S.No. | DESCRIPTION | AMOUNT | GST % | GST AMT | AMOUNT WITH TAX | PER Sq.Ft | REMARKS
1 | CIVIL & INTERIOR |  | 18%
2 | ELECTRICAL WORK |  | 18%
3 | HVAC HIGH SIDE |  | 28%
4 | HVAC LOW SIDE |  | 18%
5 | PLUMBING WORK |  | 18%
6 | FIRE FIGHTING WORK |  | 18%
8 | Additional Work |  | 18%
| TOTAL CIVIL & INTERIOR WORK | 0 |  | 0 | 0 | 0

## CIVIL INTERIOR
BOQ OF CIVIL & INTERIOR WORK
S NO | LOCATION | DESCRIPTION | UNIT | QTY | RATE | AMOUNT | REMARKS
A |  | DISMANTLING
5 | Disposal of Debris | Debris Removal from site (Debris qty measure in 2.5 brass vehicle) - Removal of debris from site post construction | Trips | 5 |  | 0
TOTAL FOR DISMANTLING WORK
B |  | CIVIL WORK |  |  |  | 0
1 |  | Anti termite
1.1 | ALL FOH & BOH | Providing & doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3" in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4' center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated). | Sqft | 1570 |  | 0
2 |  | WATERPROOFING (MEMBRANE) |  |  |  | 0
2.2 | Base Coat - IPS | Providing and laying waterproof IPS layer 8 to 10mm thick of Cement sand mortar in ration 1:4 as a protective layer above the chemical waterproofing | Sq. ft. | 255 |  | 0
2.3 |  | Providing and applying Waterproofing in BOH area– 1. Cleaning of the Mother Slab with Hard Brush & Removal of Dirt from the Surface with Air Blowers . 2. Applying of the Fosroc RFX Brush Bond Coating on the mother slab with Brush in Clock wise directions. 3. After drying of the 1st Coat of the Brush Bond Coating. 2nd Coat is applied in the Anticlockwise Directions. 4. After drying of entire Surface say 24 Hours, fill Water to 6 Inch Levels for Ponding Testing. 5. Water will be kept for observations for 72 Hours. If Leakage is observed. Water is emptied 7. Above Procedure is Repeated. 8. waterproofing shall be done on 4 Sides Walls till 1200mm Height. If the Floor is raised 300mm . 9. If No Leakage is observed the waterproofing layer shall be covered with Protective screeding . Mode of measurement : The Application area shall be paid | Sq. ft. | 478
3 |  | CINDER/ LIGHT WT. SIPORAX BLOCK BATS FILLING |  |  |  | 0
3.5 |  | Providing and laying raised floor total 150 mm high in BOH area with 100 mm Ht. Light weight filling with 30% cement sand mortar ( 1:4 )and 50 mm Ht. PCC in M10 including filling of joints, finishing , curing etc all complete. Cost will include loading , unloading , tansportation of raw materials etc. (150 mm Lintels to be provided on every 4’ of block work.) | Sq. ft. | 255
4.4 |  | PCC in (Servery +FOH Area): Providing & Laying PCC (M10 grade) for desired thickness wherever required, as a levelling course between the unit floor level and existing floor level of Airport, including finishing, shuttering, tamping, curing etc., wherever to required thickness, slope as per detailed drawings, complete as directed by Engineer-In-Charge. Cost will include loading ,unloading ,tansportation of raw materials etc. | Sq. ft. | 255
5 |  | Providing and Constructing Aerocons AAC Blocks with compressive strength not less than 35Kg/Sqcm with density 600 Kg/Cum in Chemical Bonding Agent with joint thickness as per manufactureres specifications (quoins, Jamb, closer blocks) of size 600x200x150mm conforming IS:2185/1984 including striking, raking out & pointing of joints & cost of materials, labour charges, steel scaffolding, curing, staging, leads & lifts etc. complete as per relavant Drawings, Specifications. APPROVED BRAND OF AAC BLOCKS:- MAGICRETE, GODREJ, ULTRATECH, ACELITE, ECO LITE, OR EQUIVALENT. APPROVED CHEMICAL ADHESSIVE:- ROFF-BLOCKLINE, GODREJ, ULTRATECH, SIKA, OR EQUIVALENT. | Sq. ft. | 245
7.1 |  | Prepare surface and plaster internal surfaces of masonry walls with 12 mm thk. cement mortar 1:4, mortar including finishing with double scaffolding, necessary hacking of rcc members, curing, cleaning, finishing all corners etc. all in line & level complete as per drawings and specifications. (Note: Plaster sand to be used in cement mortar ) | Sq. ft. | 490
8 | RCC LINTEL ( 100 mm thk ) | Providing & laying RCC slab & lintel of size 41/2" x 6" over door in FOH area. Rates include the centerring & shuttering and steel reinforcement at all levels, excluding underplaster. | Rft. | 7 |  | 0
TOTAL FOR CIVIL WORK
C |  | FLOORING |  |  |  | 0
1 | SEATING AREA ARMSTRONG FLOORING | Providing & laying of ARMSTRONG Flooring "Smokey Brown" # 51868.12"x12" Vinyl Tile 1/8" Thik Spray Adhesive By Manufacturer Installed By G.C | Sq. ft. | 295 |  | 0
2 | SKIRTING | Providing & laying of ARMSTRONG Skirting "Smokey Brown" # 51868.12"x12" Vinyl Tile 1/8" Thik Spray Adhesive By Manufacturer Installed By G.C | Rft | 54 |  | 0
3 | Kota flooring | Providing & laying of Pre polished Kota stone flooring 18mm /20mm/22mm as per client requirement Installed By G.C( prefer 2feet/ 2 feet) | Sq. ft. | 254 |  | 0
4 | Kota skirting | Providing & laying of Pre polished Kota stone skirting 18mm /20mm/22mm as per client requirement Installed By G.C 100mm/75mm height | Rft | 71 |  | 0
6 | GRANITE FLOORING / STAIRCASE / STEPS | P/F 18mm thk approved Granite on flooring / ledges / Jams / Walls / Counters / laid over a properly prepared bed of cement mortar (1:4) / approved &best in class adhesive in line and level. All joints to be hairline, to be cleaned and filled with approved color Laticrete, to the required line level at all heights and leads, as per detailed designs and drawings, including all labour, edge polish, champhering, moulding, material, curing, cleaning. Base Rate of granite is Rs. 130/- sq.ft. Product- Coffee Brown or Jet Black (up to 300mm) | rft | 15 |  | 0 | main entry granite patta
TOTAL FOR FLOORING WORK
D |  | WALL FINISHES |  |  |  | 0
1 | BOH wall Tiles | P/fixing glazed ceramic (Johnson Make) White- (12"x 18") Wall tiles as approved in kitchen over a base of 20-25mm thick plaster with cement mortar 1:3 (1 cement: 3 fine sand) as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as/spec.(Basic cost of tile Rs.30/- per sft.) | Sq. ft. | 350 |  | 0
2 | SHADOW WALL TILE | Providing & Fixing Crossville " SHADOW" 12"X24" Porcelain wall tile with 3/16" thk grout lines laticreate permacolor select . Cementitous grout color 90 light pewter tiles installed horzontaly in a straight pattern ( Base Rate Rs.XX- Sq.Ft. ) | Sq. ft. | 226 |  | 0
4 | Epoxy Grout | Providing and filling the joints between floor tiles and wall tiles with Epoxy grout of matching colour 3 to 4mm wide and 4mm deep | sft | 226 |  | 0
Shadow Tile 12''x24''
5 | LIGHT GREEN FOCAL WALL COVERING | Providing & making 52/54" FOCAL WALL VINYL WALL COVERING#92456E-349 HEAVY CORD COLOR LT GREEN TEDLAR COATED | Sqft | 69 |  | 0
6 | CHEVERON WALL COVERING | Providing & making 52/54" VINYL WALL COVERING GREY BACKGROUND WHITE LINE TEDLAR COATED | Sq. ft. | 267 |  | 0
TOTAL FOR WALL FINISHES
E |  | WOODWORK |  |  |  | 0
2 | Wooden paneling | Providing & fixing 3" thk wall made in 19 mm thk ply fireproof on wall & partition witout laminate | Sq.ft | 20 |  | 0
3 | Wooden paneling | P/F 19mm ply with 1mm laminte both side Partition made on aluminium / MS/Sal wood frame of 2" x 1.5" sections fixed at 600 x 600, properly clamped to walls, ceiling and floor. Rate is inclusive all necessary hardware, labour, etc. ( trap door for AHU) | Sq.ft | 50 |  | 0
4 | Door Frame | Providing and fixing 5"x3" CPTW door frame with melamine polish etc complete in all respects | Rft | 17 |  | 0
6 | HEADER WALL | Providing & fixing 3" thk header wall made in 19 mm thk ply on both sides box with 2"x2" wooden frame with 600X600 centre frame ( For DMB) | Sq.ft | 20 |  | 0 | for dmb
TOTAL FOR WOOD WORK
F |  | PAINTING/POLISHING |  |  |  | 0
1 | PAINT | Providing & applying two or more coats of paint of approved quality & shade in BOH open ceiling area. preparing the surface by cleaning scrapping, smooth filling crevices, scaffolding etc. Service and Kitchen internal areas. | Sqft | 700 |  | 0
5 | Enamel Paint | P/A 3 coats of Enamel Paint of approved quality & shade by sand papering the surface, applying one coat of primer, prepare the surface with two coats of full putty, sand papering again, repeating a coat of primer, applying one coat of enamel paint, touching up with putty & applying two final roller coats of enamel paint, to internal wall/ceilings masonry concrete surfaces incl. preparing the surface by cleaning scrapping, smooth filling crevices, scaffolding etc. Paint codes to be as shown in drawing | sft | 1572 |  | 0
6 | P.O.P PUNNING ON WALLS | Providing & Applying 10 to 18 mm thk. (as / site conditions) POP punning on walls with grooves for making brick pattern design to completed as per details & design given in drawing/Architect instruction. | Sq. ft. | 1572 |  | 0
TOTAL FOR PAINTING/POLISHING WORK
H |  | FAÇADE & ACP WORK |  |  |  | 0
1 | ACP Sheet | 3mm thick Aluminium Composite sheet cladding of approved make as per details and drawing for signage, incl all scafollding/wastage, joint filling with silicon, etc. complete. Trapdoor for rolling shutters will also be measured under same heading- no extra cost to be paid for hinges, locks, etc.Rate to include scaffolding till 1st floor | Sft | 30 |  | 0
|  | TOTAL FOR PAINTING/POLISHING WORK |  |  |  | 0
I |  | MS & SS WORKS |  |  |  | 0
1 | S.S.304 CORNER GUARD | P/F of Stainless steel section edge profile protectors of size 19mm x 19mm x 1.5mm thick to protect all corners of the walls/columns in kitchen | rft | 32 |  | 0
4 | Fabrication work | P/F of in M.S Frame work in sections of various sizes as required and MS chequered plate with MS supports/beams/sections at regular intervals as per detail drawings with necessary base plate and supports from walls and slab complete as per design & detail finished with approved paint. For base structure in MS for RO, DG, water tanks, etc. Detailed breakup of the weight of each section to be provided | kg | 200 |  | 0 | DMB, RO stand and UPS Stand
TOTAL FOR MS & SS WORKS
I |  | MISCELLANEOUS WORKS |  |  |  | 0
1 | HOUSEKEEPING | Providing services for Daily Site Cleaning & proper House keeping on Handover day (every project one qty considerd) | LS | 4 |  | 0
2 | Mathaadi Charges | Reimbursement of Mathaadi Charges as per settlement with local/mall appointed maathadi | Ls | 1 |  | 0
3 | Lifting Charges | Lifting/unloading charges of all Equipments and Owner supplied materials | Ls | 10 |  | 0
4 | Signage | installation charges for singnage provided by the owner both regional and english letters | Nos | 2 |  | 0
5 | Signage Logo | installation charges for singnage provided by the owner Choice mark, wall artwork & our ingrendents letters | Nos | 1 |  | 0
6 | Installation Charges | Installation and placing in position Owner supplied equipments/counter etc | Ls | 1 |  | 0
7 | Baskets | Supplying for 300 x 450x450 Basckets | Nos |  |  | 0
8 | Ladder | Providing for 8' Feet Alumunium Ladder | Nos | 1 |  | 0
9 | Key Board | S S Shelf For keyBoard | Nos | 1 |  | 0
12 | Broard out signage | Flex with ms supports grids | sft | 1 |  | 0
13 | Scaffloding | Scaffloding | num | 3 |  | 0
14 | Façade | Smoke glass baffle | sft | 20 |  | 0
TOTAL FOR PAINTING/POLISHING WORK
SUB TOTAL
GST 18%
G.TOTAL

## Make list
NMIAL MAKE LIST
Package | Material Description | Model Number | Make
FAS
1 | Smoke Detector | TC806B3010 | Honeywell
2 | Multi sensor | TC806B3004 | Honeywell
3 | Heat detector | TC8B3102 | Honeywell
4 | Control module (For Hooter cum storbe ) | TC810N1013 | Honeywell
5 | Monitor module | TC809A1059 | Honeywell
6 | Mini Monitor module | TC809B1008 | Honeywell
7 | Relay Module | TC810R1024 | Honeywell
8 | Manual call stations | S464G1007 | Honeywell
9 | Hooter cum Strobe | SYS-ST | Honeywell (System sensor)
10 | Fire Resistant FRLS/LSZH Cables up to 1100V grade |  | Polycab,RPG Cable,Kunth Cab,Orbit,KEI,Ravin Cables,Finolex.
11 | Response Indicators |  | Honeywell or Reputed make
12 | Double compression cable gland |  | Baliga Lighting ltd,Comet,Dowells,Braco,cosmos
13 | Cable Lugs |  | comet,Dowells,cooper alloy ltd),Braco,Cosmos
14 | GI Conduit |  | Vimco,BEC,AKG
Fire Fighting
1 | GI Pipes (IS:1239 and IS:3589) |  | Tata Steel ,Jindal (Hissar)
2 | Grooved Joints above 50mm |  | Victaulic,Grinell,Recomb,Interfit,Jinan
3 | Standard MS fittings below 50mm |  | Industrial Valves and company
4 | Forged steel fittings below 50mm |  | VS Enginnering , JK Forging
5 | Fastner |  | Hilti ,Fisher
6 | Welding rods |  | Advani,comos,Prima,superbond,Ador
7 | Sprinklers /Nozzles(ULListed ,FM Approved) |  | Tyco,Grinell,HD,Viking,Globe,Reliable
8 | Flexible Sprinkler drops SS Braided |  | EsyFlex,Tyco ,Viking,Victaulic(Aquaflex),Newage Flex
9 | Butterfly valve (PN 16) |  | Audco,,KSB,Danfoss,Advance,Victaulic,NIBCO
10 | Wafer Type Check Valve |  | Advance ,Kirloskar ,Audco
11 | Pressure Reducing Valve |  | Leader zoloto RB
12 | Air Release Valve |  | Zoloto,RB,ITAP,TBS
13 | Clean agent Fire Supression system |  | Sapphire,kidde,NITIE 1230(for pressure 25 Bar )MX1230.
14 | Paints |  | Asian Paints,Shalimarpaints,Berger Paints
15 | Flow Switch |  | Tyco,Grinell,Kennedy,Shield(UK),Potter
16 | Fire Extinghusher |  | Alert Tyco,Minimax,Safex
17 | Pipe Protection Pypcoat (AW4)Wrapping |  | IWL or equivalent
18 | Presshure Gauge |  | H Guru, Fiebig, Dwyer
Plumbing
1 | a. Vitreous China Sanitaryware |  | Parryware, TOTO, Kohler, American Standard, Cera
2 | b. WC Connectors |  | Multikwik (UK), Jaguar
3 | Rain Water Outlets |  | Neer, GMGR
4 | Seat Cover (Heavy Duty) |  | Commander, Jaguar
5 | Bath Tub and Shower Tray |  | Woven Gold, Eurospa, Aquaplus, Jaguar
6 | Stainless Steel Sink |  | Prestige, Kingston, Neelkanth, Jaguar
7 | Auto Urinal Flush System |  | AOS Auto Robo Flushing System, Toshi, UTEC System, Askon Engineers
8 | Hand Drier |  | Kopal, Blue Circle, UTEC System, Askon Engineers, Philips, Bobrick
9 | CP Brass Fittings |  | Jaguar, Gem, Ess - Ess, Aquaplus, Viega
10 | Angle valve with filter |  | Arco
11 | Floor Drain Fixture, Rain Water Outlets & Channel Gratings |  | Neer, GMGR, Aco, Geberit, Viega
12 | C.P. Grating for Floor Trap |  | Chilly, GMGR, Neer, Viega
Cast Iron Pipes & Fittings & CI/DI Manhole covers and frames
13 | a. In accordance with IS:3989 (Pipes & Fittings) |  | NECO, Kapilansh
15 | b. In accordance with IS:1729 (Manhole covers and frames |  | NECO, Raj Iron Foundry -Agra, BIC - Calcutta, Kajeco, Crescent
16 | c. In accordance with IS:1536 |  | Kesoram - Calcutta, Electrosteel- Calcutta, IISCO
17 | CI Hubless Pipes |  | NECO, Kapilansh
18 | Ductile Iron pipes |  | Electrosteel, Jindal, Lanco
19 | Ductile Iron pipe fittings |  | Electrosteel, Kejariwal, Kiswock
20 | GI Pipes (IS: 1239 and IS: 3589) |  | Tata Steel, Jindal (Hissar), Zenith
21 | GI pipes fittings |  | Unik, Zoloto M, R Brand, Kirti
22 | Copper Pipes & Fitting |  | Rajco, IMI - Yorkshire, GMGR, IBP - UK, Viega
23 | PVC Pipe |  | Supreme, Ajay, Finolex
24 | Polypropylene Pipes |  | Dizayn, Prince, Kissan
25 | CPVC pipes |  | Astral, Prince, Kissan
26 | Polybutlene pipes |  | George Fisher or Equivalent
27 | RCC Pipe |  | KK, Pranali, Premier
28 | HDPE Pipes |  | Jain, Reliance, Prince, Kisan
29 | Stoneware Pipes, Gully Traps |  | Perfect Potteries-JABALPUR, Equivalent ISI marked
30 | SS Pipes |  | REMI, Viega, V.S. Metal
31 | GM / Forged Brass Valves |  | Leader, Zoloto, RB, Arco, GS, Danfoss
32 | Sluice Valves |  | Kirloskar, Indian Valve Company, H. sarkar
33 | Butterfly Valve |  | Audco, KSB, Danfoss, Advance, Victaulic, NIBCO
34 | Wafer Type Check Valve |  | Advance, Kirloskar, Audco
35 | Pressure Reducing Valve |  | Leader, Zoloto, RB
36 | Solenoid Valve |  | Avcon, Danfoss
37 | Steam Pressure Reducing Station / Valve |  | JN Marshall, Zoloto
38 | Steam Control / Isolation Ball / Gate / Globe Valve |  | Leader, Zoloto, RB, Kitz
39 | Plug Valve |  | Audco or Equivalent
40 | Air Release Valve |  | Zoloto, RB, ITAP, TBS
41 | Y Strainer |  | Emerald, Zoloto, Advance, Crane
42 | Hydropneumatic System |  | DP, Grundfos, ITT Industries
43 | Storm Water Drainage Sump Pumps |  | DP, Grundfos, ITT Industries, KSB
44 | Sewage Handling Pumps |  | DP, Grundfos, ITT Industries, KSB
45 | Dewatering Pump |  | DP, Grundfos, ITT Industries, KSB
46 | Drinking Water Cooler |  | Usha, Blue Star, Voltas
47 | Hot Water Pumps |  | DP, Grundfos
48 | Borewell Pump |  | DP, KSB
49 | Rotary Gear Pump |  | PEC, Rotodel
50 | Motor |  | Siemens, Bharat Bijlee, ABB, Kirloskar
51 | Mechanical Seal |  | Burgmann or Equivalent
52 | Couplings |  | Lovejoy or Equivalent
53 | Anti Vibration Mounting |  | Kanwal Industrial Corporation, Dunlop, Resistoflex, Corporation
54 | Pressure Gauge |  | H Guru, Fiebig, Dwyer
55 | Water Meter (Mechanical Type) |  | Kaycee, Dashmesh, Sant
56 | Electronic Flow Meter
57 | Level Controller (Water) |  | Technika, Minilec, Danfoss
58 | Level Indicator (Water) |  | Technika, Minilec, Danfoss
59 | Level Indicator (Oil) |  | Forbes Marshall or Equivalent
60 | Paints |  | Asian Paints, Shalimar Paints, Berger Paints
61 | MH / Water Tank Plastic Steps |  | KGM, Patel, Pranli Industries
62 | Water Treatment Plant |  | Thermax, Ion Exchange, Watcon, EA Water
63 | Water Treatment Vessel |  | Astral, Structural
64 | Ultra Violet Water Purifier |  | Eureka Forbes, Trojan, Kent, Aquatech, Eurostar
65 | Dosing Pumps |  | LMI, Toschon, Pulser Feeder
66 | Garbage Crusher |  | Venus or Equivalent
67 | Water Supply Nozzle |  | Astral or Equivalent
68 | Insulation for Chimney & Steam Pipes |  | Lloyd Insulation, UP Twiga
69 | Insulation for Hot Water Pipes |  | Armacell - Armaflex (UK / German), Eurobatex – Union Foam (Italy), Trocellen
70 | Electric Water Heater |  | Venus, Bajaj, Spherehot, Idotripi
71 | Insulation for Steam Pipes |  | Lloyd Insulation or Equivalent
HVAC
1 | Air Handling Unit |  | Flaktwoods/Carrier/Trane/ ETA/Voltas/Zeco/Caryaire/Saiver/VTS
2 | Fan Coil Unit |  | Carrier/Trane/Flaktwoods/ETA/ Voltas/Zeco/Caryaire/ Saiver/ Sin/VTS
3 | AHU Blowers |  | Nicotra /Comefri /Kruger / TCF Nadi
4 | VAV box |  | Trox / Titus/ Johnson controls / E H Price / Flaktwoods/System air Sweden/Aldes/Cosmos
5 | Centrifugal Fans |  | Nicotra /Comefri /Kruger /Systemair / Greenheck / TCF-Nadi / Flaktwoods
6 | Axial Fans |  | Nicotra/ Kruger / Nuaire/Greenheck/Flaktwoods /TCF-Nadi /System air
7 | Smoke extract/ Tube Axial /Axial/Centrifugal Fans |  | Systemair / Greenheck / Nuaire /Flaktwoods / Kruger/Nicotra
8 | Factory fabricated Ducts |  | Rolastar / Zeco / Alphaduct/Voltas/Spiraduct/Nutech
9 | GI Sheet |  | SAIL / TATA / Jindal (JSW)
10 | Air outlets - Grilles/ Diffusers |  | Dyna craft / Trox / Airmaster/ Titus -Caryaire / Cosmos
11 | Jet nozzle |  | Caryaire / Trox / Dynacraft
12 | Fire Damper with fusible link |  | Titus-caryaire / TSC/Ruskin / Cosmos / Air products/Greenheck
13 | Volume control Dampers |  | Ravistar /Airmaster/Caryaire(Flaktwoods)/Air products/ Cosmos / Dynacraft
14 | Flexible ducting |  | UP Twiga/Caryaire/Century mech systems
15 | Pipe Flexible Connectors (Bellow type) |  | Resistoflex / Easyflex/Cori
16 | Butterfly Valves |  | Audco / KITZ / Advance
17 | Ball Valves |  | Oventrop / RB / KITZ/ Kirloskar / Leader / Audco
18 | Gate Valves |  | Leader /Audco/RB / Zoloto
19 | Globe Valves |  | Leader /Audco/RB / Zoloto
20 | Check(NonReturn) Valves |  | Advance / Honeywell /Danfoss
21 | Manual Balancing valves |  | T & A / Advance / Danfoss / Oventrop / Honeywell
22 | Automatic Flow control valves |  | T & A / Flowcon / Danfoss / Oventrop / Advance
23 | Pressure independent dynamic balancing cum control valves/Differential pressure controllers |  | T & A / Danfoss /Oventrop/ Flowcon / Advance
24 | Thermostat with speed switch for FCU |  | Honeywell/Johnson control /Siemens/ Schneider (t.a.c)/ Sauter / Atmos
25 | Pressure Gauges |  | H.Guru / Fiebig / WAREE
26 | Pressure / temperature senors, Differential pressure,switch / Airflow switch |  | Honeywell/Siemens/Johnson control / Schneider (t.a.c.) / Atmos/Danfoss/Sauter
27 | Filters |  | Camfil Farr/ Promark/Purafil/Spectrum/Dyna/Airtech
28 | Air Curtains |  | Rusell/Airtech
29 | Catalytic Air Cleaner |  | Trane/ Bryaire
30 | Flexible Fibre Glass Blanket Insulation for ducting |  | U.P. Twiga/ Kimmco/Owens Corning
31 | Rigid preformed fiberglass pipe sections |  | U.P. Twiga/ Kimmco/Owens Corning
32 | Nitrile rubber duct/pipe insulation |  | Armaflex/K-flex/Rubatex
33 | Preformed PUF insulation sections for pipes |  | Lloyds insulation/Seven Star
34 | Preinsulated MS pipes |  | Lloyds insulation/Seven Star / Permapipe
35 | DDC controllers |  | Honeywell/Siemens/Danfoss/Johnson Controls/Sauter
Electrical
1 | 415 Volts, Main LT Panel, Motor Control Centre and APFC panel |  | L &T, S&W, Siemens, Schneider, ABB, Vivid, Electromech Pvt. Ltd., Tricolite, Legrand
2 | Indicating Lamps LED type and Push Button |  | Schneider Electric (MG), Larsen & Toubro (ESBEE), GE Power Controls, Siemens, Teknik, RAAS
3 | Overload relays with built in Single Phase preventer |  | Schneider Electric (Telemechanique), ABB, L&T, GE Power Controls, Siemens
4 | Electronic Digital Meters (A/V/PF/Hz/KW/KWH) with LED Display |  | Rishabh ( L&T), Enercon System Pvt. Ltd., CG Schlumberger, Automatic Electric, Schneider Electric
5 | Distribution Boards |  | L&T - Hager / Legrand / Siemens / Schneider
6 | Air Circuit Breaker |  | Schneider Electric (MG), ABB, Larsen & Toubro (U-Power),GE Power Controls (M-PRO), Siemens
7 | Molded Case Circuit Breaker (MCCB) |  | Schneider Electric (MG), ABB, Larsen & Toubro (U-Power),GE Power Controls (M-PRO), Siemens
8 | Miniature Circuit Breakers (MCB) |  | Schneider Electric (MG), Larsen & Toubro (Hagger), GE Power Controls (M-PRO), ABB, Siemens, MDS (Legrand)
9 | Residual Current Circuit Breaker (RCCB) |  | Schneider Electric (MG), Larsen & Toubro (Hagger), GE Power Controls (M-PRO), ABB, Siemens, MDS (Legrand)
10 | Power/Aux. Contactor |  | Schneider Electric (Telemechanique), Larsen & Toubro (Hagger), GE Power Controls , ABB, Siemens
11 | Change Over Switch |  | Larsen & Toubro, Siemens, H H Elcon, HPL-Socomec,Emerson
12 | Switch & Socket |  | Legrand (Mosiac), M K India, Northwest, Crabtree, Anchor, Gold Medal, Greatwide
13 | PVC insulated copper conductor stranded flexible wires (LSZH) - |  | Polycab, KEI, Finolex, Orbit, Kunth Cab, R R Kabel, Lapp Kabel, Delton Cables
14 | PVC insulated FRLS aluminium / copper conductor armoured / un armoured MV Cables up to 1100 V grade |  | Polycab, KEI, Orbit, Cable Corp. of India, RPG Cable, Fort Gloster, Kunth Cab, Ravin Cables
15 | Cable Trays (Factory Fabricated) / Raceways |  | Indiana, Profab Engineer, Jamana Metals, Rico Steel, Maheshwari Electrical Mfrs (MEM), Legrand
16 | Industrial Socket
| a. Splash Proof |  | Clipsal, Legrand, Neptune, Schneider Electric, Scane
| b. Metal Clad |  | BCH, Legrand, Schneider Electric
17 | Mettalic / GI Conduit (ISI approved) |  | BEC, AKG, Vimco, Steelkraft, Super Sales Corpn
18 | Accessories for Metallic Conduit (ISI approved) |  | Sharma Sales Corporation, Prakash Engineering Works, Super Sales Corporation
19 | Pop UP Box |  | WQ India, MDS Legrand, Fresar Techno
20 | High Power Fluorescent / General LED Lights |  | Philips, Wipro, Thorn, Crompton , Bajaj Electricals, Havells
21 | Ceiling Fan |  | Crompton Greaves, Usha, Orbit, Orient, Bajaj
22 | Exhaust Fan |  | Crompton Greaves, Usha, Almonard, Bajaj
23 | Shaver Socket |  | Clipsal, MK India
24 | LED General Area/ Office Lighting Utility buildings, etc. |  | Philips, Wipro, Surya, Crompton, Osram, Havells
25 | Lighting Controls |  | Dynalite, Schneider
26 | Bimettalic Cable Lug |  | Dowell's (Biller India Pvt. Ltd.), Comet, Hax Brass, Copper Alloy India Ltd.), Braco, Cosmos
27 | Cable and wire connectors upto 20 sq.mm |  | 3M, TE Connectivity, GE, Ideal Industries, Ashwin Electro ,Industrial Corporation, Novoflex
IT
1 | CCTV |  | DVTEL, Samsung, Pelco, Javelin, Philips, Vicon, Bosch, Infinova, Flair, for VMS - Milestone, Genetec
2 | Access Control |  | Bosch, Honeywell, Lenel
3 | Card Reader & proximity card |  | HID, Tyco Security, Honeywell security, wesinghouse
4 | Network cabling system (CAT6 cable & Fiber) |  | Compscope, Panduit, Beldon, Siemon-USA, Corning, Finolex, Orbit, R&M
5 | IT Rack, PDU & accessories |  | WQ India, Rittal India, Netrack, Valrack
6 | Speaker, Amplifier |  | Bose, Bosch, Aties, JBL
7 | Network Switches |  | Juniper, Cisco, Extreme, HP
8 | Cable/Fibre Connectors |  | Molex, Amphenol, Corning, Siemon, R&M
9 | Display Screen (FIDS) |  | Samsung, NEC, LG
Civil | Cement
1 | OrdineryOrdinary Portland Cement |  | Ultratech, ACC, Gujarat Ambuja, Grasim, JK Cement
2 | White Cement |  | Birla White, JK White, Ultratech White, Zuari White
3 | Ready Mix Concrete |  | ACC, Lafarge, RMC (Ready Mix India), Ultratech
4 | Rolling Shutters |  | Swastik, Gandhi Automation Pvt.Ltd., Shaktimet Hormann
5 | Autoclaved Aerated Concrete (AAC) /Light Weight Blocks |  | Hyderabad Industries Ltd., Siporex India Pvt.Ltd., Biltech Building Elements Ltd, JVS Comatsco Pvt.Ltd., Ultratech
6 | Integral Waterproofing compound |  | BASF, Fosroc, Sika, MYK Schomburg, Mc Bauchemei
7 | Membrane Waterproofing System |  | BASF, Fosroc, Sika, Grace
8 | Glasswool Insulation |  | Lloyds Insulation, UP Twiga, Owens Corning, US Gypsum (Boral)
9 | Acoustic Non-woven Fabric |  | Hunter Douglas, Soundtex, Owens Corning
10 | Underdeck Insulation |  | Lloyd Insulations (I) Pvt.Ltd., UP Twiga Fibre Glass Ltd., Bakelite Hylam Ltd.
11 | Extruded Aluminium Sections for Doors / Windows / Structural Glazing |  | Jindal Aluminium Ltd., Hindalco, Nalco, Indal, Bhoruka
12 | Glass (relevant code BS 952 & Selection as per AS 1288) Heat Strengthened Glass / Toughened Glass / Laminated Glass / Safety Glass / Annealed Glass |  | Saint Gobain (France), Shanghai Pilkington, China Southern Glass (CSG)
13 | Structural & Weather Sealant – Silicone Sealant |  | Dow Corning, GE, BASF, Alstone, Wacker
14 | Aluminum Composite Panels (ACP) |  | Aluco bond, Alpolic FR, Reynobond
15 | Ceramic Tiles |  | Johnson, Kajaria, Nitco, RAK Ceramics, Somany
16 | Double Charged / Anti-Skid Vitrified Tiles |  | Johnson, Kajaria, Nitco, RAK Ceramics, Somany
17 | Acid Resistant Tiles |  | Regency Ceramics Ltd., H & R Johnson (I) Ltd.
18 | Tile Adhesives & Grouts |  | Mapei, Laticrete, Ardex Endura, Pidilite, BASF, Fosroc
19 | Glass / Ceramic Mosaic Tiles |  | Glass Italia, Bizzaza, Palladio, Pixel, Shon
20 | Granite Stone Sealer |  | Laticrete, Aquamix, Ardex Endura, Sika
21 | Wooden Flooring |  | Xylos, Ego, Armstrong, BVG Industries
22 | Raised Access Flooring |  | Kingspan, Lindner, Unitile Raised Access Floor Systems, Bestlock System & Concepts, DMC, United Access Floor Ltd.,
23 | Plastic / Acrylic Emulsion Paint & Oil Bound Distemper |  | ICI, Berger, Asian Paints, Jotun, Nerolac
24 | Synthetic Enamel Paint (For building works) |  | ICI, Berger, Asian Paints, Shalimar, Kansai Nerolac, Spectrum
25 | Interior Grade Textured Paints |  | Asian Paints, ICI, Oikos, Jotun
26 | Epoxy & Polyurethane Paints / Coatings over Steel |  | ICI (Akzonobel), Asian Paints PPG, Berger, Jotun,
27 | Fire Retardant (Intumescent) Steel Protection System |  | Akzonobel, Jotun, Asian Paints PPG, Newkem Engineers
28 | Epoxy Coatings |  | BASF, Fosroc , Sika, Cipy
29 | Mineral Fibre False Ceiling |  | Armstrong, Saint Gobain, Knuaf AMF India Pvt.Ltd.
30 | Calcium Silicate False Ceiling |  | Hilux, Calsi Ceilings, Aerolite
31 | Gypsum Board Ceiling & Dry Wall Partitions |  | Saint Gobain, Lafarge, US Gypsum
32 | Plywood (Commercial / Marine Grade) |  | Century, Green Ply, Mayur, Kenwood
33 | MDF Boards |  | Nuchem Ltd., Mangalam Timber Products Ltd., Western Bio Systems Ltd., Bajaj Eco-Tec Products Ltd., Greenply
34 | Particle Boards (Plain / Veneered / Pre-laminated) |  | Merino, Century, Bajaj Eco-Tec Products Ltd.
35 | Laminates |  | Green Ply, Merino, Durian, Greenlam Industries, Formica India, Royale Touch
36 | Fire Rated and Non Fire Rated Steel Doors |  | Shakti Hormann, Godrej, Navair, Signum, Gmp, MPP Technologies
37 | Stainless Steel Hardware Fittings for Doors & Windows |  | Assa Abloy, Dorma, Ingersoll Rand
38 | Patch Fittings |  | Assa Abloy, Dorma
39 | Mirrors |  | Saint Gobain, Modi Glass, Asahi India