## SUMMARY
BOQ SUMMARY |  | SUBWAY
| Location & Address | Subway T1 NAVI MUMBAI
| Format | AIRPORT | Date of Opening
| Total Area (Sq.Ft) | 628 | Vendor
| Landlord Investment |  | Site Incharge
S.No. | DESCRIPTION | AMOUNT | GST % | GST AMT | AMOUNT WITH TAX | PER Sq.Ft | REMARKS
1 | CIVIL & INTERIOR |  | 18%
2 | ELECTRICAL WORK |  | 18%
3 | HVAC HIGH SIDE |  | 28%
4 | HVAC LOW SIDE |  | 18%
5 | PLUMBING WORK |  | 18%
6 | FIRE FIGHTING WORK |  | 18%
8 | Additional Work |  | 18%
| TOTAL CIVIL & INTERIOR WORK | 0 |  | 0 | 0 | 0

## PLUMBING WORK
PLUMBING WORK
Sr.No. | Short Decription | Description of Item | UNIT | QTY | Rates | Amount
1 | Drainage Works - UPVC | Providing, jointing and fixing PVC Waste & Vent system conforming to IS : 13592 - Type B comprising UPVC pipes and UPVC fittings (moulded as well as fabricated) like bends, tees, Y-tees, crosses, boss connections, access pieces, saddle pieces, cleanouts, adaptors for connections to other materials, plugs, reducers, cowls, offsets and other specials. Jointing shall be done with pushfit rubber ring jointing technique in general. Solvent cement joints may be provided for fittings and specials which are not manufactured with pushfit rubber joints. Pipes may be laid/ fixed in pipe ducts, sunken floors, under slung from ceiling. Pipes fixed on MS structural supports shall be fixed with U-clamps made from 10 mm dia MS bar complete with nuts and washers. The installation shall be complete in all respects including cutting chases / holes in walls, (but not inclusive of Core cuts or Cutting of RCC slabs), nominal excavation, refilling and disposal of surplus earth where required and making good, etc.
a | 110mm | 110mm Dia | Rft | 56
b | 90mm | 90mm dia | Rft
c | 75mm | 75mm dia | Rft | 83
d | 63mm | 63mm dia | Rft
f | 40mm | 40mm dia | Rft
2 | Drainage Works - Nahani Trap | Providing and installing and commissioning of Deep seal PVC Nahani Floor/Multi Traps - 110mm x 90mm | Nos | 3
3 | Drainage Works - CP Grating | Providing and Installing CP Grating for the above | Nos | 0
4 | Water Supply - CPVC | Providing and fixing in position CPVC pipes conforming to IS: 15778:2007 / ASTD-D-2846 with all fittings, brass threaded adaptors and specials, solvent cement/ threaded jointing, effecting proper connections, cutting chases in walls and floors and making good, Note: Pipe work in shafts, ceiling voids and terrace shall be supported/ fixed on MS structural supports with U-clamps complete with nuts and washers. Cost for MS structural work for supports shall be included in the rates all complete. Note : 1) Solvent Cement shall be of make and grade as specified by the manufacturer of CPVC piping system. 2) The entire CPVC piping system shall be installed, tested and commissioned following the recommendation of the manufacturer.
a | 15mm Dia | 15 mm internal dia sdr-11 | Rft
b | 20mm Dia | 20 mm internal dia sdr-11 | Rft | 150
c | 25mm Dia | 25 mm internal dia sdr-11 | Rft
| 32mm Dia | 32mm internal dia | Rft | 10
5 | Water Supply - Ball Valves | Providing and fixing of CPVC full way ball valve with operating handle of approved make.
a | 15mm Dia | CPVC Ball Valve - 15 mm dia | Nos
b | 20mm Dia | CPVC Ball Valve - 20 mm dia | Nos | 0
c | 25mm Dia | CPVC Ball Valve - 25 mm dia | Nos
6 | CP - Angular Valve | Providing and fixing Jaquar CP Angle Valve | Nos | 16
7 | Wall Mixer - Wall/Table | Providing and fixing CP Wall mounted/Table Mounted mixer of Jaquar Florentine Series | Nos | 2
8 | Storage Geysers | Supply & Installation of Electric Storage Geyser of approved make,with Vaccum and Pressure release device and vent valve made in copper vessel and adequetely insulated, including making connection with cold / hot water supply pipework - make Jaquar/Racold/Spherehot/Bajaj or equivalent
a | 2-3 litre | Geyser Capacity 2 or 3 liters {Refer Details- Sanitary (A) below} | Nos
b | 5-6 litre | Geyser Capacity 5 or 6 liters {Refer Details- Sanitary (A) below} | Nos
c | 10 litre | Geyser Capacity 10 liters {Refer Details- Sanitary (A) below} | Nos | 1
d | 25 litre | Geyser Capacity 25 liters {Refer Details- Sanitary (A) below} | Nos
9 | Braided Connector | Providing and fixing heavy duty SS braided Brass connector 15mm dia 2'0" long | Nos | 25 |  |  | 30' length Outside back pipe packing
10 | NRV/PRV -Brass | Providing and fixing Brass NRV/PRV
a | 15mm dia | Brass NRV/PRV of 15mm dia | Nos
b | 20mm dia | Brass NRV/PRV of 20mm dia | Nos
11 | Water Meter | Providing and fixing 20mm dia Brass Water Meter of Kapstan/Kranti or equivalent | Nos
12 | RO System | Providing and fixing in position RO plant of Delta pure of equivalent of 50LPH | Nos
13 | Mop Sink Installation | Installation Charges for Mop Sink | Nos | 1
14 | Compartment Sink Installation | Installation Charges for Compartment Sink | Nos | 1
15 | Presssure Pump | Supply & instalation of Kirloskar make Hydropneumatic Pressure Booster System 0.5 Hp | No | 1
16 | Water Tank | Providing & fixing high density Polyethelene (HDPE) single piece water storage tanks (Roto Moulded) with cover, inlet and outlet, scour and overflow & vent connections shall be provided with mosquito proof wire mesh couplings of following capacity.
|  | a) 2000 ltrs capacity | lts
|  | b) 200ltrs capacity For Ro Water Storage | No | 1
17 | Drain Chamber | Constructing inspection chamber in 115mm thick brick wall with plaster & providing C.I. cover along with frame make is NECO, EVERLAST.waight 7.5kg of size upto 300 x 300 mm | No | 1
18 | Washroom | Toilet Seat,wash basin(parryware/hindware)- Complete toilet fixtures jet spray, two way bib cock, plush tank, connector, mirror | Set | 0
Basic Sub-Toal

## Make list
NMIAL MAKE LIST
Package | Material Description | Model Number | Make
FAS
1 | Smoke Detector | TC806B3010 | Honeywell
2 | Multi sensor | TC806B3004 | Honeywell
3 | Heat detector | TC8B3102 | Honeywell
4 | Control module (For Hooter cum storbe ) | TC810N1013 | Honeywell
5 | Monitor module | TC809A1059 | Honeywell
6 | Mini Monitor module | TC809B1008 | Honeywell
7 | Relay Module | TC810R1024 | Honeywell
8 | Manual call stations | S464G1007 | Honeywell
9 | Hooter cum Strobe | SYS-ST | Honeywell (System sensor)
10 | Fire Resistant FRLS/LSZH Cables up to 1100V grade |  | Polycab,RPG Cable,Kunth Cab,Orbit,KEI,Ravin Cables,Finolex.
11 | Response Indicators |  | Honeywell or Reputed make
12 | Double compression cable gland |  | Baliga Lighting ltd,Comet,Dowells,Braco,cosmos
13 | Cable Lugs |  | comet,Dowells,cooper alloy ltd),Braco,Cosmos
14 | GI Conduit |  | Vimco,BEC,AKG
Fire Fighting
1 | GI Pipes (IS:1239 and IS:3589) |  | Tata Steel ,Jindal (Hissar)
2 | Grooved Joints above 50mm |  | Victaulic,Grinell,Recomb,Interfit,Jinan
3 | Standard MS fittings below 50mm |  | Industrial Valves and company
4 | Forged steel fittings below 50mm |  | VS Enginnering , JK Forging
5 | Fastner |  | Hilti ,Fisher
6 | Welding rods |  | Advani,comos,Prima,superbond,Ador
7 | Sprinklers /Nozzles(ULListed ,FM Approved) |  | Tyco,Grinell,HD,Viking,Globe,Reliable
8 | Flexible Sprinkler drops SS Braided |  | EsyFlex,Tyco ,Viking,Victaulic(Aquaflex),Newage Flex
9 | Butterfly valve (PN 16) |  | Audco,,KSB,Danfoss,Advance,Victaulic,NIBCO
10 | Wafer Type Check Valve |  | Advance ,Kirloskar ,Audco
11 | Pressure Reducing Valve |  | Leader zoloto RB
12 | Air Release Valve |  | Zoloto,RB,ITAP,TBS
13 | Clean agent Fire Supression system |  | Sapphire,kidde,NITIE 1230(for pressure 25 Bar )MX1230.
14 | Paints |  | Asian Paints,Shalimarpaints,Berger Paints
15 | Flow Switch |  | Tyco,Grinell,Kennedy,Shield(UK),Potter
16 | Fire Extinghusher |  | Alert Tyco,Minimax,Safex
17 | Pipe Protection Pypcoat (AW4)Wrapping |  | IWL or equivalent
18 | Presshure Gauge |  | H Guru, Fiebig, Dwyer
Plumbing
1 | a. Vitreous China Sanitaryware |  | Parryware, TOTO, Kohler, American Standard, Cera
2 | b. WC Connectors |  | Multikwik (UK), Jaguar
3 | Rain Water Outlets |  | Neer, GMGR
4 | Seat Cover (Heavy Duty) |  | Commander, Jaguar
5 | Bath Tub and Shower Tray |  | Woven Gold, Eurospa, Aquaplus, Jaguar
6 | Stainless Steel Sink |  | Prestige, Kingston, Neelkanth, Jaguar
7 | Auto Urinal Flush System |  | AOS Auto Robo Flushing System, Toshi, UTEC System, Askon Engineers
8 | Hand Drier |  | Kopal, Blue Circle, UTEC System, Askon Engineers, Philips, Bobrick
9 | CP Brass Fittings |  | Jaguar, Gem, Ess - Ess, Aquaplus, Viega
10 | Angle valve with filter |  | Arco
11 | Floor Drain Fixture, Rain Water Outlets & Channel Gratings |  | Neer, GMGR, Aco, Geberit, Viega
12 | C.P. Grating for Floor Trap |  | Chilly, GMGR, Neer, Viega
Cast Iron Pipes & Fittings & CI/DI Manhole covers and frames
13 | a. In accordance with IS:3989 (Pipes & Fittings) |  | NECO, Kapilansh
15 | b. In accordance with IS:1729 (Manhole covers and frames |  | NECO, Raj Iron Foundry -Agra, BIC - Calcutta, Kajeco, Crescent
16 | c. In accordance with IS:1536 |  | Kesoram - Calcutta, Electrosteel- Calcutta, IISCO
17 | CI Hubless Pipes |  | NECO, Kapilansh
18 | Ductile Iron pipes |  | Electrosteel, Jindal, Lanco
19 | Ductile Iron pipe fittings |  | Electrosteel, Kejariwal, Kiswock
20 | GI Pipes (IS: 1239 and IS: 3589) |  | Tata Steel, Jindal (Hissar), Zenith
21 | GI pipes fittings |  | Unik, Zoloto M, R Brand, Kirti
22 | Copper Pipes & Fitting |  | Rajco, IMI - Yorkshire, GMGR, IBP - UK, Viega
23 | PVC Pipe |  | Supreme, Ajay, Finolex
24 | Polypropylene Pipes |  | Dizayn, Prince, Kissan
25 | CPVC pipes |  | Astral, Prince, Kissan
26 | Polybutlene pipes |  | George Fisher or Equivalent
27 | RCC Pipe |  | KK, Pranali, Premier
28 | HDPE Pipes |  | Jain, Reliance, Prince, Kisan
29 | Stoneware Pipes, Gully Traps |  | Perfect Potteries-JABALPUR, Equivalent ISI marked
30 | SS Pipes |  | REMI, Viega, V.S. Metal
31 | GM / Forged Brass Valves |  | Leader, Zoloto, RB, Arco, GS, Danfoss
32 | Sluice Valves |  | Kirloskar, Indian Valve Company, H. sarkar
33 | Butterfly Valve |  | Audco, KSB, Danfoss, Advance, Victaulic, NIBCO
34 | Wafer Type Check Valve |  | Advance, Kirloskar, Audco
35 | Pressure Reducing Valve |  | Leader, Zoloto, RB
36 | Solenoid Valve |  | Avcon, Danfoss
37 | Steam Pressure Reducing Station / Valve |  | JN Marshall, Zoloto
38 | Steam Control / Isolation Ball / Gate / Globe Valve |  | Leader, Zoloto, RB, Kitz
39 | Plug Valve |  | Audco or Equivalent
40 | Air Release Valve |  | Zoloto, RB, ITAP, TBS
41 | Y Strainer |  | Emerald, Zoloto, Advance, Crane
42 | Hydropneumatic System |  | DP, Grundfos, ITT Industries
43 | Storm Water Drainage Sump Pumps |  | DP, Grundfos, ITT Industries, KSB
44 | Sewage Handling Pumps |  | DP, Grundfos, ITT Industries, KSB
45 | Dewatering Pump |  | DP, Grundfos, ITT Industries, KSB
46 | Drinking Water Cooler |  | Usha, Blue Star, Voltas
47 | Hot Water Pumps |  | DP, Grundfos
48 | Borewell Pump |  | DP, KSB
49 | Rotary Gear Pump |  | PEC, Rotodel
50 | Motor |  | Siemens, Bharat Bijlee, ABB, Kirloskar
51 | Mechanical Seal |  | Burgmann or Equivalent
52 | Couplings |  | Lovejoy or Equivalent
53 | Anti Vibration Mounting |  | Kanwal Industrial Corporation, Dunlop, Resistoflex, Corporation
54 | Pressure Gauge |  | H Guru, Fiebig, Dwyer
55 | Water Meter (Mechanical Type) |  | Kaycee, Dashmesh, Sant
56 | Electronic Flow Meter
57 | Level Controller (Water) |  | Technika, Minilec, Danfoss
58 | Level Indicator (Water) |  | Technika, Minilec, Danfoss
59 | Level Indicator (Oil) |  | Forbes Marshall or Equivalent
60 | Paints |  | Asian Paints, Shalimar Paints, Berger Paints
61 | MH / Water Tank Plastic Steps |  | KGM, Patel, Pranli Industries
62 | Water Treatment Plant |  | Thermax, Ion Exchange, Watcon, EA Water
63 | Water Treatment Vessel |  | Astral, Structural
64 | Ultra Violet Water Purifier |  | Eureka Forbes, Trojan, Kent, Aquatech, Eurostar
65 | Dosing Pumps |  | LMI, Toschon, Pulser Feeder
66 | Garbage Crusher |  | Venus or Equivalent
67 | Water Supply Nozzle |  | Astral or Equivalent
68 | Insulation for Chimney & Steam Pipes |  | Lloyd Insulation, UP Twiga
69 | Insulation for Hot Water Pipes |  | Armacell - Armaflex (UK / German), Eurobatex – Union Foam (Italy), Trocellen
70 | Electric Water Heater |  | Venus, Bajaj, Spherehot, Idotripi
71 | Insulation for Steam Pipes |  | Lloyd Insulation or Equivalent
HVAC
1 | Air Handling Unit |  | Flaktwoods/Carrier/Trane/ ETA/Voltas/Zeco/Caryaire/Saiver/VTS
2 | Fan Coil Unit |  | Carrier/Trane/Flaktwoods/ETA/ Voltas/Zeco/Caryaire/ Saiver/ Sin/VTS
3 | AHU Blowers |  | Nicotra /Comefri /Kruger / TCF Nadi
4 | VAV box |  | Trox / Titus/ Johnson controls / E H Price / Flaktwoods/System air Sweden/Aldes/Cosmos
5 | Centrifugal Fans |  | Nicotra /Comefri /Kruger /Systemair / Greenheck / TCF-Nadi / Flaktwoods
6 | Axial Fans |  | Nicotra/ Kruger / Nuaire/Greenheck/Flaktwoods /TCF-Nadi /System air
7 | Smoke extract/ Tube Axial /Axial/Centrifugal Fans |  | Systemair / Greenheck / Nuaire /Flaktwoods / Kruger/Nicotra
8 | Factory fabricated Ducts |  | Rolastar / Zeco / Alphaduct/Voltas/Spiraduct/Nutech
9 | GI Sheet |  | SAIL / TATA / Jindal (JSW)
10 | Air outlets - Grilles/ Diffusers |  | Dyna craft / Trox / Airmaster/ Titus -Caryaire / Cosmos
11 | Jet nozzle |  | Caryaire / Trox / Dynacraft
12 | Fire Damper with fusible link |  | Titus-caryaire / TSC/Ruskin / Cosmos / Air products/Greenheck
13 | Volume control Dampers |  | Ravistar /Airmaster/Caryaire(Flaktwoods)/Air products/ Cosmos / Dynacraft
14 | Flexible ducting |  | UP Twiga/Caryaire/Century mech systems
15 | Pipe Flexible Connectors (Bellow type) |  | Resistoflex / Easyflex/Cori
16 | Butterfly Valves |  | Audco / KITZ / Advance
17 | Ball Valves |  | Oventrop / RB / KITZ/ Kirloskar / Leader / Audco
18 | Gate Valves |  | Leader /Audco/RB / Zoloto
19 | Globe Valves |  | Leader /Audco/RB / Zoloto
20 | Check(NonReturn) Valves |  | Advance / Honeywell /Danfoss
21 | Manual Balancing valves |  | T & A / Advance / Danfoss / Oventrop / Honeywell
22 | Automatic Flow control valves |  | T & A / Flowcon / Danfoss / Oventrop / Advance
23 | Pressure independent dynamic balancing cum control valves/Differential pressure controllers |  | T & A / Danfoss /Oventrop/ Flowcon / Advance
24 | Thermostat with speed switch for FCU |  | Honeywell/Johnson control /Siemens/ Schneider (t.a.c)/ Sauter / Atmos
25 | Pressure Gauges |  | H.Guru / Fiebig / WAREE
26 | Pressure / temperature senors, Differential pressure,switch / Airflow switch |  | Honeywell/Siemens/Johnson control / Schneider (t.a.c.) / Atmos/Danfoss/Sauter
27 | Filters |  | Camfil Farr/ Promark/Purafil/Spectrum/Dyna/Airtech
28 | Air Curtains |  | Rusell/Airtech
29 | Catalytic Air Cleaner |  | Trane/ Bryaire
30 | Flexible Fibre Glass Blanket Insulation for ducting |  | U.P. Twiga/ Kimmco/Owens Corning
31 | Rigid preformed fiberglass pipe sections |  | U.P. Twiga/ Kimmco/Owens Corning
32 | Nitrile rubber duct/pipe insulation |  | Armaflex/K-flex/Rubatex
33 | Preformed PUF insulation sections for pipes |  | Lloyds insulation/Seven Star
34 | Preinsulated MS pipes |  | Lloyds insulation/Seven Star / Permapipe
35 | DDC controllers |  | Honeywell/Siemens/Danfoss/Johnson Controls/Sauter
Electrical
1 | 415 Volts, Main LT Panel, Motor Control Centre and APFC panel |  | L &T, S&W, Siemens, Schneider, ABB, Vivid, Electromech Pvt. Ltd., Tricolite, Legrand
2 | Indicating Lamps LED type and Push Button |  | Schneider Electric (MG), Larsen & Toubro (ESBEE), GE Power Controls, Siemens, Teknik, RAAS
3 | Overload relays with built in Single Phase preventer |  | Schneider Electric (Telemechanique), ABB, L&T, GE Power Controls, Siemens
4 | Electronic Digital Meters (A/V/PF/Hz/KW/KWH) with LED Display |  | Rishabh ( L&T), Enercon System Pvt. Ltd., CG Schlumberger, Automatic Electric, Schneider Electric
5 | Distribution Boards |  | L&T - Hager / Legrand / Siemens / Schneider
6 | Air Circuit Breaker |  | Schneider Electric (MG), ABB, Larsen & Toubro (U-Power),GE Power Controls (M-PRO), Siemens
7 | Molded Case Circuit Breaker (MCCB) |  | Schneider Electric (MG), ABB, Larsen & Toubro (U-Power),GE Power Controls (M-PRO), Siemens
8 | Miniature Circuit Breakers (MCB) |  | Schneider Electric (MG), Larsen & Toubro (Hagger), GE Power Controls (M-PRO), ABB, Siemens, MDS (Legrand)
9 | Residual Current Circuit Breaker (RCCB) |  | Schneider Electric (MG), Larsen & Toubro (Hagger), GE Power Controls (M-PRO), ABB, Siemens, MDS (Legrand)
10 | Power/Aux. Contactor |  | Schneider Electric (Telemechanique), Larsen & Toubro (Hagger), GE Power Controls , ABB, Siemens
11 | Change Over Switch |  | Larsen & Toubro, Siemens, H H Elcon, HPL-Socomec,Emerson
12 | Switch & Socket |  | Legrand (Mosiac), M K India, Northwest, Crabtree, Anchor, Gold Medal, Greatwide
13 | PVC insulated copper conductor stranded flexible wires (LSZH) - |  | Polycab, KEI, Finolex, Orbit, Kunth Cab, R R Kabel, Lapp Kabel, Delton Cables
14 | PVC insulated FRLS aluminium / copper conductor armoured / un armoured MV Cables up to 1100 V grade |  | Polycab, KEI, Orbit, Cable Corp. of India, RPG Cable, Fort Gloster, Kunth Cab, Ravin Cables
15 | Cable Trays (Factory Fabricated) / Raceways |  | Indiana, Profab Engineer, Jamana Metals, Rico Steel, Maheshwari Electrical Mfrs (MEM), Legrand
16 | Industrial Socket
| a. Splash Proof |  | Clipsal, Legrand, Neptune, Schneider Electric, Scane
| b. Metal Clad |  | BCH, Legrand, Schneider Electric
17 | Mettalic / GI Conduit (ISI approved) |  | BEC, AKG, Vimco, Steelkraft, Super Sales Corpn
18 | Accessories for Metallic Conduit (ISI approved) |  | Sharma Sales Corporation, Prakash Engineering Works, Super Sales Corporation
19 | Pop UP Box |  | WQ India, MDS Legrand, Fresar Techno
20 | High Power Fluorescent / General LED Lights |  | Philips, Wipro, Thorn, Crompton , Bajaj Electricals, Havells
21 | Ceiling Fan |  | Crompton Greaves, Usha, Orbit, Orient, Bajaj
22 | Exhaust Fan |  | Crompton Greaves, Usha, Almonard, Bajaj
23 | Shaver Socket |  | Clipsal, MK India
24 | LED General Area/ Office Lighting Utility buildings, etc. |  | Philips, Wipro, Surya, Crompton, Osram, Havells
25 | Lighting Controls |  | Dynalite, Schneider
26 | Bimettalic Cable Lug |  | Dowell's (Biller India Pvt. Ltd.), Comet, Hax Brass, Copper Alloy India Ltd.), Braco, Cosmos
27 | Cable and wire connectors upto 20 sq.mm |  | 3M, TE Connectivity, GE, Ideal Industries, Ashwin Electro ,Industrial Corporation, Novoflex
IT
1 | CCTV |  | DVTEL, Samsung, Pelco, Javelin, Philips, Vicon, Bosch, Infinova, Flair, for VMS - Milestone, Genetec
2 | Access Control |  | Bosch, Honeywell, Lenel
3 | Card Reader & proximity card |  | HID, Tyco Security, Honeywell security, wesinghouse
4 | Network cabling system (CAT6 cable & Fiber) |  | Compscope, Panduit, Beldon, Siemon-USA, Corning, Finolex, Orbit, R&M
5 | IT Rack, PDU & accessories |  | WQ India, Rittal India, Netrack, Valrack
6 | Speaker, Amplifier |  | Bose, Bosch, Aties, JBL
7 | Network Switches |  | Juniper, Cisco, Extreme, HP
8 | Cable/Fibre Connectors |  | Molex, Amphenol, Corning, Siemon, R&M
9 | Display Screen (FIDS) |  | Samsung, NEC, LG
Civil | Cement
1 | OrdineryOrdinary Portland Cement |  | Ultratech, ACC, Gujarat Ambuja, Grasim, JK Cement
2 | White Cement |  | Birla White, JK White, Ultratech White, Zuari White
3 | Ready Mix Concrete |  | ACC, Lafarge, RMC (Ready Mix India), Ultratech
4 | Rolling Shutters |  | Swastik, Gandhi Automation Pvt.Ltd., Shaktimet Hormann
5 | Autoclaved Aerated Concrete (AAC) /Light Weight Blocks |  | Hyderabad Industries Ltd., Siporex India Pvt.Ltd., Biltech Building Elements Ltd, JVS Comatsco Pvt.Ltd., Ultratech
6 | Integral Waterproofing compound |  | BASF, Fosroc, Sika, MYK Schomburg, Mc Bauchemei
7 | Membrane Waterproofing System |  | BASF, Fosroc, Sika, Grace
8 | Glasswool Insulation |  | Lloyds Insulation, UP Twiga, Owens Corning, US Gypsum (Boral)
9 | Acoustic Non-woven Fabric |  | Hunter Douglas, Soundtex, Owens Corning
10 | Underdeck Insulation |  | Lloyd Insulations (I) Pvt.Ltd., UP Twiga Fibre Glass Ltd., Bakelite Hylam Ltd.
11 | Extruded Aluminium Sections for Doors / Windows / Structural Glazing |  | Jindal Aluminium Ltd., Hindalco, Nalco, Indal, Bhoruka
12 | Glass (relevant code BS 952 & Selection as per AS 1288) Heat Strengthened Glass / Toughened Glass / Laminated Glass / Safety Glass / Annealed Glass |  | Saint Gobain (France), Shanghai Pilkington, China Southern Glass (CSG)
13 | Structural & Weather Sealant – Silicone Sealant |  | Dow Corning, GE, BASF, Alstone, Wacker
14 | Aluminum Composite Panels (ACP) |  | Aluco bond, Alpolic FR, Reynobond
15 | Ceramic Tiles |  | Johnson, Kajaria, Nitco, RAK Ceramics, Somany
16 | Double Charged / Anti-Skid Vitrified Tiles |  | Johnson, Kajaria, Nitco, RAK Ceramics, Somany
17 | Acid Resistant Tiles |  | Regency Ceramics Ltd., H & R Johnson (I) Ltd.
18 | Tile Adhesives & Grouts |  | Mapei, Laticrete, Ardex Endura, Pidilite, BASF, Fosroc
19 | Glass / Ceramic Mosaic Tiles |  | Glass Italia, Bizzaza, Palladio, Pixel, Shon
20 | Granite Stone Sealer |  | Laticrete, Aquamix, Ardex Endura, Sika
21 | Wooden Flooring |  | Xylos, Ego, Armstrong, BVG Industries
22 | Raised Access Flooring |  | Kingspan, Lindner, Unitile Raised Access Floor Systems, Bestlock System & Concepts, DMC, United Access Floor Ltd.,
23 | Plastic / Acrylic Emulsion Paint & Oil Bound Distemper |  | ICI, Berger, Asian Paints, Jotun, Nerolac
24 | Synthetic Enamel Paint (For building works) |  | ICI, Berger, Asian Paints, Shalimar, Kansai Nerolac, Spectrum
25 | Interior Grade Textured Paints |  | Asian Paints, ICI, Oikos, Jotun
26 | Epoxy & Polyurethane Paints / Coatings over Steel |  | ICI (Akzonobel), Asian Paints PPG, Berger, Jotun,
27 | Fire Retardant (Intumescent) Steel Protection System |  | Akzonobel, Jotun, Asian Paints PPG, Newkem Engineers
28 | Epoxy Coatings |  | BASF, Fosroc , Sika, Cipy
29 | Mineral Fibre False Ceiling |  | Armstrong, Saint Gobain, Knuaf AMF India Pvt.Ltd.
30 | Calcium Silicate False Ceiling |  | Hilux, Calsi Ceilings, Aerolite
31 | Gypsum Board Ceiling & Dry Wall Partitions |  | Saint Gobain, Lafarge, US Gypsum
32 | Plywood (Commercial / Marine Grade) |  | Century, Green Ply, Mayur, Kenwood
33 | MDF Boards |  | Nuchem Ltd., Mangalam Timber Products Ltd., Western Bio Systems Ltd., Bajaj Eco-Tec Products Ltd., Greenply
34 | Particle Boards (Plain / Veneered / Pre-laminated) |  | Merino, Century, Bajaj Eco-Tec Products Ltd.
35 | Laminates |  | Green Ply, Merino, Durian, Greenlam Industries, Formica India, Royale Touch
36 | Fire Rated and Non Fire Rated Steel Doors |  | Shakti Hormann, Godrej, Navair, Signum, Gmp, MPP Technologies
37 | Stainless Steel Hardware Fittings for Doors & Windows |  | Assa Abloy, Dorma, Ingersoll Rand
38 | Patch Fittings |  | Assa Abloy, Dorma
39 | Mirrors |  | Saint Gobain, Modi Glass, Asahi India