## SUMMARY
BOQ SUMMARY |  | SUBWAY
| Location & Address | Subway T1 NAVI MUMBAI
| Format | AIRPORT | Date of Opening
| Total Area (Sq.Ft) | 628 | Vendor
| Landlord Investment |  | Site Incharge
S.No. | DESCRIPTION | AMOUNT | GST % | GST AMT | AMOUNT WITH TAX | PER Sq.Ft | REMARKS
1 | CIVIL & INTERIOR |  | 18%
2 | ELECTRICAL WORK |  | 18%
3 | HVAC HIGH SIDE |  | 28%
4 | HVAC LOW SIDE |  | 18%
5 | PLUMBING WORK |  | 18%
6 | FIRE FIGHTING WORK |  | 18%
8 | Additional Work |  | 18%
| TOTAL CIVIL & INTERIOR WORK | 0 |  | 0 | 0 | 0

## CCTV WORK
CCTV WORK
1 | NVR -G | Nos | 1
HIKVISION 8CH NVR
2 | CCTV CAMERA | Nos | 5
HIKVISION 2MP IP DOME CAMERA
3 | HDD -G | Nos | 1
4 | WD PURPALE 4TB SURVEILLANCE HDD
5 | SWITCH -G | Nos | 1
8PORT POE SWITCH LONG RANGE
6 | RACK-G | Nos | 1
9U WALL MOUNTER WITH ACCESSORIES
7 | INSTALLATION CHARGES -G | Nos | 1
Basic Sub-Toal

## Make list
NMIAL MAKE LIST
Package | Material Description | Model Number | Make
FAS
1 | Smoke Detector | TC806B3010 | Honeywell
2 | Multi sensor | TC806B3004 | Honeywell
3 | Heat detector | TC8B3102 | Honeywell
4 | Control module (For Hooter cum storbe ) | TC810N1013 | Honeywell
5 | Monitor module | TC809A1059 | Honeywell
6 | Mini Monitor module | TC809B1008 | Honeywell
7 | Relay Module | TC810R1024 | Honeywell
8 | Manual call stations | S464G1007 | Honeywell
9 | Hooter cum Strobe | SYS-ST | Honeywell (System sensor)
10 | Fire Resistant FRLS/LSZH Cables up to 1100V grade |  | Polycab,RPG Cable,Kunth Cab,Orbit,KEI,Ravin Cables,Finolex.
11 | Response Indicators |  | Honeywell or Reputed make
12 | Double compression cable gland |  | Baliga Lighting ltd,Comet,Dowells,Braco,cosmos
13 | Cable Lugs |  | comet,Dowells,cooper alloy ltd),Braco,Cosmos
14 | GI Conduit |  | Vimco,BEC,AKG
Fire Fighting
1 | GI Pipes (IS:1239 and IS:3589) |  | Tata Steel ,Jindal (Hissar)
2 | Grooved Joints above 50mm |  | Victaulic,Grinell,Recomb,Interfit,Jinan
3 | Standard MS fittings below 50mm |  | Industrial Valves and company
4 | Forged steel fittings below 50mm |  | VS Enginnering , JK Forging
5 | Fastner |  | Hilti ,Fisher
6 | Welding rods |  | Advani,comos,Prima,superbond,Ador
7 | Sprinklers /Nozzles(ULListed ,FM Approved) |  | Tyco,Grinell,HD,Viking,Globe,Reliable
8 | Flexible Sprinkler drops SS Braided |  | EsyFlex,Tyco ,Viking,Victaulic(Aquaflex),Newage Flex
9 | Butterfly valve (PN 16) |  | Audco,,KSB,Danfoss,Advance,Victaulic,NIBCO
10 | Wafer Type Check Valve |  | Advance ,Kirloskar ,Audco
11 | Pressure Reducing Valve |  | Leader zoloto RB
12 | Air Release Valve |  | Zoloto,RB,ITAP,TBS
13 | Clean agent Fire Supression system |  | Sapphire,kidde,NITIE 1230(for pressure 25 Bar )MX1230.
14 | Paints |  | Asian Paints,Shalimarpaints,Berger Paints
15 | Flow Switch |  | Tyco,Grinell,Kennedy,Shield(UK),Potter
16 | Fire Extinghusher |  | Alert Tyco,Minimax,Safex
17 | Pipe Protection Pypcoat (AW4)Wrapping |  | IWL or equivalent
18 | Presshure Gauge |  | H Guru, Fiebig, Dwyer
Plumbing
1 | a. Vitreous China Sanitaryware |  | Parryware, TOTO, Kohler, American Standard, Cera
2 | b. WC Connectors |  | Multikwik (UK), Jaguar
3 | Rain Water Outlets |  | Neer, GMGR
4 | Seat Cover (Heavy Duty) |  | Commander, Jaguar
5 | Bath Tub and Shower Tray |  | Woven Gold, Eurospa, Aquaplus, Jaguar
6 | Stainless Steel Sink |  | Prestige, Kingston, Neelkanth, Jaguar
7 | Auto Urinal Flush System |  | AOS Auto Robo Flushing System, Toshi, UTEC System, Askon Engineers
8 | Hand Drier |  | Kopal, Blue Circle, UTEC System, Askon Engineers, Philips, Bobrick
9 | CP Brass Fittings |  | Jaguar, Gem, Ess - Ess, Aquaplus, Viega
10 | Angle valve with filter |  | Arco
11 | Floor Drain Fixture, Rain Water Outlets & Channel Gratings |  | Neer, GMGR, Aco, Geberit, Viega
12 | C.P. Grating for Floor Trap |  | Chilly, GMGR, Neer, Viega
Cast Iron Pipes & Fittings & CI/DI Manhole covers and frames
13 | a. In accordance with IS:3989 (Pipes & Fittings) |  | NECO, Kapilansh
15 | b. In accordance with IS:1729 (Manhole covers and frames |  | NECO, Raj Iron Foundry -Agra, BIC - Calcutta, Kajeco, Crescent
16 | c. In accordance with IS:1536 |  | Kesoram - Calcutta, Electrosteel- Calcutta, IISCO
17 | CI Hubless Pipes |  | NECO, Kapilansh
18 | Ductile Iron pipes |  | Electrosteel, Jindal, Lanco
19 | Ductile Iron pipe fittings |  | Electrosteel, Kejariwal, Kiswock
20 | GI Pipes (IS: 1239 and IS: 3589) |  | Tata Steel, Jindal (Hissar), Zenith
21 | GI pipes fittings |  | Unik, Zoloto M, R Brand, Kirti
22 | Copper Pipes & Fitting |  | Rajco, IMI - Yorkshire, GMGR, IBP - UK, Viega
23 | PVC Pipe |  | Supreme, Ajay, Finolex
24 | Polypropylene Pipes |  | Dizayn, Prince, Kissan
25 | CPVC pipes |  | Astral, Prince, Kissan
26 | Polybutlene pipes |  | George Fisher or Equivalent
27 | RCC Pipe |  | KK, Pranali, Premier
28 | HDPE Pipes |  | Jain, Reliance, Prince, Kisan
29 | Stoneware Pipes, Gully Traps |  | Perfect Potteries-JABALPUR, Equivalent ISI marked
30 | SS Pipes |  | REMI, Viega, V.S. Metal
31 | GM / Forged Brass Valves |  | Leader, Zoloto, RB, Arco, GS, Danfoss
32 | Sluice Valves |  | Kirloskar, Indian Valve Company, H. sarkar
33 | Butterfly Valve |  | Audco, KSB, Danfoss, Advance, Victaulic, NIBCO
34 | Wafer Type Check Valve |  | Advance, Kirloskar, Audco
35 | Pressure Reducing Valve |  | Leader, Zoloto, RB
36 | Solenoid Valve |  | Avcon, Danfoss
37 | Steam Pressure Reducing Station / Valve |  | JN Marshall, Zoloto
38 | Steam Control / Isolation Ball / Gate / Globe Valve |  | Leader, Zoloto, RB, Kitz
39 | Plug Valve |  | Audco or Equivalent
40 | Air Release Valve |  | Zoloto, RB, ITAP, TBS
41 | Y Strainer |  | Emerald, Zoloto, Advance, Crane
42 | Hydropneumatic System |  | DP, Grundfos, ITT Industries
43 | Storm Water Drainage Sump Pumps |  | DP, Grundfos, ITT Industries, KSB
44 | Sewage Handling Pumps |  | DP, Grundfos, ITT Industries, KSB
45 | Dewatering Pump |  | DP, Grundfos, ITT Industries, KSB
46 | Drinking Water Cooler |  | Usha, Blue Star, Voltas
47 | Hot Water Pumps |  | DP, Grundfos
48 | Borewell Pump |  | DP, KSB
49 | Rotary Gear Pump |  | PEC, Rotodel
50 | Motor |  | Siemens, Bharat Bijlee, ABB, Kirloskar
51 | Mechanical Seal |  | Burgmann or Equivalent
52 | Couplings |  | Lovejoy or Equivalent
53 | Anti Vibration Mounting |  | Kanwal Industrial Corporation, Dunlop, Resistoflex, Corporation
54 | Pressure Gauge |  | H Guru, Fiebig, Dwyer
55 | Water Meter (Mechanical Type) |  | Kaycee, Dashmesh, Sant
56 | Electronic Flow Meter
57 | Level Controller (Water) |  | Technika, Minilec, Danfoss
58 | Level Indicator (Water) |  | Technika, Minilec, Danfoss
59 | Level Indicator (Oil) |  | Forbes Marshall or Equivalent
60 | Paints |  | Asian Paints, Shalimar Paints, Berger Paints
61 | MH / Water Tank Plastic Steps |  | KGM, Patel, Pranli Industries
62 | Water Treatment Plant |  | Thermax, Ion Exchange, Watcon, EA Water
63 | Water Treatment Vessel |  | Astral, Structural
64 | Ultra Violet Water Purifier |  | Eureka Forbes, Trojan, Kent, Aquatech, Eurostar
65 | Dosing Pumps |  | LMI, Toschon, Pulser Feeder
66 | Garbage Crusher |  | Venus or Equivalent
67 | Water Supply Nozzle |  | Astral or Equivalent
68 | Insulation for Chimney & Steam Pipes |  | Lloyd Insulation, UP Twiga
69 | Insulation for Hot Water Pipes |  | Armacell - Armaflex (UK / German), Eurobatex – Union Foam (Italy), Trocellen
70 | Electric Water Heater |  | Venus, Bajaj, Spherehot, Idotripi
71 | Insulation for Steam Pipes |  | Lloyd Insulation or Equivalent
HVAC
1 | Air Handling Unit |  | Flaktwoods/Carrier/Trane/ ETA/Voltas/Zeco/Caryaire/Saiver/VTS
2 | Fan Coil Unit |  | Carrier/Trane/Flaktwoods/ETA/ Voltas/Zeco/Caryaire/ Saiver/ Sin/VTS
3 | AHU Blowers |  | Nicotra /Comefri /Kruger / TCF Nadi
4 | VAV box |  | Trox / Titus/ Johnson controls / E H Price / Flaktwoods/System air Sweden/Aldes/Cosmos
5 | Centrifugal Fans |  | Nicotra /Comefri /Kruger /Systemair / Greenheck / TCF-Nadi / Flaktwoods
6 | Axial Fans |  | Nicotra/ Kruger / Nuaire/Greenheck/Flaktwoods /TCF-Nadi /System air
7 | Smoke extract/ Tube Axial /Axial/Centrifugal Fans |  | Systemair / Greenheck / Nuaire /Flaktwoods / Kruger/Nicotra
8 | Factory fabricated Ducts |  | Rolastar / Zeco / Alphaduct/Voltas/Spiraduct/Nutech
9 | GI Sheet |  | SAIL / TATA / Jindal (JSW)
10 | Air outlets - Grilles/ Diffusers |  | Dyna craft / Trox / Airmaster/ Titus -Caryaire / Cosmos
11 | Jet nozzle |  | Caryaire / Trox / Dynacraft
12 | Fire Damper with fusible link |  | Titus-caryaire / TSC/Ruskin / Cosmos / Air products/Greenheck
13 | Volume control Dampers |  | Ravistar /Airmaster/Caryaire(Flaktwoods)/Air products/ Cosmos / Dynacraft
14 | Flexible ducting |  | UP Twiga/Caryaire/Century mech systems
15 | Pipe Flexible Connectors (Bellow type) |  | Resistoflex / Easyflex/Cori
16 | Butterfly Valves |  | Audco / KITZ / Advance
17 | Ball Valves |  | Oventrop / RB / KITZ/ Kirloskar / Leader / Audco
18 | Gate Valves |  | Leader /Audco/RB / Zoloto
19 | Globe Valves |  | Leader /Audco/RB / Zoloto
20 | Check(NonReturn) Valves |  | Advance / Honeywell /Danfoss
21 | Manual Balancing valves |  | T & A / Advance / Danfoss / Oventrop / Honeywell
22 | Automatic Flow control valves |  | T & A / Flowcon / Danfoss / Oventrop / Advance
23 | Pressure independent dynamic balancing cum control valves/Differential pressure controllers |  | T & A / Danfoss /Oventrop/ Flowcon / Advance
24 | Thermostat with speed switch for FCU |  | Honeywell/Johnson control /Siemens/ Schneider (t.a.c)/ Sauter / Atmos
25 | Pressure Gauges |  | H.Guru / Fiebig / WAREE
26 | Pressure / temperature senors, Differential pressure,switch / Airflow switch |  | Honeywell/Siemens/Johnson control / Schneider (t.a.c.) / Atmos/Danfoss/Sauter
27 | Filters |  | Camfil Farr/ Promark/Purafil/Spectrum/Dyna/Airtech
28 | Air Curtains |  | Rusell/Airtech
29 | Catalytic Air Cleaner |  | Trane/ Bryaire
30 | Flexible Fibre Glass Blanket Insulation for ducting |  | U.P. Twiga/ Kimmco/Owens Corning
31 | Rigid preformed fiberglass pipe sections |  | U.P. Twiga/ Kimmco/Owens Corning
32 | Nitrile rubber duct/pipe insulation |  | Armaflex/K-flex/Rubatex
33 | Preformed PUF insulation sections for pipes |  | Lloyds insulation/Seven Star
34 | Preinsulated MS pipes |  | Lloyds insulation/Seven Star / Permapipe
35 | DDC controllers |  | Honeywell/Siemens/Danfoss/Johnson Controls/Sauter
Electrical
1 | 415 Volts, Main LT Panel, Motor Control Centre and APFC panel |  | L &T, S&W, Siemens, Schneider, ABB, Vivid, Electromech Pvt. Ltd., Tricolite, Legrand
2 | Indicating Lamps LED type and Push Button |  | Schneider Electric (MG), Larsen & Toubro (ESBEE), GE Power Controls, Siemens, Teknik, RAAS
3 | Overload relays with built in Single Phase preventer |  | Schneider Electric (Telemechanique), ABB, L&T, GE Power Controls, Siemens
4 | Electronic Digital Meters (A/V/PF/Hz/KW/KWH) with LED Display |  | Rishabh ( L&T), Enercon System Pvt. Ltd., CG Schlumberger, Automatic Electric, Schneider Electric
5 | Distribution Boards |  | L&T - Hager / Legrand / Siemens / Schneider
6 | Air Circuit Breaker |  | Schneider Electric (MG), ABB, Larsen & Toubro (U-Power),GE Power Controls (M-PRO), Siemens
7 | Molded Case Circuit Breaker (MCCB) |  | Schneider Electric (MG), ABB, Larsen & Toubro (U-Power),GE Power Controls (M-PRO), Siemens
8 | Miniature Circuit Breakers (MCB) |  | Schneider Electric (MG), Larsen & Toubro (Hagger), GE Power Controls (M-PRO), ABB, Siemens, MDS (Legrand)
9 | Residual Current Circuit Breaker (RCCB) |  | Schneider Electric (MG), Larsen & Toubro (Hagger), GE Power Controls (M-PRO), ABB, Siemens, MDS (Legrand)
10 | Power/Aux. Contactor |  | Schneider Electric (Telemechanique), Larsen & Toubro (Hagger), GE Power Controls , ABB, Siemens
11 | Change Over Switch |  | Larsen & Toubro, Siemens, H H Elcon, HPL-Socomec,Emerson
12 | Switch & Socket |  | Legrand (Mosiac), M K India, Northwest, Crabtree, Anchor, Gold Medal, Greatwide
13 | PVC insulated copper conductor stranded flexible wires (LSZH) - |  | Polycab, KEI, Finolex, Orbit, Kunth Cab, R R Kabel, Lapp Kabel, Delton Cables
14 | PVC insulated FRLS aluminium / copper conductor armoured / un armoured MV Cables up to 1100 V grade |  | Polycab, KEI, Orbit, Cable Corp. of India, RPG Cable, Fort Gloster, Kunth Cab, Ravin Cables
15 | Cable Trays (Factory Fabricated) / Raceways |  | Indiana, Profab Engineer, Jamana Metals, Rico Steel, Maheshwari Electrical Mfrs (MEM), Legrand
16 | Industrial Socket
| a. Splash Proof |  | Clipsal, Legrand, Neptune, Schneider Electric, Scane
| b. Metal Clad |  | BCH, Legrand, Schneider Electric
17 | Mettalic / GI Conduit (ISI approved) |  | BEC, AKG, Vimco, Steelkraft, Super Sales Corpn
18 | Accessories for Metallic Conduit (ISI approved) |  | Sharma Sales Corporation, Prakash Engineering Works, Super Sales Corporation
19 | Pop UP Box |  | WQ India, MDS Legrand, Fresar Techno
20 | High Power Fluorescent / General LED Lights |  | Philips, Wipro, Thorn, Crompton , Bajaj Electricals, Havells
21 | Ceiling Fan |  | Crompton Greaves, Usha, Orbit, Orient, Bajaj
22 | Exhaust Fan |  | Crompton Greaves, Usha, Almonard, Bajaj
23 | Shaver Socket |  | Clipsal, MK India
24 | LED General Area/ Office Lighting Utility buildings, etc. |  | Philips, Wipro, Surya, Crompton, Osram, Havells
25 | Lighting Controls |  | Dynalite, Schneider
26 | Bimettalic Cable Lug |  | Dowell's (Biller India Pvt. Ltd.), Comet, Hax Brass, Copper Alloy India Ltd.), Braco, Cosmos
27 | Cable and wire connectors upto 20 sq.mm |  | 3M, TE Connectivity, GE, Ideal Industries, Ashwin Electro ,Industrial Corporation, Novoflex
IT
1 | CCTV |  | DVTEL, Samsung, Pelco, Javelin, Philips, Vicon, Bosch, Infinova, Flair, for VMS - Milestone, Genetec
2 | Access Control |  | Bosch, Honeywell, Lenel
3 | Card Reader & proximity card |  | HID, Tyco Security, Honeywell security, wesinghouse
4 | Network cabling system (CAT6 cable & Fiber) |  | Compscope, Panduit, Beldon, Siemon-USA, Corning, Finolex, Orbit, R&M
5 | IT Rack, PDU & accessories |  | WQ India, Rittal India, Netrack, Valrack
6 | Speaker, Amplifier |  | Bose, Bosch, Aties, JBL
7 | Network Switches |  | Juniper, Cisco, Extreme, HP
8 | Cable/Fibre Connectors |  | Molex, Amphenol, Corning, Siemon, R&M
9 | Display Screen (FIDS) |  | Samsung, NEC, LG
Civil | Cement
1 | OrdineryOrdinary Portland Cement |  | Ultratech, ACC, Gujarat Ambuja, Grasim, JK Cement
2 | White Cement |  | Birla White, JK White, Ultratech White, Zuari White
3 | Ready Mix Concrete |  | ACC, Lafarge, RMC (Ready Mix India), Ultratech
4 | Rolling Shutters |  | Swastik, Gandhi Automation Pvt.Ltd., Shaktimet Hormann
5 | Autoclaved Aerated Concrete (AAC) /Light Weight Blocks |  | Hyderabad Industries Ltd., Siporex India Pvt.Ltd., Biltech Building Elements Ltd, JVS Comatsco Pvt.Ltd., Ultratech
6 | Integral Waterproofing compound |  | BASF, Fosroc, Sika, MYK Schomburg, Mc Bauchemei
7 | Membrane Waterproofing System |  | BASF, Fosroc, Sika, Grace
8 | Glasswool Insulation |  | Lloyds Insulation, UP Twiga, Owens Corning, US Gypsum (Boral)
9 | Acoustic Non-woven Fabric |  | Hunter Douglas, Soundtex, Owens Corning
10 | Underdeck Insulation |  | Lloyd Insulations (I) Pvt.Ltd., UP Twiga Fibre Glass Ltd., Bakelite Hylam Ltd.
11 | Extruded Aluminium Sections for Doors / Windows / Structural Glazing |  | Jindal Aluminium Ltd., Hindalco, Nalco, Indal, Bhoruka
12 | Glass (relevant code BS 952 & Selection as per AS 1288) Heat Strengthened Glass / Toughened Glass / Laminated Glass / Safety Glass / Annealed Glass |  | Saint Gobain (France), Shanghai Pilkington, China Southern Glass (CSG)
13 | Structural & Weather Sealant – Silicone Sealant |  | Dow Corning, GE, BASF, Alstone, Wacker
14 | Aluminum Composite Panels (ACP) |  | Aluco bond, Alpolic FR, Reynobond
15 | Ceramic Tiles |  | Johnson, Kajaria, Nitco, RAK Ceramics, Somany
16 | Double Charged / Anti-Skid Vitrified Tiles |  | Johnson, Kajaria, Nitco, RAK Ceramics, Somany
17 | Acid Resistant Tiles |  | Regency Ceramics Ltd., H & R Johnson (I) Ltd.
18 | Tile Adhesives & Grouts |  | Mapei, Laticrete, Ardex Endura, Pidilite, BASF, Fosroc
19 | Glass / Ceramic Mosaic Tiles |  | Glass Italia, Bizzaza, Palladio, Pixel, Shon
20 | Granite Stone Sealer |  | Laticrete, Aquamix, Ardex Endura, Sika
21 | Wooden Flooring |  | Xylos, Ego, Armstrong, BVG Industries
22 | Raised Access Flooring |  | Kingspan, Lindner, Unitile Raised Access Floor Systems, Bestlock System & Concepts, DMC, United Access Floor Ltd.,
23 | Plastic / Acrylic Emulsion Paint & Oil Bound Distemper |  | ICI, Berger, Asian Paints, Jotun, Nerolac
24 | Synthetic Enamel Paint (For building works) |  | ICI, Berger, Asian Paints, Shalimar, Kansai Nerolac, Spectrum
25 | Interior Grade Textured Paints |  | Asian Paints, ICI, Oikos, Jotun
26 | Epoxy & Polyurethane Paints / Coatings over Steel |  | ICI (Akzonobel), Asian Paints PPG, Berger, Jotun,
27 | Fire Retardant (Intumescent) Steel Protection System |  | Akzonobel, Jotun, Asian Paints PPG, Newkem Engineers
28 | Epoxy Coatings |  | BASF, Fosroc , Sika, Cipy
29 | Mineral Fibre False Ceiling |  | Armstrong, Saint Gobain, Knuaf AMF India Pvt.Ltd.
30 | Calcium Silicate False Ceiling |  | Hilux, Calsi Ceilings, Aerolite
31 | Gypsum Board Ceiling & Dry Wall Partitions |  | Saint Gobain, Lafarge, US Gypsum
32 | Plywood (Commercial / Marine Grade) |  | Century, Green Ply, Mayur, Kenwood
33 | MDF Boards |  | Nuchem Ltd., Mangalam Timber Products Ltd., Western Bio Systems Ltd., Bajaj Eco-Tec Products Ltd., Greenply
34 | Particle Boards (Plain / Veneered / Pre-laminated) |  | Merino, Century, Bajaj Eco-Tec Products Ltd.
35 | Laminates |  | Green Ply, Merino, Durian, Greenlam Industries, Formica India, Royale Touch
36 | Fire Rated and Non Fire Rated Steel Doors |  | Shakti Hormann, Godrej, Navair, Signum, Gmp, MPP Technologies
37 | Stainless Steel Hardware Fittings for Doors & Windows |  | Assa Abloy, Dorma, Ingersoll Rand
38 | Patch Fittings |  | Assa Abloy, Dorma
39 | Mirrors |  | Saint Gobain, Modi Glass, Asahi India