## Summary
ANNEXURE I (Description and Unit Rates)
S No | Description TACO BELL @ AIRPORT HYDERABAD | Amount
1 | SECTION - I - WIRING | #REF!
2 | SECTION - II - SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS | #REF!
3 | SECTION - III - TELEPHONE / DATA SYSTEM AND TV | #REF!
4 | SECTION - IV - INSTALLATION OF LIGHTING FIXTURES | #REF!
5 | SECTION - V - PANELS, DISTRIBUTION BOARDS | #REF!
6 | SECTION - VI - CABLING & EARTHING | #REF!
7 | SECTION - VII - CONVENTIONAL FIRE DETECTION SYSTEM | #REF!
8 | SECTION - VIII - MUSIC SYSTEM | #REF!
9 | SECTION - IX - SERVO STABILIZER/ UPS | #REF!
10 | SECTION - X - CCTV SYSTEM | #REF!
11 | SECTION - XI - MISCELLANEOUS | #REF!
12 | SECTION - XII - GAS DETECTION SYSTEM | #REF!
13 | SECTION - XIII - HUME PIPE | #REF!
| GRAND TOTAL | #REF!
8% | IGST@18% | #REF!
#REF!
| TOTAL | #REF!

## Electrical BOQ
Electrical & Allied Services
TACO BELL @ AIRPORT HYDERABAD
S. No | Description | Unit | Qty | Rate | Amount
| TOTAL OF SECTION VI |  |  |  | #REF!
SECTION-VII - FIRE ALARM SYSTEM ADDRESSABLE TYPE
FIRE ALARM SYSTEM ADDRESSABLE TYPE
7.1 | Supply, installation, testing and commissioning of Addressable 1 loop fire Pannel Make Johnson Control or equivalent make as per the airport authority approved list
7.2 | Supply, installation, testing and commissioning of Addressable type , ceiling / recessed mounted smoke detector. | Nos | 16 |  | 0
7.3 | Supply, installation, testing and commissioning of Addressable type , ceiling/ recessed mounted heat detector. | Nos | 4 |  | 0
7.4 | Supply, installation, testing and commissioning of manual break glass unit including the mounting box. | Nos | 2 |  | 0
7.5 | Supply, installation, testing and commissioning of electronic alarm hooters. | Nos | 2 |  | 0
7.6 | Supply, installation, testing and commissioning of Response Indicator | No | 6 |  | 0
7.8 | Supply, installation, testing and commissioning of 2c x 1.5 sqmm armoured fire survival cable | RM | 400 |  | 0
7.9 | Addressable Fault isolator module | No | 2 |  | 0
7.1 | Providing AHU/AC cut off modules | No | 2 |  | 0
7.11 | Monitor Modules | No. | 1 |  | 0
7.12 | Control Module for Integration of Fire System with other security system | No | 1 |  | 0
7.13 | Fas System Integration with Module | No. | 0 |  | 0

## Make
List of Approved Brands
S No. | Item | Make
1 | MS Conduits | AKG/ BEC
2 | FRLS PVC Conduits | Precision/ AKG/ BEC
3 | FRLS Wires | Finolex / Havells/ KEI/ Polycab
4 | Cables | Polycab/ Havells/ Finolex
5 | Switches | Clipsal/ Opale/ Crabtree/ Northwest
6 | Distribution Boards | Siemens/ MDS/ legrand
7 | MCB’s /ELCB’s | Siemens/ MDS/ legrand
8 | Telephone Wires | Finolex/ Polycab/ ITL
9 | T.V.Wires | Comscop/ Finolex
10 | Switch Fuse Units/ Starters | L&T/ Siemens
11 | Fire Alarm System | Apollo/ System Sensor/ Agni
12 | Data Cable | Amp (TE)
Notes:-
[1] The Contractor should quote the tender rates considering First make of materials given in above list.
[2] Wherever contractor proposes to use `equivalent' makes (i.e. other than specified) he shall obtain Client's prior approval. Client may consult Consultants before giving approval to the same. Any additional cost and time lost due to this will be on Contractor's account and no claims will be entertained.
[3] The contractor should take approval for make & manufacturer from the Client before using any material, which does not appear in the list of approved manufacturers.