## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
| CIVIL - Flooring - Wooden flooring - Engineering Wooden flooring (14 or 3 X 190 X 1860 MM) with 2mm thick PU foam - Laying Engineering Wooden flooring with 2mm thick PU foam underlay and adhesive of approved make as specified, at all levels and locations including shifting of materials from stores to work location, with new test method, including cleaning, treating batten prior to fixing and making groove or joint around edges as specified in drawing and by the manufacturer etc. all as detailed in technical specification, drawings and that of approved flooring manufacturer complete etc. to entire satisfaction of the PM. BASIC COST OF THE ENGINEERING WOODEN FLOORING INR. 4300.00 or SM. FLOORING TO BE LAID AS PER THE GIVEN HERRINGEBONE PATTERN IN THE DRAWINGS. | SQM | 72.43
| C & I - Ceiling - False Ceiling - 12mm thick Gypsum False Ceiling-FOH Area - Providing and fixing 12mm thick Gypsum False Ceiling manufactured by India Gypsum or equivalent approved on G.I. frame work, in G.I. vertical supports at every 450mm c or c and horizontal runners at every 900mm c or c in brass screws to proper line and level. G.I. metal frame to be of 22 gauge folded strip of 50mm width to be used. All complete as per PM's instructions and specifications. The grid of frame work to be supported at every 1500mmx1500mm interval by MS rod anchored to the slab to support the G.I. framework. All vertical G.I. framework to be anchored to the slab by means of anchor fasteners including cornices and making holes or cutting and fixing with required framing for electrical fixtures, A.C. grills etc. Area of electrical fixtures will be paid full with ply on top of ceiling fixed to G.I. supports to receive spotlights etc. all other related works, at all levels and locations. Rate to include finishing with two or more coats of lustre paint in approved shade, colour and make. | Sq. m | 132.18
| P&F of Single Leaf Door with door frame (size 2200 x1000 mm) | Nos | 1
| P&F of MS Pipe for DMB or MENU BOARD with 18 ply with venner support for hanging tv above POS. (P&F of menu board with MS Framing in PU Paint & Polish finish, using 12mm thick plywood structure (fire retardant plywood, Archid or Kenwood make with pesticide with 50mm x 50mm x 1.6mm thick bright MS tube framing as per the detailed drawings. 900mm width and both 100mm edges of the ledge to be finished with seasoned ash wood venners of 12mm PLY finished in 1mm thick lvenners . MS framing to be treated with antirust red oxide metal primer with selected and approved fire rated and to be finished with metal PU Paint in 2 Hrs. fire rated. Rate including ms welding works with necessary fire protection, all necessary hardware fittings to install the framing, including all necessary supports from the mother slab or floor or columns or railing connecting supports, etc. as per site conditions, cut out for services requirements. Complete as per architectural detail drawing & site engineer's instruction. Size: 3300mm L x 2000mm W x 100mm thick. At one of the front TV area. | Nos | 2
| Dismantling and demolishing brick or block work in lime or cement mortar including plaster, paint, etc. manually or by mechanical means including stacking of serviceable material and disposal of unserviceable material within 250 metres lead as per direction of Engineer-in-charge. | Sqmt | 6.08
| P&F of new MS frame platform size 2000X1200mm for water tank | Nos | 1
| Range: Medi Series Code: FLR-CHR-5031N Description: Florentine Pillar Cock with Extended Lever Handle | Nos | 3
| waste coupling SS SINK FOR BACK COUNTER OVERALL SIZE:- 355 x 305 x 150 MM ( | Nos | 1
| Providing ,fixing, testing and commissioning Electromagnetic flow meter-flow (30 GPM-1.89 LPS) including providing & fixing matching with required accessories 16Kgs or Sq.cm). - Contractor to check existing make in BILA airport and provide that. (Difference) 40 mm Dia incoming line | Nos | 1
| Providing & Fixing of MS angle frame work size 2 inch x 2 inch thickness 5 mm for hanging false ceiling as per drawing. | KG | 1118.3085
| Demolishing of gypsum partition in facade (Demolition and dismantling work at any level, including providing double scaffolding, props, runners, covering the glass panels, panneling, weather sheds with plywood or tin sheets including hessian cloth stiched to external face of scaffolding, all tools and tackles.(removing the material 3 km away from site as approved by site incharge) | Sqmt | 61.445
| 25mm thick Kota stone flooring - BOH AREA. | Sqmt | 32.4258
| EXTRA LABOUR FOR UNLOADING KITCHEN EQUIPMENT | NO | 25
| S&I OF BRASS PROFILE WITH GLOSSY LAQUER STRIAGHT inch T inch PROFILE SIZE:- 25 MM X 12 MM | Rft | 62
| S&I OF STRIGHT PATTI 25 MM X 3 MM WITH ONE SIDE CHAMFFERED AND SUNKEN SCEWS | Rft | 42
| S&I OF CURVE PROFILE 25 MM | Rft | 125
| Providing of aluminum scafolding on rental per month | Months | 5
| Installation of kitchen equipment and shelf (Providing labours during the course of the project to carry out minor jobs also for fixing of following items including making necessary hole, adhesive, nails etc. complete as directed by Architect and Engineer - in - charge | Nos | 1