## INTERIOR WORK
BOQ of Interior work For TFS KOLKATA BUSINESS LOUNGE RENOVATION | [8 empty] | 2024-12-07
FT
SR.NO. | ITEM | DESCRIPTION | LOCATION | DIMENSION | UNIT | QTY. | RATE | AMOUNT | IMAGE
RECEPTION AREA
1 | RECEPTION APPRON WALLPAPER | Providing, fixing & application of water paper with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 2590 X 650 MM | SQ.FT. | 20
Basic rate - 175/Sq Ft
2 | BRASS PLATE | 350mm high brass plate on top front |  |  | RFT | 15
|  | 2000mm high brass plate Skirting |  |  | RFT | 15
3 | RECEPTION BACK WALLPAPER | Providing, fixing & application of water paper with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 3220 X 2100 MM | SQ,FT | 80
Basic rate - 175 /Sq Ft
4 | STORAGE AND PARTITION | Refurbishing the existiung unit by changing the existing finish by approved veneer application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  |  | SQ,FT | 145
5 | RAILING | Supply & installation of 20 x 40 mm SS box section Finish in pvd coating and 12mm intermiddaite fluted glass. Railing of 3 ft. height as per Engineer Incharge comprising all fittings & necessary work as directed by Incharge. |  |  | RFT | 57
6 | LEDGE TABLE | P/F Ledge table made in 19 mm ply finsh by approved veneer application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 6780 X 450 MM WIDTH | RFT | 25
7 | PLANTER BOX | P/F Planter box made of 19 mm ply finsh by approved veneer application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 300 X 1100 mm ht | NOS | 3
NEAR BAR PANNELING
8 | WALLPAPER | Providing, fixing & application of water paper with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  |  | SQ,FT | 280
Basic rate - 135 /Sq Ft
9 | WOODEN MOULDING | P/F Wooden moulding application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  |  | RFT | 223.6
BUFFET COUNTER
10 | DECORATIVE TILE | Providing and fixing of approved decorative tile on existing finish. Tile to be fixted with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 13044 X 150 =MM HT | RFT | 47
11 | WALLPAPER | Providing, fixing & application of water paper with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 13044 X 1200 MM HT | SQ.FT. | 188.27
12 | BUFFET COUNTER 01 | Refurbishing the existiung counter by changing the existing finish by approved Laminate application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 13044 X 900 MM HT | SQ.FT. | 141.2
13 | HOT BREVERAGE UNIT | Refurbishing the existiung unit by changing the existing finish by approved Laminate application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 5665 X 2750 MM HT | SQ.FT. | 181
14 | NEWSPAPER HOLDER | Providing and fixing and installation of Newspaper holder of 25 MM X 50 MM MS frame finshed with black powder coating and 04 nos approx shelves to be fixed at certain angle made of 19 mm ply finish with approved veneeer application with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  | 900 X 1500 MM HT | NO | 1
TOTAL MISCELLANEOUS | [7 empty] | #REF!

## LIGHTING
BOQ of Lighting for TFS KOLKATA BUSINESS LOUNGE RENOVATION | [9 empty] | 2024-12-07
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
Indoor
1 | HANGING LIGHT |  |  | 1 | COPPER Welded metal pipe with milky glass globe hanging fixture | BAR AREA | DIMMABLE | 3000 K | 40W each | 150 Ø Globe
2 | FLEXIBLE L.E.D COVE LIGHT |  |  | 157 RFT | flexible led cove | PASSAGE | DIMMABLE | 3000 K | 5W each | -
3 | PROFILE FOR STRIP LED |  |  | 157 RFT | Aluminium profile with diffuser | PASSAGE | - | - | - | 8 MM Profile

## LOOSE FURNITURE
JAGANNATH ENTERPRISE
TO,
TRAVEL FOOD SERVICES KOLKATA PVT LTD
BOQ of LOOSE FURNITURE for TFS KOLKATA BUSINESS LOUNGE RENOVATION | [6 empty] | 2024-12-07
Sr. No. | Code | Description | Dimension | Item Description | Furniture Image /Images | Units | Qty. of Items | RATE | AMOUNT
1 | C1 | DINING CHAIR | - | EXISITNG CHAIRS TO BE REFURBISHED Upholstery Work: LEATHERETTE - Make - SAROM and product code - ABOONE- 119 |  | Nos | 45 | 7500 | 337500
2 | C2 | DINING CHAIR | - | EXISITNG CHAIRS TO BE REFURBISHED Upholstery Work: LEATHERETTE - Make - HOME EMPIRE SUNSPOT SR. 04 |  | Nos | 6 | 4500 | 27000
3 | C3 | DINING CHAIR | - | EXISITNG CHAIRS TO BE REFURBISHED Upholstery Work: LEATHERETTE - Make - SAROM and product code - ABOONE- 108 |  | Nos | 6 | 5000 | 30000
4 | C4 | DINING CHAIR | - | EXISITNG CHAIRS TO BE REFURBISHED Upholstery Work: LEATHERETTE - Make - SAROM and product code - ABOONE- 106 |  |  | 28 | 5000 | 140000
5 | C5 | HIGH CHAIR | - |  |  | Nos.
8 | T1 | EXSITING TABLE | 2 SEATER | TABLES TO BE REFURBISHED |  | Nos | 13 | 5500 | 71500
TOTAL | [8 empty] | 606000

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49