## Kitchen BOQ
Area Code | ITEM NO. | DESCRIPTION | OVERALL SIZE | QTY | Make | Model | Refurbish/New | ELECTRICAL | [5 empty] | PLUMBING / DRAINAGE | [5 empty] | LPG / PNG |  |  |  | EXHAUST CFM | REMARK
|  |  | All Dimensions in MM L x W x H |  |  |  |  | HP | Watts | Electrical Load In KW | Phase | Amps | Type Of Socket | Hot ( mm Ø ) | Cold ( mm Ø ) | RO ( mm Ø ) | Optimum Pressure Psi / Bar | Waste ( mm Ø ) | Tape Model Number/Make | Type of Burner | No Of Burner | Consumption Per Burner Per Hour | BTU Per Burner Per Hour
Display Kitchen | MK - 01 | Work Table With Cross Bracing , ( No Shelves, Space to be kept empty for Atta Maida Bins) | 1075 x 850 x 838 + 62 | 1 | CUSTOM FABRICATED |  | New
Display Kitchen | MK - 02 | Atta - Maida Bin on Wheels | 510 x 610 x 700 | 1 | CUSTOM FABRICATED |  | Refurbish
Display Kitchen | MK - 03 | Atta - Maida Bin on Wheels | 510 x 610 x 700 | 1 | CUSTOM FABRICATED |  | Refurbish
Display Kitchen | MK - 04 | Roomali Sigri ( Tawa to be Heavy Duty ) | 500 Dia x 228 Height | 1 | CUSTOM FABRICATED |  | New | [12 empty] | T -50 | 1 | 2.24 | 100000
Display Kitchen | MK - 05 | Sigri Guard For Roomali Roti Unit | 610 x 600 x 250 | 1 | CUSTOM FABRICATED |  | New
Display Kitchen | MK - 06 | Tandoor Side Table | 500 x 850 x 970 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Display Kitchen | MK - 07 | S.S.Tandoor on Wheels (PNG Operated) | 850 x 850 x 970 | 1 | RAJ TANDOOR |  | New | [12 empty] | G - 15 | 1 | 3.56 | 160000
Display Kitchen | MK - 08 | S.S.Tandoor on Wheels (PNG Operated) | 850 x 850 x 970 | 1 | RAJ TANDOOR |  | New | [12 empty] | G - 15 | 1 | 3.56 | 160000
Display Kitchen | MK - 09 | Tandoor Side Table | 500 x 850 x 970 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Display Kitchen | MK - 10 | S.S.Tandoor on Wheels (PNG Operated) | 765 x 765 x 1000 | 1 | RAJ TANDOOR |  | New | [12 empty] | G - 15 | 1 | 3.56 | 160000
Display Kitchen | MK - 11 | Three Door Work Top Refrigerator ( Compressor on RHS ) With Cold Bain Marie on top of 1/6 GN Pans 10 Nos. And Two OHS | 1800 x 700 x 838 + 450 + 300 | 1 | CUSTOM FABRICATED |  | Refurbish | .75 HP | 0.56 | 0.56 | 230V 1 PH | 15 | Normal | [11 empty] | G/N Pans to be Included
Display Kitchen | MK - 12 | Side Table With 2 U/Sh & 2 Oh/Sh | 225 x 700 x 838 + 450 + 300 | 1 | CUSTOM FABRICATED |  | New
| MK - 13 | Spare Number
Display Kitchen | MK - 14 | Two Door Work Top Refrigerator ( Compressor on RHS ) With Two OHS | 1350 x 700 x 838 + 450 + 300 | 1 | CUSTOM FABRICATED |  | Refurbish | .75 HP | 0.56 | 0.56 | 230V 1 PH | 15 | Normal | [11 empty] | G/N Pans to be Included
Display Kitchen | MK - 15 | Single Sink Unit | 450 x 600 x 838 + 150 | 1 | CUSTOM FABRICATED |  | New | [6 empty] | 12 | 12 |  |  | 100 | FLR-CHR-5167NB | [5 empty] | To be Provided With Tap as per Model Number Specified
Main Kitchen | MK - 16 | Work Table With 2 U/S | 1150 x 600 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 17 | Wall Shelves | 1110 x 300 | 2 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 18 | Vertical Two Door Freezer | 700 x 810 x 2030 | 1 | CUSTOM FABRICATED |  | Refurbish |  | 250 | 0.25 | 230V 1 PH | 16 | Industrial
Display Kitchen | MK - 19 | Work Table with Sink on LHS and Part 2 U/S and Two OHS | 1400 x 750 x 838 + 450 + 300 | 1 | CUSTOM FABRICATED |  | Refurbish | [6 empty] | 12 | 12 |  |  | 100 | FLR-CHR-5167NB | [5 empty] | To be Provided With Tap as per Model Number Specified
Main Kitchen | MK - 20 | Wall Shelves | 1000 x 300 | 2 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 21 | Clean Dish Storage Rack - 5 Shelves ( 3 Sides Up and 1 Side Down ) | 1000 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 22 | Clean Dish Storage Rack - 5 Shelves ( 3 Sides Up and 1 Side Down ) | 396 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 23 | Plate Counter | 2700 x 500 x 800 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 24 | Work Table With Cross Bracing | 900 x 500 x 840 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 25 | Two Overhead Shelves with Infra Red Heaters | 901 x 300 x 450 + 300 | 1 |  |  | New
Main Kitchen | MK - 26 | Pick -up Counter with Hot Bain Marie & HOT Case with 2 U/S & 2 OHS with RR Heater | 1800 x 750 x 838 + 470+300+200 (Part) | 1 | CUSTOM FABRICATED |  | Refurbish |  | 1500 | 1.5 | 230V 1 PH | 20 | Industrial
Main Kitchen | MK - 27 | Work Table With Cross Bracing (Backup Table) | 1800 x 300 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 28 | Three Burner Range With One U/S | 1800 x 600 x 850 | 1 | CUSTOM FABRICATED |  | Refurbish | [12 empty] | G -10 | 2 | 1.58 | 70000
Main Kitchen | MK - 29 | Single Sink Unit & Single Oberhead Shelf | 650 x 750 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish | [6 empty] | 12 | 12 |  |  | 100 | FLR-CHR-5167NB | [5 empty] | To be Provided With Tap as per Model Number Specified
Main Kitchen | MK - 30 | Condiment Trolley | 500 x 500 x 700 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 31 | Work Table With Cross Bracing (Backup Table) | 1800 x 300 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 32 | Single Burner Range With One U/S | 600 x 600 x 850 | 1 | CUSTOM FABRICATED |  | New | [12 empty] | G -10 | 2 | 1.58 | 70000
Main Kitchen | MK - 33 | Side Table With 2 U/Sh | 225 x 600 x 850 | 1 | CUSTOM FABRICATED |  | New
Main Kitchen | MK - 34 | Single Basket Deep Fat Fryer | 325 x 600 x 850 | 1 | Sirman | Eldorado 8 | New |  |  | 3.3 | 230V 1 PH | 20 | Industrial
Main Kitchen | MK - 35 | Work Table With 2 U/Sh | 600 x 350 x 850 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 36 | Two Door Work Top Refrigerator ( Compressor on RHS ) With Cold Bain Marie on top of 1/6 GN Pans 10 Nos. And One OHS | 1350 x 750 x 850 + 450 | 1 | CUSTOM FABRICATED |  | Refurbish | .75 HP | 0.56 | 0.56 | 230V 1 PH | 15 | Normal | [11 empty] | G/N Pans to be Included
Main Kitchen | MK - 37 | Work Table With 2 U/Sh | 450 x 750 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 38 | Microwave Oven ( 34 Litres Capacity ) | 559 x 483 x 352 | 1 | Menumaster | RCS 5111DSE | Old |  | 1600 | 1.6 | 230V 1 PH | 15 | Normal
Main Kitchen | MK - 39 | Salamander To Accommodate 1/1 GN Pan - Counter Balance Model | 600 x 545 x 510 | 1 | Sirman | Pro 1/1 G | Refurbish |  | 3400 | 3.4 | 230V 1 PH | 16 | Industrial
Main Kitchen | MK - 40 | Two Door Work Top Refrigerator ( Compressor on RHS ) With Cold Bain Marie on top of 1/6 GN Pans 10 Nos. And One OHS | 1355 x 760 x 850 + 450 | 1 | CUSTOM FABRICATED |  | Refurbish | .75 HP | 0.56 | 0.56 | 230V 1 PH | 15 | Normal | [11 empty] | G/N Pans to be Included
Main Kitchen | MK - 41 | Work Table on Wheels with 2 U/Sh | 700 x 400 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 42 | Work Table with 2 U/Sh | 500 x 500 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 43 | Visi Cooler - 216 Litres | 614 x 609 x 1725 | 1 | Western | SRC281- GL | Refurbish |  |  | 0.56 | 230V 1 PH | 15 | Normal
Main Kitchen | MK - 44 | Chest Freezer - 200 Litres capacity | 948 x 523 x 845 | 1 | Blue Star | CHFSD100DHSW | New |  |  | 1 | 230V 1 PH | 15 | Normal
Main Kitchen | MK - 45 | Wall Cabinet | 700 x 330 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 46 | Wall Shelves | 700 x 330 | 2 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 47 | Single Sink Unit | 500 x 500 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish | [6 empty] | 12 | 12 |  |  | 100 | FLR-CHR-5167NB | [5 empty] | To be Provided With Tap as per Model Number Specified
Main Kitchen | MK - 48 | Work Table with 2 U/Sh | 450 x 450 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 49 | Work Table with 2 U/Sh | 1000 x 450 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
Main Kitchen | MK - 50 | Two Door Work Top Refrigerator ( Compressor on RHS ) With Cold Bain Marie on top of 1/6 GN Pans 10 Nos. And One OHS | 1350 x 750 x 850 + 450 | 1 | CUSTOM FABRICATED |  | Refurbish | .75 HP | 0.56 | 0.56 | 230V 1 PH | 15 | Normal | [11 empty] | G/N Pans to be Included
Main Kitchen | MK - 21 | Clean Dish Storage Rack - 5 Shelves ( 3 Sides Up and 1 Side Down ) | 1000 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Pot Wash | PW - 01 | Pot Rack - 3 Shelves - No Bottom Shelve | 900 x 600 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Pot Wash | PW - 02 | Pot Sink | 800 x 700 x 800 + 100 | 1 | CUSTOM FABRICATED |  | Refurbish | [6 empty] | 12 | 12 |  |  | 100
Pot Wash | PW - 03 | Pre Rinse Shower | IMPORTED | 1 | BERJAYA MAKE | I/BSP PRS | New
Pot Wash | PW - 04 | Pot Rack - 3 Shelves - No Bottom Shelve | 800 x 300 | 1 | CUSTOM FABRICATED |  | Refurbish
Pot Wash | PW - 05 | Wall Mounted Hand Blender |  | 1 |  |  | New
DishWash | DW - 01 | Unloading Table With 2 Undershelves | 770 x 720 x 870 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish
DishWash | DW- 02 | Hood Type Dish Washer (Electrically Operated) | IMPORTED | 1 | Washmatic |  | New |  | 9 | 9 | 415V 3PH | 32 | Industrial |  | 12 |  |  | 100
DISHWASHER ACCESSORIES
|  | Pump for Wash Cycle (Aqua Make) |  | 1 |  | AD0A00401
|  | Pump for Rinse (Aqua Make) |  | 1 |  | AD01001030B
|  | Liquid Soap – Powerkleen | 35 Litres Capacity | 1
|  | Soap – Powerinze | 35 Litres Capacity | 1
|  | Basket – Plate Racks |  | 3
|  | Basket – Cutlery Rack |  | 6
|  | Basket – Glass Rack |  | 3
|  | Extender for Glass Rack |  | 3
DishWash | DW- 03 | Pre Rinse Sink Unit | 1300 x 720 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish | [6 empty] | 12 | 12 |  |  | 100
DishWash | DW- 04 | Pre Rinse Shower | IMPORTED | 1 | BERJAYA MAKE | I/BSP PRS | Refurbish
DishWash | DW- 05 | Soiled Dish Reciving Table With Garbage Chute | 1360 x 600 x 850 + 150 | 1 | CUSTOM FABRICATED |  | Refurbish | [10 empty] | 100
DishWash | DW- 06 | Water Cooler With Inbuild UV - 80 Litres Capacity | 500 x 600 x 1450 | 1 | Blue Star | SWCSDLX6080UVE | Refurbish | 1/2 HP | 0.373 | 0.373 | 230V 1 PH | 15 | Normal |  |  | 12 |  | 100 | [6 empty] | Plz Check Size
DishWash | DW- 07 | Clean Dish Storage Rack - 5 Shelves ( 3 Sides Up and 1 Side Down ) | 600 x 560 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Stores | ST - 01 | Weighing Scale |  | 1 |  |  | Old |  |  | 0.56 | 230V 1 PH | 15 | Normal
Stores | ST - 02 | MS Storage Rack | 600 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Stores | ST - 03 | MS Storage Rack | 600 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Stores | ST - 04 | Chest Type Freezer | 900 x 450 x 845 | 1 |  |  | Refurbish |  |  | 1 | 230V 1 PH | 15 | Normal
Stores | ST - 05 | MS Storage Rack (3 Shelves) | 1200 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Stores | ST - 06 | Onion Bin | 500 x 500 x 700 | 1 |  |  | Refurbish
Stores | ST - 07 | Potato Bin | 500 x 500 x 700 | 1 |  |  | Refurbish
Stores | ST - 08 | MS Storage Rack | 900 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Stores | ST - 09 | MS Storage Rack | 600 x 560 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Liquor Stores | LS - 01 | SS Storage Rack | 900 x 450 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Liquor Stores | LS - 02 | SS Storage Rack | 900 x 400 x 1800 | 1 | CUSTOM FABRICATED |  | Refurbish
Locker Area | L - 01 | Locker | 900 x 475 x 1500 | 3
Drain Grating | DG -01 | SS Drain Grating | 350 x 350 | 8 | CUSTOM FABRICATED |  | New
Drain Grating | DG -02 | SS Drain Grating | 1200 x 250 | 1 | CUSTOM FABRICATED |  | New
Exhaust Hood | EX - 01 | Exhaust Hood With SS Filters | 1033 x 1000 x 500 | 1 | CUSTOM FABRICATED |  | New | [16 empty] | 5700
Exhaust Hood | EX - 02 | Exhaust Hood With SS Filters | 2100 x 1000 x 500 | 1 | CUSTOM FABRICATED |  | New | [16 empty] | 4600
Exhaust Hood | EX - 03 | Exhaust Hood With SS Filters | 1467 x 1000 x 500 | 1 | CUSTOM FABRICATED |  | New | [16 empty] | 4600
Exhaust Hood | EX - 04 | Exhaust Hood With SS Filters | 1350 x 1000 x 500 | 1 | CUSTOM FABRICATED |  | New | [16 empty] | 4600
Exhaust Hood | EX - 05 | Exhaust Hood With SS Filters | 1900 x 1000 x 500 | 1 | CUSTOM FABRICATED |  | New | [16 empty] | 4600
Exhaust Hood | EX - 06 | Vapour Canopy - For Dish Washing Machine | 900 x 900 x 500 | 1 | CUSTOM FABRICATED |  | New | [16 empty] | 500
Extra | EXT3 | Air Curtain | BRANDED : 900mm Length | 2 | TECHNOCRAT | SLEEK | New | 1/2 HP | 0.375 | 0.375 | I
Extra | EXT4 | Insect Killer | BRANDED | 2 | PCI Rentokill |  | New | 1/2 HP | 0.75 | 0.75 | I
|  | Walk In Chiller - 4225x1550x1300 | 4225x1550x1300 | 1 | Bluestar/Renac |  | New

## Bar BOQ
SR.NO. | DESCRIPTION | OVERALL SIZE | QTY | Make | Model | Refurbish/New | ELECTRICAL |  |  |  | PLUMBING |  |  |  |  | LPG / PNG |  |  | EXHAUST CFM | Tape Model Number | Tape Photo | REMARK
|  | All Dimensions in MM L x W x H |  |  |  |  | HP | Watts | ELECTRICAL LOAD IN KW | PHASE | HOT | COLD | RO | WASTE | Type of Burner | NO OF BURNER | Consumption Per Burner Per Hour | BTU Per Burner Per Hour
BA - 01 | Back Bar Bottle Cooler | 900 x 520 x 900 | 1 | TRUEFROST | BB 200 Premia | New | 1/2 HP | 0.373 | 0.373 | I
BA - 02 | Blender | 240 x 250 x 460 | 1 | JTC | TM -800 AQ | Refurbish |  | 1200 | 1.2 | I
BA - 03 | Single Sink With Speed Rail | 600 x 600 + 100 x 850 + 50 | 1 | CUSTOM FABRICATED |  | New |  |  |  |  | 12 |  | 12 | 100
BA - 04 | Work Table With Cross Bracing | 1250 x 600 x 850 + 50 | 1 | CUSTOM FABRICATED |  | New
BA - 05 | Under Counter Glass Washer | 450 x 575 x 700 | 1 | Electrolux | NGWDPDD | Refurbish |  | 3.5 | 3.5 | I |  | 12 |  | 100
BA - 06 | Back Bar Bottle Cooler | 1350 x 520 x 900 | 1 | Blue Star | BC350A | New | 1/2 HP | 0.373 | 0.373 | I
BA - 07 | Under Counter Ice Cube Machine | 550 x 550 x 800 | 1 | Manitowoc | UG - 50 | New | [6 empty] | 12 | 100