## BOQ
Area Code | ITEM NO. | DESCRIPTION | OVERALL SIZE All Dimensions in MM L x W x H | QTY | Make | Model | ELECTRICAL | [5 empty] | PLUMBING / DRAINAGE |  |  | LPG / PNG | EXHAUST CFM | REMARK
Dish Wash | DW - 01 | Soiled Dish Reciving Table with Garbgae Chute | 900 x 525 x 850 + 150 | 1 | CUSTOM FABRICATED | [13 empty] | Area Code Dish Wash ITEM NO. DW - 01 DESCRIPTION Soiled Dish Reciving Table with Garbgae Chute OVERALL SIZE All Dimensions in MM L x W x H 900 x 525 x 850 + 150 Make CUSTOM FABRICATED
Dish Wash | DW - 02 | Grease Trap - 13 KG Grease Capacity | 512 x 400 x 343 | 0 | Nugreen | NGT 30 | [12 empty] | Area Code Dish Wash ITEM NO. DW - 02 DESCRIPTION Grease Trap - 13 KG Grease Capacity OVERALL SIZE All Dimensions in MM L x W x H 512 x 400 x 343 Make Nugreen
Dish Wash | DW - 03 | Pre Rinse Sink Unit | 800 x 740 x 850 + 150 | 1 | CUSTOM FABRICATED | [7 empty] | 12 | 12 | 100 |  |  |  | Area Code Dish Wash ITEM NO. DW - 03 DESCRIPTION Pre Rinse Sink Unit OVERALL SIZE All Dimensions in MM L x W x H 800 x 740 x 850 + 150 Make CUSTOM FABRICATED
Dish Wash | DW - 04 | Hood Type Dish Washer (Electrically Operated) | IMPORTED | 1 | Electrolux / DHIR |  |  | 9 | 9 | 415V 3PH | 32 | Industrial |  | 12 | 100 |  |  |  | Area Code Dish Wash ITEM NO. DW - 04 DESCRIPTION Hood Type Dish Washer (Electrically Operated) OVERALL SIZE All Dimensions in MM L x W x H IMPORTED Make Electrolux / DHIR
Dish Wash | DW - 05 | Unloading Table With 2 Undershelves | 750 x 740 x 850 + 150 | 1 | CUSTOM FABRICATED | [13 empty] | Area Code Dish Wash ITEM NO. DW - 05 DESCRIPTION Unloading Table With 2 Undershelves OVERALL SIZE All Dimensions in MM L x W x H 750 x 740 x 850 + 150 Make CUSTOM FABRICATED
Dish Wash | DW - 06 | Pre Rinse Shower | IMPORTED | 1 | T&S | EX-1DP00-H | [12 empty] | Area Code Dish Wash ITEM NO. DW - 06 DESCRIPTION Pre Rinse Shower OVERALL SIZE All Dimensions in MM L x W x H IMPORTED Make T&S