## IV FAS
LOCATION | S.NO. | Description of Work | UOM | Rate | AREA | TOTAL AMOUNT | REMARKS
| 11 | FIRE WORKS & FIRE ALARM SYSTEM
| 11.1 | Providing and fixing of point of smoke detector | NOS |  | 2 | 0
| 11.6 | Fire alarm pannel -2 Zone - Conventional type Commessioning with Mall Panel | NOS |  | 1 | 0
| 11.7 | Providing and fixing of 2c x 1.5 Sqmm FRLS cable | Mtr |  | 40 | 0
| 11.9 | Supply, installation ,testing & Commissioning of Hooter Make - Agni | NOS |  | 1 | 0
| 12 | Supply, installation ,testing & Commissioning of Mannual Call Point Make - Agni | NOS |  | 1 | 0
| 12.1 | Monitor Module for Intergration | NOS |  | 2 | 0
| 12.2 | ISI Mark Rubber Mat | NOS |  | 1 | 0
|  | TOTAL OF FIRE WORKS |  |  |  | 0