## Electrical
BILL OF QUANTITIES FOR FAS
SR. NO. | DESCRIPTION | UNIT | PO QTY | RATE | AMOUNT | Remarks
11 | FIRE DETECTION & ALARM SYSTEM (FAS)
0
11.01 | SITC of FRLS 2C x 1.5sq. mm 1100V copper conducter, PVC insulated and shielded, Armoured and overall PVC sheathed cable for Fire Alarm System. Cable shall be cleated to wall. (Red/ BLACK colour) | Rmt | 180 |  | 0
11.02 | Conventional System: |  |  |  | 0
a | SITC of Smoke Detector | Nos |  |  | 0
b | SITC of Heat Detector with base | Nos |  |  | 0
c | SITC of Manual Break-Glass Unit | Nos |  |  | 0
d | SITC of Hooter | Nos |  |  | 0
e | SITC of Response Indicator | Nos | 6 |  | 0
f | SITC of 2 zone Fire Alarm Panel WITH 2HRS INBUILD BATTERY BACKUP | Nos |  |  | 0
g | SITC of 4 zone Fire Alarm Panel WITH 2HRS INBUILD BATTERY BACKUP | Nos |  |  | 0
0
11.03 | ADDRESSABLE SYSTEM |  |  |  | 0
a | SITC of addressable Smoke Detector | Nos | 14 |  | 0
b | SITC of addressable Heat Detector with base | Nos | 2 |  | 0
c | SITC of addressable Manual Break-Glass Unit | Nos | 1 |  | 0
d | SITC of addressable Hooter | Nos | 1 |  | 0
e | SITC of 1 loop Fire Alarm Panel. | Nos | 1 |  | 0
f | SITC of Control Module | Nos | 1 |  | 0
g | SITC of Fault Isolator Module | Nos | 1 |  | 0
0
12 | GAS DETECTION SYSTEM
0
12.01 | SITC of FRLS 4C x 1.5 sq. mm 1100V copper conducter, PVC insulated cable and shielded armoured and PVC sheathed cable for Gas Detection System. Cable shall be cleated to wall and ceiling (Red colour) | Rmt | 120 |  | 0