## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
1 | Supply,Installation, Testing and Commissioning of Kitchen Fire Suppression System For : EX-01-Exhaust Hood- Wall Type- (Length 4650 mm) With 1) Stainless Steel Wet Chemical Cylinder with Valve duly filled & Pressurized. Sets - 2 Cylinder of capacity : i) 24 Ltrs & ii) 18 Ltrs 2) Manual Activation Pull Station. Nos - 1 3) Automatic Mechanical Activation Panel. Nos -1 4) Multiple - Nozzle for Ranges. Nos - 8 5) Multiple - Nozzle for Plenum and Duct. Nos - 6 6) Fusible Links with Brackets. Nos - 9 7) Corner Pulley. Nos - 8 | Set | 1
2 | Supply,Installation, Testing and Commissioning of Kitchen Fire Suppression System For : EX-01-Exhaust Hood- Wall Type- (Length 3670 mm) With 1) Stainless Steel Wet Chemical Cylinder with Valve duly filled & Pressurized. Sets - 2 Cylinder of capacity : i) 18 Ltrs & ii) 15 Ltrs 2) Manual Activation Pull Station. Nos - 1 3) Automatic Mechanical Activation Panel. Nos -1 4) Multiple - Nozzle for Ranges. Nos - 6 5) Multiple - Nozzle for Plenum and Duct. Nos - 5 6) Fusible Links with Brackets. Nos - 7 7) Corner Pulley. Nos - 8 | Set | 1
3 | Gas ShutOff Valve (GSV) | Set | 2