## ELECTRICAL BOQ
BILL OF QUANTITIES FOR FIRE ALARM SYSTEM FOR COPPER CHIMNEY (OBEROI MALL)
Sr. | Description | Qty | Unit | Rate | Amount
No. |  |  |  | Rs. | Rs.
A | ADDRESSABLE FIRE DETECTION SYSTEM
a. | S/I/T/C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall | 85 | Mts. |  | 0
0
b. | Supply & Installation of Smoke Detector | 7 | Nos |  | 0
0
c. | Supply & Installation of Heat Detector with base | 5 | Nos |  | 0
0
d. | Supply & Installation of Manual Breakglass Unit | 2 | No |  | 0
0
e. | Supply & Installation of Hooter | 2 | No |  | 0
0
f. | Supply & Installation of Response Indicator | 4 | No. |  | 0
0
g. | Supply & Installation of Addersable Fire Alarm Panel with Auto Dialing Facility | 1 | No. |  | 0
| TOTAL |  |  |  | 0
| GRAND TOTAL |  |  |  | 0