## Sheet1
KITCHEN EQUIPMENT SCHEDULE - BUDWISER (08-01-2024)
ITEM NO. | QTY | PARTICULARS | MAKE | MODEL | SIZE (MM) |  |  | WATER |  |  | WASTE |  | H.V.A.C |  | ELECTRICAL |  | REMARK
[5 empty] | WIDTH | DEPTH | HEIGHT | COLD (Ø) | HOT (Ø) | PURIFIED | DIRECT | INDIRECT | Exhaust (CFM) | Fresh Air (CFM) | KW | TOTAL KW
MAIN KITHCEN
MK-01 | 1 | SUNK IN COLD WELL WITH 2O/S FOR SALAD & DESERT WITH CLOSED SHUTTER | FABRICATED |  | 1350 | 1100 | 850
MK-02 | 1 | ELECTRIC SOUP TUREEN | CHAFFEX | 7984 | 340 DIA |  | 360 | [7 empty] | 1 | 1
MK-03 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-04 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-05 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-06 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-07 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-08 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-09 | 1 | SUNKIN INDUCTION PLATE | STELLA | TS-678 | 340 | 340 | 75 | [7 empty] | 2 | 2
MK-10 | 1 | ELECTRIC SINGLE HEAT LAMP | HATCO | DL-2300 |  |  | 483 | [7 empty] | 1 | 1
MK-11 | 1 | UNDERNETH WESTBIN | MARKET BOUGHT
MK-12 | 1 | WATER DISPENSER 15LTR | VOLTAS | 6210339 | 310 | 330 | 970 | [7 empty] | 1 | 1
MK-13 | 1 | Glass Rack WITH GARBAGE BIN BELOW | MARKET BOUGHT
MK-14 | 1 | UNDERNETH WESTBIN | MARKET BOUGHT
MK-15 | 1 | MILK STORAGE | PARDEEP | 9228/12
MK-16 | 1 | VISI COOLER | BLUE STAR | VC290A | 560 | 618 | 1815 | [7 empty] | 1 | 1
MK-17 | 1 | HOT FOOD HOLDING CABINTE | ALTO SHAM | 1200UP | 671 | 817 | 1924 | [7 empty] | 1 | 1
MK-18 | 1 | UNDER COUNTER CHILLER | BLUE STAR | UC2100GP | 1365 | 700 | 850 | [7 empty] | 1 | 1
MK-19 | 1 | UNDER COUNTER CHILLER | BLUE STAR | UC2100GP | 1365 | 700 | 850 | [7 empty] | 1 | 1
MK-20 | 1 | UNDER COUNTER CHILLER | BLUE STAR | UC2100GP | 1365 | 700 | 850 | [7 empty] | 1 | 1
MK-21 | 1 | WALL MOUNT CABINET | FABRICATED |  | 1365 | 305 | 750
MK-22 | 1 | WALL MOUNT CABINET | FABRICATED |  | 1365 | 305 | 750
MK-23 | 1 | WALL MOUNT CABINET | FABRICATED |  | 1365 | 305 | 750
MK-24 | 1 | MS STORAGE RACK | MARKET BOUGHT |  | 1050 | 450 | 1800
MK-25 | 1 | BIB RACK |  |  | 580 | 610 | 850
MK-26 | 1 | MS STORAGE RACK |  |  | 1050 | 450 | 1800
MK-27 | 1 | MS STORAGE RACK |  |  | 1050 | 450 | 1800
MK-28 | 1 | MS STORAGE RACK |  |  | 1050 | 450 | 1800
MK-29 | 1 | 2 DOOR REACH IN FREZZER | BLUE STAR | RF2D700A | 700 | 820 | 2050 | [7 empty] | 1 | 1
MK-30 | 1 | 2 DOOR REACH IN CHILLER | BLUE STAR | RC2D700A | 700 | 820 | 2050 | [7 empty] | 1 | 1
MK-31 | 1 | TABLE 2 U/S With space of 100 MM in the rear of equipment for Lpg line passing | FABRICATED |  | 700 | 900 | 850
MK-32 | 1 | SPEED OVEN | MERRY CHEF | E1S | 460 | 683 | 619 | [7 empty] | 1 | 1
MK-33 | 1 | TABLE 2 U/S With space of 100 MM in the rear of equipment for Lpg line passing | FABRICATED |  | 500 | 900 | 850
MK-34 | 1 | GAS 4 BURNER RANGE WITH ELETRIC OVEN | ELECTROLUX | COD-371003 | 800 | 750 | 850
MK-35 | 1 | TABLE 2 U/S With space of 100 MM in the rear of equipment for Lpg line passing | FABRICATED |  | 550 | 600 | 850
MK-36 | 1 | TABLE 2 U/S With space of 100 MM in the rear of equipment for Lpg line passing | FABRICATED |  | 835 | 600 | 850
MK-37 | 2 | ELETRIC FRYER 8LTR | MUKUNDA | ECO8L | 331 | 608 | 411 | [7 empty] | 6 | 6
MK-38 | 1 | FLOOR MOUNT GAS HOT PLATE | MARKET BOUGHT |  | 750 | 600 | 850
MK-39 | 1 | Ambient Bain Marie with one under shelf and ONE 6 GN PAN 1/6 Cut Out at top | FABRICATED |  | 475 | 600 | 850
DISH WASH AREA
DW-01 | 1 | DLT with cross bracing three side and Grease Trap Under | FABRICATED |  | 550 | 955 | 850
DW-02 | 1 | GREASE TAP BELOW DLT | NUGREEN | NGT-70 | 450 | 712 | 481 |  |  |  | 50MM
DW-03 | 1 | PRE-RINSE SINK | FABRICATED |  | 830 | 675 | 850 | 15MM | 15MM |  | 50MM
DW-04 | 1 | HOOD TYPE DISHWASHER | WINTERHALTER | P-50 | 635 | 700 | 1480 |  |  | 15MM |  |  |  |  | 12 | 12
DW-05 | 1 | UNLOADING TABLE 2U/S | FABRICATED |  | 875 | 675 | 850
DW-06 | 1 | 4 TIER S.S DISH RACK | FABRICATED |  | 1050 | 450 | 1800
DW-07 | 1 | 4 TIER S.S POT RACK | FABRICATED |  | 800 | 500 | 1800
DW-08 | 1 | GARBAGE BIN | MARKET BOUGHT
DW-09 | 1 | HAND WASH SINK | FABRICATED |  | 500 | 500 | 850 | 15MM | 15MM | 15MM | 50MM
BAR
BR-01 | 1 | BACK BAR CHILLER | BLUE STAR | BC350A | 1350 | 520 | 900 | [7 empty] | 1 | 1
BR-02 | 1 | BACK BAR CHILLER | BLUE STAR | BC350A | 1350 | 520 | 900 | [7 empty] | 1 | 1
BR-03 | 1 | SINK | FABRICATED |  | 600 | 740 | 850 | 15MM | 15MM | 15MM | 50MM
BR-04 | 1 | GLASS WASHER | HOBART | ECOMAX G404-10B | 436 | 534 | 700 |  |  | 15MM |  |  |  |  | 6 | 6
BR-05 | 1 | ICE CRUSHER | MARKET BOUGHT |  | TABLE TOP EQUIPMENT
BR-06 | 1 | ICE CUBE MACHINE | ELANPRO | EIM101 | 660 | 685 | 920 |  |  | 15MM |  |  |  |  | 1 | 1
BR-07 | 1 | COCKTAIL STATION | FABRICATED |  | 1000 | 740 | 850
BR-08 | 1 | SINK | FABRICATED |  | 600 | 740 | 850 | 15MM | 15MM | 15MM | 50MM
BR-09 | 1 | TRIPLE TAP KEGRATOR BEER TOWER | Brew Driver | GI-304 SS | 508 | 508 | 711
|  | TOWER TAP | Brew Driver
EXHAUST HOOD
EX-01 | 1 | HOOD-1- HOT PLATE & FRYER | FABRICATED |  | 1525 | 915 | 850HT | [5 empty] | 1800 | 1140
EX-02 | 1 | HOOD-2 FOUR BURNER | FABRICATED |  | 1830 | 915 | 850HT | [5 empty] | 2160 | 1728
[13 empty] | 3960 | 2868
|  | SUM OF TOTAL EXHAUST C.F.M. | [10 empty] | TOTAL EXHAUST C.F.M | TOTAL FRESH AIR 80% C.F.M
|  | TOTAL ELECTRICAL LOAD | [12 empty] | 52 | KW
|  | DIVERSITY FOR ELECTRICAL EQUIPMENT @70% | [12 empty] | 25 | KW