## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
a. | S/I/T/C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall as per | Mtrs | 85
b. | Supply & Installation of Smoke Detector UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 7
c. | Supply & Installation of Heat Detector with base UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 5
d. | Supply & Installation of Manual Breakglass Unit UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 2
e. | Supply & Installation of Hooter UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 2
f. | Supply & Installation of Response Indicator UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 4
g. | Supply & Installation of Addersable Fire Alarm Panel with Auto Dialing Facility UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 1
h. | Testing and commisioning of complete FAS that is it getting all the required Inputs and giving all the required outputs. Also providing of all certificates & form A for the complete work. | Nos | 1
i. | Supply & Installation of Monitor Module UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 6
j. | Supply & Installation of Control Module UL Listed & FM Approved Make - Honeywell / Seimens. | Nos | 4