## Summary
Project: AJ Kitchen Mumbai
Scope of Work : Electrical and ELV
SUMMARY
S.No | Description | Supply | Installation | Total | Remarks
A | Electrical Works :
1 | LT Switchgear and Distribution Boards | 89000 | 20500 | 109500
2 | MCB Distribution boards | 32000 | 6000 | 38000
3 | Low Voltage Cables and End Termination | 38700 | 7750 | 46450
4 | Swicthes and Sockets | 163500 | 21640 | 185140
5 | Circuit Mains | 267900 | 103000 | 370900
6 | Point Wiring | 80500 | 17500 | 98000
7 | Cable Trays/Raceways | 31000 | 3250 | 34250
8 | Earthing | 22025 | 6575 | 28600
9 | PVC pipes (Electrical/IT/AV/CCTV/ACS) | 34450 | 10750 | 45200
10 | Structural Works | 0 | 0 | 0
11 | Miscellaneous Works | 12900 | 1850 | 14750
12 | Light Fixtures | 140600 | 18800 | 159400
13 | UPS | 110000 | 5000 | 115000
B | ELV Works :
1 | IT/CCTV Works | 87450 | 17450 | 104900
| Electrical and ELV - Total Amount | 1110025 | 240065 | 1350090

## ELV Works
ESTIMATION FOR ELV
Project name: AJ Kitchen Mumbai | [6 empty] | Date: | 11.04.2024
Location: | [6 empty] | Revision | R0
Project no: | [6 empty] | Document No:
S.no | Description | Unit | Qty | Rate |  | Amount |  | Remarks
|  |  |  | Supply | Installation | Supply | Installation
1 | IT/NETWORKING :
1.1 | 4-pair, Cat 6 UTP FRLS Cable | Mtrs | 175 | 60 | 20 | 10500 | 3500
1.2 | Cat 6 UTP Information Outlet for Workstation end | Nos | 8 | 250 | 50 | 2000 | 400
1.3 | Cat 6 RJ45-RJ45 UTP Patch Cords, color matched, Yellow - Workstation end, 7 ft | Nos | 8 | 500 | 50 | 4000 | 400
1.4 | Single Face Plates | Nos | 8 | 400 | 100 | 3200 | 800
1.6 | Supply and fixing of Metal box suitable information outlet , flush/surface type in position .The rate shall exclude the cost of faceplate and Information Outlet. | Nos | 8 | 1000 | 200 | 8000 | 1600
1.8 | Cat 6 24 Port Angled Discrete Jack panel - fully loaded (1U).The rate shall include the cost of Patch Panel, Information Outlets with all the required supporting accessories. | Nos | 1 | 2500 | 500 | 2500 | 500
9 | 06 U wall mount rack with required mounting accessories, Rate shall include required accessories, tools etc., complete as required. | No | 1 | 6000 | 1000 | 6000 | 1000
| TOTAL AMOUNT |  |  |  |  | 36200 | 8200
TAX
GRAND TOTAL - SUPPLY + INSTALLATION +TAXES
Makes:
CAMERAS & SOFTWARE: Hikvision,Dahua,Bosch
NVR: Hikvision,Dahua,Bosch
CAT 6 Cables : Legrand,Tyco,R&M,Systimax,Commscope
RACKS : Rittal ,Valrack,Netrack
Exclusions:
Active components, Network Switch & servers ,Wifi Equipmnet
Note:
All Devices shall be of Enterprize Class Only