## Summary
Project: AJ Kitchen Mumbai
Scope of Work : Electrical and ELV
SUMMARY
S.No | Description | Supply | Installation | Total | Remarks
A | Electrical Works :
1 | LT Switchgear and Distribution Boards | #REF! | #REF! | #REF!
2 | MCB Distribution boards | #REF! | #REF! | #REF!
3 | Low Voltage Cables and End Termination | #REF! | #REF! | #REF!
4 | Swicthes and Sockets | #REF! | #REF! | #REF!
5 | Circuit Mains | #REF! | #REF! | #REF!
6 | Point Wiring | #REF! | #REF! | #REF!
7 | Cable Trays/Raceways | #REF! | #REF! | #REF!
8 | Earthing | #REF! | #REF! | #REF!
9 | PVC pipes (Electrical/IT/AV/CCTV/ACS) | #REF! | #REF! | #REF!
10 | Structural Works | #REF! | #REF! | #REF!
11 | Miscellaneous Works | #REF! | #REF! | #REF!
12 | Light Fixtures | #REF! | #REF! | #REF!
13 | UPS | #REF! | #REF! | #REF!
B | ELV Works :
1 | IT/CCTV Works | 51250 | 9250 | 60500
| Electrical and ELV - Total Amount | #REF! | #REF! | #REF!

## ELV Works
ESTIMATION FOR ELV
Project name: AJ Kitchen Mumbai | [6 empty] | Date: | 11.04.2024
Location: | [6 empty] | Revision | R0
Project no: | [6 empty] | Document No:
S.no | Description | Unit | Qty | Rate |  | Amount |  | Remarks
|  |  |  | Supply | Installation | Supply | Installation
2 | CCTV :
1 | Supply, installation, testing and Commissioning of UL approved, IP based Dome Indoor type 5MP,HD Dome camera | Nos | 5 | 3000 | 500 | 15000 | 2500
3 | Supply, installation, testing and Commissioning of 8 Channel NVR Ultra 4 K resolution and recording software with Storage capacity of 30Days .with all required accessories | No | 1 | 14000 | 2000 | 14000 | 2000
4 | CAT 6 PoE Cable, as per the survey done, Rate shall include required accessories, tools etc., complete as required. | Mtr | 100 | 60 | 20 | 6000 | 2000
5 | Cat 6 Sngle Information Outlets including faceplates and backbox accessories. | Nos | 5 | 250 | 50 | 1250 | 250
8 | Cat 6, PoE 4ft Gigabit Snagless Molded Patch Cable (RJ-45 Male) with factory crimping, these patch cords will suffice for connecting between Data Outlet & CCTV (100%) | No | 5 | 3000 | 500 | 15000 | 2500
| TOTAL AMOUNT |  |  |  |  | 51250 | 9250
TAX
GRAND TOTAL - SUPPLY + INSTALLATION +TAXES
Makes:
CAMERAS & SOFTWARE: Hikvision,Dahua,Bosch
NVR: Hikvision,Dahua,Bosch
CAT 6 Cables : Legrand,Tyco,R&M,Systimax,Commscope
RACKS : Rittal ,Valrack,Netrack
Exclusions:
Active components, Network Switch & servers ,Wifi Equipmnet
Note:
All Devices shall be of Enterprize Class Only