## Sheet2 (hidden)
Sl.No | Description of the work | Unit | Qty | Photos
A. | FOH AREA
1 | Removing of existing flooring ( Tiles and Wooden Flooring ) with debris' cleaning | sqft | 2152.8
2 | Removing of existing wall tiles with debris cleaning | sqft | 200
3 | Supply and fixing 2 x 2 floor tiles as per approve sample | sqft | 2152.8
4 | Acrylic wall paint as per approve coats | sqft | 4900
5 | Repaired of wall paneling and finish with approve laminate | sqft | 200
6 | Providing and laying Water Based PU work on existing brick tiles and sleeper wood area | sqft | 3500
7 | Supply and fixing SS Railing work in bar counter area | rft | 100
8 | MS Railing Paint | No | 2
9 | Supply and laying duct paint | Sqft | 420
10 | Polish work in heigh table | No | 2
11 | Door frame repaire with polish | No | 6
13 | Main Signage repairing work | No | 2
14 | Supply and fixing new Dollop Signage in entry area | No | 1 | as per design
15 | Supply and fixing with connection of hanging light as per approved sample | No | 3 | as per design
16 | Supply and fixing wall light as per approved sample | No | 16
17 | Supply and fixing 2" celling mounted spot light | No | 20
18 | Supply and fixing spot light in black colour | No | 50
19 | Supply and fixing hanging light for main facade area | No | 4
B | BOH AREA
1 | Repairing of 2 x 2 wall tiles as per existing tiles with debris' cleaning | sqft | 150
2 | Supply and fixing new 2 x 2 metal ceiling with debris cleaning | sqft | 420
3 | Repaired of Kota flooring with debris cleaning | sqft | 50
4 | Kota polish work | sqft | 420
5 | All wall tiles area acid wash | No | 1
6 | Supply and fixing of wall mixer cock | No | 4
7 | Supply and fixing angular stop cock | No | 20
8 | Supply and fixing 2 X 2 CELING exhaust fan | No | 6
9 | Supply and fixing Gyser 50Ltr | No | 1
10 | Providing and fixing 2 x 2 LED Ceiling light | No | 15

## Kolkata KFC BOQ
Intercare Enterprise
Sr.No. | Description of the work | Unit | Qty | Rate | Amount
1 | Removing/ Breaking of Existing wall tiles and fixing of wall tiles as per existing matching tiles with debris' cleaning from site to required location. | sqft | 350 | 280 | 98000
2 | Repairing work- Demolition of existing Kota stone flooring and Supply and installation of kota stone flooring for required area with debris shifting to required location all as per instruction of Engineer incharge/ Site inchrage. | sqft | 320 | 290 | 92800
3 | Polish the Kota Stone tiles using a buffing machine or Polishing pads to enhance their natural shine and Kota Stone design. Apply a sealant or Polish to protect the stone and improve its longevity. | sqft | 1000 | 45 | 45000
4 | All BOH & FOH area cleaning with wall tiles area acid wash as per instruction and satisfaction of Engineer incharge. | sqft | 2000 | 10 | 20000
5 | Demolition of Existing 2x2 metal grid ceiling and removing of debris to required location, all as per instruction and satisfaction of Engineer incharge | sqft | 1000 | 10 | 10000
6 | Supply and installation of 2 x 2 metal grid ceiling as per approved design or as per instruction of Engineer incharge. | sqft | 1000 | 180 | 180000
7 | Repaired of existing gypsum celling | sqft | 120 | 150 | 18000
8 | Providing and applying Painting on existing Main Fished area of approved make and shade, as per provided details and as per instruction of Engineer incharge. | sqft | 510 | 120 | 61200
9 | Providing and applying Painting on exiting gypsum ceiling area of approved make and shade, as per provided details and as per instruction of Engineer incharge. | sqft | 120 | 55 | 6600
10 | Corian Polish on Exiting POS Counter | sqft | 150 | 120 | 18000
11 | Providing and applying of wood polish over Door frame of approved shade and as per instruction of Engineer incharge. | Nos. | 1 | 6500 | 6500
12 | Providing and finish with approved finish laminate as per satisfaction and instruction of Engineer incharge on Main Door | Nos. | 1 | 5000 | 5000
13 | New Camical storage 1200 x 600 x 1500 | Nos. | 1 | 35000 | 35000
14 | Supply and fixing of 12 mm Tough glass with fitting as per instruction of site incharge | sqft | 150 | 450 | 67500
15 | MS Platefrom on ceiling with black paint for water tank as per site incharge detailing Size - 1200 x 1200 | Nos. | 1 | 42000 | 42000
16 | Supply and fixing open drainage SS jail as per existing size |  |  |  | 0
a | 36" x 9" | Nos. | 4 | 6500 | 26000
b | 12" x 12 " | Nos. | 10 | 4200 | 42000
17 | Providing fixing PPR-C ( 3 layer pipes-SDR-7.4) confirming to DIN 8078, 8077 - for Domestic, RO, flushing and Hot water, including cutting the pipes to correct length, Fusion welded jointing as per manufacturer, fixing with MS clamps, including necessary fitings like elbows ,tees,unions reducers,coupling, pipe nipples etc.complete, with testing, painting.The work shall also include chasing the walls with machine wherever required for concealed piping require sleeve in walls and making good of chased surface (Pipe shall be tested with 1.5 times working pressure as covered in specifications)
a | 20 mm Dia | R.mt | 52 | 650 | 33800
b | 25 mm Dia | R.mt | 30 | 750 | 22500
c | 32mm Dia | R.mt | 25 | 850 | 21250
d | 40mm Dia | R.mt | 30 | 850 | 25500
| 5" drain jali | Nos. | 15 | 650 | 9750
18 | Supply and instal fixing of sensor trap of approved Brand, make | Nos. | 3 | 7500 | 22500
19 | Supply and instal fixing of single trap of approved Brand, make | Nos. | 3 | 2500 | 7500
20 | Supply and install fixing of wall mixer cock of approved Brand, make | Nos. | 4 | 3500 | 14000
21 | Supply and fixing Z spray of approved brand or make. | Nos. | 1 | 2200 | 2200
22 | Supply and fixing angular stop cock of approved brand or make.
23 | Supply of water tank | Lit | 100 | 100 | 10000
24 | Pesur pump as per requirement | Nos. | 1 | 12500 | 12500
25 | Providing and fixing 2 x 2 LED Ceiling light with wiring | Nos. | 15 | 3000 | 45000
26 | Supply and fixing celling mounted spot light with wiring | Nos. | 20 | 2500 | 50000
27 | 63 amps 4P ELMCB 300mA with 63A 5 Pin Ray Roll Socket complete with all mounting accessories – for Indoor Legrand make model No. 6078 80 | Nos. | 15 | 10500 | 157500
28 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | Nos. | 10 | 8500 | 85000
29 | 16 amps 4P MCB with 25A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | Nos. | 8 | 6500 | 52000
30 | 32A Rey roll socket complete with 32 amps SPMCB with 3 pin metal clad socket - Legrand make - kitchen power | Nos. | 12 | 2800 | 33600
31 | 16A Rey roll socket complete with 16 amps SPMCB with 3 pin metal clad socket - Legrand make - kitchen power | Nos. | 27 | 2200 | 59400
32 | Supply installation of following LT XLPE FRLS cables rated for 600 / 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with
a | 4C x 16 Sq. mm A2XFY | Mtr. | 240 | 325 | 78000
b | 4C x 10 Sq. mm A2XFY | Mtr. | 240 | 290 | 69600
c | 4C x 6sq. mm 2XFY cable ( Cu ) | Mtr. | 240 | 325 | 78000
WIRING ACCESSORIES
Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect/Consultant
33 | 16A 5pin switch socket outlet | Nos. | 25 | 500 | 12500
34 | 32A industrial BOX with MCB and Socket | Nos. | 20 | 1800 | 36000
35 | LIGHTING FITTINGS INSTALLATION
36 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid FRLS GI conduit concealed or surface mounted making connections where ever required to complete the installation.
a | 2R x 2.5Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 100 | 320 | 32000
b | 2R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 100 | 365 | 36500
c | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 100 | 550 | 55000
d | 4R x 6Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 100 | 600 | 60000
e | Supply & installation of 25 mm dia. GI conduit with pull box / junction box & all accessories for Lighting & Power wiring as per the requirement
f | - do - but conduit pipe shall be Rigid type. | Mtr. | 50 | 240 | 12000
g | - do - but flexible conduit pipe | Mtr. | 50 | 60 | 3000
| Total without taxes |  |  |  | 1910200