## Extra Work
Rate Analysis for Extra Items
Restaurant Name :GHY Airport domino's
Item no | Item | Unit | Measurement | Cost of Material/ TRANSPORTING | Fixing charges/ Labour | Total Amount | OH & Profit @15% | Total Cost | Remarks
1 | Kajaria - Sheesham Rosewood /Somany - Strio Verano wood Teak | PKT | 1 | 1150 |  |  |  | 1150
2 | Domino's Square | PKT | 2 | 1350 |  |  |  | 2700
3 | Furniture Item-1 | sqft
| Manager Table (3.5'x2.5') | sqft | 8.75 | 1950 | 1000 | 18062.5 | 2709.375 | 20771.875
| (UPS counter 2'x2.5') | sqft | 5 | 1950 | 1000 | 10750 | 1612.5 | 12362.5
| Manager Overhead Cabinet (3.5'x3') | sqft | 10.5 | 1950 | 1200 | 21675 | 3251.25 | 24926.25
4 | Key Box | Nos | 1 | 6700 | 300 | 7000 | 1050 | 8050
5 | Maintainance box (2.5'x2.5') | Sqft | 6.25 | 1540 | 300 | 9925 | 1488.75 | 11413.75 |  | 350
6 | Wooden LT Pannel Box | Sqft | 15 | 640 | 450 | 16350 | 2452.5 | 18802.5
7 | Wooden UPS DB Pannel box | Sqft | 6.7803 | 640 | 450 | 7390.527 | 1108.5791 | 8499.1061
8 | Main cable covering box near Oven | sqft | 2.4128 | 640 | 300 | 2268.032 | 340.2048 | 2608.2368
9 | Ramp for Cold room(3.5'x 1.24) | LS | 1 | 5500 | 450 | 5950 | 892.5 | 6842.5
10 | 4 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface/flush mounted comprising of following:- Incomer : 63A , TM based MCCB of 25kA with O/L, S/C & E/F Protection - 01 No Outgoing : 6/32A SP MCB - 12 Nos 6/32 Amp TP MCB- 4 Nos With all necessary connections | Nos | 1 | 20550 | 2055 | 22605 | 3390.75 | 25995.75
11 | 32 Amp TPN MCB with enclouser | Each | 4 | 7240 | 724 | 31856 | 4778.4 | 36634.4
12 | Light 40W 2x2 light SUPPLY AND Installation | Nos | 19 | 1850 | 185 | 38665 | 5799.75 | 44464.75
13 | Light 40W 2x2 light SUPPLY Only | Nos | 6 | 1850 | 0 | 11100 | 1665 | 12765
14 | Grid Type False Ceiling | Sqft | 472.53 | 135.8 | 13.58 | 70586.5314 | 10587.9797 | 81174.5111
FOH area ceilng -(28.5x11.25-320.63)
Less Oven hood- (8x6-48)
Cold room outside-(8x3.2)-25.60
BOH area celing-(24.9x7)-174.30
Total =472.53
15 | Loft tank location changes due to AC Indoor unit location | LS | 1 | 9580 | 958 | 10538 | 1580.7 | 12118.7
16 | Transporting Loading & Unloading From Back Office To Airport Ac Outdoor Unit, And Oven | LS | 1 | 15400 |  | 15400 | 2310 | 17710
17 | Passes preparation charges | Person | 85 | 78.75 | 7.875 | 7363.125 | 1104.4688 | 8467.5938
18 | Additional Requirements for return air ducting | LS | 1 | 21800 | 2180 | 23980 | 3597 | 27577
19 | RO plant Work - Plumbing Work, MS Work, Along with 500 ltr water Tank Supply and Electrical Wiring and Connection works Included (Rates are including Material, Labour and Tranportation Charges) | LS | 1 | 95870 | 14380.5 | 110250.5 | 16537.575 | 126788.075
a) MS Stand for RO plant: size 6'x5'x3' ht. Including Paint finish
b) supply and installation of Plumbing work: 25mm dia. Water line connection from Main line to RO inlet and Outlet for Khorikaa, Masala Kitchen and Dominos outlet: Qty: 39 mtr including fitting and fixtures
c)Providing and laying 3x 2.5sq.mm cable for RO plant power provision including 6/16amp switch socket, all complete. Qty. 35mtr
d) Supply and installation of 500ltr water tank (Asirbad) including all fittings and fixtures.
20 | tv bracket purchase | Nos | 6 | 1050 | 200 | 7500 | 1125 | 8625
21 | Supply and Installation Of Cockroach Jali | Nos | 5 | 650 | 65 | 3575 | 536.25 | 4111.25
22 | Transportation/ Labour Idle seating/ Godown rental charges/ Requirement as per site | LS | 1 | 0 | 171400 | 171400 | 25710 | 197110 | DELETE
23 | Changes as per new design - Making of Signage With MS Framing And GI corrogated Sheet With Complete finish | Sqft | 22 | 550 | 82.5 | 13915 | 2087.25 | 16002.25
24 | Supply and Installation of Diffuser | Nos | 9 | 3040 | 3500 | 30860 | 4629 | 35489
25 | Supplya nd Installation Of MOP Hanger | Nos | 1 | 950 | 0 | 950 | 142.5 | 1092.5
[7 empty] | Total | 774252.4977