## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
A | HVAC SYSTEM EQUIPMENTS
HVAC EQUIPMENTS ( CHILLED WATER TYPE )
A.1 | Supply, Installation, Testing, and Commissioning of Chilled water type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment.
A.1.1 | 5.0 TR - (2000 CFM) | Nos | 1
A.1.2 | 7.5 TR - (3000 CFM) | Nos | 2
KITCHEN EQUIPMENTS
A.2 | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings.
A.2.1 | 5250 CFM | Nos | 1
A.2.2 | 3450 CFM | Nos | 1
A.2.3 | 5000 CFM | Nos | 1
A.3 | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make: Rydair, Trion or equivalent with airport approval).
A.3.1 | 5250 CFM | Nos | 1
A.3.2 | 3450 CFM | Nos | 1
A.3.3 | 5000 CFM | Nos | 1
A.4 | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit with all necessary supports and fittings.
A.4.1 | 4200 CFM | Nos | 1
A.4.2 | 2760 CFM | Nos | 1
A.4.3 | 4000 CFM | Nos | 1