## CURRY KITCHEN@FRENCH LOAF CHN
CURRY KITCHEN LAYOUT
|  | AT FRENCH LOAF CHENNAI | DATE | 2024-08-17
EQUIPMENT SCHEDULE
SR.No. | Eq.No. | DESCRIPTION | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
1HP/3HP
1 | CK-01 | POS | IT | STD | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
2 | CK-02 | MARKETING SCREEN | MARKETING | STD | 1
3 | CK-03 | JUICE DISPENSER | UGOLININ-DELUX 12/2 | 360 x 480 x 570Ht, | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
4 | CK-04 | POS COUNTER STAIR TYPE IMPULSE DISPLAY PROVISION WITH STORAGE BELOW & SNEEZ GUARD ON COUNTER TOP | CARPENTRY WORK /AS PER ID | 975 x 675 x 850Ht. | 1
5 | CK-04a | SNEEZ GUARD WITH TUFFEN GLASS | CARPENTRY WORK /AS PER ID | 2325 x 300 x 425Ht. | 1
6 | CK-05 | SS 2 CONTAINER HOT BAIN MARIE 1/1x150Deep GN PAN WITH EXTERNAL PANEL & REMOVABLE PATTI FOR ADJUSTABLE GN PAN | FABRICATED | 750 x 650 x 850 | 1 | 1PH | 3 | 3 | 32 | Metal Clad
7 | CK-06 | SS 3 CONTAINER HOT BAIN MARIE 1/1x150Deep GN PAN WITH EXTERNAL PANEL & REMOVABLE PATTI FOR ADJUSTABLE GN PAN | FABRICATED | 1075 x 650 x 850 | 1 | 1PH | 3 | 3 | 32 | Metal Clad
8 | CK-07 | SS COLD BAIN MARIE WITH 1 NO, GN PAN 1/1 x 150mm DEEP | FABRICATED | 450 x 650 x 850 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
9 | CK-08 | SIDE COUNTER WITH PROVISION STORAGE BELOW | CARPENTRY WORK AS PER INTEROR DESIGN | 1500 x 650 x 850Ht. | 1 |  |  | 0
10 | CK-09 | TABLE TOP MOMOs STEAMER | SR-WA18H(SS) | 256 x 256 x 360Ht. | 2 | 1PH | 1.5 | 3 | 5 / 15 Amp | Switch Socket
11 | CK-10 | TABLE TOP FOOD WARMER | MODEL NO:- MIR11 | 335 x 615 x 420 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
12 | CK-11 | SS CIVIL COUNTER FITTED SINK | FABRICATED | 400 x 400 x 150 | 1 |  |  | 0
13 | CK-12 | GREASE TRAP | NUGREEN-NGT-14 | 337 x404 x 303 | 1
14 | CK-13 | MICROWAVE OVEN WITH WALL MOUNTED STAND | CELFROST-CMO25 | 511 x 432 x 311 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
15 | CK-14 | BACK COUNTER TOP WITH PROVISION OF SUNK IN SINK & BELOW STORAGE | CARPENTRY WORK /AS PER ID | 3350 x 750 x 900 HIEGHT INSIDE CLEAR | 1
16 | CK-15 | TABLE TOP INDUCTION PLATE | STELLA-TS-3501 | 350 x 410 x 95 | 2 | 1PH | 3.5 | 7 | 32 | Metal Clad
17 | CK-16 | 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN . | BLUE STAR-UC2100GC | 1365 x 700 x 850 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
18 | CK-17 | SPEED OVEN | MERRYCHEF-E1S | 400 x 550 x 600 | 1 | 1PH | 3 | 3 | 32 | Metal Clad
19 | CK-18 | TEA & COFFE MAKER MACHINE- GEMINI | GEMINI | 600 x 270 x 470Ht. | 1 | 1PH | 2.3 | 2.3 | 5 / 15 Amp | Switch Socket
20 | CK-19 | VISI COOLER | BLUESTAR-SC300F | 576 x 686 x 1454Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
Total Kw | [7 empty] | 29.3
SOE
1 | SO-01 | INSECT KILLERS | SOE |  | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket | 0
2 | SO-02 | FIRE EXTINGUISHER ABC-4KG | SOE |  | 1
3 | SO-03 | FIRE EXTINGUISHER CO/2-4.5KG | SOE |  | 1
4 | SO-04 | FIRE EXTINGUISHER KTYPE - 6KG | SOE |  | 1
5 | SO-05 | FIRE BLANKET - 6' X 4' | SOE |  | 1
Total Kw-SOE | [7 empty] | 0.5
Total Kw | [7 empty] | 29.8
0

## SAFAL
CURRY KITCHEN LAYOUT
|  | AT FRENCH LOAF CHENNAI | DATE | 2024-08-17
EQUIPMENT SCHEDULE
SR.No. | Eq.No. | DESCRIPTION | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
1HP/3HP
3 | CK-03 | JUICE DISPENSER | UGOLININ-DELUX 12/2 | 360 x 480 x 570Ht, | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. CK-03 DESCRIPTION JUICE DISPENSER MODEL NO UGOLININ-DELUX 12/2 DIMENSIONS(L x W x HT) 360 x 480 x 570Ht,
6 | CK-05 | SS 2 CONTAINER HOT BAIN MARIE 1/1x150Deep GN PAN WITH EXTERNAL PANEL & REMOVABLE PATTI FOR ADJUSTABLE GN PAN | FABRICATED | 750 x 650 x 850 | 1 | 1PH | 3 | 3 | 32 | Metal Clad | Eq.No. CK-05 DESCRIPTION SS 2 CONTAINER HOT BAIN MARIE 1/1x150Deep GN PAN WITH EXTERNAL PANEL & REMOVABLE PATTI FOR ADJUSTABLE GN PAN MODEL NO FABRICATED DIMENSIONS(L x W x HT) 750 x 650 x 850
7 | CK-06 | SS 3 CONTAINER HOT BAIN MARIE 1/1x150Deep GN PAN WITH EXTERNAL PANEL & REMOVABLE PATTI FOR ADJUSTABLE GN PAN | FABRICATED | 1075 x 650 x 850 | 1 | 1PH | 3 | 3 | 32 | Metal Clad | Eq.No. CK-06 DESCRIPTION SS 3 CONTAINER HOT BAIN MARIE 1/1x150Deep GN PAN WITH EXTERNAL PANEL & REMOVABLE PATTI FOR ADJUSTABLE GN PAN MODEL NO FABRICATED DIMENSIONS(L x W x HT) 1075 x 650 x 850
8 | CK-07 | SS COLD BAIN MARIE WITH 1 NO, GN PAN 1/1 x 150mm DEEP | FABRICATED | 450 x 650 x 850 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. CK-07 DESCRIPTION SS COLD BAIN MARIE WITH 1 NO, GN PAN 1/1 x 150mm DEEP MODEL NO FABRICATED DIMENSIONS(L x W x HT) 450 x 650 x 850
10 | CK-09 | TABLE TOP MOMOs STEAMER | SR-WA18H(SS) | 256 x 256 x 360Ht. | 2 | 1PH | 1.5 | 3 | 5 / 15 Amp | Switch Socket | Eq.No. CK-09 DESCRIPTION TABLE TOP MOMOs STEAMER MODEL NO SR-WA18H(SS) DIMENSIONS(L x W x HT) 256 x 256 x 360Ht.
11 | CK-10 | TABLE TOP FOOD WARMER | MODEL NO:- MIR11 | 335 x 615 x 420 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket | Eq.No. CK-10 DESCRIPTION TABLE TOP FOOD WARMER MODEL NO MODEL NO:- MIR11 DIMENSIONS(L x W x HT) 335 x 615 x 420
12 | CK-11 | SS CIVIL COUNTER FITTED SINK | FABRICATED | 400 x 400 x 150 | 1 |  |  | 0 |  |  | Eq.No. CK-11 DESCRIPTION SS CIVIL COUNTER FITTED SINK MODEL NO FABRICATED DIMENSIONS(L x W x HT) 400 x 400 x 150
13 | CK-12 | GREASE TRAP | NUGREEN-NGT-14 | 337 x404 x 303 | 1 | [5 empty] | Eq.No. CK-12 DESCRIPTION GREASE TRAP MODEL NO NUGREEN-NGT-14 DIMENSIONS(L x W x HT) 337 x404 x 303
14 | CK-13 | MICROWAVE OVEN WITH WALL MOUNTED STAND | CELFROST-CMO25 | 511 x 432 x 311 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket | Eq.No. CK-13 DESCRIPTION MICROWAVE OVEN WITH WALL MOUNTED STAND MODEL NO CELFROST-CMO25 DIMENSIONS(L x W x HT) 511 x 432 x 311
16 | CK-15 | TABLE TOP INDUCTION PLATE | STELLA-TS-3501 | 350 x 410 x 95 | 2 | 1PH | 3.5 | 7 | 32 | Metal Clad | Eq.No. CK-15 DESCRIPTION TABLE TOP INDUCTION PLATE MODEL NO STELLA-TS-3501 DIMENSIONS(L x W x HT) 350 x 410 x 95
17 | CK-16 | 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN . | BLUE STAR-UC2100GC | 1365 x 700 x 850 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. CK-16 DESCRIPTION 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN . MODEL NO BLUE STAR-UC2100GC DIMENSIONS(L x W x HT) 1365 x 700 x 850
18 | CK-17 | SPEED OVEN | MERRYCHEF-E1S | 400 x 550 x 600 | 1 | 1PH | 3 | 3 | 32 | Metal Clad | Eq.No. CK-17 DESCRIPTION SPEED OVEN MODEL NO MERRYCHEF-E1S DIMENSIONS(L x W x HT) 400 x 550 x 600
19 | CK-18 | TEA & COFFE MAKER MACHINE- GEMINI | GEMINI | 600 x 270 x 470Ht. | 1 | 1PH | 2.3 | 2.3 | 5 / 15 Amp | Switch Socket | Eq.No. CK-18 DESCRIPTION TEA & COFFE MAKER MACHINE- GEMINI MODEL NO GEMINI DIMENSIONS(L x W x HT) 600 x 270 x 470Ht.
20 | CK-19 | VISI COOLER | BLUESTAR-SC300F | 576 x 686 x 1454Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. CK-19 DESCRIPTION VISI COOLER MODEL NO BLUESTAR-SC300F DIMENSIONS(L x W x HT) 576 x 686 x 1454Ht.
Total Kw | [7 empty] | 28.3 |  |  | Eq.No. DESCRIPTION MODEL NO DIMENSIONS(L x W x HT)
|  | SOE | [8 empty] | Eq.No. DESCRIPTION SOE MODEL NO DIMENSIONS(L x W x HT)
1 | SO-01 | INSECT KILLERS | SOE |  | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket | Eq.No. SO-01 DESCRIPTION INSECT KILLERS MODEL NO SOE DIMENSIONS(L x W x HT) | 0
2 | SO-02 | FIRE EXTINGUISHER ABC-4KG | SOE |  | 1 | [5 empty] | Eq.No. SO-02 DESCRIPTION FIRE EXTINGUISHER ABC-4KG MODEL NO SOE DIMENSIONS(L x W x HT)
3 | SO-03 | FIRE EXTINGUISHER CO/2-4.5KG | SOE |  | 1 | [5 empty] | Eq.No. SO-03 DESCRIPTION FIRE EXTINGUISHER CO/2-4.5KG MODEL NO SOE DIMENSIONS(L x W x HT)
4 | SO-04 | FIRE EXTINGUISHER KTYPE - 6KG | SOE |  | 1 | [5 empty] | Eq.No. SO-04 DESCRIPTION FIRE EXTINGUISHER KTYPE - 6KG MODEL NO SOE DIMENSIONS(L x W x HT)
5 | SO-05 | FIRE BLANKET - 6' X 4' | SOE |  | 1 | [5 empty] | Eq.No. SO-05 DESCRIPTION FIRE BLANKET - 6' X 4' MODEL NO SOE DIMENSIONS(L x W x HT)
Total Kw-SOE | [7 empty] | 0.5
Total Kw | [7 empty] | 28.8
0