## Masala Kitchen MB (hidden)
MASALA KITCHEN
Masala Kitchen Area | 1 | 55.485 | 10.76 | 597.0186
Antitermite Work | 1 | 55.485 | 10.76 | 597.0186
600
Waterproofing Work
| 1 | 55.485 |  | 597.0186
| 1 | 40.495 | 0.45 | 196.0768
| 2 | 3.315 | 0.45 | 32.1025
| 2 | 5.815 | 0.45 | 56.3125
| 2 | 4.63 | 0.45 | 44.8369
| 2 | 1.875 | 0.45 | 18.1575
944.5047
94.4505
1038.9552
1040
Light Weight Concrete
| 1 | 55.485 |  | 597.0186
Less Not filling area afterUltra bar counter area | -1 | 9.824 |  | -105.7062
491.3124
49.1312
540.4436
540
Screeding
| 1 | 55.485 |  | 55.485
597.0186
600
100mm Block Work | 1 | 2.265 | 4.295 | 9.7282
| 1 | 5.715 | 4.295 | 24.5459
Less Opening | -1 | 0.8 | 2.1 | -1.68
Room near shaft | 1 | 2.43 | 4.295 | 10.4368
Door walls | 1 | 1.805 | 4.295 | 7.7525
Less Opening | -1 | 0.85 | 2.1 | -1.785
| 1 | 3.305 | 4.295 | 14.195
| -1 | 0.95 | 2.1 | -1.995
Ultra Counter Wall | 1 | 1.876 | 1.05 | 1.9698
Ultra Counter Wall | 1 | 4.63 | 1.05 | 4.8615
0
0
68.0297
731.9996
73.2
805.1995
805
Plaster on Block work 100mm thick
| 2 | 2.265 | 4.295 | 19.4564
Masala Kitchen & Ultra bar side wall partition | 2 | 5.715 | 4.295 | 49.0919
Less Opening | -2 | 0.8 | 2.1 | -3.36
Room near shaft | 2 | 2.43 | 4.295 | 20.8737
Door walls | 2 | 1.805 | 4.295 | 15.5049
Less Opening | -2 | 0.85 | 2.1 | -3.57
Ultra Bar Counter side wall | 2 | 3.305 | 4.295 | 28.39
Less Door | -2 | 0.95 | 2.1 | -3.99
Masala Kitchen side wall | 2 | 6.935 | 4.295 | 59.5716
Ultra Bar Counter wall | 2 | 1.876 | 1.05 | 3.9396
Ultra Bar Counter wall | 2 | 4.63 | 1.05 | 9.723
0
195.6311
2104.9901
210.499
2315.4891
2315
RCC Lintel
| 1 | 1.4 |  | 4.592
| 1 | 1.45 |  | 4.756
0
9.348
0.9348
10.2828
10
Flooring
| 1 | 55.485 |  | 597.0186
| -1 | 9.824 |  | -105.7062
491.3124
59.7019
551.0142
550
Skirting | 1 | 51.427 |  | 168.6806
16.8681
185.5486
Bar Area floor tiles | 1 | 9.824 |  | 105.7062
10.5706
116.2769
115
Granite Stone Skirting around Bar counter
Masala Counter Skirting | 1 | 3.315 |  | 10.8732
Around Bar counter wall | 1 | 4.63 |  | 15.1864
Around Bar counter wall | 1 | 1.31 |  | 4.2968
30.3564
3.0356
33.392
35
Granite Door Cill
| 2 | 0.95 |  | 1.9
| 1 | 0.8 |  | 0.8
| 1 | 0.85 |  | 0.85
3.55
11.644
1.1644
12.8084
13
Wall Tiles
BOH AREA WALL Tiles | 1 | 51.427 | 2.455 | 1358.4853
Less Bar Area walls above counter | -1 | 4.63 | 1.5 | -74.7282
Less Bar Area walls above counter | -1 | 1.31 | 1.5 | -21.1434
Bar back wall masala kitchen side | -1 | 1.875 | 1.5 | -30.2625
Masala Kitchen wall Bar Side | -1 | 5.817 | 2.455 | -153.6607
Counter back wall | -1 | 2.278 | 2.455 | -60.1752
Counter side wall | -1 | 2.528 | 2.455 | -66.7791
Counter area no Wall | -1 | 3.23 | 2.455 | -85.323
Above Door | 1 | 0.8 | 0.3 | 2.5824
| 1 | 0.95 | 0.3 | 3.0666
Less Tile fixing with Adhesive | -1 | 3.175 | 2.3 | -78.5749
Commerial Tiles in Masala counter back wall | 1 | 2.265 | 0.9 | 2.0385
795.5258
79.5526
875.0783
875
MS Frame Work with HDHMR BOARD
Back of the house back wall | 1 | 3.175 | 2.4 | 7.62
81.9912
8.1991
90.1903
90
Tile Fixing with Cahemical
Back of the house back wall | 1 | 3.175 | 2.4 | 7.62
81.9912
8.1991
90.1903
90
MOH AREA Wall Tiles
Ultra bar side wall Tiles | 1 | 5.714 | 2.6 | 159.8549
Less Door | -1 | 0.8 | 2.1 | -18.0768
Counter baclk wall | 1 | 2.265 | 2.6 | 63.3656
Less Commercical tile | -1 | 2.265 | 0.9 | -21.9343
KFC Side wall | 1 | 2.535 | 2.6 | 70.9192
Ultra Bar Counter area wall | 1 | 5.715 | 2.6 | 159.8828
Less Door | -1 | 0.8 | 2.1 | -18.0768
Ultra Bar Counter area wall | 1 | 3.195 | 2.6 | 89.3833
Less Door | -1 | 0.95 | 2.1 | -21.4662
Less 300 x 300mm designer tile area |  |  |  | -67.8848
395.9669
39.5967
435.5636
435
WALL Rile 300mm x 300mm
| 1 | 2.265 | 0.6 | 14.6228
| 1 | 2.535 | 0.6 | 16.366
| 1 | 5.715 | 0.6 | 36.896
67.8848
6.7885
74.6733
75
Door Frame | 6 | 2.1 |  | 12.6
| 1 | 0.9 |  | 0.9
| 1 | 0.8 |  | 0.8
| 1 | 0.85 |  | 0.85
15.15
49.692
50
DOOR SHUTTER
800 x 2100 With Vision Panel & SS Kick Plate | 1
850 x 2100 With Vision Panel & SS Kick Plate | 1
950x 2100 With Vision Panel | 1
MASALA KITCHEN COUNTER | 1 | 2.375 | 1.05 | 2.4937
26.8327
2.6833
29.516
30
POS & BAIN MARRY COUNTER
MASALA KITCHEN COUNTER | 1 | 2.375 | 0.9 | 2.1375
22.9995
2.3
25.2995
25
Ultra Bar Counter
| 1 | 1.875 | 1.05 | 21.1837
| 1 | 4.63 | 1.05 | 52.3097
73.4935
7.3493
80.8428
80
POS COUNTER
| 1 | 1.03 | 0.9 | 9.9745
0.099745
10.0743
10
Granite Stone Cladding
| 2 | 2.765 |  | 18.1384
1.8138
19.9522
20
False Ceiling
| 1 | 55.485 |  | 597.0186
Less Grid False Ceiling BOH AREA | -1 | 16.317 |  | -175.5709
Less Grid False Ceiling STORE AREA | -1 | 2.677 |  | -28.8045
392.6432
39.2643
431.9075
430
GRID FALSE CEILING
BOH AREA | 1 | 16.317 |  | 175.5709
STORE AREA | 1 | 2.677 |  | 28.8045
204.3754
20.4375
224.813
225
Ultra Bar Bulk Head
| 1 | 4.63 |  | 15.1864
| 1 | 1.89 |  | 6.1992
21.3856
2.1386
23.5242

## FOH AREA MB (hidden)
FOH Carpet Area | 1 | 78.806 |  | 10.76 | 847.9526
850
Antitermite Treatment
| 1 | 78.806 |  | 10.76 | 847.9526
847.9526
850
Waterproofing Work
Floor Area | 1 | 78.806 |  | 10.76 | 847.9526
847.9526
84.7953
932.7478
930
PCC Area
| 1 | 78.806 |  | 10.76 | 847.9526
847.9526
850
Flooring Work
Floor Tiles -1 300 x 300 MORACCON MOSAIC
Boh & MOH Area | 1 | 7.515 |  | 3.79 | 306.4647
30.6465
337.1112
340
Tile -2 600 x 1200 FRENCH WENGE ( Sidron ) | 1 | 3.31 |  | 4.975 | 177.1876
17.7188
194.9064
195
Tile -3 AZUL BIANCO 600 x 600 | 1 | 11.76 |  | 5.305 | 671.282
Less Moraccon Mosaic Tiles |  |  |  |  | -306.4647
364.8173
36.4817
401.299
400
Skirting 100mm High | 1 | 0.78 |  | 3.28 | 2.5584
| 1 | 0.175 |  | 3.28 | 0.574
| 2 | 0.25 |  | 3.28 | 1.64
| 1 | 0.95 |  | 3.28 | 3.116
| 1 | 0.9 |  | 3.28 | 2.952
10.8404
1.084
11.9244
12
Granite Stone Cill
| 1 | 2.5 |  | 3.28 | 8.2
| 1 | 2.3 |  | 3.28 | 7.544
| 1 | 1.5 |  | 3.28 | 4.92
| 1 | 1.2 |  | 3.28 | 3.936
24.6
2.46
27.06
27
MS LOW HEIGHT PARTITION
| 1 | 3.76 | 0.8 | 10.76 | 32.3661
| 1 | 0.515 | 0.8 | 10.76 | 4.4331
| 1 | 4.26 | 0.8 | 10.76 | 36.6701
| 1 | 2.3 | 0.8 | 10.76 | 19.7984
| 1 | 2.5 | 0.8 | 10.76 | 21.52
| 1 |  |  | 10.76 | 0
114.7877
11.4788
126.2664
125
Trasition Profile
FOH AREA | 1 | 3.935 |  |  | 12.9068
| 1 | 7.515 |  |  | 24.6492
| 1 | 3.79 |  |  | 12.4312
| 1 | 4.975 |  |  | 16.318
66.3052
6.6305
72.9357
False Ceiling |  |  |  |  | 75
| 1 | 15.125 |  | 5.35 | 870.6857
Less HDHMR Board Ceiling | -1 | 18.618 |  |  | -200.3297
| 1 | 19.775 | 3.28 | 1 | 64.862
735.2181
183.8045
919.0226
920
HDHMR BORAD CEILING
Less HDHMR Board Ceiling | 1 | 18.618 |  |  | 200.3297
20.033
220.3626
220
Door Frame
D-3 Crew Entry Door Frame | 2 | 7 |  |  | 14
| 1 | 2.5 |  |  | 2.5
D-1 ( MOH Aea Entry Door | 2 | 7 |  |  | 14
| 1 | 3.25 |  |  | 3.25
33.75
3.375
37.125
37
Door Shutter with Vision Panel
D-1 MOH Area Entry door
3'-3" x 7'-0" | 1
D3 Crew Entry Door 2'-6" x 7'-0" | 1
Slidding Door D-2 & D-4
2'-6" x 7'-0" | 2
Over Head Storage
Manager | 1 | 1.36 |  | 0.9 | 1.224
0
1.224
13.1702
1.317
14.4873
15
Manager Table
1310 x 475 | 1 | 1.31 |  | 0.75 | 10.5717
10.5717
1.0572
11.6289
12
Soft Board
Manager | 1 | 1.36 |  | 0.35 | 0.476
0.476
5.1218
0.51218
5.6339
6
POS Counter
| 1 | 3.35 |  | 0.825 | 2.7637
0.27637
3.0401
32.7117
33
Crew Eating Table with legs
| 1 | 1.15 |  | 0.75 | 9.2805
0.92805
10.2086
10
Open Over Head Shelves
Crew 300mm Wide | 2 | 1.15 |  |  | 7.544
0.07544
7.6194
[5 empty] | 8 | Rft
Looking Mirror
Crew Area wall | 1 | 1.2 |  | 0.675 | 8.7156
0.87156
9.5872
10
Wall Paneling with MS Frame work with 12mm thick HDHMR Board & 8mm thick HDHMR Board finish with paint
| 1 | 4.92 |  | 9 | 44.28
| 1 | 11.83 |  | 9 | 106.47
Less door | -1 | 3.25 |  | 7 | -22.75
128
12.8
140.8
140
Corian Paneling over HDHMR Board paneling
| 1 | 2.6 |  | 0.95 | 26.5772
2.6577
29.2349
30
Wall Paneling with MS Frame work with 12mm thick HDHMR Board & 8mm thick HDHMR Board finish with paint
| 1 | 18.75 |  |  | 18.75 | Rft
| 1 | 5.58 |  |  | 5.58
24.33
2.433
26.763
27
3D Backlit KFC Sinage 3mm thick Acrylic Sheet Router Cut white Sheet At front & Black at back side | 1 | No
300 x 945
False Ceiling
GYPSUM FALSE CEILING
BOH Area | 1 | 32.208 |  | 10.76 | 346.5581
Vertical side walk in freezer | 1 | 1.92 | 1.85 | 10.76 | 38.2195
Vertical side walk in freezer Shaft side | 1 | 1.525 | 1.85 | 10.76 | 30.3566
Vertical side walk in freezer Shaft side | 1 | 1.385 | 1.85 | 10.76 | 27.5698
Vertical side walk in freezer Cooking area side | 1 | 2.945 | 1.85 | 10.76 | 58.6232
Vertical side walk in freezer Cooking area side | 1 | 1.295 | 1.85 | 10.76 | 25.7783
Chest frezzer side vertical side | 1 | 0.58 | 1.85 | 10.76 | 11.5455
Chest frezzer side vertical side | 2 | 1.295 | 1.85 | 10.76 | 51.5565
BOH & MOH Area vertical side | 1 | 3.175 | 1.85 | 10.76 | 63.2015
BOH & MOH Area vertical side | 1 | 1.005 | 1.85 | 10.76 | 20.0055
Maneger Room | 1 | 1.493 |  | 10.76 | 16.0647
Change room | 1 | 1.117 |  | 10.76 | 12.0189
Crew Area | 1 | 2.8 |  | 10.76 | 30.128
MOH Area Flase Ceiling
| 1 | 7.802 |  | 10.76 | 83.9495
Vertical side above BOH Counter | 1 | 3.4 | 1.8 | 10.76 | 65.8512
| 1 | 3.4 | 1.8 | 10.76 | 65.8512
947.2781
94.7278
1042.0059
1040
HDHMR Board False Ceiling
| 1 | 3.4 | 0.18 | 10.76 | 6.5851
0.65851
7.2436
10
Drain Pipe
100mm Dia | 1 | 3.75 |  |  | 3.75
| 1 | 4.58 |  |  | 4.58
| 1 | 9.83 |  |  | 9.83
| 1 | 12.42 |  |  | 12.42
| 1 | 3.67 |  |  | 3.67
| 1 | 4.42 |  |  | 4.42
| 1 | 1.67 |  |  | 1.67
| 1 | 3.67 |  |  | 3.67
| 1 | 10.5 |  |  | 10.5
| 1 | 6.92 |  |  | 6.92
| 1 | 10.42 |  |  | 10.42
| 1 | 4.75 |  |  | 4.75
| 1 | 2.17 |  |  | 2.17
| 1 | 6.5 |  |  | 6.5
| 1 | 6.92 |  |  | 6.92
1
92.19
9.219
101.409
[5 empty] | 102 | 30.9174
Drain Pipe
50mm Dia PVC Pipe
| 1 | 0.58 |  |  | 0.58
| 1 | 1.25 |  |  | 1.25
| 1 | 0.42 |  |  | 0.42
| 1 | 0.33 |  |  | 0.33
| 1 | 4.58 |  |  | 4.58
| 1 | 2 |  |  | 2
| 1 | 1.17 |  |  | 1.17
| 1 | 0.67 |  |  | 0.67
11
3.3537
0.33537
3.689
5
20mm Watersupply Pipe
Green Line Water supply | 1 | 16.08 |  |  | 16.08
| 1 | 5.5 |  |  | 5.5
| 1 | 3.83 |  |  | 3.83
| 1 | 7.83 |  |  | 7.83
| 1 | 14.08 |  |  | 14.08
Sky blue Wtersupply line 20mm dia | 1 | 14.67 |  |  | 14.67
| 1 | 15.83 |  |  | 15.83
| 1 | 18.75 |  |  | 18.75
| 1 | 5.67 |  |  | 5.67
| 1 | 18.83 |  |  | 18.83
| 1 | 3.58 |  |  | 3.58
0
124.65
12.465
137.115
41.8034
45

## Basement Store BOQ
BOQ FOR CIVIL & INTERIOR WORK FOR BASEMENT STORE AREA FOR FOOD COURT AT JAIPUR AIRPORT
S. NO. | LOCATION | DESCRIPTION | UNIT | Qty. | Rate | Amount | IMAGES
Proposed Amount
1 |  | ANTI-TERMITE TREATMENT WORK | [5 empty] | LOCATION DESCRIPTION ANTI-TERMITE TREATMENT WORK
1.1 | BASEMENT STORE | Providing & doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3" in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4' center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated). | Sq. ft. | 606 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3" in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4' center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated).
|  | Total of Antitermite Treatment Work |  |  |  | 0 |  | LOCATION DESCRIPTION Total of Antitermite Treatment Work
2 |  | CIVIL WORK | [5 empty] | LOCATION DESCRIPTION CIVIL WORK
2.01 |  | WATERPROOFING (MEMBRANE) | [5 empty] | LOCATION DESCRIPTION WATERPROOFING (MEMBRANE)
|  | Providing and laying water- proofing treatment to hand wash, BOH area consisting of 4mm Thk Apex Apcon Sheild / Dr Fixit Torchsheild / or equivalent polyster reinforced APP modified bitumen membrane sheet(Basic Rate Rs.2000 / Roll of 10mX1m) as approved, cleaning and smoothing of entire surface, smooth plaster upto 300mm from floor rising lvl, 12mmx12mm groove at 150mm from floor rising lvl, one coat of Bitcote/Dr Fixit/Apex/equivalent (as approved)-heavy body bitumen primer (Basic Rate Rs.82 / Kg) coating as a primer on surface and till 300mm from floor rising lvl, application of membrane sheet as per application detail and packing the hole cuts for pipe line and checking the area which is water proofed. Rate includes of laying the protective layer of Plaster with curing and testing with a gaurantee of 10 years. | Sq. ft. | R.O. |  |  |  | LOCATION DESCRIPTION Providing and laying water- proofing treatment to hand wash, BOH area consisting of 4mm Thk Apex Apcon Sheild / Dr Fixit Torchsheild / or equivalent polyster reinforced APP modified bitumen membrane sheet(Basic Rate Rs.2000 / Roll of 10mX1m) as approved, cleaning and smoothing of entire surface, smooth plaster upto 300mm from floor rising lvl, 12mmx12mm groove at 150mm from floor rising lvl, one coat of Bitcote/Dr Fixit/Apex/equivalent (as approved)-heavy body bitumen primer (Basic Rate Rs.82 / Kg) coating as a primer on surface and till 300mm from floor rising lvl, application of membrane sheet as per application detail and packing the hole cuts for pipe line and checking the area which is water proofed. Rate includes of laying the protective layer of Plaster with curing and testing with a gaurantee of 10 years.
2.02 |  | WATERPROOFING (TAPECRETE) | [5 empty] | LOCATION DESCRIPTION WATERPROOFING (TAPECRETE)
| BASEMENT STORE | Providing and laying water- proofing treatment to toilet, kitchen etc., consisting of 4 coats of Tape Crete to floors and vertical sides with Ist coat of TapeCrete mixed with white cement in proportion of 1:2, sealing all junctions, corners etc.and 10-12 mm thick protection plaster in cement mortar 1:4(1 cement : 4 coarse sand) complete with curing and testing with a gaurantee of 10 years. | Sq. ft. | 855 |  |  |  | LOCATION BASEMENT STORE DESCRIPTION Providing and laying water- proofing treatment to toilet, kitchen etc., consisting of 4 coats of Tape Crete to floors and vertical sides with Ist coat of TapeCrete mixed with white cement in proportion of 1:2, sealing all junctions, corners etc.and 10-12 mm thick protection plaster in cement mortar 1:4(1 cement : 4 coarse sand) complete with curing and testing with a gaurantee of 10 years.
2.03 |  | CINDER/ LIGHT WT. SIPORAX BLOCK BATS FILLING | [5 empty] | LOCATION DESCRIPTION CINDER/ LIGHT WT. SIPORAX BLOCK BATS FILLING
| BASEMENT STORE | Providing & Filling light wt. Siporex block bats to conceal drainage & plumbing lines for Grease trap of average thk of 150 mm . The rates shall include for Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect. | Sq. ft. | 545 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & Filling light wt. Siporex block bats to conceal drainage & plumbing lines for Grease trap of average thk of 150 mm . The rates shall include for Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect.
2.04 |  | PCC LAYER | [5 empty] | LOCATION DESCRIPTION PCC LAYER
| BASEMENT STORE | Providing & Laying P.C.C 1:3:6 of average thickness 75mm of M 10 grade of concrete ( 1 cement :3 coarse sand:6 graded stone aggregate 20 mm nominal size) as floor base. | Sq. ft. | 545 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & Laying P.C.C 1:3:6 of average thickness 75mm of M 10 grade of concrete ( 1 cement :3 coarse sand:6 graded stone aggregate 20 mm nominal size) as floor base.
2.05 |  | BLOCK MASONARY WORK | [5 empty] | LOCATION DESCRIPTION BLOCK MASONARY WORK
| BASEMENT STORE | Providing & Laying of Light Wt. Foam /Fly Ash Block masonry (Siporex/AAC make) of thickness 100mm in super structure for any shapes, fins, projections, in shafts, under counter / platform / cupboards, using in cement mortar 1:4 (1 cement :4 coarse sand) mix, joints finished including scaffolding, curing complete as per specification and drawing or as directed by Project Manager. | Sq. ft. | 2000 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & Laying of Light Wt. Foam /Fly Ash Block masonry (Siporex/AAC make) of thickness 100mm in super structure for any shapes, fins, projections, in shafts, under counter / platform / cupboards, using in cement mortar 1:4 (1 cement :4 coarse sand) mix, joints finished including scaffolding, curing complete as per specification and drawing or as directed by Project Manager.
2.06 |  | BRICK MASONARY WORK | [5 empty] | LOCATION DESCRIPTION BRICK MASONARY WORK
2.06.1 |  | Providing & constructing Brick Masonry of 115 mm thk with CM 1:4 in proper line, level & plumb . At every 4th coarse ht.02 nos 6mm dia round bars as stiffeners should provided. Rate should be include the cost of stiffeners,scaffolding completing with curing as per drawings or as directed by Architect/site Incharge. | Sq. ft. | RO |  |  |  | LOCATION DESCRIPTION Providing & constructing Brick Masonry of 115 mm thk with CM 1:4 in proper line, level & plumb . At every 4th coarse ht.02 nos 6mm dia round bars as stiffeners should provided. Rate should be include the cost of stiffeners,scaffolding completing with curing as per drawings or as directed by Architect/site Incharge.
2.06.2 |  | Providing & constructing Brick Masonry of 230 mm thk with CM 1:4 in proper line, level & plumb At every 1 tm ht. interval stiffener should be provided. Rate to include the cost of stiffener, the necessary curing scaffolding etc. complete as directed by Architect. | Sq. ft. | RO |  |  |  | LOCATION DESCRIPTION Providing & constructing Brick Masonry of 230 mm thk with CM 1:4 in proper line, level & plumb At every 1 tm ht. interval stiffener should be provided. Rate to include the cost of stiffener, the necessary curing scaffolding etc. complete as directed by Architect.
2.07 |  | PLASTER | [5 empty] | LOCATION DESCRIPTION PLASTER
| BASEMENT STORE | P/L12-15mm thick plaster in cement mortar 1:4 (1 cement : 4coarse sand) to ceiling, all typesof R.C.C. work, brick work surfaces at all levels in line,level and plumb including smooth cement finish and providing necessary grooves at junctions of walls.Rate shall be inclusive of scaffolding and complete with curing etc | Sq. ft. | 4000 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION P/L12-15mm thick plaster in cement mortar 1:4 (1 cement : 4coarse sand) to ceiling, all typesof R.C.C. work, brick work surfaces at all levels in line,level and plumb including smooth cement finish and providing necessary grooves at junctions of walls.Rate shall be inclusive of scaffolding and complete with curing etc
2.08 |  | RCC WORKS | [5 empty] | LOCATION DESCRIPTION RCC WORKS
| BASEMENT STORE | Providing & laying RCC slab & lintel of size 41/2" x 6" over door in FOH area. Rates include the centerring & shuttering and steel reinforcement at all levels, excluding underplaster. | Rft. | 30 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & laying RCC slab & lintel of size 41/2" x 6" over door in FOH area. Rates include the centerring & shuttering and steel reinforcement at all levels, excluding underplaster.
2.09 |  | LT PANEL, SERVER & COUNTER BASE WORK | [5 empty] | LOCATION DESCRIPTION LT PANEL, SERVER & COUNTER BASE WORK
2.1 |  | IPS FLOORING | [5 empty] | LOCATION DESCRIPTION IPS FLOORING
|  | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | Sq. ft. | R.O. |  |  |  | LOCATION DESCRIPTION 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete.
|  | SUB TOTAL OF CIVIL WORK |  |  |  | 0 |  | LOCATION DESCRIPTION SUB TOTAL OF CIVIL WORK
3 |  | FLOORING | [5 empty] | LOCATION DESCRIPTION FLOORING
3.01 | BASEMENT STORE | FLOORING TILE Providing & laying Olive Matt Max Stone tiles of size of 600 x 600 mm on 40 mm thk of cement sand bedding with CM 1:4 (fixing to be done with cement slurry & paste) for dinning area with all grouting.Marfil Make (Basic Rate of tile Rs.65/- per sq.ft.) including necessary wastage ,cutting, covering protection Sheet ( PVC )_ complete. | Sq. ft. | R.O. |  |  |  | LOCATION BASEMENT STORE DESCRIPTION FLOORING TILE Providing & laying Olive Matt Max Stone tiles of size of 600 x 600 mm on 40 mm thk of cement sand bedding with CM 1:4 (fixing to be done with cement slurry & paste) for dinning area with all grouting.Marfil Make (Basic Rate of tile Rs.65/- per sq.ft.) including necessary wastage ,cutting, covering protection Sheet ( PVC )_ complete.
3.02 | BASEMENT STORE | Providing & fixing of 12 mm thk. 0'-4" high Tile Skirting (Olive Matt Max Stone tiles ( Marfil Make ) over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of tile including necessary wastage ,cutting, covering protection Sheet ( PVC ) complete. | Rft | R.O. |  |  |  | LOCATION BASEMENT STORE DESCRIPTION Providing & fixing of 12 mm thk. 0'-4" high Tile Skirting (Olive Matt Max Stone tiles ( Marfil Make ) over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of tile including necessary wastage ,cutting, covering protection Sheet ( PVC ) complete.
3.03 | GRANITE Door Cill 6" BASEMENT FLOOR | Providing & fixing of 19 mm thk. granite 6" wide door Cill over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding & polishing, covering protection Sheet ( PVC ) complete. complete. (Base Rate of granite is Rs 180 /- sq.ft.) | Rft | 16 |  | 0 |  | LOCATION GRANITE Door Cill 6" BASEMENT FLOOR DESCRIPTION Providing & fixing of 19 mm thk. granite 6" wide door Cill over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding & polishing, covering protection Sheet ( PVC ) complete. complete. (Base Rate of granite is Rs 180 /- sq.ft.)
3.04 |  | Providing & laying of 25 thk. 560mmX560mm Kota Stone flooring over a bed of 20mm thk. Cement mortar (1:4) jointed with cement slurry mixed with pigment to match the color of kota stone including hole cutting for traps etc. necessary cutting, rubbing, grinding and mirror polishing, covering protection Sheet ( PVC ) complete as per the details are provided in drawings or as directed by Architect/Engineer. | Sq. ft. | 595 |  | 0 |  | LOCATION DESCRIPTION Providing & laying of 25 thk. 560mmX560mm Kota Stone flooring over a bed of 20mm thk. Cement mortar (1:4) jointed with cement slurry mixed with pigment to match the color of kota stone including hole cutting for traps etc. necessary cutting, rubbing, grinding and mirror polishing, covering protection Sheet ( PVC ) complete as per the details are provided in drawings or as directed by Architect/Engineer.
3.05 |  | Providing & fixing of 25mm thk. kota stone 4" high over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the coloure of KOTA including necessary wastage ,cutting ,grinding & polishing, Covering Protection sheet ( PVC ) completed as per the details are provided in drawings or as directed by Architect/Engineer. | Rft | 230 |  | 0 |  | LOCATION DESCRIPTION Providing & fixing of 25mm thk. kota stone 4" high over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the coloure of KOTA including necessary wastage ,cutting ,grinding & polishing, Covering Protection sheet ( PVC ) completed as per the details are provided in drawings or as directed by Architect/Engineer.
|  | SUB TOTAL OF FLOORING WORK |  |  |  | 0 |  | LOCATION DESCRIPTION SUB TOTAL OF FLOORING WORK
4 |  | WALL TILING | [5 empty] | LOCATION DESCRIPTION WALL TILING
4.01 | BASEMENT STORE WALL TILES | P/ fixing glazed ceramic (Kajaria /Johnson Make) White- (8"x 12") Wall tiles as approved in kitchen over a base of 20-25mm thick plaster with cement mortar 1:3 (1 cement: 3 fine sand) as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as/spec.(Basic cost of tile Rs.25/- per sft.) (TILES TO BE PASTED ABOVE 4" HIGH. TILE SKIRTING TILL FALSE CEILING NO TILE TO BE CUT IN VERTICAL) | Sq. ft. | 1800 |  | 0 |  | LOCATION BASEMENT STORE WALL TILES DESCRIPTION P/ fixing glazed ceramic (Kajaria /Johnson Make) White- (8"x 12") Wall tiles as approved in kitchen over a base of 20-25mm thick plaster with cement mortar 1:3 (1 cement: 3 fine sand) as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as/spec.(Basic cost of tile Rs.25/- per sft.) (TILES TO BE PASTED ABOVE 4" HIGH. TILE SKIRTING TILL FALSE CEILING NO TILE TO BE CUT IN VERTICAL)
|  | SUB TOTAL OF WALL TILING |  |  |  | 0 |  | LOCATION DESCRIPTION SUB TOTAL OF WALL TILING
5 |  | WOODWORK | [5 empty] | LOCATION DESCRIPTION WOODWORK
5.01 | DOOR FRAMES BASEMENT STORE | P/F HARD Wood door frames i.e Sal wood or Equivalent 2.5"X 5"complete with grooves as specified complete polished matching to the laminate as specified, with all necessary hardware such as hold fasts with polish finish of approved shade etc. completed as per design & details given in drawing/Architect instruction. Architect to mention the size and number of HOLD FASTS, door frames to be manufactured with horns minimum 3" , rebate size and a temporary wooden strip to retain the shape of the frame etc.including polish of approved shade. Basic cost of wood is Rs..2000.00 per Cu. ft. | Rft | 78 |  | 0 |  | LOCATION DOOR FRAMES BASEMENT STORE DESCRIPTION P/F HARD Wood door frames i.e Sal wood or Equivalent 2.5"X 5"complete with grooves as specified complete polished matching to the laminate as specified, with all necessary hardware such as hold fasts with polish finish of approved shade etc. completed as per design & details given in drawing/Architect instruction. Architect to mention the size and number of HOLD FASTS, door frames to be manufactured with horns minimum 3" , rebate size and a temporary wooden strip to retain the shape of the frame etc.including polish of approved shade. Basic cost of wood is Rs..2000.00 per Cu. ft.
5.02 | Cashier Entry Door | Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, without vision panel. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick & push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect/Engineer. ( Door Size 3'-0" x 7'0" ) | No | 1 |  | 0 |  | LOCATION Cashier Entry Door DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, without vision panel. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick & push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect/Engineer. ( Door Size 3'-0" x 7'0" )
5.03 | KFC DRY STORE Entry Door | Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1'-0" x 1'-0" at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick & push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect/Engineer. ( Door Size 3'-6" x 7'0" ) | No | 1 |  | 0 |  | LOCATION KFC DRY STORE Entry Door DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1'-0" x 1'-0" at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick & push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect/Engineer. ( Door Size 3'-6" x 7'0" )
5.04 | MAIN ENTRY DOOR & CHILLER STORE ENTRY DOOR | Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1'-0" x 1'-0" at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick & push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect/Engineer. ( Door Size 4'-0" x 7'0" ) | No | 2 |  | 0 |  | LOCATION MAIN ENTRY DOOR & CHILLER STORE ENTRY DOOR DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1'-0" x 1'-0" at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick & push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect/Engineer. ( Door Size 4'-0" x 7'0" )
5.05 | KEY BOX | Key Box (As per Standard Design) | No. | 1 |  | 0 |  | LOCATION KEY BOX DESCRIPTION Key Box (As per Standard Design)
|  | SUB TOTAL OF WOODWORK |  |  |  | 0 |  | LOCATION DESCRIPTION SUB TOTAL OF WOODWORK
6 |  | FALSE CEILING WORK | [5 empty] | LOCATION DESCRIPTION FALSE CEILING WORK
6.01 | Metal Grid Ceiling in BASEMENT STORE | Supply and Installation of powder quoted , metal grid false ceiling with tiles of 600 x 600 mm of 0.4mm thick of approved make with necessary supporting Grid system of approved make and accessories to hold in position as per the manufacturers specifications adhering to detail drawings. Make shall be of DMC / approved equivalent make as approved by the Architects. Rate includes all lead,lifts for all scafolding, necessary hardware, wastage & labour etc complete. ( Base Rate of Metal Grid Ceiling @ Rs. 150/- Sqft ) | Sq. ft. | 545 |  | 0 |  | LOCATION Metal Grid Ceiling in BASEMENT STORE DESCRIPTION Supply and Installation of powder quoted , metal grid false ceiling with tiles of 600 x 600 mm of 0.4mm thick of approved make with necessary supporting Grid system of approved make and accessories to hold in position as per the manufacturers specifications adhering to detail drawings. Make shall be of DMC / approved equivalent make as approved by the Architects. Rate includes all lead,lifts for all scafolding, necessary hardware, wastage & labour etc complete. ( Base Rate of Metal Grid Ceiling @ Rs. 150/- Sqft )
|  | SUB TOTAL OF FALSE CEILING |  |  |  | 0 |  | LOCATION DESCRIPTION SUB TOTAL OF FALSE CEILING
7 |  | MISC. WORK | [5 empty] | LOCATION DESCRIPTION MISC. WORK
7.01 | BASEMENT STORE | Providing & fixing of 25mm x 25mm SS (202 Grade) Tile Guard in Stainless Steel ( Brushed surface finished 1mm thk.) complete as per approved specification, completed as per the details are provided in drawings or as directed by Architect/Engineer. | Rft | 56 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & fixing of 25mm x 25mm SS (202 Grade) Tile Guard in Stainless Steel ( Brushed surface finished 1mm thk.) complete as per approved specification, completed as per the details are provided in drawings or as directed by Architect/Engineer.
7.02 | BASEMENT STORE | Providing & appling 6mm thick POP Punning on Walls with necessary grooves ( if required ) as per design for all heights & levels. | Sqft | 230 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & appling 6mm thick POP Punning on Walls with necessary grooves ( if required ) as per design for all heights & levels.
7.03 | BASEMENT STORE | Providing & applying Of Two or more coats of roller applied premium acrylic emulsion(Asian -8473- Grey) paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture (Asian Paints applyingTwo coats birla putty to achive smooth surface of FOH Wall area and one coats primer and two or more coats of paint to achieve even shade and colour as per direction and satisfaction of Architect | Sqft | 230 |  | 0 |  | LOCATION BASEMENT STORE DESCRIPTION Providing & applying Of Two or more coats of roller applied premium acrylic emulsion(Asian -8473- Grey) paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture (Asian Paints applyingTwo coats birla putty to achive smooth surface of FOH Wall area and one coats primer and two or more coats of paint to achieve even shade and colour as per direction and satisfaction of Architect
7.04 | BASEMENT STORE | Exhaust fan - 15" | no | 1 |  |  |  | LOCATION BASEMENT STORE DESCRIPTION Exhaust fan - 15"
|  | Total of Misc. Work |  |  |  | 0
Total Amount | [5 empty] | 0

## Basement MB (hidden)
BASEMENT STORE AREA | 1 | 24 |  | 25.25 | 606
Antitermite Treatment | 1 | 24 |  | 25.25 | 606
Waterproofing | 1 | 50.32 |  | 10.76 | 541.4432
| 1 | 63.71 | 3.28 | 1.5 | 313.4532
854.8964
855
Floor raised filling
| 1 | 50.32 | 10.76 |  | 541.4432
541.4432
Screeding |  |  |  |  | 545
| 1 | 50.32 | 10.76 |  | 541.4432
541.4432
545
Block Masonary
Front & Back side wxternal wall | 2 | 24 |  | 12 | 576
Less Door | -1 | 4 |  | 7 | -28
Left side up to column | 1 | 10.75 |  | 12 | 129
Left side after column | 1 | 10.92 |  | 12 | 131.04
Right side wall | 1 | 24.42 |  | 12 | 293.04
Internal walls Rack & chiller Partition walls | 1 | 14.33 |  | 12 | 171.96
Rack & KFC Dry Sry Store partition wall | 1 | 21.25 |  | 12 | 255
Less Dry store entry door | -1 | 4 |  | 7 | -28
KFC Dry Store & Seating area partition wall | 1 | 19.25 |  | 12 | 231
KFC Dry store entry wall | 1 | 5.33 |  | 12 | 63.96
Less Door | -1 | 3.42 |  | 7 | -23.94
Cashier & seating entry partition wall | 1 | 5.67 |  | 12 | 68.04
Less Entry door | -1 | 2.92 |  | 7 | -20.44
0
1818.66
181.866
2000.526
Plaster both sides of wall
Front & Back side wxternal wall | 4 | 24 |  | 12 | 1152
Less Door | -2 | 4 |  | 7 | -56
Left side up to column | 2 | 10.75 |  | 12 | 258
Left side after column | 2 | 10.92 |  | 12 | 262.08
Right side wall | 2 | 24.42 |  | 12 | 586.08
Internal walls Rack & chiller Partition walls | 2 | 14.33 |  | 12 | 343.92
Rack & KFC Dry Sry Store partition wall | 2 | 21.25 |  | 12 | 510
Less Dry store entry door | -2 | 4 |  | 7 | -56
KFC Dry Store & Seating area partition wall | 2 | 19.25 |  | 12 | 462
KFC Dry store entry wall | 2 | 5.33 |  | 12 | 127.92
Less Door | -2 | 3.42 |  | 7 | -47.88
Cashier & seating entry partition wall | 2 | 5.67 |  | 12 | 136.08
Less Entry door | -2 | 2.92 |  | 7 | -40.88
0
3637.32
363.732
4001.052
4000
RCC Lintel
Door Lintel | 2 | 6 |  |  | 12
| 1 | 5 |  |  | 5
| 2 | 5.5 |  |  | 11
28
2.8
30.8
30
Floor Tiles
| 1 | 50.32 |  | 10.76 | 541.4432
54.1443
595.5875
595
Floor Tiles
Skirting | 1 | 63.71 | 3.28 |  | 208.9688
20.8969
229.8657
230
DOOR Cill
| 2 | 4.08 |  |  | 8.16
| 1 | 3 |  |  | 3
| 1 | 3.5 |  |  | 3.5
14.66
1.466
16.126
16
Base Ment Wall tiles
| 1 | 63.71 | 3.28 | 8 | 1671.7504
| -1 | 4 |  | 7 | -28
1643.7504
164.375
1808.1254
1800
Door Frame
| 8 | 7 |  |  | 56
| 2 | 4 |  |  | 8
| 1 | 3 |  |  | 3
| 1 | 3.5 |  |  | 3.5
70.5
7.05
77.55
78
Metal grid Ceiling
| 1 | 50.32 |  | 10.76 | 541.4432
541.4432
545
POP Punning on walls
| 1 | 63.71 | 3.28 | 1 | 208.9688
20.8969
229.8657
230
Paint on walls
| 1 | 63.71 | 3.28 | 1 | 208.9688
20.8969
229.8657
230