## HVAC
LIST OF APPROVED MAKES - HVAC
No deviations shall be permitted.
All materials to be used shall be of first quality unless otherwise specified
Wherever there is a proposal to use "equivalent " makes(other than the specified makes mentioned in BOQ)the same shall be done only after the prior approval of engineer incharge.
HVAC WORKS.
S.NO | ITEM DESCRIPTION | MAKE
HVAC EQUIPMENTS
1 | Air Handling Unit and Fan Sections- AHRI/Eurovent Certified** | VTS, Zeco, Edgetech, Systemaire, Flaktwoods Climaveneta Dri, Stulz, Daikin, Waves, Humidin.
DUCTING AND AIR TERMINALS
2 | GI Sheets | Indian Steel Corporation, Jindal, SAIL, TATA.
3 | Factory Fabricated ducts | Rolastar, Zeco, GSR Airotech, GP Spira.
4 | Flexible duct | Atco, Titus, UP Twiga, Seven Star, Caryaire.
5 | Grille/Diffuser/Dampers/ Louvers | Systemair, Dynacraft, Trox, Airmaster.
6 | Smoke / Fire Damper ( UL listed & Stamped) | Greenheck, Systemair, Trox, Ruskin, Dynacraft, Air Master, Titus.
7 | Diffuser Plenum boxes (Pre-insulated) | Systemair, Airmaster, Trox, Dynacraft, Ruskin.
8 | Volume Control Dampers/ Pressure Relief Damper/Gravity Dampers/ Louvers | Airmaster, Dynacraft, Systemair, Trox
9 | Flexible Duct Connector | Airmaster, Dynacraft, Systemair, ATCO, EASYFLEX, MAPRO, RESISTOFLEX
INSULATIONS
10 | Duct Insulation closed cell Nitrile Rubber with Glass Cloth | Armacell, Trocellen, K- Flex, A-flex, Superlon.
11 | Duct Accoustic Lining ( Open cell) | Armacell, K- Flex, A-flex, Superlon
12 | Poplyurethane Foam (PUF) / POLY- Isocyanurate Foam | Lloyd Insulation, PAL, Technonicol
13 | Insulation Protective Coating | FOSTER 30-36, MAGIK 30-36, STARBOND 30-36, FEVICOL (WEATHER PROTECT COAT), CISCHEM/CISBOND
14 | ADHESIVE FOR NITRILE FOAM | POLYTREAT(ENIFIX 530), FEVICOL AC DUCT KING (ECOFRESH), CISCHEM/CISBOND
15 | Glass Cloth | OWENS CORNING, PARAFAB, UP TWIGA, KIMCO
16 | Cold Bitumin Adhesive | ENIFIX BA -60, PIDILITE, CISCHEM/CISBOND
17 | Aluminium Tape | Johnson Birla, 3M
18 | Vapour Barrier | STAR BOND – VB, Ameetuf, CISCHEM/CISBOND
PIPES AND VALVES
19 | M.S. Pipe ( Less than 300 mm Dia - ERW pipe | Jindal Hissar, Tata Steel, SAIL
20 | Butterfly Valve | Audco, Danfoss, Honeywell, L&T, Castle, Advance.
21 | Pressure Independent Balancing Valves/ 2 Way valves/Energy Valves | Belimo, Danfoss, Siemens, Oventrop, Flowcon.
22 | Y Strainers | Emerald, Sant, Zoloto, Rapid Control, Leader, Castle.
23 | UPVC Pipes & Fitings | Astral, Prince, Supreme, Finolex, Sintex, George Fischer, Ashirwad, HIL
24 | Auto Air Vents | Anergy, Flamco, Oventrop, Castle
25 | Pipe supports | Diamond, Hi-tech, Seven star, Gripple, Hilti
26 | PUF section for pipe support | Lloyd, Malanpur, Technonicol, Seven Star
CONTROLS, SENSORS & GAUGES
27 | Pressure (Industrial Type) & Temperature Gauge | H. Guru, Fiebig, Waree, Baumer, Forbes Marshall, Wika, Switzer
28 | Test Points | Anergy, Flamco
Note :- For Controls related items please follow BMS/FDAS list of makes
HANGERS, ISOLATORS
29 | Vibration/spring Isolator, Flexible Pipe Connection | CORI, Dunlop, Easyflex, Resistoflex, Fenner, Kunwal
30 | Anchor Fastner | Fischer, Hilti, Power Fastener, Wuerth, Waluren, Mongo
31 | Isolation Pad | CORI, Fenner Muepro, Pioneer
32 | Hanging/ Wire Support & Accessories | Gripple, Hilti, Dobi, GPL Technical Solutions Pvt. Ltd.
33 | Duct Supports | Hi-tech, Hilti
MISCELLANEOUS
34 | Paint | Asian Paints, Berger, Nerolac, ICI
35 | PASSIVE FIRE PROTECTION /Fire sealant | BIRLA, 3 M, HILTI, PROMAT, CISCHEM/CISBOND

## ELECTRICAL
LIST OF APPROVED MAKES - ELECTRICAL & ELV
No deviations shall be permitted.
All materials to be used shall be of first quality unless otherwise specified
Wherever there is a proposal to use "equivalent " makes(other than the specified makes mentioned in BOQ)the same shall be done only after the prior approval of engineer incharge.
SL.NO | ITEM DESCRIPTION | MAKE
ELECTRICAL EQUIPMENTS
1 | UPS(PARALLEL REDUNDANT)** | APC EMERSON (Vertiv) REILLO PCI Numeric SOCOMEC ABB EATON FUJI DELTA
2 | SERVO STABILIZER, INVERTER | BHEL L&T NGEF SIEMENS TATA LIBERT ENERTECH APC DUBAS AMARON LUMINEX MICROTEK SUKAM
3 | VALVE REGULATED Lead Acid (VRLA) BATTERY | PANASONIC HBL ENERSYS AMCOSAFT EXIDE AMAR RAJA
4 | CENTRAL BATTERY SYSTEM FOR EMERGENCY LIGHTING | EATON ABB SCHNEIDER TECHNOWARE
5 | ELECTRIC MOTORS | ABB CROMPTON KIRLOSKAR SIEMENS BHARAT BIJLEE BHEL GE
PANELS, DISTRIBUTION BOARD & SEITCHGEARS
1 | MAIN LT PANELS, SMDB (IEC 61439 COMPLIED FORM 4B) – Compact type** | ABB (ArTuk) SIEMENS (Sivacon) SCHNEIDER (Blockset) L&T (Ti) System Integrator Make Tricolite (LV-Schneider & HT-ABB) , Advance Panels (L&T and Siemens), SPC Electrotech (L&T), Adlec (Siemens and Schneider) and AMBIT (LV-Schneider & HT- ABB) NEPTUNE (LV-ABB) TECHNOCRAFT MARINE
2 | LT Panels (Form 3B) , MCC , Form 2B- Compact type** | Schneider ABB Siemens L&T System Integrator Make: Tricolite (LV-Schneider & HT-ABB) , Advance Panels (L&T and Siemens), SPC Electrotech (L&T), Adlec (Siemens and Schneider) and AMBIT (LV-Schneider & HT- ABB) NEPTUNE (LV-ABB) TECHNOCRAFT MARINE
3 | MCCB | SIEMENS (3VL) L&T (DSINE) ABB (TMAX) SCHNEIDER (NSX) LEGRAND (DPX3)
4 | MPCB, CONTACTOR , ISOLATORS | L&T SIEMENS SCHNEIDER ABB LEGRANDS
5 | STARTERS | SIMENS CROMPTON L&T ABB GE SCHNEIDER INDO ASIAN ANANT POWER
6 | DISTRIBUTION BOARDS with MCB / RCBO / RCCB / RCBO / ELCB | ABB (S-Series) LEGRAND (Ekinoxe 3) SCHNEIDER (Acti-9) SIEMENS (Beta-Guard) INDOASIAN (Optipro)
7 | ROTARY SWITCH | SIEMENS KEYCEE SALZER L&T SIMCO IMP AUTOMATIC GEC MECO AE CONSERVE
8 | PUSH BUTTON AND PUSH BUTTON SET | SIEMENS SCHNEIDER ELECTRIC L & T
9 | SELECTOR SWITCH | KEYCEE SALZER Havells Siemens ABB L&T
10 | AUTO TRANSFER SWITCH (ATS) | SOCOMEC LEGRAND SCHNEIDER ASCO ABB-Zenith SIEMENS - RUSSEL ELECTRIC
11 | CT & PT (415V) | ASHMOR KAPPA PRAGATI ABB SIEMENS SCHNEIDER L&T GILBERT & MAXWELL ADVANCE PRECISE MATRIX
12 | MEASURING INSTRUMENTS | FLUKE RISHABH KRYCARD YOKOGAWA
13 | SPD (SURGE ARRESTER) | SCHNEIDER L&T ABB PHONEIX DEHN
14 | METERS (ANALOG) | MECO RISAHBH NIPPEN CONSERVE SIMCO L&T SIEMENS
15 | METERS (DIGITAL) | SCHNEIDER ABB SIEMENS L&T SOCOMEC
16 | ENERGY METER (MFM) | SCHNEIDER ABB SIEMENS L&T NEPTUNE HPL SOCOMEC
17 | DIGITAL METER (PREPAID) | CRYSTAL SECURE METER XENIUS RADIUS GENIUS L&T GE
18 | INDICATING LAMPS | SIEMENS SCHNEIDER ABB L&T
19 | VARIABLE FREQUENCY DRIVE (STAND ALONE PANELS) | ABB SIEMENS ALLEN BRADLEY ALSTOM DANFOSS HONEYWELL
20 | ELECTRIC TIMER | SIEMENS LEGRAND ABB SCHNEIDER L&T
21 | CONNECTORS (COLOURS AS PER PHASE & NEUTRAL) | WAGO PHOENIX CONTACT CONNECTWEL
22 | INDICATION LED LAMP | SCHNEIDER ABB L&T SIEMENS C&S
WIRE, CABLE & TERMINATION KITS
1 | LT (1100V) XLPE INSULATED CABLES** | POLYCAB FINOLEX GLOSTER RAJNIGANDHA UNIVERSAL GEMSCAB DUCAB KEI APAR BONTON RAVIN KEC-RPG
2 | WIRES FOR INTERNAL WIRING | FINOLEX GLOSTER POLYCAB RAJNIGANDHA GRANDLAY DUCAB
3 | LUGS | 3M RAYCHEM CABSEAL DENSON DOWELLS COMET COSMOS
4 | CABLE GLAND | 3M RAYCHEM CABSEAL DENSON DOWELLS COMET COSMOS
5 | CABLE CLAMP | DOWELLS COMET COSMOS 3M RAYCHEM CABSEAL DENSON
6 | INDOOR LED LIGHT FIXTURES | PHILIPS (Signify) ENDO OSRAM WIPRO HAVELLS IGUZZINI LED LINEAR LIGHTNET WILA GLAMOX DELTALIGHT XAL REGENT COLORKINETICS
7 | EMERGENCY LIGHTING FIXTURES | PROLITE EATON ACCULITE INSTAMARK TECHNOWARE
8 | LIGHTING SENSORS | LUTRON HONEYWELL CRESTON HELVER ZUMTOBEL SCHNEIDER PHILIPS ENDO OSRAM WIPRO HAVELLS
9 | DIMMERS & CONTROLS | LUTRON HONEYWELL CRESTON HELVER ZUMTOBEL SCHNEIDER PHILIPS ENDO OSRAM WIPRO HAVELLS
SWITCH SOCKET RECEPTACLES
1 | MODULAR SWITCHES, SOCKETS & OTHER ACCESSORIES | LEGRAND-MYRIUS SCHNEIDER-ZENCELO MK-ELEMENTS CRABTREE-MURANO
2 | METAL CLAD SOCKET WITH MCB | LEGRAND SCHNEIDER HANSEL SIEMENS MK
3 | INDUSTRIAL SOCKET | SIEMENS
4 | OUTLETS | SCHNEIDER LEGRAND HANSEL MK
5 | PVC JUNCTION BOX OUTDOOR & INDOOR | HENSEL CLIPSAL PHOENIX
CONDUITS & TRUNKING
1 | PVC CONDUITS AND ACCESSORIES | BEC AKG POLYPACK PRECISION ATUL PIPE
2 | M.S./ GI CONDUIT AND ACCESSORIES | BEC AKG RMCON ATUL PIPE SUPER SALES CORPORATION
3 | PVC TAPE | STEEL GRIP ISI APPROVED
4 | TERMINAL BLOCKS | CONNECT WELL ELMEX WAGO PHONEIX
5 | ACCESSORIES FOR SUPPORTING SYSTEM | HILTI FISHER HIRA 3M
6 | INSULATING MATS | DL MILLER & CO PREMIER POLYFILM LTD RMG POLYVINYL INDIA LTD
7 | CABLE TRAY (LADDER TYPE / PERFORATED / WIRE MESH) | OBO SLOTCO LEGRAND MK MEM ANANT POWER
8 | CABLE TRAY SUPPORT SYSTEM | OBO BETTERMANN SLOTCO LEGRAND MK MEM ANANT POWER
9 | FLOOR TRUNKING | MK LEGRAND SCHNEIDER MEM ANANT POWER
10 | FLOOR JUNCTION BOX | MK LEGRAND SCHNEIDER MEM ANANT POWER
ELV SYSTEM
1 | DATA SWITCH | CISCO IBM SIEMENS HP AVAYA
2 | FIRE SURVIVAL CABLES** | POLYCAB RAJNIGANDHA GEMSCAB GLOSTER FINOLEX BATRA HENLAY DUCAB KEI APAR BONTON UNIVERSAL KEC-RPG RAVIN, 3M
3 | CONTROL CABLE** | POLYCAB FINOLEX GEMSCAB RAJNIGANDHA GLOSTER KEI APAR BONTON RAVIN UNIVERSAL KEC-RPG
4 | TELEPHONE CABLE | CALIPLAST EMINENT POLYCAB HAVELLS FINOLEX
5 | COAXIAL TV CABLE | CALIPLAST EMINENT POLYCAB HAVELLS FINOLEX
6 | SIGNAL CABLE | ENERCON LAPP INDIA EMINENT CALIPLAST
7 | CAT-6A | D-LINK AVAYA TYCO MOLEX LEGRAND
8 | EPABX | NORTEL SIEMENS ALCATEL NEC MATRIX PANASONIC
9 | FIBER OPTIC CABLE | DIGI LINK STERLITE HFCL FINOLEX LEGRAND
10 | ANTENNA SYSTEM | KAVVERI TELECOM CELLCOMM
11 | CO-AXIAL FEEDER CABLE | BELDEN,COMMSCOPE KAVVERI TELECOM CELLCOMM
12 | COUPLER / CONNECCTORS | COMMSCOPE KAVVERI TELECOM CELLCOMM
13 | DAS/CPMI ACTIVE UNIT | ZINWAVE NOKIA SIEMENS COMMSCOPE
14 | TMR AMPLIFIFER | AXELL WIRELESS MOTOROLA NOKIA SIEMENS
15 | TRUNK MOBILE RADIO | MOTOROLA SAMSUNG
16 | AIR CRASH BARRIER | SAHYADRI ELECTRO CONTROLS
17 | MUSHROOM TYPE PUSH BUTTON | TEKNIC SCHNEIDER SCHMERSAL BCH ELECTRIC
18 | AUDIO /VISUAL ANNUNICATOR | SAHYADRI ELECTRO CONTROLS
19 | External Hooter | FEDERAL SIGNAL
20 | Hot Line Phones | AVAYA NEC MATRIX
21 | UVSS | GODRAJ
22 | Relay ELV | OEMRAN PLA RELAYS
23 | ANY OTHER ITEM | For non-listed items, contractor will submit the sample of the product to assure the quality of the product. After getting the approval of the non-listed item, contractor will supply the item.
LIST OF RECOMMENDED SPECIALIZED AGENCIES
1 | Electrical | Sterling & Wilson Electricals Pvt. Ltd. Sterling Electro Enterprises Pvt. Ltd Antelec Ltd. Siemens Building Technologies P.Ltd., Schneider Electric India Pvt. Ltd., Advance Panels and Switchgears
2 | Public Address System | ANLON IPS Engineering Pvt. Ltd. SkyTech Solutions Pvt. Ltd. ARINC Siemens Enterprise Communications Pvt. Ltd. Schneider Electric India Pvt. Ltd.

## FIRE
LIST OF APPROVED MAKES - FIRE
No deviations shall be permitted.
All materials to be used shall be of first quality unless otherwise specified
Wherever there is a proposal to use "equivalent " makes(other than the specified makes mentioned in BOQ)the same shall be done only after the prior approval of engineer incharge.
SL.NO | ITEM DESCRIPTION | MAKE
FIRE PROTECTION
1 | VALVES (ISOLATION) | INTERVALVE, LEADER, SANT, ZOLOTO, RAPIDROP, TYCO, VIKING, VICTAULIC
2 | PRESSURE GAUGE | H GURU, FIEBIG, DANFOSS, WAREE, WIKA, FORBES, MARSHALL, SWITZER
3 | FLOW SWITCHES / ZONE CONTROL VAVLE | DANFOSS, HONEYWELL, SWITZER, VIKING, VICTAULIC / POTTER, SYSTEM SENSOR
4 | COATING & WRAPPING | IWL, RUSTEK, EQUIVALENT, PYPKOTE, COALTECK, WIKA
5 | ENAMEL PAINT | Asian Paints, Berger, Nerolac
6 | PAINT PRIMERS | Asian Paints, Berger, Nerolac
7 | SPRINKLERS | H.D. FIRE, TYCO, VIKING, RAPIDDROP, VICTAULIC
8 | FIRE EXTINGUISHERS | MINIMAX, NEWAGE, SAFEGUARD, KANEX, CEASE FIRE, PADMINI, SUPEREX, OMEX, GETECH, FIREX
9 | INSTALLATION CONTROL VALVE | HD FIRE, NEWAGE, VIKING
10 | PIPE HANGERS | CAMRY CHILLY GMGR GRIPPLE
11 | AIR RELEASE VALVES | NEWAGE, SBJ, ZOLOTO, ANERGY, FLAMCO, OVENTRAP, CASTLE
12 | SPRINKLER FLEXIBLE CONNECTION PIPE | NEWAGE, FLEXHEAD, VICTAULIC, VIKING, TYCO, RAPIDROP
13 | NOVEC 1230 GAS SUPPRESSION SYSTEM (UL LISTED) | 3M ANSUL KIDDE ROTAREX MINIMAX KANEX CEASEFIRE
14 | MS PIPE** | JINDAL HISSAR, TATA STEEL, SAIL, JINDAL STAR, SURYA ROSHNI, PRAKASH SURYA
15 | G.I. PIPE (CLASS-C)** | JINDAL HISSAR, TATA STEEL, SAIL, JINDAL STAR, SURYA ROSHNI, PRAKASH SURYA
16 | G.I. PIPE FITTINGS | ZOLOTO, UNIK, DRP, MICROMETAL, JAINSON
17 | GI SEALENT | HENKEL – LOCTITE HOLDITTE
18 | PANEL GAS SUPRESSION SYSTEM | ANSUL, ROTAREX, MINIMAX, KANEX, HONEYWELL, CEASEFIRE, NOVEC-1230, FIREMECH
19 | FLOW METER | GERRAND, DARLING MUSCO, FINOTECH, TYCO, VIKING
20 | GLOBE VALVE / BALL VALVE | GIACOMMINI, LEADER, RAIPDROP, ZOLOTO, SANT
21 | FIRE BLANKETS | MIDAS, TOPSPEC, BELLSTONE, AXUS, DARIT
22 | ANY OTHER ITEM | For non-listed items, contractor shall submit the sample of the product to assure the quality of the product. After getting the approval of the non-listed item, contractor shall supply the item.
Note: ** Makes suggested by Contractor shall meet the technical requirements, specifications, codes and standards and shall ensure fit for purpose Works. For Electrical & Controls related
FIRE ALARM
23 | MAIN FIRE ALARM CONTROL PANEL & TWO WAY COMMUNICATION SYSTEM | EDWARDS, NOTIFIER, SIEMENS - DESIGO, TYCO - SIMPLEX, SCHNEIDER
24 | MULTI SENSOR DETECTOR | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
25 | ADDRESSABLE MANUAL CALL POINT | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
26 | RESPONSE INDICATORS | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
27 | FAULT ISOLATOR MODULE | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
28 | RATE OF RISE HEAT DETECTOR | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
29 | ASPIRATION SMOKE DETECTION SYSTEM | XTRALIS, SIEMENS, SECURITON
30 | ADDRESSABLE INTERFACE MODULES: MONITOR / RELAY / CONTROL / ZONE MONITOR / GAS RELEASE MODULE / ISOLATOR MODULE ETC. | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
31 | SOUNDER CUM STROBES | EDWARDS, NOTIFIER, SIEMENS, TYCO - SIMPLEX, SCHNEIDER
32 | SPEAKERS & AMPLIFIER | HONEYWELL, BOSE, BIAMP, MEYER SOUND
33 | PA WIRE | LAPP INDIA, POLYCAB, GEMSCAB, CALIPLAST
34 | FIRE SURVIVAL CABLE | BONTON, POLYCAB, HAVELLS, LAPP INDIA, RR KABLE, RAJNIGANDHA, GEMSCAB, DUCAB, RAVIN, KEI, KEC-RPG, APAR, FINOLEX
35 | GI CONDUITS | BEC, AKG, PRECISION, NIC, STEELCRAFT
36 | ANY OTHER ITEM | For non-listed items, contractor shall submit the sample of the product to assure the quality of the product. After getting the approval of the non-listed item, contractor shall supply the item.