## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
M | CCTV SYSTEM
M.1 | Supply, Installation, Testing & Commissioning of approved makes CCTV System with suitable / required cabling through suitable size GI Conduit / GI Trunking (Containment size & Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with CCTV console NVR/DVR with Power Box , Suitable POE with Port switch & Surveillance hard disk,etc. carrying out Surface / Concealed wiring as per site condition & maintain aesthetic of the unit. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports / brackets for conduit and Trunking suspension.
M.1.1 | CCTV ceiling Mount Dome Camera, As approved or confirmed by client with all neccessary accessories, etc. | Nos | 11
M.1.2 | CCTV wall Mount Dome Camera, As approved or confirmed by client with all neccessary accessories, etc. | Nos | 1
M.1.3 | Suitable size IDF RACK with Necessary Patch Panel & Network switch as required. | Nos | 1
M.1.4 | 16-Channel NVR | Nos | 1
M.1.5 | SITC of CAT6 cable on surface /concealed/ wall, including suitable conduits, fittings, accessories, etc. | Mtr. | 160