## SUMMARY
Annexure I
BOQ
PROJECT: | TFS- CHENNAI - The Good times BAR
Sr. No. | Item Description | BOQ Amount in INR.
1 | Civil work | #REF!
2 | Carpentary Works | #REF!
3 | P.O.P , Gypsum and Painting Works | 0
4 | Electrical | 0
5 | Signage | 0
| Subtotal amount INR. (without taxes) | #REF!
| CGST / SGST - Taxes - 18% | #REF!
| Total amount INR. (with taxes) | #REF!
NOTE:
This BOQ does not include low cost works for HVAC, Internal and External plumbing.

## POP & Painting works
SR.NO. | DESCRIPTION | QTY | UNIT | RATE/UNIT (INR) | AMOUNT (INR)
III | P.O.P WORKS AND FALSE CEILING
1 | Gypsum panelling
| Gypsum panelling 12 mm thick - Of approved brand - Saint gobin or equivlant | 0 | Sq Ft | 0 | 0
to existing wall surfaces to achieve smooth surface
in true level and plumb complete as directed.
include cost for making grooves up to 12mm thick if required in horizontal or vertical direction for walls and near doors, windows, skirting.
2 | False Ceiling
| P&F of Gypsum false ceiling in 12mm thick India Gypsum or equivalent Gypboard, with GI perimeter channels of size 0.55 mm.thick ( having one flange of 20 mm.& another flange of 30 mm. and a web of 270 mm. ), GI intermediate channels of size 45 mm ( 0.9mm thick to flanges of 15 mm each), GI cleat and steel expansion fasteners, ceiling section of 0.55 thickness having with the help of connecting clip, 12.5mm tapered edge Gypboard ( confirming to IS 2095-1996:part-1), 25mm drywall screws etc necessary hardware fittings as required, after fixing the Gypboard, the joints to be filled with jointing compound, joint paper, tape and two coats of drywall tape suitable for Gypboard ( as per recommended practices of BPB India Gypsum) to gain smooth surface of the ceiling, including all necessary provision making & cutting for light fixtures, AC grills, diffusers, speakers, etc.. Complete in proper line & level as per architectural detail drawing & Site Engineer's instruction. (All GI perimeter , channels - should be Gypsteel India make & Gypboard- India Gypsum or equivalent make). Complete as per architectural detail drawings & site engineer's instruction. (above ledge & serving counter) | 0 | Sq Ft | 0 | 0
TOTAL -II
III | PAINTING WORKS
1 | Providing and applying desired paint luster finish to gypsum ceiling, walls of approved shade.. The surface of wall to be painted shall be prepared and applied with two coats of primer, two coats of putty and touch up putty if required to achieve smooth finish.The surface shall be painted with two coats of luster paint of Nerolac/Berger/Dulux/ Asian/ ICI or equivalent. | 0 | Sq Ft | 0 | 0
2 | P&F app. artwork on painted wall (Non-veg. counter & Ledge counter) | 0 | Sq Ft | 0 | 0
| TOTAL -III |  |  |  | 0

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49