## SUMMARY
Annexure I
BOQ
PROJECT: | TFS- CHENNAI - The Good times BAR
Sr. No. | Item Description | BOQ Amount in INR.
1 | Civil work | #REF!
2 | Carpentary Works | 0
3 | P.O.P , Gypsum and Painting Works | #REF!
4 | Electrical | #REF!
5 | Signage | #REF!
| Subtotal amount INR. (without taxes) | #REF!
| CGST / SGST - Taxes - 18% | #REF!
| Total amount INR. (with taxes) | #REF!
NOTE:
This BOQ does not include low cost works for HVAC, Internal and External plumbing.

## CARPENTARY
SR.NO. | DESCRIPTION | QTY | UNIT | RATE/UNIT (INR) | AMOUNT(INR)
II | CARPENTARY WORKS
1 | Bar - Counters
1.1 | * Providing and fixing 150 mm thk. counter top made in 19mm thk. Ply, finished in approved black corian from top & Front. Internal MS framing to be done in 3" X 3" MS section heavy guage. With both side 19 mm FR rated ply panelling. Internal side to be 0.8 mm approved laminate finish. Strips to be fixed on front edge of counter top. External Finishing will be Subway black tile. Item is considered in civil work. | 32 | Rft | 0 | 0
1.2 | * 150 mm high S.S.strip skirting with 4mm groove | 32 | Rft | 0 | 0
1.3 | * Making of front woodenposts as per approved detail dwg & to be finished in melamine matte polish - Size 10" X 10" X 4' | 3 | Nos | 0 | 0
1.4 | * Making of back woodenposts as per approved detail dwg & to be finished in melamine matte polish - Size 10" X 10" X 8' | 3 | Nos | 0 | 0
1.5 | * Bulkhead Box Panelling above counter having 900mm height to be made in MS framing of 2.5" X 2.5" MS sections heavy guage. Panelling to be done with 19 mm 1 Hr Fire rated ply & finished in approved laminate finish.Complete as per architectural detail drawings & site engineer's instruction. | 96 | Sq Ft | 0 | 0
1.6 | * Internal ceiling Panelling above counter to be made in MS framing of 1.5" X 1.5" MS sections heavy guage. Panelling to be done with 12 mm 1 Hr Fire rated ply & finished in approved laminate finish.Complete as per architectural detail drawings & site engineer's instruction. | 112 | Sq Ft | 0 | 0
1.7 | * Internal ceiling side Panelling above counter to be made in MS framing of 1" X 1" MS sections heavy guage. Panelling to be done with 12 mm 1 Hr Fire rated ply & finished in approved laminate finish.Complete as per architectural detail drawings & site engineer's instruction. | 48 | Sq Ft | 0 | 0
1.8 | * Necessary provision to be done for electrical cut-out & light fixtures | 8 | Nos | 0 | 0
* Size : Length- 7154 mm, counter depth- 400mm, height- 1200mm
( Laminate- Rs.80/ Sft )
( Black subway tile- Rs.250/ Sft )
( Veneer- Rs.120/ Sft )
( Corian- Rs.400/ Sft )
2 | Planter / Pebble box & Shelf
2.1 | * Providing and fixing 25mm thk. planter box made in ply finished in app. veneer with 4mm groove as per design
* Earthen pots to be stacked on each other in box
i | 490mm x 650mm x 38 mm thk. having Ht. 750mm | 0 | No | 0 | 0
ii | 675mm x296mm x 38 mm thk. having Ht. 750mm | 0 | No | 0 | 0
2.2 | * Providing and fixing 25mm thk shelf made in ply finished in app. Laminate finish with 4mm groove as per design. | 4 | No | 0 | 0
( Laminate- Rs.80/ Sft )
( Veneer- Rs.120/ Sft )
3 | Internal Cabinet Work
POS COUNTER WITH STORAGE BELOW
3.1 | * Making & Fixing Internal Cabinet in 19 mm approved 1 hr fire rated ply with approved laminate finsh externally. Internal laminate to be finished in 0.8 mm off white laminate.Cabinet top to be finished in Approved black corian. Fittings to be included such as handels, Hinges, drawers telescopic channels etc. Hardware brand such as Haffle, Hettic or equivalalnt. Cabinet work to be Complete as per architectural detail drawings & site engineer's instruction. Size - 1200 x 675 x 900 CLEAR INSIDE AFFL.(After Finish floor level) | 1 | Nos | 0 | 0
FRONT COUNTER ( BEER MACHINE COUNTER)
3.2 | * Making & Fixing Internal Cabinet in 18 mm approved 1 hr fire rated ply with approved laminate finsh externally. Internal laminate to be finished in 0.8 mm off white laminate. Cabinet top to be finished in Approved black corian. Fittings to be included such as handels, Hinges, drawers telescopic channels etc. Hardware brand such as Haffle, Hettic or equivalalnt. Cabinet work to be Complete as per architectural detail drawings & site engineer's instruction. Size - 2390 x 675 x 900 CLEAR INSIDE AFFL. | 1 | Nos | 0 | 0
* Necessary provision to be done for electrical cut-out & light fixtures.
BOXING WITH DOOR IN FRONT FOR Co₂Cylinde
3.3 | * Making & Fixing Internal Cabinet in 18 mm approved 1 hr fire rated ply with approved laminate finsh externally. Internal laminate to be finished in 0.8 mm off white laminate.Cabinet top to be finished in Approved black corian. Fittings to be included such as handels, Hinges etc. Hardware brand such as Haffle, Hettic or equivalalnt. Cabinet work to be Complete as per architectural detail drawings & site engineer's instruction. Size - 350 x 625 x 1500Ht. | 1 | Nos | 0 | 0
BACK COUNTER WITH SINK & STORAGE
3 | * Making & Fixing Internal Cabinet in 18 mm approved 1 hr fire rated ply with approved laminate finsh externally. Internal laminate to be finished in 0.8 mm off white laminate.Cabinet top to be finished in Approved black corian. Fittings to be included such as handels, Hinges etc. Hardware brand such as Haffle, Hettic or equivalalnt. Back counter with clear 925 mm internal space for equipment. 2 Shutters for storage. space for 2 Nos of chillers & 1 Nos of Sunk in sink. Cabinet work to be Complete as per architectural detail drawings & site engineer's instruction. Size - 3737 x 625 x 925Ht.CLEAR INSIDE AFFL. | 1 | Nos | 0 | 0
4 | Bar Entry Doors
Providing and fixing 50mm thk. Door made in ply boxing with (25mm x 50mm) aluminium framework @ equal distance, finished in app. Laminate from inside & External finish in black subway tile as per design. Including of hardwares fittings of approved brand similar to hettic/haffle or equivlant.
i | (Size: 750mm X 1050mm) (@ Bar) | 1 | No | 0 | 0
( Laminate- Rs.80/ Sft )
5 | BAR Foot rail
i | * Providing and fixing S.S. foot rail of 150mm high & 40mm dia. & with necessary base plates / caps etc & as approved | 32 | R Ft | 0 | 0
6 | Screens
i | Window screen
| * Providing and fixing (75mm x 75mm) wooden main framework (vertical & horizontal memmbers) to be finished in melamine matte polish with necessary connectors from airport glass façade as per design | 0 | No | 0 | 0
| Option - P&F (50mm x 50mm) M.S. box section main framework to be finished in charcoal mine epoxy paint, with necessary connectors from airport glass façade, & with (75mm x 75mm) wooden secondary frame work on which dummy windows to be fixed | 0 | No | 0 | 0
| Option - P&F (50mm x 50mm) M.S. box section main framework to be finished in charcoal mine epoxy paint, with necessary connectors from airport glass façade, & with (50mm x 50mm) M.S. angle secondary framework on which dummy windows to be fixed | 0 | No | 0 | 0
* Dummy windows having various sizes finished in distressed wood paint with stained, clear, frosted, ribbed glass to be fixed on main framing as per design
* Necessary provision to be done for electrical cut-out & light fixtures
* Windows to be made on site
* M.S to be supported from ceiling/ floor/ wall as per detail with necessary M.S support frame with aluminium section
* M.S to be duly coated with red oxide prior works.
* All welds to be neat welds with counter sunk screws / slots whereever necessary
* Linear lights to be fixed on dummy windows as per design
* Size- 9980mm x 6925mm
( Veneer- Rs.120/ Sft )
7 | Dry Partition Full Ht. - Back Side
7.1 | * Providing and fixing 120 mm thk dry partition Full height, back side, with internal aluminium framing of 2" x 2". Heavy guage. Both side bison panelling of 12 mm Thick. Back side to be approved paint finish & front side to be finished in approved antique mirror panelling. From FFL to 1050 mm will be approved laminate finish & from 1050mm - 2400 mm will be finished in antique mirror panelling. Size - 15'-10" X 8' | 128 | Sq Ft | 0 | 0
Dry Partition Ceiling to bar counter top. - Left & Right Side
7.2 | * Providing and fixing 75mm -100 mm thk dry partition both left & right side of the counters, with internal aluminium framing of 1.5" x 1.5". Heavy guage. Both side FR rated ply panelling of 12 mm Thick in approved laminate finish. Size - 2'-6" X 4' X 3"-4" thick | 20 | Sq Ft | 0 | 0
8 | Ledge Counter
8.1 | * Providing and fixing ledge counter 50 mm thick made with internal aluminium framing with heavy guage and both side 1 Hr FR rated ply panelling. Counter Top to be finished in Approved black corian. & Counter bottom to be finished in approved laminte shade. Ledge to be fixed with supporting MS legs in approved shade powder coated finish. Complete as per architectural detail drawings & site engineer's instruction. Size - 2' X 2' X 2'-6" Size - 10' X 2' x 3.5' | 0 | Rft | 0 | 0
9 | Miscellaneous Items
9.1 | Providing & Fixing of 0.5 HP water pump for sink tap. | 1 | No | 0 | 0
9.2 | Providing of 20 Ltr Fresh water jar & waste water jar for sink | 2 | No | 0 | 0
9.3 | MS Clamping of Co2 cylinder. | 1 | No | 0 | 0
9.4 | Providing & Placing, Bar Stools - Same which is used in existing martini bar - Blacks colours | 5 | No | 0 | 0
9.5 | Providing & Placing, Bar Stools - Same which is used in existing martini bar - Red colours | 5 | No | 0 | 0
| TOTAL - IV |  |  |  | 0

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49